## Sensitive buses
Sensitive bus data in the output county map | [9 empty] | POI county
Counties inside the convex hull with sensitive buses
Transmission Buses |  |  |  | Generator Buses | [5 empty] | Counties that have buses N-levels away from POI
Bus Number | Type | Bus kV | Load MW | Bus Number | Type | Bus kV | Gen MW | Summary
7168 | 1 | 138 | 36.25 | 111631 | 2 | 345 | 152.784 | Total Generation "Capacity" (MW) | 9764.1921
9220 | 1 | 138 | 39.433 | 110114 | 2 | 14.4 | 68.6823 | Total Load (MW) | 4637.309
7174 | 1 | 138 | 16.19 | 170021 | 2 | 11.5 | 0 | Total Number of Transmission Buses | 299
9223 | 1 | 138 | 63.465 | 110116 | 2 | 14.4 | 68.6823 | Total Number of Generation Buses | 50
44040 | 1 | 345 | 0 | 170031 | 2 | 13.8 | 0 | Study County Name | Bastrop
9225 | 1 | 69 | 24.539 | 170032 | 2 | 13.8 | 0 | POI | 9043
7178 | 1 | 138 | 10.57 | 170033 | 2 | 13.8 | 0
9227 | 1 | 69 | 39.061 | 170041 | 2 | 13.8 | 0 | List of Study Area Counties
7180 | 1 | 138 | 0 | 170042 | 2 | 13.8 | 0 | fayette
5133 | 1 | 345 | 0 | 111681 | 2 | 345 | 152.784 | austin
7182 | 1 | 138 | 19.32 | 170051 | 2 | 6.9 | 0 | brazoria
9228 | 1 | 138 | 31.585 | 170052 | 2 | 6.9 | 0 | matagorda
7187 | 1 | 138 | 8.96 | 110123 | 2 | 14.4 | 96.3557 | travis
9235 | 1 | 138 | 19.214 | 111731 | 2 | 345 | 152.784 | karnes
9236 | 1 | 138 | 26.533 | 170101 | 2 | 24 | 604.0541 | williamson
9238 | 1 | 138 | 58.429 | 170102 | 2 | 24 | 599.0535 | guadalupe
9243 | 1 | 69 | 23.793 | 170103 | 2 | 28 | 437.0384 | milam
44060 | 1 | 345 | 0 | 170134 | 2 | 18 | 170.4019 | fort bend
9244 | 1 | 69 | 15.212 | 170136 | 2 | 18 | 199.5856 | wharton
9245 | 1 | 138 | 30.043 | 7337 | 2 | 138 | 119.2365 | burnet
110115 | 1 | 14.4 | 44.538 | 170181 | 2 | 18 | 151.4675 | san patricio
7202 | 1 | 138 | 0 | 170182 | 2 | 18 | 151.4675 | washington
9251 | 1 | 138 | 0 | 170183 | 2 | 18 | 235.3031 | blanco
170022 | 1 | 138 | 0 | 150901 | 2 | 18 | 201.7939 | bell
7208 | 1 | 138 | 26.96 | 150902 | 2 | 18 | 200.3274 | waller
9257 | 1 | 69 | 50.235 | 150903 | 2 | 19 | 320.9715 | kendall
9259 | 1 | 138 | 0 | 150904 | 2 | 18 | 194.8866 | bexar
9260 | 1 | 138 | 20.312 | 150905 | 2 | 18 | 194.8866 | harris
9262 | 1 | 138 | 30.071 | 150906 | 2 | 19 | 343.4971 | caldwell
7216 | 1 | 138 | 40.64 | 177532 | 2 | 24.9 | 9.9 | jackson
9267 | 1 | 138 | 70.807 | 111011 | 2 | 13.8 | 23.0549 | comal
9269 | 1 | 69 | 45.09 | 112041 | 2 | 345 | 273.655 | hays
7222 | 1 | 138 | 9.8 | 112141 | 2 | 34.5 | 192.7581 | bastrop
9271 | 1 | 138 | 31.21 | 112142 | 2 | 34.5 | 197.8324
9272 | 1 | 138 | 0 | 110111 | 2 | 14.4 | 56.6368
8249 | 1 | 345 | 0 | 110117 | 2 | 14.4 | 48.2957
7227 | 1 | 138 | 11.45 | 110124 | 2 | 14.4 | 96.3557
9275 | 1 | 138 | 48.248 | 110125 | 2 | 14.4 | 90.4219
9278 | 1 | 138 | 1.786 | 110135 | 2 | 14.4 | 76.4688
9279 | 1 | 138 | 30.91 | 110137 | 2 | 14.4 | 76.4688
9280 | 1 | 138 | 52.631 | 110139 | 2 | 14.4 | 76.4688
9281 | 1 | 138 | 30.962 | 110141 | 2 | 18 | 102.8777
9282 | 1 | 138 | 26.794 | 110146 | 2 | 18 | 167.5936
9283 | 1 | 138 | 9.939 | 110147 | 2 | 14.4 | 50.2123
110122 | 1 | 14.4 | 0 | 170571 | 2 | 34.5 | 105.7576
9286 | 1 | 138 | 35.908 | 170581 | 2 | 34.5 | 121.1954
9291 | 1 | 138 | 53.06 | 112261 | 2 | 345 | 463.475
9295 | 1 | 138 | 84.662 | 110351 | 2 | 25 | 1317.3286
110126 | 1 | 14.4 | 0 | 110352 | 2 | 25 | 1304.3728
5211 | 1 | 345 | 0 | 111381 | 2 | 34.5 | 97.0183
7270 | 1 | 138 | 13.11
7272 | 1 | 138 | 21.72
13423 | 1 | 13.8 | 0
9328 | 1 | 138 | 0
9329 | 1 | 13.2 | 0
9330 | 1 | 13.2 | 0
13424 | 1 | 13.8 | 0
13429 | 1 | 345 | 0
114 | 1 | 69 | 0
115 | 1 | 138 | 7.542
117 | 1 | 138 | 7.473
118 | 1 | 69 | 2.591
121 | 1 | 138 | 6.188
122 | 1 | 69 | 17.1
125 | 1 | 138 | 0.006
44160 | 1 | 345 | 0
126 | 1 | 69 | 0
131 | 1 | 69 | 0
132 | 1 | 138 | 0
133 | 1 | 69 | 0
136 | 1 | 138 | 8.824
46220 | 1 | 138 | 0
7325 | 1 | 138 | 12.17
7331 | 1 | 138 | 11.58
44200 | 1 | 345 | 0
7336 | 1 | 138 | 0
7340 | 1 | 345 | 0
7343 | 1 | 138 | 17.71
7345 | 1 | 69 | 0
7346 | 1 | 138 | 38.68
7347 | 1 | 138 | 45.86
7348 | 1 | 138 | 0
7349 | 1 | 138 | 0
7350 | 1 | 138 | 0
170167 | 1 | 345 | 0
7351 | 1 | 138 | 11.02
7354 | 1 | 69 | 0
7356 | 1 | 138 | 0
7366 | 1 | 138 | 17.34
7367 | 1 | 138 | 24.48
7368 | 1 | 138 | 24.42
5323 | 1 | 345 | 0
170195 | 1 | 345 | 0
170196 | 1 | 345 | 0
170197 | 1 | 345 | 0
170198 | 1 | 345 | 0
5362 | 1 | 345 | 0
77044 | 1 | 13.2 | 0
7419 | 1 | 138 | 0
170251 | 1 | 345 | 0
77075 | 1 | 13.2 | 0
5400 | 1 | 345 | 0
13610 | 1 | 138 | 42.508
7474 | 1 | 138 | 21.02
13620 | 1 | 138 | 22.803
7476 | 1 | 138 | 0
7478 | 1 | 138 | 0.58
7479 | 1 | 138 | 0
13628 | 1 | 138 | 0.302
13640 | 1 | 138 | 16.979
7498 | 1 | 138 | 31.36
7500 | 1 | 138 | 32.84
7503 | 1 | 138 | 21.05
77150 | 1 | 13.2 | 0
3422 | 1 | 345 | 0
77152 | 1 | 13.2 | 0
3423 | 1 | 138 | 0
3426 | 1 | 138 | 28.31
3427 | 1 | 138 | 25.556
3428 | 1 | 138 | 41.705
3429 | 1 | 138 | 34.308
13664 | 1 | 138 | 0
13665 | 1 | 138 | 0
7523 | 1 | 138 | 69.99
7528 | 1 | 138 | 18.5
7530 | 1 | 138 | 26.73
7532 | 1 | 138 | 21.81
7534 | 1 | 138 | 74.81
7538 | 1 | 138 | 25.28
7540 | 1 | 138 | 47.73
3444 | 1 | 138 | 0
77180 | 1 | 13.2 | 0
78207 | 1 | 138 | 0
7574 | 1 | 138 | 18.45
42400 | 1 | 345 | 0
24992 | 1 | 13.8 | 0
7671 | 1 | 138 | 21.11
7672 | 1 | 138 | 39.53
7680 | 1 | 138 | 0
112143 | 1 | 34.5 | 0
112144 | 1 | 34.5 | 0
112145 | 1 | 345 | 0
77340 | 1 | 13.2 | 0
77341 | 1 | 13.2 | 0
110112 | 1 | 14.4 | 8.708
3616 | 1 | 138 | 0
42530 | 1 | 345 | 0
3617 | 1 | 138 | 21.366
3618 | 1 | 138 | 51.191
3619 | 1 | 138 | 39.496
3620 | 1 | 138 | 0
3621 | 1 | 138 | 34.528
3622 | 1 | 138 | 0
3623 | 1 | 138 | 37.587
3626 | 1 | 138 | 44.788
3627 | 1 | 138 | 0
3628 | 1 | 138 | 39.122
3629 | 1 | 138 | 19.561
110118 | 1 | 14.4 | 0
110119 | 1 | 14.4 | 0
3633 | 1 | 138 | 32.187
110121 | 1 | 14.4 | 0
3635 | 1 | 138 | 0
3636 | 1 | 69 | 20.91
3639 | 1 | 138 | 0
3640 | 1 | 138 | 19.921
110145 | 1 | 14.4 | 95.063
3658 | 1 | 138 | 38.127
3660 | 1 | 13.8 | 0
3661 | 1 | 138 | 31.454
110157 | 1 | 14.4 | 0
170572 | 1 | 138 | 0
3664 | 1 | 138 | 0
3665 | 1 | 138 | 116.636
3666 | 1 | 138 | 0
3667 | 1 | 138 | 32.027
3668 | 1 | 138 | 113.521
3669 | 1 | 138 | 34.8
3670 | 1 | 138 | 71.568
3672 | 1 | 138 | 116.281
3673 | 1 | 138 | 31.741
7770 | 1 | 345 | 0
170582 | 1 | 138 | 0
3676 | 1 | 138 | 44.514
5725 | 1 | 345 | 0
3677 | 1 | 138 | 43.219
3688 | 1 | 138 | 24.829
3696 | 1 | 345 | 0
3699 | 1 | 345 | 0
7822 | 1 | 13.2 | 0
7832 | 1 | 13.2 | 0
7834 | 1 | 13.2 | 0
100002 | 1 | 34.5 | 0
100003 | 1 | 34.5 | 0
100004 | 1 | 13.8 | 0
100005 | 1 | 345 | 0
100006 | 1 | 345 | 0
100007 | 1 | 34.5 | 0
100008 | 1 | 34.5 | 0
100010 | 1 | 34.5 | 0
100012 | 1 | 13.8 | 0
77532 | 1 | 24.9 | 0
111382 | 1 | 34.5 | 0
5915 | 1 | 345 | 0
9001 | 1 | 138 | 0
9002 | 1 | 138 | 0
9004 | 1 | 69 | 0
9005 | 1 | 138 | 0
9006 | 1 | 138 | 0
9007 | 1 | 69 | 0
9008 | 1 | 138 | 0
9009 | 1 | 138 | 0
9010 | 1 | 138 | 0
9011 | 1 | 138 | 0
9015 | 1 | 138 | 0
7287 | 1 | 138 | 12.15
9017 | 1 | 138 | 0
9018 | 1 | 138 | 0
9041 | 1 | 345 | 0
9042 | 1 | 345 | 0
9043 | 1 | 345 | 0
9044 | 1 | 345 | 0
9048 | 1 | 345 | 0
9054 | 1 | 138 | 0
9071 | 1 | 138 | 0
77680 | 1 | 13.2 | 0
9073 | 1 | 345 | 0
9074 | 1 | 345 | 0
9075 | 1 | 138 | 0
77683 | 1 | 13.2 | 0
9076 | 1 | 138 | 39.016
9078 | 1 | 13.2 | 0
9077 | 1 | 138 | 0
9079 | 1 | 138 | 19.217
9081 | 1 | 13.2 | 0
9080 | 1 | 69 | 0
9082 | 1 | 138 | 0
7040 | 1 | 345 | 0
7042 | 1 | 345 | 0
7043 | 1 | 345 | 0
7044 | 1 | 345 | 0
7046 | 1 | 345 | 0
7047 | 1 | 345 | 120
7048 | 1 | 345 | 0
7049 | 1 | 345 | 0
7050 | 1 | 345 | 0
7055 | 1 | 345 | 0
7056 | 1 | 345 | 0
7057 | 1 | 345 | 0
7058 | 1 | 345 | 0
90002 | 1 | 13.2 | 0
90003 | 1 | 13.2 | 0
7060 | 1 | 138 | 5.01
90005 | 1 | 13.2 | 0
90004 | 1 | 13.2 | 0
7065 | 1 | 138 | 3.29
9119 | 1 | 69 | 0
9127 | 1 | 138 | 19.983
9128 | 1 | 138 | 0
9129 | 1 | 69 | 40.572
9130 | 1 | 13.2 | 0
9132 | 1 | 138 | 152.265
7084 | 1 | 138 | 6.99
9139 | 1 | 138 | 25.388
8123 | 1 | 345 | 0
9148 | 1 | 138 | 0
7100 | 1 | 138 | 35.26
7102 | 1 | 138 | 10.02
7103 | 1 | 138 | 6.82
7104 | 1 | 138 | 18.69
7518 | 1 | 138 | 30.17
9155 | 1 | 138 | 36.53
9158 | 1 | 138 | 65.746
9160 | 1 | 138 | 36.434
9161 | 1 | 138 | 1.749
9162 | 1 | 138 | 1.82
9166 | 1 | 69 | 51.167
9171 | 1 | 138 | 51.28
9175 | 1 | 138 | 37.158
13426 | 1 | 138 | 0
9183 | 1 | 138 | 59.523
44000 | 1 | 345 | 0
9184 | 1 | 138 | 27.21
13427 | 1 | 138 | 0
9193 | 1 | 138 | 168.323
7147 | 1 | 138 | 10.12
7148 | 1 | 138 | 0
7150 | 1 | 138 | 0
9199 | 1 | 138 | 39.617
7152 | 1 | 138 | 0
7153 | 1 | 138 | 13.07
9202 | 1 | 138 | 30.987
9203 | 1 | 138 | 44.591
9204 | 1 | 69 | 0
7155 | 1 | 138 | 0
7156 | 1 | 138 | 13.89
9207 | 1 | 138 | 50.423
9213 | 1 | 69 | 0
9214 | 1 | 69 | 0

## All buses
All bus data in the output county map | [9 empty] | POI county
Counties inside the convex hull with sensitive buses
Transmission Buses |  |  |  | Generator Buses | [5 empty] | Counties that have buses N-levels away from POI
Bus Number | Type | Bus kV | Load MW | Bus Number | Type | Bus kV | Gen MW | Summary
8192 | 1 | 138 | 0 | 134391 | 2 | 34.5 | 0 | Total Generation "Capacity" (MW) | 34522.7981
8249 | 1 | 345 | 0 | 150901 | 2 | 18 | 201.7939 | Total Load (MW) | 36936.4891
61 | 1 | 69 | 12.426 | 150902 | 2 | 18 | 200.3274 | Total Number of Transmission Buses | 1616
64 | 1 | 138 | 2.709 | 150903 | 2 | 19 | 320.9715 | Total Number of Generation Buses | 244
65 | 1 | 69 | 2.669 | 150904 | 2 | 18 | 194.8866 | Study County Name | Bastrop
73 | 1 | 69 | 0 | 150906 | 2 | 19 | 343.4971 | POI | 9043
75 | 1 | 69 | 0.33 | 150905 | 2 | 18 | 194.8866
77 | 1 | 69 | 2.728 | 110011 | 2 | 20 | 169.3107 | List of Study Area Counties
78 | 1 | 69 | 8.935 | 110012 | 2 | 20 | 169.7423 | fayette
110 | 1 | 69 | 3.932 | 110013 | 2 | 24 | 241.3287 | austin
114 | 1 | 69 | 0 | 110014 | 2 | 22 | 528.3979 | brazoria
115 | 1 | 138 | 7.542 | 110015 | 2 | 20 | 753.4136 | matagorda
116 | 1 | 138 | 2.883 | 110016 | 2 | 20 | 675.7855 | travis
117 | 1 | 138 | 7.473 | 110017 | 2 | 20 | 584.4507 | karnes
118 | 1 | 69 | 2.591 | 110018 | 2 | 20 | 612.2972 | williamson
120 | 1 | 138 | 5.316 | 110019 | 2 | 13.2 | 0 | guadalupe
121 | 1 | 138 | 6.188 | 110020 | 2 | 13.8 | 71.3454 | milam
122 | 1 | 69 | 17.1 | 110111 | 2 | 14.4 | 56.6368 | fort bend
125 | 1 | 138 | 0.006 | 110114 | 2 | 14.4 | 68.6823 | wharton
126 | 1 | 69 | 0 | 110116 | 2 | 14.4 | 68.6823 | burnet
127 | 1 | 138 | 0.262 | 110117 | 2 | 14.4 | 48.2957 | san patricio
130 | 1 | 138 | 0 | 110123 | 2 | 14.4 | 96.3557 | washington
131 | 1 | 69 | 0 | 110124 | 2 | 14.4 | 96.3557 | blanco
132 | 1 | 138 | 0 | 110125 | 2 | 14.4 | 90.4219 | bell
133 | 1 | 69 | 0 | 110137 | 2 | 14.4 | 76.4688 | waller
136 | 1 | 138 | 8.824 | 110135 | 2 | 14.4 | 76.4688 | kendall
139 | 1 | 138 | 0 | 110139 | 2 | 14.4 | 76.4688 | bexar
141 | 1 | 138 | 7.059 | 110141 | 2 | 18 | 102.8777 | harris
8407 | 1 | 69 | 15.702 | 110146 | 2 | 18 | 167.5936 | caldwell
8408 | 1 | 69 | 2.149 | 110147 | 2 | 14.4 | 50.2123 | jackson
8413 | 1 | 69 | 7.675 | 110231 | 2 | 13.8 | 32.0855 | comal
8414 | 1 | 138 | 31.214 | 110261 | 2 | 13.8 | 70.6848 | hays
8416 | 1 | 69 | 0 | 110351 | 2 | 25 | 1317.3286 | bastrop
8418 | 1 | 138 | 0 | 110352 | 2 | 25 | 1304.3728
8421 | 1 | 69 | 18.975 | 110501 | 2 | 13.8 | 121.7618
8422 | 1 | 138 | 0 | 110502 | 2 | 13.8 | 121.7618
8424 | 1 | 69 | 0 | 110503 | 2 | 13.8 | 121.5242
8425 | 1 | 138 | 25.085 | 110504 | 2 | 13.8 | 121.7618
8427 | 1 | 69 | 17.113 | 110551 | 2 | 13.8 | 84.5991
8430 | 1 | 138 | 0 | 110561 | 2 | 13.8 | 39.4462
8437 | 1 | 138 | 0 | 110771 | 2 | 18 | 192.471
8550 | 1 | 69 | 2.02 | 110772 | 2 | 18 | 192.471
8552 | 1 | 69 | 0 | 110773 | 2 | 18 | 317.9349
8555 | 1 | 69 | 1.224 | 110791 | 2 | 13.8 | 71.2884
8556 | 1 | 69 | 0 | 110792 | 2 | 13.8 | 63.8537
8557 | 1 | 69 | 0.178 | 110793 | 2 | 13.8 | 101.5644
8558 | 1 | 138 | 0 | 110794 | 2 | 13.8 | 69.4213
8559 | 1 | 138 | 0 | 110795 | 2 | 13.8 | 63.9009
8563 | 1 | 138 | 0 | 110796 | 2 | 13.8 | 103.3019
8565 | 1 | 138 | 0 | 160201 | 2 | 18 | 0
8566 | 1 | 138 | 14.904 | 160202 | 2 | 18 | 0
8568 | 1 | 138 | 20.823 | 160203 | 2 | 13.8 | 0
8569 | 1 | 138 | 14.904 | 111141 | 2 | 25 | 340.048
8575 | 1 | 138 | 20.823 | 111142 | 2 | 25 | 346.0019
8579 | 1 | 345 | 0 | 111143 | 2 | 23.5 | 495.6155
8580 | 1 | 138 | 0 | 160391 | 2 | 34.5 | 120.3963
8606 | 1 | 345 | 0 | 160392 | 2 | 34.5 | 133.854
8608 | 1 | 138 | 2.539 | 111302 | 2 | 13.8 | 78.1089
24992 | 1 | 13.8 | 0 | 111322 | 2 | 13.8 | 42.6784
8614 | 1 | 138 | 2.049 | 111323 | 2 | 13.8 | 42.6784
8652 | 1 | 69 | 9.192 | 111381 | 2 | 34.5 | 97.0183
8808 | 1 | 138 | 28.749 | 111421 | 2 | 12.47 | 0
8810 | 1 | 69 | 10.632 | 111461 | 2 | 34.5 | 91.2024
8812 | 1 | 69 | 9.08 | 111531 | 2 | 34.5 | 189.5393
8814 | 1 | 69 | 0 | 111581 | 2 | 34.5 | 114.1257
8815 | 1 | 69 | 0 | 111631 | 2 | 345 | 152.784
8817 | 1 | 138 | 15.139 | 111861 | 2 | 345 | 331.1034
8818 | 1 | 138 | 142 | 111911 | 2 | 138 | 159.8664
8819 | 1 | 138 | 15.139 | 111981 | 2 | 34.5 | 0
8820 | 1 | 138 | 100 | 177532 | 2 | 24.9 | 9.9
139910 | 1 | 69 | 17.55 | 112041 | 2 | 345 | 273.655
8956 | 1 | 345 | 0 | 112091 | 2 | 138 | 129.1303
8960 | 1 | 69 | 0 | 120321 | 2 | 34.5 | 0
8961 | 1 | 138 | 1.785 | 112141 | 2 | 34.5 | 192.7581
8968 | 1 | 138 | 0 | 112142 | 2 | 34.5 | 197.8324
8984 | 1 | 69 | 0 | 112211 | 2 | 138 | 155.9613
9001 | 1 | 138 | 0 | 112261 | 2 | 345 | 463.475
9002 | 1 | 138 | 0 | 161501 | 2 | 34.5 | 115.716
9003 | 1 | 138 | 0 | 170021 | 2 | 11.5 | 0
9004 | 1 | 69 | 0 | 170031 | 2 | 13.8 | 0
9005 | 1 | 138 | 0 | 170032 | 2 | 13.8 | 0
9006 | 1 | 138 | 0 | 170033 | 2 | 13.8 | 0
9007 | 1 | 69 | 0 | 170063 | 2 | 13.8 | 46.419
9008 | 1 | 138 | 0 | 170064 | 2 | 13.8 | 46.419
9009 | 1 | 138 | 0 | 170065 | 2 | 13.8 | 46.2951
9010 | 1 | 138 | 0 | 170066 | 2 | 13.8 | 46.419
9011 | 1 | 138 | 0 | 170071 | 2 | 18 | 143.8445
9012 | 1 | 138 | 0 | 170072 | 2 | 18 | 141.6673
9014 | 1 | 138 | 0 | 170073 | 2 | 22 | 358.0657
9015 | 1 | 138 | 0 | 170101 | 2 | 24 | 604.0541
9016 | 1 | 138 | 0 | 170102 | 2 | 24 | 599.0535
9017 | 1 | 138 | 0 | 170103 | 2 | 28 | 437.0384
9018 | 1 | 138 | 0 | 170111 | 2 | 4 | 0
9041 | 1 | 345 | 0 | 170121 | 2 | 24 | 0
9042 | 1 | 345 | 0 | 170122 | 2 | 24 | 0
9043 | 1 | 345 | 0 | 170123 | 2 | 22 | 429.6565
9044 | 1 | 345 | 0 | 170124 | 2 | 24 | 417.6295
9045 | 1 | 138 | 11.241 | 170125 | 2 | 24 | 609.2618
9048 | 1 | 345 | 0 | 170126 | 2 | 24 | 820.8685
9054 | 1 | 138 | 0 | 170131 | 2 | 20 | 220.5329
9071 | 1 | 138 | 0 | 170132 | 2 | 22 | 236.4758
9073 | 1 | 345 | 0 | 170133 | 2 | 22 | 428.09
9074 | 1 | 345 | 0 | 170134 | 2 | 18 | 170.4019
9075 | 1 | 138 | 0 | 170135 | 2 | 18 | 176.587
9076 | 1 | 138 | 39.016 | 170136 | 2 | 18 | 199.5856
9077 | 1 | 138 | 0 | 170137 | 2 | 13.8 | 49.6872
9078 | 1 | 13.2 | 0 | 170138 | 2 | 13.8 | 49.6872
9079 | 1 | 138 | 19.217 | 170139 | 2 | 13.8 | 49.6872
9080 | 1 | 69 | 0 | 170140 | 2 | 13.8 | 48.7218
9081 | 1 | 13.2 | 0 | 170152 | 2 | 24 | 0
9082 | 1 | 138 | 0 | 170153 | 2 | 13.8 | 48.0115
9117 | 1 | 138 | 0 | 170154 | 2 | 13.8 | 48.855
9118 | 1 | 138 | 0 | 170155 | 2 | 13.8 | 48.9902
9119 | 1 | 69 | 0 | 170156 | 2 | 13.8 | 48.9703
9120 | 1 | 138 | 27.118 | 170161 | 2 | 18.1 | 143.6314
9121 | 1 | 138 | 37.448 | 170162 | 2 | 18.1 | 143.6314
9122 | 1 | 138 | 0 | 170163 | 2 | 18.1 | 198.8806
9123 | 1 | 138 | 39.415 | 170164 | 2 | 18.1 | 141.623
9125 | 1 | 69 | 0 | 170165 | 2 | 18.1 | 141.623
9127 | 1 | 138 | 19.983 | 170166 | 2 | 18.1 | 198.8806
9128 | 1 | 138 | 0 | 170171 | 2 | 18 | 180.2776
9129 | 1 | 69 | 40.572 | 170172 | 2 | 18 | 183.0956
9130 | 1 | 13.2 | 0 | 170173 | 2 | 18 | 196.7435
9132 | 1 | 138 | 152.265 | 170181 | 2 | 18 | 151.4675
9139 | 1 | 138 | 25.388 | 170182 | 2 | 18 | 151.4675
9147 | 1 | 138 | 75.711 | 170183 | 2 | 18 | 235.3031
9148 | 1 | 138 | 0 | 170191 | 2 | 21 | 234.7871
9151 | 1 | 138 | 27.284 | 170192 | 2 | 21 | 235.682
9155 | 1 | 138 | 36.53 | 162001 | 2 | 34.5 | 67.065
9158 | 1 | 138 | 65.746 | 162002 | 2 | 34.5 | 67.065
9160 | 1 | 138 | 36.434 | 170193 | 2 | 21 | 234.7871
9161 | 1 | 138 | 1.749 | 170194 | 2 | 21 | 237.4742
9162 | 1 | 138 | 1.82 | 170201 | 2 | 18 | 180.3982
9163 | 1 | 138 | 10.237 | 170202 | 2 | 18 | 164.0185
9164 | 1 | 138 | 16.798 | 170203 | 2 | 18 | 178.4297
9165 | 1 | 138 | 8.376 | 170204 | 2 | 22 | 334.2251
9166 | 1 | 69 | 51.167 | 170211 | 2 | 13.8 | 48.6812
9167 | 1 | 138 | 1.866 | 170212 | 2 | 13.8 | 59.1423
9169 | 1 | 138 | 68.649 | 170213 | 2 | 13.8 | 48.5526
9171 | 1 | 138 | 51.28 | 170214 | 2 | 13.8 | 58.78
9175 | 1 | 138 | 37.158 | 170215 | 2 | 18 | 151.1107
9179 | 1 | 138 | 83.097 | 170216 | 2 | 18 | 173.2166
9183 | 1 | 138 | 59.523 | 170217 | 2 | 13.8 | 48.9142
9184 | 1 | 138 | 27.21 | 170218 | 2 | 13.8 | 48.9142
9187 | 1 | 138 | 0 | 162051 | 2 | 34.5 | 65.4695
9188 | 1 | 138 | 0 | 170331 | 2 | 13.8 | 91.6385
9190 | 1 | 138 | 45.671 | 170332 | 2 | 13.8 | 91.8243
9191 | 1 | 138 | 12.882 | 170341 | 2 | 34.5 | 22.3509
9193 | 1 | 138 | 168.323 | 170381 | 2 | 34.5 | 29.9289
9195 | 1 | 138 | 16.271 | 170571 | 2 | 34.5 | 105.7576
9196 | 1 | 138 | 34.787 | 170581 | 2 | 34.5 | 121.1954
9198 | 1 | 138 | 2.063 | 7337 | 2 | 138 | 119.2365
9199 | 1 | 138 | 39.617 | 163071 | 2 | 345 | 79.9057
9200 | 1 | 138 | 35.467 | 110621 | 2 | 18 | 173.1325
9202 | 1 | 138 | 30.987 | 110622 | 2 | 18 | 173.4282
9203 | 1 | 138 | 44.591 | 110623 | 2 | 18 | 176.1834
9204 | 1 | 69 | 0 | 170041 | 2 | 13.8 | 0
9207 | 1 | 138 | 50.423 | 170042 | 2 | 13.8 | 0
9213 | 1 | 69 | 0 | 170051 | 2 | 6.9 | 0
9214 | 1 | 69 | 0 | 170052 | 2 | 6.9 | 0
9216 | 1 | 138 | 8.953 | 110661 | 2 | 18 | 117.5268
9217 | 1 | 138 | 47.347 | 110662 | 2 | 18 | 171.9188
9220 | 1 | 138 | 39.433 | 110663 | 2 | 18 | 192.3148
9223 | 1 | 138 | 63.465 | 110668 | 2 | 18 | 216.6149
9224 | 1 | 138 | 0 | 110701 | 2 | 18 | 169.7829
9225 | 1 | 69 | 24.539 | 110751 | 2 | 15 | 185.531
9226 | 1 | 138 | 0 | 110752 | 2 | 15 | 194.8378
9227 | 1 | 69 | 39.061 | 110753 | 2 | 15 | 185.531
9228 | 1 | 138 | 31.585 | 110754 | 2 | 15 | 194.8378
9235 | 1 | 138 | 19.214 | 110755 | 2 | 18 | 298.3885
9236 | 1 | 138 | 26.533 | 110761 | 2 | 18 | 178.5915
9237 | 1 | 138 | 18.575 | 110821 | 2 | 18 | 180.7125
9238 | 1 | 138 | 58.429 | 110822 | 2 | 18 | 186.0672
9243 | 1 | 69 | 23.793 | 110823 | 2 | 18 | 185.1513
9244 | 1 | 69 | 15.212 | 110824 | 2 | 13.8 | 153.1013
9245 | 1 | 138 | 30.043 | 110921 | 2 | 13.8 | 36.0694
9247 | 1 | 138 | 56.966 | 110941 | 2 | 13.8 | 74.3514
9251 | 1 | 138 | 0 | 110942 | 2 | 13.8 | 74.3514
9253 | 1 | 138 | 25.381 | 110943 | 2 | 12.47 | 33.9456
9254 | 1 | 138 | 24.385 | 110944 | 2 | 12.47 | 33.9456
9257 | 1 | 69 | 50.235 | 110971 | 2 | 13.8 | 38.1341
9259 | 1 | 138 | 0 | 110972 | 2 | 13.8 | 38.1341
9260 | 1 | 138 | 20.312 | 110973 | 2 | 13.8 | 38.1341
9261 | 1 | 138 | 21.148 | 110974 | 2 | 13.8 | 38.1341
9262 | 1 | 138 | 30.071 | 111011 | 2 | 13.8 | 23.0549
9263 | 1 | 138 | 70.457 | 111041 | 2 | 12.5 | 18.071
9267 | 1 | 138 | 70.807 | 111101 | 2 | 13.8 | 0
9269 | 1 | 69 | 45.09 | 111161 | 2 | 13.8 | 19.252
9271 | 1 | 138 | 31.21 | 111181 | 2 | 13.8 | 120.5038
9272 | 1 | 138 | 0 | 111201 | 2 | 12.47 | 0
9275 | 1 | 138 | 48.248 | 111202 | 2 | 12.47 | 0
9278 | 1 | 138 | 1.786 | 111203 | 2 | 0.48 | 0
9279 | 1 | 138 | 30.91 | 111261 | 2 | 13.8 | 49.2621
9280 | 1 | 138 | 52.631 | 111262 | 2 | 13.8 | 49.2621
9281 | 1 | 138 | 30.962 | 110041 | 2 | 13.2 | 0
9282 | 1 | 138 | 26.794 | 110042 | 2 | 13.8 | 54.0856
9283 | 1 | 138 | 9.939 | 110043 | 2 | 13.8 | 54.0856
9284 | 1 | 138 | 32.758 | 110044 | 2 | 13.8 | 54.0856
9285 | 1 | 138 | 23.946 | 110045 | 2 | 13.8 | 54.0856
9286 | 1 | 138 | 35.908 | 110046 | 2 | 13.8 | 110.4664
9287 | 1 | 138 | 0 | 110047 | 2 | 13.8 | 54.0856
9288 | 1 | 138 | 3.637 | 110048 | 2 | 13.8 | 54.0856
9289 | 1 | 138 | 2.857 | 110049 | 2 | 13.8 | 54.0856
9291 | 1 | 138 | 53.06 | 110050 | 2 | 13.8 | 54.0856
9295 | 1 | 138 | 84.662 | 110051 | 2 | 13.8 | 110.4664
42090 | 1 | 138 | 50 | 110052 | 2 | 13.8 | 65.5134
9328 | 1 | 138 | 0 | 110053 | 2 | 13.8 | 65.5134
9329 | 1 | 13.2 | 0 | 110054 | 2 | 13.8 | 65.5134
9330 | 1 | 13.2 | 0 | 110055 | 2 | 13.8 | 65.5134
42100 | 1 | 138 | 0 | 110056 | 2 | 13.8 | 65.5134
42110 | 1 | 138 | 10.2 | 110057 | 2 | 13.8 | 65.5134
9342 | 1 | 138 | 16.7 | 110092 | 2 | 13.8 | 60.0469
42150 | 1 | 138 | 103 | 110093 | 2 | 13.8 | 60.0469
42190 | 1 | 138 | 55.975 | 110094 | 2 | 13.8 | 60.0469
42195 | 1 | 138 | 3.123 | 110095 | 2 | 13.8 | 54.4943
42199 | 1 | 138 | 0 | 110096 | 2 | 13.8 | 58.2734
42210 | 1 | 138 | 55.427 | 110097 | 2 | 13.8 | 58.9096
42215 | 1 | 138 | 47.355 | 110171 | 2 | 13.8 | 68.5803
42370 | 1 | 138 | 9.508 | 110172 | 2 | 13.8 | 67.6262
42380 | 1 | 138 | 23.049 | 110173 | 2 | 13.8 | 76.5928
42390 | 1 | 138 | 12.029 | 110174 | 2 | 13.8 | 77.4008
42400 | 1 | 345 | 0 | 110201 | 2 | 13.8 | 96.1769
42410 | 1 | 138 | 0 | 110202 | 2 | 13.8 | 85.0656
42420 | 1 | 138 | 0 | 110203 | 2 | 13.8 | 95.0798
42430 | 1 | 138 | 0 | 110204 | 2 | 13.8 | 95.0798
42500 | 1 | 345 | 0 | 110205 | 2 | 13.8 | 4.1231
42510 | 1 | 138 | 0 | 110371 | 2 | 13.8 | 33.4819
42511 | 1 | 138 | 0 | 110372 | 2 | 13.8 | 30.2318
42530 | 1 | 345 | 0 | 110373 | 2 | 13.8 | 35.3389
42535 | 1 | 138 | 0 | 110374 | 2 | 13.8 | 80.2948
42536 | 1 | 138 | 0 | 110375 | 2 | 13.8 | 31.5334
42540 | 1 | 138 | 0 | 110376 | 2 | 13.8 | 115.382
42541 | 1 | 138 | 0 | 110381 | 2 | 18 | 162.9076
42542 | 1 | 138 | 0 | 110481 | 2 | 13.8 | 89.0614
42543 | 1 | 138 | 0 | 110482 | 2 | 13.8 | 85.2157
42546 | 1 | 138 | 23.907 | 110521 | 2 | 18 | 164.0822
42547 | 1 | 138 | 12.865 | 110522 | 2 | 13.8 | 65.4834
42645 | 1 | 138 | 13.772 | 110571 | 2 | 13.8 | 60.4512
3612 | 1 | 138 | 30.398 | 110572 | 2 | 13.8 | 61.4438
3616 | 1 | 138 | 0 | 110573 | 2 | 13.8 | 62.4367
3617 | 1 | 138 | 21.366 | 110574 | 2 | 13.8 | 62.9333
3618 | 1 | 138 | 51.191 | 110575 | 2 | 13.8 | 61.7976
3619 | 1 | 138 | 39.496 | 110576 | 2 | 13.8 | 60.3552
3620 | 1 | 138 | 0 | 110577 | 2 | 13.8 | 118.778
3621 | 1 | 138 | 34.528
3622 | 1 | 138 | 0
3623 | 1 | 138 | 37.587
42810 | 1 | 138 | 4.494
3624 | 1 | 138 | 35.985
3626 | 1 | 138 | 44.788
3627 | 1 | 138 | 0
3628 | 1 | 138 | 39.122
3629 | 1 | 138 | 19.561
3633 | 1 | 138 | 32.187
3635 | 1 | 138 | 0
42870 | 1 | 138 | 13.498
3636 | 1 | 69 | 20.91
42875 | 1 | 138 | 0
42880 | 1 | 138 | 69.21
3639 | 1 | 138 | 0
3640 | 1 | 138 | 19.921
3643 | 1 | 69 | 0
3644 | 1 | 69 | 0
3645 | 1 | 69 | 6.937
3646 | 1 | 69 | 4.802
3647 | 1 | 69 | 0.469
3648 | 1 | 69 | 4.076
3649 | 1 | 69 | 0
42940 | 1 | 138 | 32.958
3650 | 1 | 138 | 0
42960 | 1 | 138 | 16.414
3654 | 1 | 138 | 110.788
3656 | 1 | 138 | 63.153
3657 | 1 | 138 | 31.982
42980 | 1 | 138 | 4.618
3658 | 1 | 138 | 38.127
42985 | 1 | 138 | 0
3659 | 1 | 138 | 8.266
3660 | 1 | 13.8 | 0
3661 | 1 | 138 | 31.454
43030 | 1 | 345 | 0
43031 | 1 | 138 | 0
43032 | 1 | 138 | 0
43035 | 1 | 345 | 0
43051 | 1 | 138 | 23.931
43052 | 1 | 138 | 30.48
43070 | 1 | 138 | 10.584
43110 | 1 | 138 | 0
43120 | 1 | 138 | 0.951
43150 | 1 | 138 | 2.399
43155 | 1 | 138 | 34.978
43190 | 1 | 138 | 7.202
43211 | 1 | 138 | 21.605
43212 | 1 | 138 | 0
43221 | 1 | 138 | 0
43222 | 1 | 138 | 3.796
43240 | 1 | 138 | 45.994
43260 | 1 | 138 | 144.564
43261 | 1 | 138 | 43.647
43280 | 1 | 138 | 81.138
43300 | 1 | 138 | 23.127
43315 | 1 | 138 | 0.582
43330 | 1 | 138 | 7.063
43335 | 1 | 138 | 0
43336 | 1 | 138 | 0
43337 | 1 | 138 | 0
43340 | 1 | 138 | 0.311
43345 | 1 | 138 | 47.5
43360 | 1 | 138 | 35.318
43361 | 1 | 138 | 0
43362 | 1 | 138 | 0
43363 | 1 | 138 | 0
43365 | 1 | 138 | 59.973
43380 | 1 | 138 | 0
43381 | 1 | 138 | 0
43384 | 1 | 138 | 1.491
43440 | 1 | 138 | 620
43570 | 1 | 138 | 37.241
44000 | 1 | 345 | 0
44005 | 1 | 345 | 0
44010 | 1 | 138 | 0
44015 | 1 | 138 | 0
44030 | 1 | 138 | 184.511
44040 | 1 | 345 | 0
44060 | 1 | 345 | 0
44090 | 1 | 345 | 0
44100 | 1 | 138 | 57.789
44130 | 1 | 138 | 0
44131 | 1 | 138 | 11.091
44150 | 1 | 138 | 0
44160 | 1 | 345 | 0
44170 | 1 | 138 | 72.711
44171 | 1 | 138 | 51.494
44173 | 1 | 138 | 37.428
44180 | 1 | 138 | 148.442
44190 | 1 | 138 | 15.405
44200 | 1 | 345 | 0
44205 | 1 | 138 | 6.962
44230 | 1 | 138 | 161.797
44231 | 1 | 138 | 95.086
44256 | 1 | 138 | 2.5
77044 | 1 | 13.2 | 0
44280 | 1 | 138 | 0
44300 | 1 | 138 | 0
77075 | 1 | 13.2 | 0
44341 | 1 | 138 | 138.863
44342 | 1 | 138 | 75.213
3412 | 1 | 345 | 0
3413 | 1 | 345 | 0
3414 | 1 | 345 | 0
3415 | 1 | 138 | 0
3420 | 1 | 138 | 0
3421 | 1 | 138 | 12.065
3422 | 1 | 345 | 0
3423 | 1 | 138 | 0
3426 | 1 | 138 | 28.31
3427 | 1 | 138 | 25.556
3428 | 1 | 138 | 41.705
3429 | 1 | 138 | 34.308
44390 | 1 | 138 | 0
3430 | 1 | 138 | 38.25
3431 | 1 | 138 | 0
3444 | 1 | 138 | 0
3445 | 1 | 138 | 171.884
44410 | 1 | 138 | 0
77180 | 1 | 13.2 | 0
150907 | 1 | 345 | 0
150908 | 1 | 345 | 0
44481 | 1 | 138 | 10.818
44482 | 1 | 138 | 33.982
44483 | 1 | 138 | 32.973
110021 | 1 | 138 | 0
44490 | 1 | 138 | 8.136
3541 | 1 | 138 | 0
44500 | 1 | 345 | 0
44510 | 1 | 138 | 0
44511 | 1 | 138 | 86.204
44512 | 1 | 138 | 69.85
44513 | 1 | 138 | 76.349
77289 | 1 | 13.2 | 0
44531 | 1 | 138 | 14.5
77306 | 1 | 345 | 0
77308 | 1 | 13.2 | 0
77309 | 1 | 13.2 | 0
44540 | 1 | 138 | 14.507
44541 | 1 | 138 | 0.637
3581 | 1 | 69 | 8.784
44551 | 1 | 138 | 37.056
44552 | 1 | 138 | 56.885
3602 | 1 | 138 | 0
3601 | 1 | 138 | 22.204
3607 | 1 | 138 | 30.174
3608 | 1 | 138 | 40.06
3609 | 1 | 138 | 22.813
44570 | 1 | 138 | 98.28
3610 | 1 | 138 | 30.528
77340 | 1 | 13.2 | 0
77341 | 1 | 13.2 | 0
3611 | 1 | 138 | 60.111
110112 | 1 | 14.4 | 8.708
110113 | 1 | 138 | 182.312
110115 | 1 | 14.4 | 44.538
110118 | 1 | 14.4 | 0
110119 | 1 | 14.4 | 0
110120 | 1 | 138 | 0
110121 | 1 | 14.4 | 0
110122 | 1 | 14.4 | 0
110127 | 1 | 138 | 0
110126 | 1 | 14.4 | 0
110128 | 1 | 138 | 36.037
110129 | 1 | 138 | 0
110130 | 1 | 14.5 | 36.037
110131 | 1 | 138 | 14.152
110133 | 1 | 138 | 750.584
110134 | 1 | 138 | 0
110132 | 1 | 138 | 0
44600 | 1 | 138 | 21.438
110136 | 1 | 138 | 0
110138 | 1 | 138 | 0
110140 | 1 | 138 | 0
110142 | 1 | 138 | 0
110143 | 1 | 138 | 0
110144 | 1 | 138 | 0
110145 | 1 | 14.4 | 95.063
110149 | 1 | 138 | 0
110150 | 1 | 14.4 | 0
44615 | 1 | 138 | 55.266
110152 | 1 | 14.4 | 0
110151 | 1 | 14.4 | 0
110153 | 1 | 138 | 0
110156 | 1 | 14.4 | 0
110154 | 1 | 138 | 0
110155 | 1 | 138 | 0
3664 | 1 | 138 | 0
3665 | 1 | 138 | 116.636
3666 | 1 | 138 | 0
3667 | 1 | 138 | 32.027
3668 | 1 | 138 | 113.521
3669 | 1 | 138 | 34.8
110162 | 1 | 138 | 0
110164 | 1 | 138 | 0
110165 | 1 | 138 | 0
3670 | 1 | 138 | 71.568
3675 | 1 | 138 | 3.855
3676 | 1 | 138 | 44.514
3677 | 1 | 138 | 43.219
3678 | 1 | 138 | 11.515
3672 | 1 | 138 | 116.281
3673 | 1 | 138 | 31.741
3674 | 1 | 138 | 36.487
3679 | 1 | 138 | 4.643
3683 | 1 | 138 | 0
3684 | 1 | 69 | 0.656
3685 | 1 | 69 | 20.008
3686 | 1 | 69 | 6.299
3687 | 1 | 345 | 0
3680 | 1 | 138 | 4.642
3689 | 1 | 69 | 0.567
3688 | 1 | 138 | 24.829
44650 | 1 | 345 | 0
44651 | 1 | 138 | 27.854
3696 | 1 | 345 | 0
44652 | 1 | 138 | 98.488
3699 | 1 | 345 | 0
44671 | 1 | 138 | 62.024
44672 | 1 | 138 | 50.701
110232 | 1 | 138 | 0
110233 | 1 | 138 | 0
44721 | 1 | 138 | 0.922
44722 | 1 | 138 | 1.57
77532 | 1 | 24.9 | 0
77680 | 1 | 13.2 | 0
77683 | 1 | 13.2 | 0
110505 | 1 | 138 | 0
110506 | 1 | 138 | 31.2
110507 | 1 | 69 | 0
110508 | 1 | 138 | 52.3
110509 | 1 | 138 | 49.15
110511 | 1 | 138 | 142.5
110562 | 1 | 34.5 | 0
110563 | 1 | 34.5 | 0
110564 | 1 | 34.5 | 0
110774 | 1 | 345 | 0
110775 | 1 | 345 | 0
110776 | 1 | 345 | 0
110797 | 1 | 138 | 0
78104 | 1 | 138 | 0
53581 | 1 | 34.5 | 0
53582 | 1 | 34.5 | 0
78195 | 1 | 69 | 13.016
78207 | 1 | 138 | 0
78220 | 1 | 138 | 0
78221 | 1 | 138 | 0
160205 | 1 | 138 | 0
111144 | 1 | 345 | 0
160393 | 1 | 34.5 | 0
160394 | 1 | 138 | 0
160395 | 1 | 138 | 0
160396 | 1 | 34.5 | 0
160397 | 1 | 34.5 | 0
160398 | 1 | 34.5 | 0
160399 | 1 | 34.5 | 0
160400 | 1 | 34.5 | 0
160401 | 1 | 34.5 | 0
160402 | 1 | 34.5 | 0
160403 | 1 | 34.5 | 0
160404 | 1 | 34.5 | 0
160405 | 1 | 34.5 | 0
111301 | 1 | 138 | 140.6
111321 | 1 | 138 | 0
111324 | 1 | 138 | 0
111325 | 1 | 138 | 0
111326 | 1 | 138 | 0
111327 | 1 | 138 | 0
78579 | 1 | 69 | 5.201
111382 | 1 | 34.5 | 0
111383 | 1 | 345 | 0
111462 | 1 | 34.5 | 0
111463 | 1 | 138 | 0
5001 | 1 | 138 | 18.58
5000 | 1 | 138 | 0
5002 | 1 | 138 | 0
5003 | 1 | 138 | 108.828
5005 | 1 | 138 | 40.789
5007 | 1 | 138 | 0
5011 | 1 | 138 | 68.263
5020 | 1 | 138 | 86.724
5022 | 1 | 138 | 37.982
5025 | 1 | 138 | 0
5030 | 1 | 138 | 0
111532 | 1 | 34.5 | 0
111533 | 1 | 138 | 0
5035 | 1 | 138 | 31.009
5040 | 1 | 138 | 93.872
54190 | 1 | 34.5 | 0
5045 | 1 | 138 | 45.431
5050 | 1 | 138 | 34.68
5051 | 1 | 138 | 27.474
5053 | 1 | 138 | 70.846
5054 | 1 | 138 | 0
5055 | 1 | 138 | 46.412
5056 | 1 | 345 | 0
5057 | 1 | 13.8 | 0
5059 | 1 | 13.8 | 0
5060 | 1 | 13.8 | 0
5075 | 1 | 138 | 32.11
5080 | 1 | 138 | 51.481
5085 | 1 | 138 | 61.639
111582 | 1 | 34.5 | 0
111583 | 1 | 138 | 0
5090 | 1 | 138 | 102.166
5093 | 1 | 138 | 39.652
5095 | 1 | 138 | 44.615
5096 | 1 | 138 | 15.237
5110 | 1 | 138 | 0
5125 | 1 | 138 | 163.126
5130 | 1 | 138 | 48.946
5133 | 1 | 345 | 0
5135 | 1 | 138 | 14.461
5140 | 1 | 138 | 121.375
5143 | 1 | 138 | 71.759
5147 | 1 | 138 | 0
5150 | 1 | 138 | 80.664
5160 | 1 | 138 | 33.408
5165 | 1 | 138 | 128.708
5170 | 1 | 138 | 47.742
5175 | 1 | 138 | 50.84
5180 | 1 | 138 | 45.674
5185 | 1 | 138 | 109.071
5187 | 1 | 138 | 88.201
5190 | 1 | 138 | 48.383
5195 | 1 | 138 | 103.71
5200 | 1 | 138 | 137.186
5205 | 1 | 138 | 48.859
5208 | 1 | 138 | 0
5209 | 1 | 138 | 0
5210 | 1 | 138 | 43.595
5211 | 1 | 345 | 0
5212 | 1 | 13.8 | 0
5213 | 1 | 13.8 | 0
5214 | 1 | 13.8 | 0
5215 | 1 | 13.8 | 0
5218 | 1 | 138 | 28.105
5220 | 1 | 138 | 111.975
13414 | 1 | 13.8 | 0
13415 | 1 | 138 | 0
5227 | 1 | 138 | 30.902
13420 | 1 | 13.8 | 0
5230 | 1 | 138 | 0
13423 | 1 | 13.8 | 0
13424 | 1 | 13.8 | 0
13426 | 1 | 138 | 0
13427 | 1 | 138 | 0
5234 | 1 | 138 | 113.888
13429 | 1 | 345 | 0
13430 | 1 | 138 | 0
13431 | 1 | 138 | 0
13439 | 1 | 13.8 | 0
13440 | 1 | 13.8 | 0
5250 | 1 | 138 | 73.624
5255 | 1 | 138 | 38.429
5257 | 1 | 138 | 117.17
5260 | 1 | 138 | 0
5285 | 1 | 138 | 69.574
5290 | 1 | 138 | 26.969
5294 | 1 | 138 | 46.276
5297 | 1 | 138 | 11.217
5300 | 1 | 138 | 85.627
5305 | 1 | 138 | 67.67
5310 | 1 | 138 | 69.69
5311 | 1 | 138 | 0
5315 | 1 | 138 | 91.143
5317 | 1 | 138 | 0
5323 | 1 | 345 | 0
5325 | 1 | 138 | 59.639
5330 | 1 | 138 | 18.646
5331 | 1 | 138 | 55.832
5332 | 1 | 138 | 16.587
5335 | 1 | 138 | 43.556
5345 | 1 | 138 | 42.391
5346 | 1 | 138 | 26.542
5350 | 1 | 138 | 22.511
5355 | 1 | 138 | 119
5358 | 1 | 138 | 16.568
5360 | 1 | 138 | 45.198
5362 | 1 | 345 | 0
110157 | 1 | 14.4 | 0
5368 | 1 | 138 | 0
5369 | 1 | 138 | 65.592
5370 | 1 | 138 | 64.33
5371 | 1 | 345 | 0
5373 | 1 | 13.8 | 0
5374 | 1 | 13.8 | 0
5375 | 1 | 13.8 | 0
5378 | 1 | 138 | 9.867
5385 | 1 | 138 | 62.358
5390 | 1 | 138 | 32.592
5394 | 1 | 138 | 18.753
5395 | 1 | 138 | 0
5400 | 1 | 345 | 0
5410 | 1 | 138 | 86.715
13608 | 1 | 138 | 8.207
13609 | 1 | 138 | 20.774
13610 | 1 | 138 | 42.508
5415 | 1 | 138 | 97.776
5417 | 1 | 138 | 9.857
5419 | 1 | 138 | 62.397
5420 | 1 | 138 | 113.227
13620 | 1 | 138 | 22.803
5423 | 1 | 138 | 18.17
5427 | 1 | 138 | 32.709
5428 | 1 | 138 | 49.51
5429 | 1 | 138 | 18.705
5430 | 1 | 138 | 24.434
5435 | 1 | 138 | 0
13628 | 1 | 138 | 0.302
5445 | 1 | 138 | 54.705
13640 | 1 | 138 | 16.979
5450 | 1 | 138 | 0
5451 | 1 | 138 | 0
5452 | 1 | 138 | 0
5453 | 1 | 138 | 14.111
13646 | 1 | 69 | 0
13647 | 1 | 69 | 0
5455 | 1 | 138 | 0
5456 | 1 | 138 | 5.885
5460 | 1 | 138 | 104.205
5461 | 1 | 138 | 0
5462 | 1 | 138 | 0
5465 | 1 | 138 | 34.088
5467 | 1 | 138 | 90.24
13662 | 1 | 138 | 0
5470 | 1 | 138 | 46.217
13664 | 1 | 138 | 0
13665 | 1 | 138 | 0
5475 | 1 | 345 | 0
13674 | 1 | 138 | 0
111982 | 1 | 138 | 0
5485 | 1 | 138 | 130.184
5488 | 1 | 138 | 72.18
5490 | 1 | 138 | 80.791
5522 | 1 | 69 | 9.25
5523 | 1 | 138 | 55.01
5524 | 1 | 69 | 13.18
5525 | 1 | 69 | 0
5526 | 1 | 69 | 3.83
5528 | 1 | 69 | 1.88
5530 | 1 | 69 | 0
5532 | 1 | 69 | 4.62
5534 | 1 | 69 | 2.22
5535 | 1 | 69 | 0
5538 | 1 | 69 | 9.35
5540 | 1 | 69 | 5.48
5543 | 1 | 69 | 5.39
5544 | 1 | 69 | 0
5546 | 1 | 138 | 0
5548 | 1 | 69 | 9.31
5550 | 1 | 69 | 2.07
5551 | 1 | 69 | 8.35
5552 | 1 | 69 | 5.19
5553 | 1 | 69 | 9.06
5555 | 1 | 69 | 8.459
5556 | 1 | 69 | 0
5558 | 1 | 69 | 16.64
5559 | 1 | 69 | 0
5560 | 1 | 69 | 5.43
5562 | 1 | 138 | 46.317
5564 | 1 | 69 | 10.02
5566 | 1 | 69 | 5.6
5568 | 1 | 138 | 0
5569 | 1 | 69 | 6.92
5570 | 1 | 69 | 3.53
5571 | 1 | 69 | 0
5573 | 1 | 69 | 8
5574 | 1 | 69 | 0
5579 | 1 | 69 | 0.02
5580 | 1 | 69 | 0
5582 | 1 | 69 | 0
5584 | 1 | 138 | 0
5585 | 1 | 138 | 18.12
5586 | 1 | 69 | 4.07
5588 | 1 | 138 | 17.15
5616 | 1 | 69 | 1.76
5618 | 1 | 69 | 7.08
5620 | 1 | 69 | 0
5622 | 1 | 69 | 7.53
120322 | 1 | 138 | 0
112143 | 1 | 34.5 | 0
112144 | 1 | 34.5 | 0
112145 | 1 | 345 | 0
5735 | 1 | 69 | 2.08
161502 | 1 | 34.5 | 0
161503 | 1 | 138 | 0
5915 | 1 | 345 | 0
170022 | 1 | 138 | 0
39010 | 1 | 138 | 27.816
39015 | 1 | 138 | 0
170093 | 1 | 138 | 0
170094 | 1 | 138 | 0
39030 | 1 | 138 | 47.006
170167 | 1 | 345 | 0
88249 | 1 | 345 | 356.972
170174 | 1 | 345 | 0
162003 | 1 | 34.5 | 0
162004 | 1 | 34.5 | 0
162005 | 1 | 345 | 0
170195 | 1 | 345 | 0
170196 | 1 | 345 | 0
170197 | 1 | 345 | 0
170198 | 1 | 345 | 0
80124 | 1 | 138 | 16.93
80128 | 1 | 138 | 0
80129 | 1 | 138 | 0
162052 | 1 | 34.5 | 0
162053 | 1 | 345 | 0
80258 | 1 | 138 | 44.957
80259 | 1 | 138 | 0
170382 | 1 | 138 | 0
170383 | 1 | 34.5 | 0
47531 | 1 | 345 | 0
47532 | 1 | 345 | 0
88579 | 1 | 345 | 0
88606 | 1 | 345 | 0
88607 | 1 | 345 | 0
39500 | 1 | 138 | 0
170572 | 1 | 138 | 0
170582 | 1 | 138 | 0
80470 | 1 | 138 | 0
80475 | 1 | 138 | 3.57
80476 | 1 | 138 | 3.57
39530 | 1 | 138 | 11.742
39531 | 1 | 12.47 | 8.782
39560 | 1 | 138 | 49.662
39600 | 1 | 138 | 7.521
39630 | 1 | 69 | 0
39650 | 1 | 69 | 0
39670 | 1 | 69 | 0
39680 | 1 | 69 | 2.682
39685 | 1 | 69 | 8.985
39700 | 1 | 138 | 8.964
39703 | 1 | 138 | 0
39704 | 1 | 69 | 0
39705 | 1 | 138 | 0
39706 | 1 | 138 | 13.775
39720 | 1 | 69 | 7.8
39725 | 1 | 69 | 26.4
39730 | 1 | 69 | 4.4
39750 | 1 | 69 | 5.873
7040 | 1 | 345 | 0
39810 | 1 | 69 | 1
7042 | 1 | 345 | 0
7044 | 1 | 345 | 0
48006 | 1 | 138 | 0
7047 | 1 | 345 | 120
7043 | 1 | 345 | 0
7048 | 1 | 345 | 0
7050 | 1 | 345 | 0
7049 | 1 | 345 | 0
7055 | 1 | 345 | 0
7056 | 1 | 345 | 0
7057 | 1 | 345 | 0
7058 | 1 | 345 | 0
39870 | 1 | 69 | 79.5
39890 | 1 | 69 | 0
7170 | 1 | 138 | 17.38
7171 | 1 | 138 | 34.45
7172 | 1 | 138 | 10.11
7173 | 1 | 138 | 14.28
7174 | 1 | 138 | 16.19
7175 | 1 | 138 | 42.04
7176 | 1 | 138 | 55.1
7177 | 1 | 138 | 30.19
7178 | 1 | 138 | 10.57
7180 | 1 | 138 | 0
7182 | 1 | 138 | 19.32
7184 | 1 | 138 | 12.06
7186 | 1 | 138 | 15.4
7187 | 1 | 138 | 8.96
7188 | 1 | 138 | 42.04
7190 | 1 | 138 | 18.4
7191 | 1 | 69 | 0
7192 | 1 | 138 | 29.82
7193 | 1 | 138 | 25.72
7194 | 1 | 69 | 16.3
7195 | 1 | 69 | 15.83
7196 | 1 | 69 | 2.98
7200 | 1 | 138 | 26.94
7202 | 1 | 138 | 0
7206 | 1 | 69 | 7.22
7208 | 1 | 138 | 26.96
7209 | 1 | 138 | 0
7210 | 1 | 138 | 8.68
7212 | 1 | 138 | 28.87
7215 | 1 | 69 | 0
7216 | 1 | 138 | 40.64
7218 | 1 | 69 | 6.54
7220 | 1 | 69 | 5.6
7221 | 1 | 138 | 0
7222 | 1 | 138 | 9.8
7223 | 1 | 69 | 0
7224 | 1 | 138 | 30.51
7225 | 1 | 138 | 11.08
7226 | 1 | 138 | 26.39
7227 | 1 | 138 | 11.45
7228 | 1 | 138 | 21.19
7229 | 1 | 138 | 46.87
7247 | 1 | 69 | 0
7248 | 1 | 138 | 16.43
7250 | 1 | 138 | 0.19
7252 | 1 | 138 | 23.79
7273 | 1 | 138 | 6
7274 | 1 | 138 | 5.55
7275 | 1 | 138 | 10.88
7276 | 1 | 138 | 25.62
7278 | 1 | 138 | 0
7280 | 1 | 138 | 0
7286 | 1 | 138 | 6.59
7288 | 1 | 138 | 0
7289 | 1 | 138 | 0
7291 | 1 | 138 | 0
7292 | 1 | 138 | 38.84
7294 | 1 | 138 | 22.86
7297 | 1 | 138 | 0
7299 | 1 | 138 | 7.37
7304 | 1 | 138 | 0
7306 | 1 | 138 | 0
7307 | 1 | 138 | 0
7308 | 1 | 138 | 14.84
7309 | 1 | 138 | 0
7310 | 1 | 138 | 0
7312 | 1 | 138 | 12.33
7314 | 1 | 138 | 18.71
7315 | 1 | 69 | 0
7318 | 1 | 138 | 7.6
7319 | 1 | 138 | 0
7322 | 1 | 138 | 25.79
7323 | 1 | 138 | 19.99
7324 | 1 | 138 | 14.09
7325 | 1 | 138 | 12.17
7326 | 1 | 138 | 19.62
7329 | 1 | 138 | 13.58
7330 | 1 | 138 | 23.93
7331 | 1 | 138 | 11.58
7333 | 1 | 138 | 15.43
7334 | 1 | 138 | 0
7335 | 1 | 138 | 0
7336 | 1 | 138 | 0
7340 | 1 | 345 | 0
7343 | 1 | 138 | 17.71
7345 | 1 | 69 | 0
7346 | 1 | 138 | 38.68
7347 | 1 | 138 | 45.86
7349 | 1 | 138 | 0
7354 | 1 | 69 | 0
7356 | 1 | 138 | 0
7366 | 1 | 138 | 17.34
7367 | 1 | 138 | 24.48
7368 | 1 | 138 | 24.42
7454 | 1 | 138 | 40.69
7456 | 1 | 138 | 38.04
7457 | 1 | 138 | 22.48
7458 | 1 | 138 | 19.11
7459 | 1 | 138 | 0
7460 | 1 | 138 | 37.66
7461 | 1 | 138 | 31.89
7462 | 1 | 138 | 50.68
7463 | 1 | 138 | 17.53
7476 | 1 | 138 | 0
7500 | 1 | 138 | 32.84
7501 | 1 | 138 | 52.38
7503 | 1 | 138 | 21.05
7515 | 1 | 138 | 5.54
7523 | 1 | 138 | 69.99
7528 | 1 | 138 | 18.5
7530 | 1 | 138 | 26.73
7532 | 1 | 138 | 21.81
7534 | 1 | 138 | 74.81
7538 | 1 | 138 | 25.28
7540 | 1 | 138 | 47.73
7542 | 1 | 138 | 18.73
7555 | 1 | 138 | 24.29
7556 | 1 | 138 | 21.91
7558 | 1 | 69 | 9.89
7560 | 1 | 138 | 14.23
7564 | 1 | 138 | 22.47
7565 | 1 | 138 | 19.75
7570 | 1 | 138 | 13.77
7572 | 1 | 138 | 6.99
7574 | 1 | 138 | 18.45
7575 | 1 | 138 | 10.21
7576 | 1 | 138 | 2.61
7595 | 1 | 138 | 0
7596 | 1 | 69 | 3.52
7597 | 1 | 69 | 0
7598 | 1 | 138 | 11.81
7601 | 1 | 138 | 5.86
7602 | 1 | 138 | 125.46
7604 | 1 | 138 | 22.49
7606 | 1 | 138 | 38.82
7608 | 1 | 138 | 57.54
7609 | 1 | 138 | 34.12
7610 | 1 | 138 | 25.22
7611 | 1 | 138 | 24.77
7612 | 1 | 138 | 15.13
7613 | 1 | 138 | 0
7619 | 1 | 69 | 0
7672 | 1 | 138 | 39.53
7680 | 1 | 138 | 0
7695 | 1 | 138 | 10.56
7720 | 1 | 138 | 9.46
7758 | 1 | 138 | 14.73
7770 | 1 | 345 | 0
7771 | 1 | 13.2 | 0
7822 | 1 | 13.2 | 0
7832 | 1 | 13.2 | 0
7834 | 1 | 13.2 | 0
7838 | 1 | 13.2 | 0
7853 | 1 | 13.2 | 0
8044 | 1 | 138 | 3.07
49031 | 1 | 23 | 0
49036 | 1 | 23 | 0
49037 | 1 | 23 | 0
49038 | 1 | 23 | 0
90001 | 1 | 13.2 | 0
90002 | 1 | 13.2 | 0
90003 | 1 | 13.2 | 0
90004 | 1 | 13.2 | 0
90005 | 1 | 13.2 | 0
49046 | 1 | 23 | 0
90006 | 1 | 13.2 | 0
90007 | 1 | 13.2 | 0
49051 | 1 | 23 | 0
8099 | 1 | 138 | 10.263
8100 | 1 | 69 | 15.253
8102 | 1 | 138 | 15.375
49063 | 1 | 23 | 0
49064 | 1 | 23 | 0
8104 | 1 | 138 | 1.155
49062 | 1 | 23 | 0
49069 | 1 | 23 | 0
8111 | 1 | 138 | 0
8113 | 1 | 138 | 27.165
8114 | 1 | 138 | 77.84
8115 | 1 | 138 | 7.19
8116 | 1 | 138 | 28.466
8117 | 1 | 138 | 6.123
8118 | 1 | 138 | 14.164
8119 | 1 | 69 | 1.543
8121 | 1 | 138 | 0
8123 | 1 | 345 | 0
8125 | 1 | 138 | 1.348
8127 | 1 | 138 | 0
8130 | 1 | 138 | 0
8131 | 1 | 69 | 11.344
8138 | 1 | 138 | 0
8139 | 1 | 138 | 0
8148 | 1 | 69 | 0
8173 | 1 | 138 | 0
8191 | 1 | 138 | 44.621
40961 | 1 | 138 | 30.067
40962 | 1 | 138 | 21.754
8193 | 1 | 138 | 19.94
47110 | 1 | 138 | 146.456
40981 | 1 | 138 | 22.066
40990 | 1 | 138 | 70.455
43040 | 1 | 138 | 78.37
110624 | 1 | 138 | 0
110625 | 1 | 138 | 0
110626 | 1 | 138 | 0
110627 | 1 | 138 | 0
41000 | 1 | 138 | 125
45101 | 1 | 138 | 62.415
45102 | 1 | 138 | 62.415
47150 | 1 | 138 | 0
47151 | 1 | 138 | 23.418
41009 | 1 | 138 | 0
41010 | 1 | 138 | 15.554
47152 | 1 | 138 | 47.547
47160 | 1 | 69 | 0
41021 | 1 | 138 | 29.638
41022 | 1 | 138 | 41.517
41023 | 1 | 138 | 47.47
47170 | 1 | 138 | 0
47175 | 1 | 138 | 0
43081 | 1 | 138 | 32.295
43082 | 1 | 138 | 21.494
110664 | 1 | 138 | 0
110665 | 1 | 138 | 0
110666 | 1 | 345 | 0
110667 | 1 | 345 | 0
47191 | 1 | 138 | 21.192
47192 | 1 | 138 | 41.158
41050 | 1 | 138 | 5.153
43101 | 1 | 138 | 21.296
43102 | 1 | 138 | 50.807
41061 | 1 | 69 | 6.591
47210 | 1 | 138 | 84.195
41071 | 1 | 69 | 0.347
43130 | 1 | 138 | 10.426
41090 | 1 | 138 | 53.291
41100 | 1 | 138 | 0
43170 | 1 | 138 | 0
43171 | 1 | 138 | 5.499
43172 | 1 | 138 | 0
110756 | 1 | 345 | 0
110757 | 1 | 345 | 0
110758 | 1 | 345 | 0
110759 | 1 | 345 | 0
110760 | 1 | 345 | 0
110762 | 1 | 345 | 0
41150 | 1 | 138 | 46.491
47300 | 1 | 345 | 0
41160 | 1 | 138 | 13.733
41165 | 1 | 138 | 2.123
47310 | 1 | 138 | 73.971
41171 | 1 | 138 | 24.54
41172 | 1 | 138 | 17.751
47320 | 1 | 138 | 28.378
43225 | 1 | 138 | 4.072
47321 | 1 | 138 | 49.051
41179 | 1 | 138 | 0
47322 | 1 | 138 | 48.823
43230 | 1 | 138 | 18.304
8186 | 1 | 138 | 2.646
47331 | 1 | 138 | 27.032
47332 | 1 | 138 | 18.001
41191 | 1 | 138 | 42.659
110825 | 1 | 345 | 0
110826 | 1 | 345 | 0
47340 | 1 | 138 | 0.621
110827 | 1 | 345 | 0
8188 | 1 | 69 | 9.108
43250 | 1 | 138 | 5.871
41205 | 1 | 138 | 0.27
47350 | 1 | 138 | 83.674
41210 | 1 | 138 | 44.604
41221 | 1 | 138 | 26.854
41222 | 1 | 138 | 27.956
43271 | 1 | 138 | 28.481
43272 | 1 | 138 | 66.516
170251 | 1 | 345 | 0
41230 | 1 | 138 | 28.5
47380 | 1 | 138 | 17.737
47381 | 1 | 138 | 106.385
47382 | 1 | 138 | 72.671
41240 | 1 | 138 | 0
41250 | 1 | 138 | 57.893
41255 | 1 | 69 | 0
41260 | 1 | 138 | 14.055
47411 | 1 | 138 | 54.574
47412 | 1 | 138 | 57.273
43321 | 1 | 138 | 52.636
43322 | 1 | 138 | 19.456
47420 | 1 | 138 | 1.325
47430 | 1 | 138 | 65
47441 | 1 | 138 | 69.352
47442 | 1 | 138 | 75.562
41300 | 1 | 138 | 0
41305 | 1 | 138 | 0
41310 | 1 | 138 | 84.746
110945 | 1 | 34.5 | 20
110946 | 1 | 34.5 | 20
110947 | 1 | 34.5 | 20
47461 | 1 | 138 | 49.757
47462 | 1 | 138 | 19.322
110948 | 1 | 34.5 | 25
41320 | 1 | 138 | 60.8
110949 | 1 | 12.47 | 0
110950 | 1 | 12.47 | 25
43371 | 1 | 138 | 31.033
43372 | 1 | 138 | 66.014
110951 | 1 | 12.47 | 25
110953 | 1 | 12.47 | 30
110954 | 1 | 12.47 | 0
110955 | 1 | 12.47 | 0
41330 | 1 | 138 | 31.241
110975 | 1 | 138 | 0
41350 | 1 | 138 | 57.936
8583 | 1 | 138 | 9.263
41355 | 1 | 138 | 3.478
47500 | 1 | 138 | 0
41360 | 1 | 138 | 5.953
47510 | 1 | 69 | 73.739
41370 | 1 | 138 | 18.365
41371 | 1 | 138 | 0
47520 | 1 | 138 | 56.409
41380 | 1 | 69 | 0
41381 | 1 | 69 | 0
41382 | 1 | 69 | 0
41391 | 1 | 138 | 15.66
41392 | 1 | 138 | 11.334
47540 | 1 | 69 | 27.809
41400 | 1 | 138 | 0
45500 | 1 | 345 | 0
45510 | 1 | 138 | 0
45511 | 1 | 138 | 79.564
45512 | 1 | 138 | 133.304
47560 | 1 | 138 | 38.36
45515 | 1 | 138 | 0
41420 | 1 | 138 | 3.962
47570 | 1 | 138 | 54.773
47571 | 1 | 138 | 0
41430 | 1 | 345 | 0
45530 | 1 | 69 | 0
47580 | 1 | 69 | 55.031
47581 | 1 | 69 | 23.588
41440 | 1 | 138 | 45.251
43500 | 1 | 138 | 0
43501 | 1 | 138 | 33.383
43502 | 1 | 138 | 25.021
43503 | 1 | 138 | 25.037
47600 | 1 | 138 | 47.641
43507 | 1 | 138 | 0
41460 | 1 | 138 | 30
43510 | 1 | 69 | 0
111102 | 1 | 13.8 | 0
47620 | 1 | 138 | 55.892
41480 | 1 | 138 | 66.161
47630 | 1 | 138 | 0
41490 | 1 | 138 | 10.417
47640 | 1 | 69 | 45.149
47641 | 1 | 69 | 0
41500 | 1 | 138 | 87.867
45600 | 1 | 345 | 0
41510 | 1 | 138 | 53.001
45610 | 1 | 138 | 77.034
45611 | 1 | 138 | 33.004
47660 | 1 | 138 | 84.369
47661 | 1 | 138 | 0
41520 | 1 | 138 | 2.813
45620 | 1 | 138 | 0
47670 | 1 | 69 | 0.518
41530 | 1 | 138 | 9.204
45630 | 1 | 138 | 92.279
47680 | 1 | 69 | 91.671
47682 | 1 | 69 | 32.276
41540 | 1 | 138 | 6.314
45640 | 1 | 138 | 89.145
47690 | 1 | 69 | 53.435
111182 | 1 | 138 | 0
111183 | 1 | 138 | 0
45651 | 1 | 138 | 170.487
47700 | 1 | 138 | 73.938
47701 | 1 | 138 | 0.745
41560 | 1 | 69 | 0
41561 | 1 | 69 | 8.946
43610 | 1 | 138 | 26.241
47705 | 1 | 138 | 24.807
47706 | 1 | 138 | 0
47707 | 1 | 138 | 0
47708 | 1 | 138 | 0
47709 | 1 | 138 | 0
47711 | 1 | 138 | 16.99
41570 | 1 | 69 | 18.049
47712 | 1 | 138 | 28.918
45670 | 1 | 138 | 64.226
111204 | 1 | 12.47 | 0
111205 | 1 | 12.47 | 0
45675 | 1 | 138 | 6.107
41580 | 1 | 138 | 18.127
111206 | 1 | 12.47 | 0
111207 | 1 | 12.47 | 0
45681 | 1 | 138 | 30.663
45682 | 1 | 138 | 62.185
47730 | 1 | 138 | 117.489
47731 | 1 | 138 | 0
41590 | 1 | 138 | 37.305
45700 | 1 | 138 | 9.503
45711 | 1 | 138 | 121.484
45712 | 1 | 138 | 56.409
47760 | 1 | 138 | 0
47762 | 1 | 138 | 14.716
47763 | 1 | 138 | 22.983
41620 | 1 | 138 | 4.431
47764 | 1 | 138 | 21.228
41631 | 1 | 138 | 28.067
41632 | 1 | 138 | 22.108
111263 | 1 | 138 | 0
45730 | 1 | 138 | 82.279
47780 | 1 | 138 | 33
45740 | 1 | 138 | 6.275
41651 | 1 | 138 | 29.231
41652 | 1 | 138 | 24.079
45750 | 1 | 138 | 79.655
45760 | 1 | 138 | 214.431
41670 | 1 | 138 | 52.926
45770 | 1 | 138 | 38.286
41679 | 1 | 138 | 0
41681 | 1 | 69 | 4.063
41682 | 1 | 69 | 15.326
8913 | 1 | 138 | 12.895
45781 | 1 | 138 | 79.985
45782 | 1 | 138 | 39.376
45801 | 1 | 138 | 68.803
45802 | 1 | 138 | 145.539
78573 | 1 | 138 | 0
41711 | 1 | 138 | 17.026
41712 | 1 | 138 | 13.921
45811 | 1 | 138 | 34.834
45812 | 1 | 138 | 85.322
78581 | 1 | 138 | 0
78583 | 1 | 138 | 22.41
78584 | 1 | 138 | 17.07
45821 | 1 | 138 | 8.702
45822 | 1 | 138 | 8.7
45840 | 1 | 138 | 29.217
45850 | 1 | 138 | 0
45861 | 1 | 138 | 14.258
45862 | 1 | 138 | 7.127
45880 | 1 | 138 | 103.651
45885 | 1 | 138 | 0
49990 | 1 | 12.5 | 0
49991 | 1 | 12.5 | 0
45900 | 1 | 138 | 4.443
45910 | 1 | 138 | 29.795
45921 | 1 | 138 | 28.038
45922 | 1 | 138 | 0
45940 | 1 | 138 | 179.03
45952 | 1 | 138 | 193.252
45953 | 1 | 138 | 0
7046 | 1 | 345 | 0
45971 | 1 | 345 | 48.709
7060 | 1 | 138 | 5.01
45972 | 1 | 345 | 45.404
7065 | 1 | 138 | 3.29
7084 | 1 | 138 | 6.99
46001 | 1 | 138 | 17.281
46002 | 1 | 138 | 17.99
7100 | 1 | 138 | 35.26
7102 | 1 | 138 | 10.02
7103 | 1 | 138 | 6.82
7104 | 1 | 138 | 18.69
46031 | 1 | 138 | 81.173
46032 | 1 | 138 | 56.443
48098 | 1 | 138 | 0
46051 | 1 | 138 | 73.624
46052 | 1 | 138 | 55.521
7147 | 1 | 138 | 10.12
7148 | 1 | 138 | 0
7150 | 1 | 138 | 0
7151 | 1 | 138 | 9.49
7152 | 1 | 138 | 0
7153 | 1 | 138 | 13.07
7155 | 1 | 138 | 0
7156 | 1 | 138 | 13.89
44020 | 1 | 138 | 85.979
7168 | 1 | 138 | 36.25
7169 | 1 | 138 | 22.31
44051 | 1 | 138 | 125.806
44052 | 1 | 138 | 62.66
46100 | 1 | 345 | 0
5145 | 1 | 138 | 7.74
46110 | 1 | 138 | 106.378
46111 | 1 | 138 | 0
46112 | 1 | 138 | 0
48171 | 1 | 69 | 0
44081 | 1 | 138 | 45.022
44082 | 1 | 138 | 22.555
48177 | 1 | 69 | 0
42041 | 1 | 138 | 36.876
42042 | 1 | 138 | 59.889
40011 | 1 | 138 | 33.888
40012 | 1 | 138 | 21.443
44120 | 1 | 138 | 0
44121 | 1 | 138 | 18.034
44122 | 1 | 138 | 27.441
44123 | 1 | 138 | 26.719
7269 | 1 | 69 | 0
7270 | 1 | 138 | 13.11
7271 | 1 | 138 | 4.82
7272 | 1 | 138 | 21.72
44140 | 1 | 138 | 74.203
44141 | 1 | 138 | 0
7287 | 1 | 138 | 12.15
40070 | 1 | 138 | 82.85
42120 | 1 | 138 | 18.454
46220 | 1 | 138 | 0
40090 | 1 | 138 | 38.437
40100 | 1 | 138 | 19.962
42160 | 1 | 138 | 0
44210 | 1 | 138 | 0
44211 | 1 | 138 | 24.445
7348 | 1 | 138 | 0
44212 | 1 | 138 | 27.773
7350 | 1 | 138 | 0
7351 | 1 | 138 | 11.02
44213 | 1 | 138 | 28.914
44214 | 1 | 138 | 29.65
42170 | 1 | 138 | 33.946
44215 | 1 | 138 | 0
40125 | 1 | 138 | 67.005
111797 | 1 | 138 | 0
40130 | 1 | 138 | 36.104
42180 | 1 | 138 | 75
46281 | 1 | 138 | 24.169
46282 | 1 | 138 | 25.155
46290 | 1 | 345 | 0
46295 | 1 | 138 | 0
46296 | 1 | 138 | 0
46300 | 1 | 138 | 56.965
46301 | 1 | 138 | 39.274
46302 | 1 | 138 | 122.876
40160 | 1 | 138 | 58.151
44260 | 1 | 138 | 240.339
46311 | 1 | 138 | 33.437
46312 | 1 | 138 | 33.114
40170 | 1 | 138 | 0
40171 | 1 | 138 | 19.145
40172 | 1 | 138 | 26.804
42220 | 1 | 138 | 17.937
40180 | 1 | 138 | 29.061
42229 | 1 | 138 | 0
7419 | 1 | 138 | 0
46331 | 1 | 138 | 28.373
46332 | 1 | 138 | 34.741
40190 | 1 | 138 | 27.44
42240 | 1 | 138 | 68.911
40200 | 1 | 138 | 6
42250 | 1 | 138 | 42.75
46351 | 1 | 138 | 62.309
46352 | 1 | 138 | 19.649
40209 | 1 | 138 | 0
40210 | 1 | 138 | 1.039
89360 | 1 | 12.5 | 2.742
42260 | 1 | 138 | 63.823
44310 | 1 | 138 | 54.265
44311 | 1 | 138 | 25.549
40235 | 1 | 138 | 21.185
40240 | 1 | 345 | 0
7474 | 1 | 138 | 21.02
42291 | 1 | 138 | 25.852
42292 | 1 | 138 | 49.92
7478 | 1 | 138 | 0.58
7479 | 1 | 138 | 0
40250 | 1 | 69 | 6.01
40260 | 1 | 138 | 0
42311 | 1 | 138 | 24.947
42312 | 1 | 138 | 24.948
44361 | 1 | 138 | 19.508
44362 | 1 | 138 | 21.143
40270 | 1 | 138 | 0
40275 | 1 | 138 | 65.605
40280 | 1 | 138 | 0
40281 | 1 | 138 | 81.793
40282 | 1 | 138 | 0
7518 | 1 | 138 | 30.17
77150 | 1 | 13.2 | 0
77152 | 1 | 13.2 | 0
40290 | 1 | 138 | 10.121
40300 | 1 | 138 | 133.679
42351 | 1 | 138 | 5.902
40310 | 1 | 138 | 33.214
42360 | 1 | 138 | 0
40320 | 1 | 138 | 33.935
44420 | 1 | 138 | 138.73
44422 | 1 | 138 | 83.058
40330 | 1 | 138 | 13.564
7577 | 1 | 138 | 8.47
40350 | 1 | 138 | 45.352
40352 | 1 | 69 | 0
44450 | 1 | 138 | 220.535
46500 | 1 | 345 | 0
44461 | 1 | 138 | 15.71
44462 | 1 | 138 | 52.671
46510 | 1 | 138 | 0
46511 | 1 | 138 | 46.219
46512 | 1 | 138 | 79.447
40370 | 1 | 138 | 14.202
46520 | 1 | 138 | 0
40380 | 1 | 138 | 23.699
40390 | 1 | 138 | 25.705
40391 | 1 | 138 | 0
40392 | 1 | 138 | 0
40393 | 1 | 34.5 | 0
40400 | 1 | 138 | 26.4
46550 | 1 | 138 | 92.547
46551 | 1 | 138 | 0
46552 | 1 | 138 | 0.173
40410 | 1 | 138 | 36.899
46560 | 1 | 138 | 18.943
46564 | 1 | 138 | 13.009
40420 | 1 | 138 | 10.655
46570 | 1 | 138 | 183.684
40430 | 1 | 138 | 66.124
7665 | 1 | 138 | 32.08
40439 | 1 | 138 | 0
7671 | 1 | 138 | 21.11
40441 | 1 | 138 | 24.396
40442 | 1 | 138 | 29.677
40450 | 1 | 345 | 0
46600 | 1 | 345 | 0
40460 | 1 | 138 | 0
46610 | 1 | 138 | 50.402
46611 | 1 | 138 | 28.062
46612 | 1 | 138 | 29.138
40470 | 1 | 69 | 0
46615 | 1 | 138 | 0
40475 | 1 | 138 | 46.613
46620 | 1 | 69 | 0
7710 | 1 | 138 | 10.88
40480 | 1 | 138 | 230
40490 | 1 | 138 | 6.342
44590 | 1 | 138 | 42.244
44591 | 1 | 138 | 26.827
44592 | 1 | 138 | 26.299
42550 | 1 | 138 | 52.313
42551 | 1 | 138 | 23.468
42561 | 1 | 138 | 30.148
42562 | 1 | 138 | 23.67
46660 | 1 | 138 | 107.37
40520 | 1 | 138 | 11.805
44620 | 1 | 138 | 0
44621 | 1 | 138 | 25.306
44622 | 1 | 138 | 23.267
44623 | 1 | 138 | 27.343
44624 | 1 | 138 | 25.23
44625 | 1 | 138 | 0
40530 | 1 | 138 | 4.386
42581 | 1 | 138 | 15.832
42582 | 1 | 138 | 18.32
42583 | 1 | 138 | 15.352
44630 | 1 | 138 | 85.888
5720 | 1 | 69 | 16.62
5722 | 1 | 69 | 11.38
40540 | 1 | 138 | 1.856
44640 | 1 | 138 | 51.712
5725 | 1 | 345 | 0
5727 | 1 | 138 | 29.628
5728 | 1 | 138 | 4.25
5729 | 1 | 69 | 0
40550 | 1 | 69 | 9.97
42600 | 1 | 69 | 0
40555 | 1 | 138 | 2.046
40559 | 1 | 138 | 0
40560 | 1 | 138 | 8.327
44656 | 1 | 138 | 0
42610 | 1 | 138 | 74.787
42611 | 1 | 138 | 22.296
44657 | 1 | 138 | 0
40570 | 1 | 138 | 108.896
42619 | 1 | 138 | 0
110206 | 1 | 13.8 | 0
110207 | 1 | 13.8 | 0
110208 | 1 | 13.8 | 0
110209 | 1 | 13.8 | 0
40590 | 1 | 138 | 8.276
42651 | 1 | 138 | 19.78
44700 | 1 | 138 | 27.91
42652 | 1 | 138 | 28.516
40610 | 1 | 138 | 0
40611 | 1 | 69 | 14.054
40612 | 1 | 138 | 25.011
40619 | 1 | 69 | 0
40620 | 1 | 138 | 36.25
40630 | 1 | 138 | 6.506
42680 | 1 | 138 | 1.736
42681 | 1 | 138 | 0
40640 | 1 | 138 | 13.105
42690 | 1 | 69 | 33.111
44740 | 1 | 138 | 20.532
40650 | 1 | 138 | 12.485
44760 | 1 | 138 | 52.879
44761 | 1 | 138 | 38.127
44762 | 1 | 138 | 61.036
44780 | 1 | 138 | 151.641
42741 | 1 | 138 | 19.217
42742 | 1 | 138 | 46.714
44790 | 1 | 138 | 0
44791 | 1 | 138 | 30.061
44792 | 1 | 138 | 31.754
44793 | 1 | 138 | 24.032
44795 | 1 | 138 | 0
40700 | 1 | 345 | 0
42750 | 1 | 138 | 0
44801 | 1 | 138 | 36.817
44802 | 1 | 138 | 61.892
40710 | 1 | 138 | 0
42761 | 1 | 138 | 65.042
42762 | 1 | 138 | 111.123
40715 | 1 | 138 | 0
40716 | 1 | 138 | 0
40717 | 1 | 138 | 0
40720 | 1 | 69 | 0
40725 | 1 | 69 | 0
42780 | 1 | 138 | 5.766
42790 | 1 | 138 | 37.264
110377 | 1 | 69 | 163
110378 | 1 | 69 | 0
40751 | 1 | 69 | 7.097
110379 | 1 | 69 | 0
110382 | 1 | 138 | 0
110383 | 1 | 138 | 0
110384 | 1 | 138 | 5
40780 | 1 | 138 | 8.123
42830 | 1 | 138 | 140.459
40790 | 1 | 138 | 16.617
40800 | 1 | 69 | 29.75
44900 | 1 | 345 | 0
49001 | 1 | 23 | 0
49002 | 1 | 23 | 0
40811 | 1 | 138 | 31.488
40812 | 1 | 138 | 20.933
49003 | 1 | 23 | 0
44910 | 1 | 138 | 0
49011 | 1 | 13 | 0
40820 | 1 | 138 | 113.217
49015 | 1 | 12.47 | 0
49016 | 1 | 13 | 0
49017 | 1 | 13 | 0
49018 | 1 | 23 | 0
49019 | 1 | 23 | 0
49020 | 1 | 12.47 | 0
40830 | 1 | 138 | 152.823
40831 | 1 | 138 | 0
49021 | 1 | 13 | 0
49024 | 1 | 23 | 0
49027 | 1 | 13 | 0
40841 | 1 | 138 | 23.093
42890 | 1 | 138 | 26.046
49039 | 1 | 23 | 1.568
49041 | 1 | 23 | 0
49042 | 1 | 13.3 | 0
49043 | 1 | 23 | 0
42900 | 1 | 138 | 4.409
49045 | 1 | 23 | 0
47000 | 1 | 345 | 0
110483 | 1 | 138 | 0
49050 | 1 | 23 | 0
110484 | 1 | 138 | 0
40860 | 1 | 138 | 34.509
49054 | 1 | 23 | 0
49056 | 1 | 13 | 0
47010 | 1 | 138 | 0
47011 | 1 | 138 | 72.971
47012 | 1 | 138 | 25.154
47013 | 1 | 138 | 21.767
47014 | 1 | 138 | 46.848
47015 | 1 | 138 | 0
47016 | 1 | 138 | 0
49058 | 1 | 12.47 | 0
49059 | 1 | 23 | 0
49061 | 1 | 23 | 1.522
49066 | 1 | 12.47 | 0
49067 | 1 | 23 | 0
49070 | 1 | 23 | 0
49071 | 1 | 23 | 0.49
40881 | 1 | 138 | 19.133
42930 | 1 | 138 | 41.972
49075 | 1 | 23 | 0
49076 | 1 | 23 | 0
49082 | 1 | 23 | 0
49083 | 1 | 23 | 1.008
49084 | 1 | 23 | 0
49085 | 1 | 23 | 0
49087 | 1 | 13 | 0
110523 | 1 | 138 | 0
49090 | 1 | 23 | 0
49091 | 1 | 23 | 0
40900 | 1 | 345 | 0
110524 | 1 | 138 | 0
110525 | 1 | 138 | 0
47050 | 1 | 138 | 79.578
42955 | 1 | 138 | 4.401
40911 | 1 | 138 | 62.45
40912 | 1 | 138 | 45.504
42970 | 1 | 138 | 18.568
47071 | 1 | 138 | 22.738
47072 | 1 | 138 | 53.085
40930 | 1 | 138 | 124.591
40941 | 1 | 138 | 28.025
40942 | 1 | 138 | 15.748
47090 | 1 | 138 | 39.657
110578 | 1 | 138 | 25
110579 | 1 | 138 | 25
8184 | 1 | 69 | 1.738
47100 | 1 | 138 | 117.897