## Sensitive buses
Sensitive bus data in the output county map | [9 empty] | POI county
Counties inside the convex hull with sensitive buses
Transmission Buses |  |  |  | Generator Buses | [5 empty] | Counties that have buses N-levels away from POI
Bus Number | Type | Bus kV | Load MW | Bus Number | Type | Bus kV | Gen MW | Summary
25 | 1 | 138 | 4.478 | 120071 | 2 | 18 | 150.0423 | Total Generation "Capacity" (MW) | 2576.6932
26 | 1 | 138 | 0 | 120072 | 2 | 18 | 150.0423 | Total Load (MW) | 1749.725
27 | 1 | 138 | 4 | 120111 | 2 | 18 | 143.9684 | Total Number of Transmission Buses | 239
3104 | 1 | 138 | 0 | 120112 | 2 | 18 | 143.9684 | Total Number of Generation Buses | 18
33 | 1 | 138 | 0 | 120113 | 2 | 18 | 164.9418 | Study County Name | Anderson
3106 | 1 | 138 | 0 | 120114 | 2 | 18 | 140.0176 | POI | 6937
32 | 1 | 138 | 0 | 120115 | 2 | 18 | 140.0176
34 | 1 | 138 | 6.5 | 120116 | 2 | 18 | 162.2166 | List of Study Area Counties
35 | 1 | 138 | 0 | 120141 | 2 | 13.8 | 169.0708 | anderson
3110 | 1 | 138 | 0.914 | 120142 | 2 | 19 | 487.2923 | houston
3111 | 1 | 138 | 0 | 120151 | 2 | 22 | 228.0587 | van zandt
36 | 1 | 69 | 0 | 120191 | 2 | 34.5 | 49.457 | falls
41 | 1 | 138 | 4.637 | 120331 | 2 | 34.5 | 53.983 | madison
3114 | 1 | 138 | 0 | 120381 | 2 | 34.5 | 0 | henderson
37 | 1 | 138 | 1.5 | 996941 | 2 | 0.69 | 180.6752 | robertson
39 | 1 | 138 | 0 | 153191 | 2 | 34.5 | 75.074 | leon
43 | 1 | 69 | 0 | 153192 | 2 | 34.5 | 43.1743 | limestone
45 | 1 | 138 | 8.682 | 120691 | 2 | 34.5 | 94.6931 | navarro
46 | 1 | 138 | 7.19 |  |  |  |  | grimes
47 | 1 | 138 | 0 |  |  |  |  | freestone
48 | 1 | 69 | 10.029 |  |  |  |  | cherokee
3121 | 1 | 138 | 0 |  |  |  |  | milam
13354 | 1 | 138 | 0 |  |  |  |  | smith
53 | 1 | 69 | 3.785
3126 | 1 | 69 | 4.599
57 | 1 | 69 | 13.013
3131 | 1 | 138 | 0
3132 | 1 | 138 | 10.228
64 | 1 | 138 | 3.538
3137 | 1 | 138 | 0
3139 | 1 | 138 | 36.98
3141 | 1 | 138 | 14.671
3143 | 1 | 138 | 0
3145 | 1 | 69 | 0
3146 | 1 | 69 | 13.063
75 | 1 | 69 | 0.368
3147 | 1 | 138 | 0
3148 | 1 | 69 | 0
3149 | 1 | 69 | 4.666
3150 | 1 | 69 | 0
3151 | 1 | 69 | 9.928
3153 | 1 | 69 | 4.22
3152 | 1 | 69 | 1.037
3156 | 1 | 138 | 0
86 | 1 | 138 | 0
3160 | 1 | 138 | 4.612
3161 | 1 | 69 | 0
3162 | 1 | 69 | 18.187
93 | 1 | 69 | 3.444
104 | 1 | 138 | 12.961
3177 | 1 | 138 | 11.289
3179 | 1 | 138 | 11.457
3183 | 1 | 138 | 16.132
3196 | 1 | 138 | 24.051
3197 | 1 | 138 | 0
3200 | 1 | 69 | 0
3201 | 1 | 138 | 32.151
3202 | 1 | 138 | 13.815
3203 | 1 | 138 | 0
3204 | 1 | 138 | 9.133
3205 | 1 | 138 | 17.559
3206 | 1 | 138 | 19.414
3207 | 1 | 138 | 19.856
3208 | 1 | 138 | 0
3209 | 1 | 138 | 13.931
3210 | 1 | 138 | 25.132
3211 | 1 | 138 | 62.11
3212 | 1 | 138 | 63.975
3213 | 1 | 138 | 59.464
3214 | 1 | 138 | 0
3218 | 1 | 138 | 42.715
3219 | 1 | 138 | 67.439
3220 | 1 | 138 | 0
3221 | 1 | 138 | 0
3222 | 1 | 138 | 33.041
3224 | 1 | 138 | 0
3225 | 1 | 138 | 13.879
3227 | 1 | 138 | 21.036
3228 | 1 | 138 | 0
3229 | 1 | 138 | 0
3236 | 1 | 138 | 9.599
3237 | 1 | 138 | 4.647
3238 | 1 | 138 | 25.387
3239 | 1 | 138 | 0
3240 | 1 | 138 | 1.122
3241 | 1 | 69 | 0
3242 | 1 | 69 | 0
3243 | 1 | 69 | 6.902
3244 | 1 | 69 | 6.17
3245 | 1 | 69 | 23.383
3248 | 1 | 138 | 40.489
3249 | 1 | 69 | 0
3250 | 1 | 69 | 14.189
3251 | 1 | 138 | 39.774
3252 | 1 | 69 | 0
3253 | 1 | 138 | 0
3254 | 1 | 69 | 0
3255 | 1 | 69 | 8.823
3256 | 1 | 69 | 3.098
13501 | 1 | 138 | 0
195 | 1 | 69 | 5.013
196 | 1 | 138 | 5.567
197 | 1 | 138 | 0.341
3270 | 1 | 69 | 0.974
3271 | 1 | 138 | 34.949
3272 | 1 | 138 | 37.786
3273 | 1 | 69 | 0
3269 | 1 | 69 | 2.945
3275 | 1 | 138 | 0
3277 | 1 | 138 | 0.501
3278 | 1 | 138 | 0
3279 | 1 | 138 | 0
3280 | 1 | 138 | 9.494
3281 | 1 | 138 | 11.924
209 | 1 | 138 | 8.082
3283 | 1 | 138 | 0
3284 | 1 | 138 | 0
3285 | 1 | 69 | 5.773
3282 | 1 | 138 | 6.057
212 | 1 | 138 | 9.41
3288 | 1 | 69 | 0
3286 | 1 | 69 | 7.493
3290 | 1 | 69 | 0
3291 | 1 | 69 | 0
3289 | 1 | 69 | 0
3293 | 1 | 69 | 1.605
3296 | 1 | 138 | 4.15
3298 | 1 | 138 | 0
3325 | 1 | 138 | 0
3105 | 1 | 345 | 0
3338 | 1 | 13.8 | 0
3107 | 1 | 138 | 48.525
3345 | 1 | 138 | 0
3351 | 1 | 138 | 0
3354 | 1 | 138 | 29.562
3355 | 1 | 138 | 0
3356 | 1 | 138 | 1.356
3357 | 1 | 138 | 0
3358 | 1 | 138 | 11.486
3359 | 1 | 138 | 0
13613 | 1 | 69 | 0
3380 | 1 | 345 | 0
3381 | 1 | 345 | 0
3384 | 1 | 345 | 0
3390 | 1 | 345 | 0
3391 | 1 | 345 | 0
3392 | 1 | 13.8 | 0
3393 | 1 | 69 | 0
3394 | 1 | 138 | 13.9
3395 | 1 | 138 | 0
3396 | 1 | 345 | 69.25
3398 | 1 | 13.8 | 0
3400 | 1 | 345 | 0
13681 | 1 | 138 | 7.75
120192 | 1 | 34.5 | 0
3476 | 1 | 12 | 0
3479 | 1 | 69 | 0
3486 | 1 | 69 | 7.291
3487 | 1 | 69 | 0
3488 | 1 | 69 | 0
3491 | 1 | 69 | 8.946
3492 | 1 | 69 | 0
3495 | 1 | 138 | 17.019
3497 | 1 | 69 | 3.183
3499 | 1 | 138 | 0
3501 | 1 | 138 | 0
3502 | 1 | 138 | 17.496
3503 | 1 | 138 | 20.503
3507 | 1 | 138 | 0
29108 | 1 | 12 | 0
3509 | 1 | 138 | 0
3510 | 1 | 138 | 0
29150 | 1 | 13.2 | 0
24039 | 1 | 22 | 0
3597 | 1 | 138 | 0
3599 | 1 | 138 | 0
3600 | 1 | 138 | 4.197
3603 | 1 | 69 | 0
3604 | 1 | 69 | 11.085
3605 | 1 | 69 | 2.908
3606 | 1 | 69 | 0
3613 | 1 | 69 | 11.206
3614 | 1 | 69 | 0
16934 | 1 | 69 | 0
3625 | 1 | 138 | 19.557
6702 | 1 | 138 | 4.095
3631 | 1 | 138 | 14.308
3632 | 1 | 138 | 17.138
3634 | 1 | 138 | 15.963
6707 | 1 | 138 | 9.497
6709 | 1 | 138 | 13.67
6710 | 1 | 138 | 13.548
6711 | 1 | 138 | 1.84
6715 | 1 | 138 | 12
6716 | 1 | 138 | 0
120382 | 1 | 138 | 0
996937 | 1 | 138 | 0
996938 | 1 | 13.8 | 0
996939 | 1 | 34.5 | 0
996940 | 1 | 34.5 | 0.02
6731 | 1 | 138 | 10.849
6732 | 1 | 138 | 5.941
6733 | 1 | 138 | 11.634
6734 | 1 | 138 | 10.31
6738 | 1 | 138 | 1.502
6739 | 1 | 138 | 4.994
6735 | 1 | 138 | 0
6736 | 1 | 138 | 11.927
6741 | 1 | 138 | 10.682
6742 | 1 | 69 | 11.158
6743 | 1 | 138 | 5.873
6745 | 1 | 138 | 5
3684 | 1 | 69 | 0.897
44645 | 1 | 345 | 0
3685 | 1 | 69 | 23.659
153193 | 1 | 34.5 | 0
153194 | 1 | 34.5 | 0
6805 | 1 | 138 | 1.051
6841 | 1 | 138 | 22.336
6847 | 1 | 138 | 20.657
6849 | 1 | 138 | 14.569
6855 | 1 | 138 | 9.75
3801 | 1 | 138 | 0
6899 | 1 | 138 | 0
6924 | 1 | 69 | 1.272
6930 | 1 | 69 | 8.056
6932 | 1 | 69 | 4.691
6933 | 1 | 69 | 0.723
6935 | 1 | 138 | 3.8
6937 | 1 | 138 | 3.8
6940 | 1 | 138 | 5.007
6942 | 1 | 138 | 0.582
6951 | 1 | 138 | 0
6963 | 1 | 138 | 0
6964 | 1 | 138 | 0
13125 | 1 | 345 | 0
13235 | 1 | 138 | 11.25
46020 | 1 | 345 | 0
13253 | 1 | 138 | 0

## All buses
All bus data in the output county map | [9 empty] | POI county
Counties inside the convex hull with sensitive buses
Transmission Buses |  |  |  | Generator Buses | [5 empty] | Counties that have buses N-levels away from POI
Bus Number | Type | Bus kV | Load MW | Bus Number | Type | Bus kV | Gen MW | Summary
1 | 1 | 138 | 8.4 | 151701 | 2 | 34.5 | 84.5164 | Total Generation "Capacity" (MW) | 8240.8682
2 | 1 | 138 | 0 | 152031 | 2 | 34.5 | 84.5011 | Total Load (MW) | 3569.992
4 | 1 | 138 | 22.075 | 152131 | 2 | 34.5 | 195.4951 | Total Number of Transmission Buses | 439
5 | 1 | 138 | 0 | 152132 | 2 | 34.5 | 129.2643 | Total Number of Generation Buses | 46
8 | 1 | 138 | 13.1 | 152133 | 2 | 34.5 | 66.2443 | Study County Name | Anderson
9 | 1 | 138 | 3.597 | 152139 | 2 | 34.5 | 0 | POI | 6937
13 | 1 | 138 | 5.115 | 150101 | 2 | 25 | 790.4211
17 | 1 | 138 | 0 | 150102 | 2 | 25 | 802.444 | List of Study Area Counties
21 | 1 | 138 | 2.4 | 152431 | 2 | 34.5 | 160.8042 | anderson
26 | 1 | 138 | 0 | 152481 | 2 | 34.5 | 160.8042 | houston
27 | 1 | 138 | 4 | 703641 | 2 | 69 | 4.277 | van zandt
31 | 1 | 69 | 11.3 | 120071 | 2 | 18 | 150.0423 | falls
32 | 1 | 138 | 0 | 120072 | 2 | 18 | 150.0423 | madison
33 | 1 | 138 | 0 | 120091 | 2 | 18 | 157.2345 | henderson
34 | 1 | 138 | 6.5 | 120092 | 2 | 18 | 157.3125 | robertson
35 | 1 | 138 | 0 | 120093 | 2 | 18 | 158.3293 | leon
36 | 1 | 69 | 0 | 120094 | 2 | 22 | 396.0966 | limestone
37 | 1 | 138 | 1.5 | 120111 | 2 | 18 | 143.9684 | navarro
38 | 1 | 69 | 5.302 | 120112 | 2 | 18 | 143.9684 | grimes
39 | 1 | 138 | 0 | 120113 | 2 | 18 | 164.9418 | freestone
41 | 1 | 138 | 4.637 | 120114 | 2 | 18 | 140.0176 | cherokee
43 | 1 | 69 | 0 | 120115 | 2 | 18 | 140.0176 | milam
45 | 1 | 138 | 8.682 | 120116 | 2 | 18 | 162.2166 | smith
46 | 1 | 138 | 7.19 | 120131 | 2 | 24 | 826.5295
47 | 1 | 138 | 0 | 120132 | 2 | 24 | 826.398
48 | 1 | 69 | 10.029 | 120141 | 2 | 13.8 | 169.0708
53 | 1 | 69 | 3.785 | 120142 | 2 | 19 | 487.2923
49208 | 1 | 345 | 0 | 120331 | 2 | 34.5 | 53.983
57 | 1 | 69 | 13.013 | 120381 | 2 | 34.5 | 0
69 | 1 | 69 | 6.871 | 153191 | 2 | 34.5 | 75.074
81 | 1 | 69 | 3.197 | 153192 | 2 | 34.5 | 43.1743
85 | 1 | 69 | 0 | 120491 | 2 | 34.5 | 110.2707
86 | 1 | 138 | 0 | 120492 | 2 | 34.5 | 0
89 | 1 | 69 | 1.248 | 151311 | 2 | 34.5 | 54.6376
91 | 1 | 138 | 0 | 151312 | 2 | 34.5 | 54.0313
92 | 1 | 69 | 4.293 | 120741 | 2 | 34.5 | 0
93 | 1 | 69 | 3.444 | 152731 | 2 | 34.5 | 69.0225
99 | 1 | 69 | 5.165 | 152732 | 2 | 34.5 | 115.8269
103 | 1 | 69 | 5.556 | 120541 | 2 | 34.5 | 24.7802
104 | 1 | 138 | 12.961 | 120542 | 2 | 34.5 | 97.4871
107 | 1 | 69 | 4.753 | 152381 | 2 | 34.5 | 156.887
151702 | 1 | 34.5 | 0 | 152382 | 2 | 34.5 | 49.655
151703 | 1 | 138 | 0 | 120151 | 2 | 22 | 228.0587
185 | 1 | 69 | 4.514 | 120691 | 2 | 34.5 | 94.6931
195 | 1 | 69 | 5.013 | 120191 | 2 | 34.5 | 49.457
196 | 1 | 138 | 5.567 | 151551 | 2 | 34.5 | 111.5797
197 | 1 | 138 | 0.341
209 | 1 | 138 | 8.082
212 | 1 | 138 | 9.41
29150 | 1 | 13.2 | 0
152032 | 1 | 34.5 | 0
152033 | 1 | 138 | 0
16934 | 1 | 69 | 0
6701 | 1 | 138 | 11
6702 | 1 | 138 | 4.095
6703 | 1 | 138 | 10.153
6707 | 1 | 138 | 9.497
6709 | 1 | 138 | 13.67
6710 | 1 | 138 | 13.548
6711 | 1 | 138 | 1.84
6715 | 1 | 138 | 12
6716 | 1 | 138 | 0
152134 | 1 | 34.5 | 0
152135 | 1 | 34.5 | 0
152136 | 1 | 34.5 | 0
152137 | 1 | 34.5 | 0
152138 | 1 | 345 | 0
6735 | 1 | 138 | 0
6736 | 1 | 138 | 11.927
6738 | 1 | 138 | 1.502
6739 | 1 | 138 | 4.994
6741 | 1 | 138 | 10.682
6742 | 1 | 69 | 11.158
6743 | 1 | 138 | 5.873
6855 | 1 | 138 | 9.75
6924 | 1 | 69 | 1.272
6932 | 1 | 69 | 4.691
6933 | 1 | 69 | 0.723
6935 | 1 | 138 | 3.8
6937 | 1 | 138 | 3.8
6940 | 1 | 138 | 5.007
6942 | 1 | 138 | 0.582
152432 | 1 | 34.5 | 0
152433 | 1 | 345 | 0
46020 | 1 | 345 | 0
964 | 1 | 138 | 0
965 | 1 | 12.4 | 0
966 | 1 | 22 | 0
967 | 1 | 345 | 0
46025 | 1 | 138 | 0
969 | 1 | 12.4 | 0
13253 | 1 | 138 | 0
39950 | 1 | 345 | 0
3102 | 1 | 345 | 0
3103 | 1 | 345 | 0
3104 | 1 | 138 | 0
3105 | 1 | 345 | 0
3106 | 1 | 138 | 0
3107 | 1 | 138 | 48.525
3109 | 1 | 345 | 0
3110 | 1 | 138 | 0.914
3111 | 1 | 138 | 0
3112 | 1 | 138 | 0
3114 | 1 | 138 | 0
3115 | 1 | 13.2 | 0
3121 | 1 | 138 | 0
3122 | 1 | 138 | 0
3132 | 1 | 138 | 10.228
3133 | 1 | 345 | 0
3134 | 1 | 345 | 0
3137 | 1 | 138 | 0
3139 | 1 | 138 | 36.98
3141 | 1 | 138 | 14.671
3143 | 1 | 138 | 0
3145 | 1 | 69 | 0
3146 | 1 | 69 | 13.063
3147 | 1 | 138 | 0
3148 | 1 | 69 | 0
3149 | 1 | 69 | 4.666
3150 | 1 | 69 | 0
3151 | 1 | 69 | 9.928
3152 | 1 | 69 | 1.037
3153 | 1 | 69 | 4.22
3156 | 1 | 138 | 0
3160 | 1 | 138 | 4.612
3161 | 1 | 69 | 0
3162 | 1 | 69 | 18.187
3186 | 1 | 345 | 0
3196 | 1 | 138 | 24.051
3197 | 1 | 138 | 0
3199 | 1 | 345 | 0
3201 | 1 | 138 | 32.151
3202 | 1 | 138 | 13.815
3203 | 1 | 138 | 0
3204 | 1 | 138 | 9.133
3205 | 1 | 138 | 17.559
3206 | 1 | 138 | 19.414
3207 | 1 | 138 | 19.856
3208 | 1 | 138 | 0
3209 | 1 | 138 | 13.931
3210 | 1 | 138 | 25.132
3211 | 1 | 138 | 62.11
3212 | 1 | 138 | 63.975
3213 | 1 | 138 | 59.464
3214 | 1 | 138 | 0
3218 | 1 | 138 | 42.715
3219 | 1 | 138 | 67.439
3220 | 1 | 138 | 0
3221 | 1 | 138 | 0
3222 | 1 | 138 | 33.041
3224 | 1 | 138 | 0
3225 | 1 | 138 | 13.879
3227 | 1 | 138 | 21.036
3228 | 1 | 138 | 0
3229 | 1 | 138 | 0
3237 | 1 | 138 | 4.647
3241 | 1 | 69 | 0
3242 | 1 | 69 | 0
3243 | 1 | 69 | 6.902
3244 | 1 | 69 | 6.17
3245 | 1 | 69 | 23.383
3249 | 1 | 69 | 0
3250 | 1 | 69 | 14.189
3251 | 1 | 138 | 39.774
3252 | 1 | 69 | 0
3253 | 1 | 138 | 0
3254 | 1 | 69 | 0
3255 | 1 | 69 | 8.823
3256 | 1 | 69 | 3.098
13501 | 1 | 138 | 0
3270 | 1 | 69 | 0.974
3271 | 1 | 138 | 34.949
3272 | 1 | 138 | 37.786
3273 | 1 | 69 | 0
3275 | 1 | 138 | 0
3277 | 1 | 138 | 0.501
3278 | 1 | 138 | 0
3279 | 1 | 138 | 0
3280 | 1 | 138 | 9.494
3281 | 1 | 138 | 11.924
3282 | 1 | 138 | 6.057
3283 | 1 | 138 | 0
3284 | 1 | 138 | 0
3285 | 1 | 69 | 5.773
13524 | 1 | 69 | 11.53
3288 | 1 | 69 | 0
3290 | 1 | 69 | 0
3291 | 1 | 69 | 0
3293 | 1 | 69 | 1.605
3296 | 1 | 138 | 4.15
3298 | 1 | 138 | 0
3325 | 1 | 138 | 0
3338 | 1 | 13.8 | 0
3357 | 1 | 138 | 0
3358 | 1 | 138 | 11.486
120095 | 1 | 345 | 0
13613 | 1 | 69 | 0
3380 | 1 | 345 | 0
3381 | 1 | 345 | 0
3384 | 1 | 345 | 0
3385 | 1 | 138 | 0
3390 | 1 | 345 | 0
3391 | 1 | 345 | 0
3392 | 1 | 13.8 | 0
3393 | 1 | 69 | 0
3394 | 1 | 138 | 13.9
120133 | 1 | 345 | 0
120134 | 1 | 345 | 0
13639 | 1 | 69 | 0
3400 | 1 | 345 | 0
120135 | 1 | 345 | 0
120136 | 1 | 138 | 0
3395 | 1 | 138 | 0
3396 | 1 | 345 | 69.25
3398 | 1 | 13.8 | 0
13681 | 1 | 138 | 7.75
3487 | 1 | 69 | 0
3488 | 1 | 69 | 0
3491 | 1 | 69 | 8.946
3492 | 1 | 69 | 0
3495 | 1 | 138 | 17.019
3499 | 1 | 138 | 0
3501 | 1 | 138 | 0
3502 | 1 | 138 | 17.496
3503 | 1 | 138 | 20.503
3507 | 1 | 138 | 0
3509 | 1 | 138 | 0
3510 | 1 | 138 | 0
3548 | 1 | 69 | 14.334
3582 | 1 | 138 | 7.702
3588 | 1 | 69 | 0
120332 | 1 | 138 | 0
3597 | 1 | 138 | 0
3599 | 1 | 138 | 0
3600 | 1 | 138 | 4.197
3603 | 1 | 69 | 0
3604 | 1 | 69 | 11.085
3605 | 1 | 69 | 2.908
3606 | 1 | 69 | 0
3613 | 1 | 69 | 11.206
3614 | 1 | 69 | 0
3625 | 1 | 138 | 19.557
3631 | 1 | 138 | 14.308
3632 | 1 | 138 | 17.138
3634 | 1 | 138 | 15.963
3637 | 1 | 69 | 1.306
3638 | 1 | 69 | 0
3641 | 1 | 69 | 6.342
3642 | 1 | 69 | 0
120382 | 1 | 138 | 0
3671 | 1 | 69 | 0
44645 | 1 | 345 | 0
153193 | 1 | 34.5 | 0
153194 | 1 | 34.5 | 0
153195 | 1 | 138 | 0
3694 | 1 | 138 | 0
3695 | 1 | 13.2 | 0
3702 | 1 | 138 | 0
40600 | 1 | 345 | 0
151315 | 1 | 34.5 | 0
151316 | 1 | 34.5 | 0
151317 | 1 | 345 | 0
49060 | 1 | 34.5 | 0
120742 | 1 | 345 | 0
49068 | 1 | 34.5 | 0
151552 | 1 | 34.5 | 0
151553 | 1 | 345 | 0
15 | 1 | 138 | 0
3260 | 1 | 138 | 0
3261 | 1 | 138 | 0.833
25 | 1 | 138 | 4.478
13354 | 1 | 138 | 0
3123 | 1 | 345 | 0
3124 | 1 | 345 | 0
3126 | 1 | 69 | 4.599
3127 | 1 | 138 | 0
3130 | 1 | 345 | 0
3131 | 1 | 138 | 0
61 | 1 | 69 | 6.625
64 | 1 | 138 | 3.538
65 | 1 | 69 | 3.356
67 | 1 | 69 | 0
73 | 1 | 69 | 0
6731 | 1 | 138 | 10.849
6732 | 1 | 138 | 5.941
6733 | 1 | 138 | 11.634
6734 | 1 | 138 | 10.31
24140 | 1 | 13.8 | 0
75 | 1 | 69 | 0.368
77 | 1 | 69 | 3.098
78 | 1 | 69 | 10
3659 | 1 | 138 | 9.356
3661 | 1 | 138 | 77.432
3159 | 1 | 345 | 0
6745 | 1 | 138 | 5
3675 | 1 | 138 | 4.502
3165 | 1 | 138 | 0
3678 | 1 | 138 | 21.148
3167 | 1 | 138 | 0
3168 | 1 | 138 | 0
3683 | 1 | 138 | 0
3684 | 1 | 69 | 0.897
3173 | 1 | 138 | 0
3174 | 1 | 138 | 0
3175 | 1 | 138 | 24.838
3176 | 1 | 138 | 38.14
3177 | 1 | 138 | 11.289
3685 | 1 | 69 | 23.659
3179 | 1 | 138 | 11.457
3180 | 1 | 138 | 0
3181 | 1 | 138 | 7.943
3183 | 1 | 138 | 16.132
110 | 1 | 69 | 4.782
3689 | 1 | 69 | 0.148
170093 | 1 | 138 | 0
3188 | 1 | 138 | 17.257
116 | 1 | 138 | 3.789
3701 | 1 | 138 | 0
120 | 1 | 138 | 7
13429 | 1 | 345 | 0
13430 | 1 | 138 | 0
127 | 1 | 138 | 0.33
3200 | 1 | 69 | 0
13439 | 1 | 13.8 | 0
13440 | 1 | 13.8 | 0
13441 | 1 | 138 | 0
13442 | 1 | 138 | 0
140 | 1 | 138 | 2.578
6802 | 1 | 138 | 0
6805 | 1 | 138 | 1.051
152734 | 1 | 138 | 0
6815 | 1 | 138 | 7.5
3236 | 1 | 138 | 9.599
3238 | 1 | 138 | 25.387
3239 | 1 | 138 | 0
3240 | 1 | 138 | 1.122
6828 | 1 | 138 | 0
6829 | 1 | 138 | 21.314
3248 | 1 | 138 | 40.489
6833 | 1 | 138 | 0
6836 | 1 | 138 | 11.608
6837 | 1 | 138 | 4.177
6841 | 1 | 138 | 22.336
6842 | 1 | 138 | 6.542
3259 | 1 | 138 | 7.233
6843 | 1 | 138 | 9.884
186 | 1 | 69 | 0
3262 | 1 | 138 | 6.14
3263 | 1 | 138 | 3.473
3264 | 1 | 138 | 0.03
3265 | 1 | 138 | 0
6847 | 1 | 138 | 20.657
6849 | 1 | 138 | 14.569
190 | 1 | 69 | 1.523
3269 | 1 | 69 | 2.945
193 | 1 | 69 | 4.004
194 | 1 | 69 | 5.731
198 | 1 | 69 | 8.676
200 | 1 | 138 | 20.063
3276 | 1 | 138 | 13.913
208 | 1 | 138 | 6.911
6867 | 1 | 138 | 0
211 | 1 | 138 | 23.86
213 | 1 | 138 | 2.57
3286 | 1 | 69 | 7.493
3287 | 1 | 138 | 0
3289 | 1 | 69 | 0
3801 | 1 | 138 | 0
120543 | 1 | 34.5 | 0
120544 | 1 | 230 | 0
120545 | 1 | 345 | 0
170094 | 1 | 138 | 0
170095 | 1 | 138 | 0
6899 | 1 | 138 | 0
3840 | 1 | 138 | 0
6917 | 1 | 138 | 2.163
6918 | 1 | 138 | 0
6919 | 1 | 138 | 17.67
6922 | 1 | 138 | 3.302
6926 | 1 | 138 | 11.83
6928 | 1 | 138 | 4.342
3345 | 1 | 138 | 0
6930 | 1 | 69 | 8.056
3351 | 1 | 138 | 0
3354 | 1 | 138 | 29.562
3355 | 1 | 138 | 0
3356 | 1 | 138 | 1.356
6938 | 1 | 138 | 1.888
3359 | 1 | 138 | 0
6951 | 1 | 138 | 0
6963 | 1 | 138 | 0
6964 | 1 | 138 | 0
3386 | 1 | 345 | 0
3387 | 1 | 138 | 0
152383 | 1 | 34.5 | 0
152384 | 1 | 34.5 | 0
152385 | 1 | 345 | 0
13125 | 1 | 345 | 0
3430 | 1 | 138 | 55.049
3431 | 1 | 138 | 261.284
120692 | 1 | 138 | 0
3445 | 1 | 138 | 725
3454 | 1 | 138 | 0
120192 | 1 | 34.5 | 0
120193 | 1 | 138 | 0
3455 | 1 | 138 | 38.641
3456 | 1 | 138 | 27.21
3457 | 1 | 138 | 0
3458 | 1 | 138 | 4.114
3459 | 1 | 138 | 8.322
3460 | 1 | 138 | 0
3461 | 1 | 138 | 29.667
3462 | 1 | 138 | 0
3463 | 1 | 138 | 8.822
3464 | 1 | 69 | 3.515
3466 | 1 | 138 | 3.539
3467 | 1 | 138 | 0.953
3468 | 1 | 69 | 0
3469 | 1 | 138 | 18.009
3470 | 1 | 69 | 2.564
3471 | 1 | 69 | 1.508
3472 | 1 | 138 | 5.401
3476 | 1 | 12 | 0
3477 | 1 | 138 | 0
3478 | 1 | 138 | 0
3479 | 1 | 69 | 0
3480 | 1 | 138 | 5.847
3483 | 1 | 138 | 0
3486 | 1 | 69 | 7.291
3490 | 1 | 138 | 0
3497 | 1 | 69 | 3.183
13235 | 1 | 138 | 11.25
29108 | 1 | 12 | 0
3511 | 1 | 69 | 0.714
3531 | 1 | 69 | 1.373
24039 | 1 | 22 | 0
13431 | 1 | 138 | 0
29176 | 1 | 13.8 | 0
68091 | 1 | 345 | 0