## Sensitive buses
Sensitive bus data in the output county map | [9 empty] | POI county
Counties inside the convex hull with sensitive buses
Transmission Buses |  |  |  | Generator Buses | [5 empty] | Counties that have buses N-levels away from POI
Bus Number | Type | Bus kV | Load MW | Bus Number | Type | Bus kV | Gen MW | Summary
26 | 1 | 138 | 0 | 170021 | 2 | 11.5 | 0 | Total Generation "Capacity" (MW) | 13287.6067
27 | 1 | 138 | 4 | 170031 | 2 | 13.8 | 0 | Total Load (MW) | 15658.9581
31 | 1 | 69 | 11.3 | 170032 | 2 | 13.8 | 0 | Total Number of Transmission Buses | 685
32 | 1 | 138 | 0 | 170033 | 2 | 13.8 | 0 | Total Number of Generation Buses | 124
34 | 1 | 138 | 6.5 | 170041 | 2 | 13.8 | 0 | Study County Name | Bastrop
35 | 1 | 138 | 0 | 170042 | 2 | 13.8 | 0 | POI | 888000
36 | 1 | 69 | 0 | 170051 | 2 | 6.9 | 0
170022 | 1 | 138 | 0 | 170052 | 2 | 6.9 | 0 | List of Study Area Counties
37 | 1 | 138 | 1.5 | 170063 | 2 | 13.8 | 50.6397 | wilson
38 | 1 | 69 | 5.302 | 170064 | 2 | 13.8 | 50.6397 | guadalupe
39 | 1 | 138 | 0 | 170065 | 2 | 13.8 | 49.2681 | milam
43 | 1 | 69 | 0 | 170066 | 2 | 13.8 | 50.6397 | bexar
53 | 1 | 69 | 3.785 | 170071 | 2 | 18 | 146.9794 | travis
61 | 1 | 69 | 6.625 | 170072 | 2 | 18 | 143.2243 | burnet
64 | 1 | 138 | 3.538 | 170073 | 2 | 22 | 363.1721 | comal
65 | 1 | 69 | 3.356 | 170101 | 2 | 24 | 604.615 | fayette
67 | 1 | 69 | 0 | 170102 | 2 | 24 | 599.6081 | leon
69 | 1 | 69 | 6.871 | 170103 | 2 | 28 | 468.5222 | brazos
73 | 1 | 69 | 0 | 170111 | 2 | 4 | 0 | caldwell
75 | 1 | 69 | 0.368 | 170121 | 2 | 24 | 0 | gonzales
77 | 1 | 69 | 3.098 | 170122 | 2 | 24 | 0 | falls
78 | 1 | 69 | 10 | 170123 | 2 | 22 | 439.7975 | kendall
81 | 1 | 69 | 3.197 | 170125 | 2 | 24 | 604.8997 | robertson
93 | 1 | 69 | 3.444 | 170126 | 2 | 24 | 816.6088 | austin
170093 | 1 | 138 | 0 | 170131 | 2 | 20 | 224.1559 | williamson
110 | 1 | 69 | 4.782 | 170132 | 2 | 22 | 243.1094 | bell
170094 | 1 | 138 | 0 | 151701 | 2 | 34.5 | 87.4152 | bastrop
170095 | 1 | 138 | 0 | 170134 | 2 | 18 | 170.7403 | washington
114 | 1 | 69 | 0 | 170135 | 2 | 18 | 178.2359 | blanco
115 | 1 | 138 | 11.131 | 170136 | 2 | 18 | 202.4846 | hays
116 | 1 | 138 | 3.789 | 170137 | 2 | 13.8 | 51.3413
117 | 1 | 138 | 9.916 | 170138 | 2 | 13.8 | 51.3413
120 | 1 | 138 | 7 | 170139 | 2 | 13.8 | 51.3413
121 | 1 | 138 | 7.729 | 170140 | 2 | 13.8 | 50.4077
118 | 1 | 69 | 5.747 | 170152 | 2 | 24 | 0
122 | 1 | 69 | 21.06 | 170153 | 2 | 13.8 | 0
125 | 1 | 138 | 0.02 | 170154 | 2 | 13.8 | 0
126 | 1 | 69 | 0 | 170161 | 2 | 18.1 | 157.0796
128 | 1 | 138 | 0 | 170162 | 2 | 18.1 | 154.6932
127 | 1 | 138 | 0.33 | 170163 | 2 | 18.1 | 211.7286
130 | 1 | 138 | 0 | 170164 | 2 | 18.1 | 153.2351
131 | 1 | 69 | 0 | 170165 | 2 | 18.1 | 155.2611
132 | 1 | 138 | 0 | 170166 | 2 | 18.1 | 211.7286
133 | 1 | 69 | 0 | 170171 | 2 | 18 | 179.9899
136 | 1 | 138 | 14.508 | 170172 | 2 | 18 | 182.7743
139 | 1 | 138 | 0 | 170173 | 2 | 18 | 196.4568
141 | 1 | 138 | 9.068 | 170181 | 2 | 18 | 180.1552
151702 | 1 | 34.5 | 0 | 170182 | 2 | 18 | 180.1552
170167 | 1 | 345 | 0 | 170183 | 2 | 18 | 267.0566
170174 | 1 | 345 | 0 | 170191 | 2 | 21 | 233.4609
170195 | 1 | 345 | 0 | 170192 | 2 | 21 | 234.5789
170196 | 1 | 345 | 0 | 170193 | 2 | 21 | 233.4609
170197 | 1 | 345 | 0 | 170194 | 2 | 21 | 236.1631
170198 | 1 | 345 | 0 | 170201 | 2 | 18 | 177.603
170251 | 1 | 345 | 0 | 170202 | 2 | 18 | 170.5113
53581 | 1 | 34.5 | 0 | 170203 | 2 | 18 | 172.4534
53582 | 1 | 34.5 | 0 | 170204 | 2 | 22 | 333.5119
78195 | 1 | 69 | 12.056 | 170211 | 2 | 13.8 | 56.4408
78207 | 1 | 138 | 0 | 170212 | 2 | 13.8 | 58.6901
78220 | 1 | 138 | 0 | 170213 | 2 | 13.8 | 58.6302
78221 | 1 | 138 | 0 | 170214 | 2 | 13.8 | 54.3848
170383 | 1 | 34.5 | 0 | 170215 | 2 | 18 | 179.8626
24992 | 1 | 13.8 | 0 | 170216 | 2 | 18 | 170.9606
5147 | 1 | 138 | 0 | 170217 | 2 | 13.8 | 55.9514
152032 | 1 | 34.5 | 0 | 170218 | 2 | 13.8 | 55.131
170522 | 1 | 34.5 | 0 | 170331 | 2 | 13.8 | 91.5173
170523 | 1 | 138 | 0 | 170332 | 2 | 13.8 | 91.6973
170572 | 1 | 138 | 0 | 170341 | 2 | 34.5 | 28.1348
170582 | 1 | 138 | 0 | 170381 | 2 | 34.5 | 31.7957
170603 | 1 | 34.5 | 0 | 152031 | 2 | 34.5 | 87.3999
170604 | 1 | 345 | 0 | 709121 | 2 | 138 | 0
5420 | 1 | 138 | 81.952 | 709123 | 2 | 138 | 4.15
170663 | 1 | 138 | 0 | 754190 | 2 | 34.5 | 4.05
170664 | 1 | 138 | 0 | 170521 | 2 | 34.5 | 155.5613
170665 | 1 | 138 | 0 | 170583 | 2 | 34.5 | 57.5529
7462 | 1 | 138 | 55.07 | 170591 | 2 | 34.5 | 0
7463 | 1 | 138 | 22.08 | 170601 | 2 | 34.5 | 139.4887
5429 | 1 | 138 | 20.518 | 170602 | 2 | 34.5 | 75.3771
5430 | 1 | 138 | 77.255 | 707208 | 2 | 138 | 1.272
7518 | 1 | 138 | 32.61 | 709271 | 2 | 138 | 0
78579 | 1 | 69 | 4.72 | 170651 | 2 | 34.5 | 83.984
78580 | 1 | 138 | 8.585 | 705227 | 2 | 138 | 0
78582 | 1 | 138 | 0 | 705234 | 2 | 138 | 0
9001 | 1 | 138 | 0 | 709342 | 2 | 138 | 0
9002 | 1 | 138 | 0 | 705331 | 2 | 138 | 0
9003 | 1 | 138 | 0 | 705370 | 2 | 138 | 0
9004 | 1 | 69 | 0 | 705390 | 2 | 138 | 8.91
9005 | 1 | 138 | 0 | 705410 | 2 | 138 | 3.564
9006 | 1 | 138 | 0 | 705430 | 2 | 138 | 0
9007 | 1 | 69 | 0 | 703426 | 2 | 138 | 0
9008 | 1 | 138 | 0 | 703428 | 2 | 138 | 0
9009 | 1 | 138 | 0 | 713674 | 2 | 138 | 0
9010 | 1 | 138 | 0 | 705485 | 2 | 138 | 4.86
9011 | 1 | 138 | 0 | 707606 | 2 | 138 | 0
9012 | 1 | 138 | 0 | 707609 | 2 | 138 | 0
9014 | 1 | 138 | 0 | 707624 | 2 | 69 | 0
9015 | 1 | 138 | 0 | 703608 | 2 | 138 | 0
9016 | 1 | 138 | 0 | 703610 | 2 | 138 | 0
9017 | 1 | 138 | 0 | 703611 | 2 | 138 | 0
9018 | 1 | 138 | 0 | 703618 | 2 | 138 | 0
3420 | 1 | 138 | 0 | 703654 | 2 | 138 | 0
3421 | 1 | 138 | 12.664 | 703661 | 2 | 138 | 0
3422 | 1 | 345 | 0 | 703668 | 2 | 138 | 0
9041 | 1 | 345 | 0 | 703673 | 2 | 138 | 0
9042 | 1 | 345 | 0 | 888001 | 2 | 345 | 0
9043 | 1 | 345 | 0 | 744640 | 2 | 138 | 1.28
9044 | 1 | 345 | 0 | 120013 | 2 | 13.2 | 20.1246
9045 | 1 | 138 | 14.003 | 120051 | 2 | 13.8 | 107
9048 | 1 | 345 | 0 | 134391 | 2 | 34.5 | 0
9054 | 1 | 138 | 0 | 120071 | 2 | 18 | 155.1162
9071 | 1 | 138 | 0 | 120072 | 2 | 18 | 155.1162
9073 | 1 | 345 | 0 | 177516 | 2 | 12.47 | 0
9074 | 1 | 345 | 0 | 150902 | 2 | 18 | 234.648
9075 | 1 | 138 | 0 | 150903 | 2 | 19 | 336.0591
9076 | 1 | 138 | 35.768 | 150904 | 2 | 18 | 207.8413
9077 | 1 | 138 | 0 | 177532 | 2 | 24.9 | 0
9078 | 1 | 13.2 | 0 | 150906 | 2 | 19 | 344.5052
9079 | 1 | 138 | 17.617 | 703666 | 2 | 138 | 0
9080 | 1 | 69 | 0 | 703667 | 2 | 138 | 0
9081 | 1 | 13.2 | 0 | 150901 | 2 | 18 | 237.4631
9082 | 1 | 138 | 0 | 150905 | 2 | 18 | 207.8413
7040 | 1 | 345 | 0 | 120381 | 2 | 34.5 | 0
7042 | 1 | 345 | 0 | 703609 | 2 | 138 | 0
7043 | 1 | 345 | 0 | 707462 | 2 | 138 | 0
7044 | 1 | 345 | 0
7046 | 1 | 345 | 0
7047 | 1 | 345 | 120
7048 | 1 | 345 | 0
7049 | 1 | 345 | 0
7050 | 1 | 345 | 0
5000 | 1 | 138 | 0
5001 | 1 | 138 | 18.34
5002 | 1 | 138 | 0
5003 | 1 | 138 | 147.077
7055 | 1 | 345 | 0
7056 | 1 | 345 | 0
7057 | 1 | 345 | 0
7058 | 1 | 345 | 0
5005 | 1 | 138 | 39.199
5011 | 1 | 138 | 60.872
7060 | 1 | 138 | 5.56
7065 | 1 | 138 | 3.02
5020 | 1 | 138 | 71.826
9117 | 1 | 138 | 0
9118 | 1 | 138 | 0
9119 | 1 | 69 | 0
9120 | 1 | 138 | 27.483
9121 | 1 | 138 | 37.952
9122 | 1 | 138 | 0
9123 | 1 | 138 | 46.388
5022 | 1 | 138 | 34.561
9125 | 1 | 69 | 0
9127 | 1 | 138 | 0
9128 | 1 | 138 | 19.968
9129 | 1 | 69 | 40.542
9130 | 1 | 13.2 | 0
9132 | 1 | 138 | 124.209
7084 | 1 | 138 | 7.89
54190 | 1 | 34.5 | 0
7514 | 1 | 138 | 21.11
5040 | 1 | 138 | 88.544
9139 | 1 | 138 | 24.186
9143 | 1 | 138 | 10.71
5050 | 1 | 138 | 30.742
9147 | 1 | 138 | 69.722
7100 | 1 | 138 | 35.14
9148 | 1 | 138 | 0
5054 | 1 | 138 | 0
5055 | 1 | 138 | 51.289
7102 | 1 | 138 | 11.28
7103 | 1 | 138 | 8.55
7104 | 1 | 138 | 20.2
5057 | 1 | 13.8 | 0
5051 | 1 | 138 | 40.838
5053 | 1 | 138 | 69.497
5060 | 1 | 13.8 | 0
5056 | 1 | 345 | 0
9155 | 1 | 138 | 33.089
5059 | 1 | 13.8 | 0
9158 | 1 | 138 | 60.129
9160 | 1 | 138 | 35.733
9161 | 1 | 138 | 1.436
9162 | 1 | 138 | 1.495
9163 | 1 | 138 | 12.073
9164 | 1 | 138 | 21.15
9165 | 1 | 138 | 9.878
9166 | 1 | 69 | 35.221
9167 | 1 | 138 | 2.35
9169 | 1 | 138 | 69.356
9171 | 1 | 138 | 54.89
9151 | 1 | 138 | 35.93
5075 | 1 | 138 | 49.95
9175 | 1 | 138 | 40.24
5080 | 1 | 138 | 48.634
9179 | 1 | 138 | 75.192
9183 | 1 | 138 | 54.123
9184 | 1 | 138 | 32.631
5090 | 1 | 138 | 93.676
9187 | 1 | 138 | 0
9188 | 1 | 138 | 0
5093 | 1 | 138 | 45.555
9190 | 1 | 138 | 48.502
9191 | 1 | 138 | 13.68
5095 | 1 | 138 | 54.447
9193 | 1 | 138 | 185.02
5096 | 1 | 138 | 14.843
9195 | 1 | 138 | 18.207
7147 | 1 | 138 | 10.05
9196 | 1 | 138 | 35.497
7150 | 1 | 138 | 0
7148 | 1 | 138 | 0
9198 | 1 | 138 | 2.2
9199 | 1 | 138 | 40.47
7153 | 1 | 138 | 13.38
9200 | 1 | 138 | 42.041
9202 | 1 | 138 | 26.04
7156 | 1 | 138 | 13.64
9203 | 1 | 138 | 37.473
9204 | 1 | 69 | 0
7151 | 1 | 138 | 9.31
9207 | 1 | 138 | 43.118
7155 | 1 | 138 | 0
5110 | 1 | 138 | 0
9213 | 1 | 69 | 0
9214 | 1 | 69 | 0
9216 | 1 | 138 | 7.97
9217 | 1 | 138 | 42.99
7168 | 1 | 138 | 37.83
7169 | 1 | 138 | 26.88
9220 | 1 | 138 | 35.194
7170 | 1 | 138 | 15.79
7174 | 1 | 138 | 20.44
7172 | 1 | 138 | 25.16
7173 | 1 | 138 | 14.93
9224 | 1 | 138 | 0
7178 | 1 | 138 | 12.96
9225 | 1 | 69 | 21.875
7180 | 1 | 138 | 0
5133 | 1 | 345 | 0
7182 | 1 | 138 | 20.92
39950 | 1 | 345 | 0
9226 | 1 | 138 | 0
9227 | 1 | 69 | 40.901
9228 | 1 | 138 | 30.312
7187 | 1 | 138 | 11.34
7179 | 1 | 138 | 0
9235 | 1 | 138 | 17.43
9236 | 1 | 138 | 24.07
9237 | 1 | 138 | 20.824
9238 | 1 | 138 | 58.275
7193 | 1 | 138 | 28.97
9240 | 1 | 138 | 5.012
7194 | 1 | 69 | 18.26
9243 | 1 | 69 | 21.872
9244 | 1 | 69 | 13.983
7195 | 1 | 69 | 19.88
7196 | 1 | 69 | 2.69
9247 | 1 | 138 | 47.191
7202 | 1 | 138 | 0
5155 | 1 | 138 | 41.785
9251 | 1 | 138 | 0
7200 | 1 | 138 | 34.18
9253 | 1 | 138 | 26.83
9254 | 1 | 138 | 25.777
7206 | 1 | 69 | 7.62
7208 | 1 | 138 | 18.86
7209 | 1 | 138 | 0
9257 | 1 | 69 | 53.905
9259 | 1 | 138 | 0
9260 | 1 | 138 | 20.461
9261 | 1 | 138 | 49.683
9262 | 1 | 138 | 38.182
9263 | 1 | 138 | 64.638
7215 | 1 | 69 | 0
7216 | 1 | 138 | 26.99
7217 | 1 | 13.2 | 0
7222 | 1 | 138 | 8.73
9271 | 1 | 138 | 34.864
9267 | 1 | 138 | 78.624
7220 | 1 | 69 | 5.6
9269 | 1 | 69 | 44.711
7227 | 1 | 138 | 13.59
9272 | 1 | 138 | 0
7223 | 1 | 69 | 0
7224 | 1 | 138 | 33.401
9275 | 1 | 138 | 44.147
9276 | 1 | 138 | 19.503
5180 | 1 | 138 | 45.644
9278 | 1 | 138 | 1.743
9279 | 1 | 138 | 24.026
9280 | 1 | 138 | 40.908
9281 | 1 | 138 | 30.225
9282 | 1 | 138 | 26.156
9287 | 1 | 138 | 0
9283 | 1 | 138 | 12.738
9284 | 1 | 138 | 34.332
9285 | 1 | 138 | 22.916
9286 | 1 | 138 | 37.746
9288 | 1 | 138 | 3.468
9289 | 1 | 138 | 2.724
9291 | 1 | 138 | 57.301
7243 | 1 | 138 | 15.7
7245 | 1 | 138 | 18.79
9295 | 1 | 138 | 73.215
5195 | 1 | 138 | 106.969
5200 | 1 | 138 | 111.549
5205 | 1 | 138 | 46.552
5208 | 1 | 138 | 0
5209 | 1 | 138 | 0
5210 | 1 | 138 | 44.233
5211 | 1 | 345 | 0
5212 | 1 | 13.8 | 0
5213 | 1 | 13.8 | 0
5214 | 1 | 13.8 | 0
5215 | 1 | 13.8 | 0
5218 | 1 | 138 | 26.143
13656 | 1 | 138 | 0
5220 | 1 | 138 | 99.962
7269 | 1 | 69 | 0
7270 | 1 | 138 | 18.76
7271 | 1 | 138 | 4.95
13414 | 1 | 13.8 | 0
13415 | 1 | 138 | 0
13657 | 1 | 138 | 0
5227 | 1 | 138 | 37.64
13420 | 1 | 13.8 | 0
5230 | 1 | 138 | 0
5231 | 1 | 345 | 0
9328 | 1 | 138 | 0
9329 | 1 | 13.2 | 0
9330 | 1 | 13.2 | 0
5234 | 1 | 138 | 117.884
13423 | 1 | 13.8 | 0
13429 | 1 | 345 | 0
13430 | 1 | 138 | 0
7286 | 1 | 138 | 4.93
13424 | 1 | 13.8 | 0
7289 | 1 | 138 | 0
13426 | 1 | 138 | 0
7287 | 1 | 138 | 12.63
7288 | 1 | 138 | 0
13439 | 1 | 13.8 | 0
13440 | 1 | 13.8 | 0
13441 | 1 | 138 | 0
13442 | 1 | 138 | 0
7291 | 1 | 138 | 0
9342 | 1 | 138 | 20.894
7294 | 1 | 138 | 23.12
5250 | 1 | 138 | 76.02
5255 | 1 | 138 | 33.239
7306 | 1 | 138 | 0
5257 | 1 | 138 | 93.508
46220 | 1 | 138 | 0
7310 | 1 | 138 | 1.22
7152 | 1 | 138 | 0
7319 | 1 | 138 | 0
7322 | 1 | 138 | 27.1
7323 | 1 | 138 | 23.5
7324 | 1 | 138 | 16.59
7325 | 1 | 138 | 13.33
7326 | 1 | 138 | 20.42
7327 | 1 | 138 | 80
7328 | 1 | 138 | 80
7329 | 1 | 138 | 14.23
7330 | 1 | 138 | 24.17
7331 | 1 | 138 | 12.71
7333 | 1 | 138 | 33.71
7334 | 1 | 138 | 0
7335 | 1 | 138 | 0
7336 | 1 | 138 | 0
7337 | 1 | 138 | 0
5285 | 1 | 138 | 64.602
7340 | 1 | 345 | 0
7341 | 1 | 345 | 0
5290 | 1 | 138 | 28.423
5294 | 1 | 138 | 66.872
7343 | 1 | 138 | 24.63
7345 | 1 | 69 | 0
7346 | 1 | 138 | 96.39
7347 | 1 | 138 | 59.03
7348 | 1 | 138 | 0
5300 | 1 | 138 | 84.429
7350 | 1 | 138 | 0
7351 | 1 | 138 | 12.1
7349 | 1 | 138 | 0
7354 | 1 | 69 | 0
5125 | 1 | 138 | 149.297
7356 | 1 | 138 | 0
5310 | 1 | 138 | 66.823
888000 | 1 | 345 | 0
5311 | 1 | 138 | 23.685
5315 | 1 | 138 | 88.722
7366 | 1 | 138 | 32.83
7367 | 1 | 138 | 33.22
7368 | 1 | 138 | 18.68
5325 | 1 | 138 | 55.207
5130 | 1 | 138 | 46.266
5331 | 1 | 138 | 54.398
5332 | 1 | 138 | 16.027
5132 | 1 | 138 | 24.12
5345 | 1 | 138 | 41.301
5346 | 1 | 138 | 39.93
5355 | 1 | 138 | 176.529
5358 | 1 | 138 | 23.37
7171 | 1 | 138 | 34.26
5360 | 1 | 138 | 56.036
5362 | 1 | 345 | 0
5363 | 1 | 138 | 19.837
77044 | 1 | 13.2 | 0
5368 | 1 | 138 | 0
5369 | 1 | 138 | 66.507
5370 | 1 | 138 | 65.5
7419 | 1 | 138 | 0
5371 | 1 | 345 | 0
5373 | 1 | 13.8 | 0
5374 | 1 | 13.8 | 0
5375 | 1 | 13.8 | 0
5378 | 1 | 138 | 28.146
7175 | 1 | 138 | 39.46
5140 | 1 | 138 | 118.713
7176 | 1 | 138 | 69.71
7177 | 1 | 138 | 33.99
5390 | 1 | 138 | 35.558
77075 | 1 | 13.2 | 0
5143 | 1 | 138 | 67.286
5400 | 1 | 345 | 0
7454 | 1 | 138 | 40.83
7456 | 1 | 138 | 39
7457 | 1 | 138 | 24.82
5410 | 1 | 138 | 96.331
3363 | 1 | 345 | 0
7460 | 1 | 138 | 45.81
7461 | 1 | 138 | 31.13
3362 | 1 | 138 | 0
5415 | 1 | 138 | 91.347
3364 | 1 | 13.8 | 0
5412 | 1 | 138 | 0
7458 | 1 | 138 | 18.82
7459 | 1 | 138 | 0
13608 | 1 | 138 | 15.169
5418 | 1 | 138 | 17.557
13609 | 1 | 138 | 24.129
13610 | 1 | 138 | 46.302
5421 | 1 | 138 | 19.837
7184 | 1 | 138 | 15.86
5417 | 1 | 138 | 5.221
7474 | 1 | 138 | 21.62
5419 | 1 | 138 | 53.085
13620 | 1 | 138 | 22.038
7185 | 1 | 138 | 39.37
5423 | 1 | 138 | 33.59
3384 | 1 | 345 | 0
5427 | 1 | 138 | 35.459
7476 | 1 | 138 | 0
5428 | 1 | 138 | 52.23
7478 | 1 | 138 | 0.64
7479 | 1 | 138 | 0
3390 | 1 | 345 | 0
5150 | 1 | 138 | 70.514
7186 | 1 | 138 | 17.07
5435 | 1 | 138 | 0
13628 | 1 | 138 | 18.567
9223 | 1 | 138 | 54.131
7188 | 1 | 138 | 62.11
5445 | 1 | 138 | 57.644
13640 | 1 | 138 | 10.859
7500 | 1 | 138 | 52.12
7501 | 1 | 138 | 49.31
13646 | 1 | 69 | 0
13647 | 1 | 69 | 0
7190 | 1 | 138 | 20.57
7503 | 1 | 138 | 25.64
5453 | 1 | 138 | 13.659
5455 | 1 | 138 | 0
5456 | 1 | 138 | 7.718
7191 | 1 | 69 | 0
3414 | 1 | 345 | 0
5462 | 1 | 138 | 0
5460 | 1 | 138 | 112.378
5461 | 1 | 138 | 0
3415 | 1 | 138 | 0
7192 | 1 | 138 | 31.39
5466 | 1 | 138 | 33.7
5467 | 1 | 138 | 71.116
13662 | 1 | 138 | 0
7515 | 1 | 138 | 10.25
77152 | 1 | 13.2 | 0
13665 | 1 | 138 | 0
5470 | 1 | 138 | 45.496
5475 | 1 | 345 | 0
7523 | 1 | 138 | 54.47
5102 | 1 | 138 | 15.9
13664 | 1 | 138 | 0
7521 | 1 | 138 | 22.21
3423 | 1 | 138 | 0
3426 | 1 | 138 | 28.93
3427 | 1 | 138 | 22.223
3428 | 1 | 138 | 24.461
3429 | 1 | 138 | 35.433
3430 | 1 | 138 | 55.049
3431 | 1 | 138 | 261.284
13674 | 1 | 138 | 0
7528 | 1 | 138 | 26.56
5160 | 1 | 138 | 30.831
7530 | 1 | 138 | 27.4
5485 | 1 | 138 | 145.981
7532 | 1 | 138 | 40.98
5488 | 1 | 138 | 68.19
7534 | 1 | 138 | 88.46
3445 | 1 | 138 | 725
7538 | 1 | 138 | 25.22
5490 | 1 | 138 | 79.267
7540 | 1 | 138 | 53.77
77180 | 1 | 13.2 | 0
3444 | 1 | 138 | 0
7542 | 1 | 138 | 18.02
7555 | 1 | 138 | 33.77
7556 | 1 | 138 | 26.11
5165 | 1 | 138 | 127.862
7560 | 1 | 138 | 14.75
77150 | 1 | 13.2 | 0
7570 | 1 | 138 | 14.32
7574 | 1 | 138 | 20.1
7576 | 1 | 138 | 2.31
5170 | 1 | 138 | 45.831
3484 | 1 | 138 | 62.39
3485 | 1 | 138 | 300
3494 | 1 | 138 | 37.261
7591 | 1 | 69 | 9.75
7592 | 1 | 69 | 11.98
7594 | 1 | 69 | 5.07
7595 | 1 | 138 | 0
7596 | 1 | 69 | 3.9
7597 | 1 | 69 | 0
7598 | 1 | 138 | 11.64
7615 | 1 | 138 | 23.27
7601 | 1 | 138 | 6.77
7602 | 1 | 138 | 133.48
9245 | 1 | 138 | 37.346
7210 | 1 | 138 | 9.97
7604 | 1 | 138 | 19.85
7606 | 1 | 138 | 28.8
9246 | 1 | 138 | 0
5175 | 1 | 138 | 49.177
7608 | 1 | 138 | 55.99
7609 | 1 | 138 | 32.56
7610 | 1 | 138 | 24.7
7611 | 1 | 138 | 20.36
7612 | 1 | 138 | 15.73
7613 | 1 | 138 | 0
7212 | 1 | 138 | 42.52
7614 | 1 | 69 | 12.12
7616 | 1 | 69 | 9.02
7617 | 1 | 69 | 0
7618 | 1 | 69 | 0
7619 | 1 | 69 | 0
7620 | 1 | 69 | 4.36
7621 | 1 | 138 | 0
7622 | 1 | 69 | 7.25
7624 | 1 | 69 | 2.24
7625 | 1 | 69 | 0
7626 | 1 | 69 | 0
3531 | 1 | 69 | 1.373
3539 | 1 | 138 | 0
3540 | 1 | 138 | 0
3541 | 1 | 138 | 0
7218 | 1 | 69 | 5.83
3549 | 1 | 69 | 5.571
5185 | 1 | 138 | 92.117
77289 | 1 | 13.2 | 0
7221 | 1 | 138 | 0
7665 | 1 | 138 | 33.08
3569 | 1 | 138 | 9.822
5187 | 1 | 138 | 86.353
7672 | 1 | 138 | 41.75
77306 | 1 | 345 | 0
77308 | 1 | 13.2 | 0
77309 | 1 | 13.2 | 0
3581 | 1 | 138 | 12.293
7225 | 1 | 138 | 10.32
7680 | 1 | 138 | 0
7226 | 1 | 138 | 22.72
7228 | 1 | 138 | 23.91
7695 | 1 | 138 | 13.28
3601 | 1 | 138 | 37.053
3602 | 1 | 138 | 0
7229 | 1 | 138 | 53.91
3607 | 1 | 138 | 28.536
7230 | 1 | 69 | 0.22
3608 | 1 | 138 | 47.9
3609 | 1 | 138 | 22.92
3610 | 1 | 138 | 36.551
77340 | 1 | 13.2 | 0
77341 | 1 | 13.2 | 0
7710 | 1 | 138 | 17.02
3611 | 1 | 138 | 63.059
3612 | 1 | 138 | 38.312
3616 | 1 | 138 | 0
3617 | 1 | 138 | 29.737
3618 | 1 | 138 | 46.484
3619 | 1 | 138 | 54.253
3620 | 1 | 138 | 0
3621 | 1 | 138 | 36.421
3622 | 1 | 138 | 0
7233 | 1 | 138 | 6.67
7720 | 1 | 138 | 10.78
3623 | 1 | 138 | 38.801
3624 | 1 | 138 | 49.837
3626 | 1 | 138 | 51.596
3627 | 1 | 138 | 0
3628 | 1 | 138 | 38.367
3629 | 1 | 138 | 19.802
3633 | 1 | 138 | 46.447
3635 | 1 | 138 | 10.816
3636 | 1 | 69 | 29.918
3639 | 1 | 138 | 0
3640 | 1 | 138 | 19.988
3643 | 1 | 69 | 0
3644 | 1 | 69 | 0
120382 | 1 | 138 | 0
3647 | 1 | 69 | 0
3648 | 1 | 69 | 0
3649 | 1 | 69 | 0
3650 | 1 | 138 | 0
3645 | 1 | 69 | 16.872
3646 | 1 | 69 | 4.967
3653 | 1 | 138 | 32.091
3654 | 1 | 138 | 97.607
3656 | 1 | 138 | 72.81
3657 | 1 | 138 | 38.084
3658 | 1 | 138 | 40.589
3659 | 1 | 138 | 9.356
3660 | 1 | 13.8 | 0
3661 | 1 | 138 | 77.432
7758 | 1 | 138 | 19.8
3664 | 1 | 138 | 0
3665 | 1 | 138 | 81.4
3666 | 1 | 138 | 0
3667 | 1 | 138 | 20.297
3668 | 1 | 138 | 117.699
3669 | 1 | 138 | 33.408
3670 | 1 | 138 | 47.85
3672 | 1 | 138 | 124.938
3673 | 1 | 138 | 80.279
7770 | 1 | 345 | 0
7771 | 1 | 13.2 | 0
3674 | 1 | 138 | 31.674
3676 | 1 | 138 | 29.656
3677 | 1 | 138 | 66.035
3679 | 1 | 138 | 5.101
44640 | 1 | 138 | 47.681
3680 | 1 | 138 | 5.1
3675 | 1 | 138 | 4.502
3678 | 1 | 138 | 21.148
3683 | 1 | 138 | 0
3684 | 1 | 69 | 0.897
3685 | 1 | 69 | 23.659
3687 | 1 | 345 | 0
3688 | 1 | 138 | 28.006
3689 | 1 | 69 | 0.148
3690 | 1 | 138 | 1.707
3692 | 1 | 138 | 175
3693 | 1 | 138 | 175
3696 | 1 | 345 | 0
3699 | 1 | 345 | 0
3701 | 1 | 138 | 0
7822 | 1 | 13.2 | 0
7832 | 1 | 13.2 | 0
7834 | 1 | 13.2 | 0
7838 | 1 | 13.2 | 0
13364 | 1 | 13.8 | 0
7891 | 1 | 138 | 26
77532 | 1 | 24.9 | 0
83687 | 1 | 345 | 0
77680 | 1 | 13.2 | 0
77683 | 1 | 13.2 | 0
90001 | 1 | 13.2 | 0
90002 | 1 | 13.2 | 0
90003 | 1 | 13.2 | 0
90004 | 1 | 13.2 | 0
90005 | 1 | 13.2 | 0
90006 | 1 | 13.2 | 0
90007 | 1 | 13.2 | 0
13427 | 1 | 138 | 0
13431 | 1 | 138 | 0

## All buses
All bus data in the output county map | [9 empty] | POI county
Counties inside the convex hull with sensitive buses
Transmission Buses |  |  |  | Generator Buses | [5 empty] | Counties that have buses N-levels away from POI
Bus Number | Type | Bus kV | Load MW | Bus Number | Type | Bus kV | Gen MW | Summary
26 | 1 | 138 | 0 | 703610 | 2 | 138 | 0 | Total Generation "Capacity" (MW) | 17299.6255
27 | 1 | 138 | 4 | 170021 | 2 | 11.5 | 0 | Total Load (MW) | 17450.1491
31 | 1 | 69 | 11.3 | 703611 | 2 | 138 | 0 | Total Number of Transmission Buses | 850
32 | 1 | 138 | 0 | 170031 | 2 | 13.8 | 0 | Total Number of Generation Buses | 155
34 | 1 | 138 | 6.5 | 170032 | 2 | 13.8 | 0 | Study County Name | Bastrop
35 | 1 | 138 | 0 | 170033 | 2 | 13.8 | 0 | POI | 888000
36 | 1 | 69 | 0 | 170063 | 2 | 13.8 | 50.6397
170022 | 1 | 138 | 0 | 170064 | 2 | 13.8 | 50.6397 | List of Study Area Counties
37 | 1 | 138 | 1.5 | 170065 | 2 | 13.8 | 49.2681 | wilson
38 | 1 | 69 | 5.302 | 170066 | 2 | 13.8 | 50.6397 | guadalupe
39 | 1 | 138 | 0 | 170071 | 2 | 18 | 146.9794 | milam
43 | 1 | 69 | 0 | 170072 | 2 | 18 | 143.2243 | bexar
53 | 1 | 69 | 3.785 | 170073 | 2 | 22 | 363.1721 | travis
61 | 1 | 69 | 6.625 | 170101 | 2 | 24 | 604.615 | burnet
64 | 1 | 138 | 3.538 | 170102 | 2 | 24 | 599.6081 | comal
65 | 1 | 69 | 3.356 | 170103 | 2 | 28 | 468.5222 | fayette
67 | 1 | 69 | 0 | 170111 | 2 | 4 | 0 | leon
73 | 1 | 69 | 0 | 170121 | 2 | 24 | 0 | brazos
75 | 1 | 69 | 0.368 | 170122 | 2 | 24 | 0 | caldwell
77 | 1 | 69 | 3.098 | 170123 | 2 | 22 | 439.7975 | gonzales
78 | 1 | 69 | 10 | 170124 | 2 | 24 | 425.6245 | falls
93 | 1 | 69 | 3.444 | 170125 | 2 | 24 | 604.8997 | kendall
170093 | 1 | 138 | 0 | 170126 | 2 | 24 | 816.6088 | robertson
110 | 1 | 69 | 4.782 | 170131 | 2 | 20 | 224.1559 | austin
170094 | 1 | 138 | 0 | 170132 | 2 | 22 | 243.1094 | williamson
170095 | 1 | 138 | 0 | 170133 | 2 | 22 | 437.6074 | bell
114 | 1 | 69 | 0 | 170134 | 2 | 18 | 170.7403 | bastrop
115 | 1 | 138 | 11.131 | 170135 | 2 | 18 | 178.2359 | washington
116 | 1 | 138 | 3.789 | 170136 | 2 | 18 | 202.4846 | blanco
120 | 1 | 138 | 7 | 170137 | 2 | 13.8 | 51.3413 | hays
121 | 1 | 138 | 7.729 | 170138 | 2 | 13.8 | 51.3413
122 | 1 | 69 | 21.06 | 170139 | 2 | 13.8 | 51.3413
117 | 1 | 138 | 9.916 | 170140 | 2 | 13.8 | 50.4077
118 | 1 | 69 | 5.747 | 170152 | 2 | 24 | 0
125 | 1 | 138 | 0.02 | 170153 | 2 | 13.8 | 0
127 | 1 | 138 | 0.33 | 170154 | 2 | 13.8 | 0
126 | 1 | 69 | 0 | 170155 | 2 | 13.8 | 48.5277
128 | 1 | 138 | 0 | 170156 | 2 | 13.8 | 48.5277
130 | 1 | 138 | 0 | 703426 | 2 | 138 | 0
131 | 1 | 69 | 0 | 170161 | 2 | 18.1 | 157.0796
132 | 1 | 138 | 0 | 170162 | 2 | 18.1 | 154.6932
133 | 1 | 69 | 0 | 170163 | 2 | 18.1 | 211.7286
136 | 1 | 138 | 14.508 | 170164 | 2 | 18.1 | 153.2351
139 | 1 | 138 | 0 | 170165 | 2 | 18.1 | 155.2611
141 | 1 | 138 | 9.068 | 170166 | 2 | 18.1 | 211.7286
170167 | 1 | 345 | 0 | 703428 | 2 | 138 | 0
170174 | 1 | 345 | 0 | 170171 | 2 | 18 | 179.9899
170195 | 1 | 345 | 0 | 170172 | 2 | 18 | 182.7743
170196 | 1 | 345 | 0 | 170173 | 2 | 18 | 196.4568
170197 | 1 | 345 | 0 | 170181 | 2 | 18 | 180.1552
170198 | 1 | 345 | 0 | 170182 | 2 | 18 | 180.1552
39950 | 1 | 345 | 0 | 170183 | 2 | 18 | 267.0566
53581 | 1 | 34.5 | 0 | 170191 | 2 | 21 | 233.4609
53582 | 1 | 34.5 | 0 | 170192 | 2 | 21 | 234.5789
7503 | 1 | 138 | 25.64 | 170193 | 2 | 21 | 233.4609
78195 | 1 | 69 | 12.056 | 170194 | 2 | 21 | 236.1631
13610 | 1 | 138 | 46.302 | 170201 | 2 | 18 | 177.603
78207 | 1 | 138 | 0 | 170202 | 2 | 18 | 170.5113
78220 | 1 | 138 | 0 | 170203 | 2 | 18 | 172.4534
170382 | 1 | 138 | 0 | 170204 | 2 | 22 | 333.5119
170383 | 1 | 34.5 | 0 | 703618 | 2 | 138 | 0
78221 | 1 | 138 | 0 | 170211 | 2 | 13.8 | 56.4408
24992 | 1 | 13.8 | 0 | 170212 | 2 | 13.8 | 58.6901
7182 | 1 | 138 | 20.92 | 170213 | 2 | 13.8 | 58.6302
3362 | 1 | 138 | 0 | 170214 | 2 | 13.8 | 54.3848
170522 | 1 | 34.5 | 0 | 170215 | 2 | 18 | 179.8626
170523 | 1 | 138 | 0 | 170216 | 2 | 18 | 170.9606
3363 | 1 | 345 | 0 | 170217 | 2 | 13.8 | 55.9514
3364 | 1 | 13.8 | 0 | 170218 | 2 | 13.8 | 55.131
170572 | 1 | 138 | 0 | 170331 | 2 | 13.8 | 91.5173
170582 | 1 | 138 | 0 | 170332 | 2 | 13.8 | 91.6973
9223 | 1 | 138 | 54.131 | 170341 | 2 | 34.5 | 28.1348
7188 | 1 | 138 | 62.11 | 170381 | 2 | 34.5 | 31.7957
170603 | 1 | 34.5 | 0 | 709121 | 2 | 138 | 0
170604 | 1 | 345 | 0 | 709123 | 2 | 138 | 4.15
7043 | 1 | 345 | 0 | 705035 | 2 | 138 | 0.81
7048 | 1 | 345 | 0 | 754190 | 2 | 34.5 | 4.05
7049 | 1 | 345 | 0 | 705045 | 2 | 138 | 6.48
7190 | 1 | 138 | 20.57 | 170521 | 2 | 34.5 | 155.5613
170663 | 1 | 138 | 0 | 170571 | 2 | 34.5 | 103.5843
170664 | 1 | 138 | 0 | 170581 | 2 | 34.5 | 52.8357
170665 | 1 | 138 | 0 | 170583 | 2 | 34.5 | 57.5529
7191 | 1 | 69 | 0 | 170591 | 2 | 34.5 | 0
7192 | 1 | 138 | 31.39 | 170601 | 2 | 34.5 | 139.4887
7193 | 1 | 138 | 28.97 | 170602 | 2 | 34.5 | 75.3771
78579 | 1 | 69 | 4.72 | 705135 | 2 | 138 | 5.67
3413 | 1 | 345 | 0 | 707208 | 2 | 138 | 1.272
3415 | 1 | 138 | 0 | 709271 | 2 | 138 | 0
9001 | 1 | 138 | 0 | 170651 | 2 | 34.5 | 83.984
9002 | 1 | 138 | 0 | 170661 | 2 | 34.5 | 51.5886
9003 | 1 | 138 | 0 | 170662 | 2 | 34.5 | 51.5886
9004 | 1 | 69 | 0 | 705227 | 2 | 138 | 0
9005 | 1 | 138 | 0 | 705234 | 2 | 138 | 0
9006 | 1 | 138 | 0 | 709342 | 2 | 138 | 0
9007 | 1 | 69 | 0 | 170721 | 2 | 138 | 0
9008 | 1 | 138 | 0 | 705305 | 2 | 138 | 0
9009 | 1 | 138 | 0 | 705331 | 2 | 138 | 0
9010 | 1 | 138 | 0 | 705335 | 2 | 138 | 0
9011 | 1 | 138 | 0 | 705370 | 2 | 138 | 0
9012 | 1 | 138 | 0 | 705385 | 2 | 138 | 0
9014 | 1 | 138 | 0 | 705390 | 2 | 138 | 8.91
9015 | 1 | 138 | 0 | 705410 | 2 | 138 | 3.564
9016 | 1 | 138 | 0 | 707462 | 2 | 138 | 0
9017 | 1 | 138 | 0 | 705430 | 2 | 138 | 0
9018 | 1 | 138 | 0 | 705465 | 2 | 138 | 16.2
3420 | 1 | 138 | 0 | 705485 | 2 | 138 | 4.86
3421 | 1 | 138 | 12.664 | 713674 | 2 | 138 | 0
3422 | 1 | 345 | 0 | 707606 | 2 | 138 | 0
5051 | 1 | 138 | 40.838 | 707609 | 2 | 138 | 0
3423 | 1 | 138 | 0 | 703654 | 2 | 138 | 0
9041 | 1 | 345 | 0 | 703608 | 2 | 138 | 0
9042 | 1 | 345 | 0 | 703661 | 2 | 138 | 0
9043 | 1 | 345 | 0 | 703666 | 2 | 138 | 0
9044 | 1 | 345 | 0 | 703668 | 2 | 138 | 0
9045 | 1 | 138 | 14.003 | 703673 | 2 | 138 | 0
9054 | 1 | 138 | 0 | 134391 | 2 | 34.5 | 0
3427 | 1 | 138 | 22.223 | 120071 | 2 | 18 | 155.1162
3428 | 1 | 138 | 24.461 | 120072 | 2 | 18 | 155.1162
9048 | 1 | 345 | 0 | 120131 | 2 | 24 | 856.0856
3429 | 1 | 138 | 35.433 | 120132 | 2 | 24 | 855.9587
7500 | 1 | 138 | 52.12 | 703667 | 2 | 138 | 0
7501 | 1 | 138 | 49.31 | 150901 | 2 | 18 | 237.4631
9071 | 1 | 138 | 0 | 150902 | 2 | 18 | 234.648
9073 | 1 | 345 | 0 | 150903 | 2 | 19 | 336.0591
9074 | 1 | 345 | 0 | 150904 | 2 | 18 | 207.8413
9075 | 1 | 138 | 0 | 177532 | 2 | 24.9 | 0
9076 | 1 | 138 | 35.768 | 150905 | 2 | 18 | 207.8413
9077 | 1 | 138 | 0 | 150906 | 2 | 19 | 344.5052
9078 | 1 | 13.2 | 0 | 120381 | 2 | 34.5 | 0
9079 | 1 | 138 | 17.617 | 703609 | 2 | 138 | 0
9080 | 1 | 69 | 0 | 152139 | 2 | 34.5 | 0
9082 | 1 | 138 | 0 | 707624 | 2 | 69 | 0
9081 | 1 | 13.2 | 0 | 170041 | 2 | 13.8 | 0
7040 | 1 | 345 | 0 | 170042 | 2 | 13.8 | 0
7042 | 1 | 345 | 0 | 170051 | 2 | 6.9 | 0
7044 | 1 | 345 | 0 | 170052 | 2 | 6.9 | 0
7047 | 1 | 345 | 120 | 152131 | 2 | 34.5 | 202.5066
5000 | 1 | 138 | 0 | 152132 | 2 | 34.5 | 133.903
5001 | 1 | 138 | 18.34 | 152133 | 2 | 34.5 | 68.6265
7050 | 1 | 345 | 0 | 151701 | 2 | 34.5 | 87.4152
5002 | 1 | 138 | 0 | 703641 | 2 | 69 | 4.277
5003 | 1 | 138 | 147.077 | 170671 | 2 | 345 | 372.1336
5005 | 1 | 138 | 39.199 | 732853 | 2 | 138 | 0
5007 | 1 | 138 | 0 | 153191 | 2 | 34.5 | 77.7605
5011 | 1 | 138 | 60.872 | 153192 | 2 | 34.5 | 44.7129
7055 | 1 | 345 | 0 | 744640 | 2 | 138 | 1.28
7056 | 1 | 345 | 0 | 120013 | 2 | 13.2 | 20.1246
7057 | 1 | 345 | 0 | 120051 | 2 | 13.8 | 107
7058 | 1 | 345 | 0 | 120052 | 2 | 13.8 | 45
5020 | 1 | 138 | 71.826 | 120053 | 2 | 13.8 | 47
9117 | 1 | 138 | 0 | 120081 | 2 | 12.47 | 35.5563
5022 | 1 | 138 | 34.561 | 120082 | 2 | 12.47 | 11.3532
9118 | 1 | 138 | 0 | 744740 | 2 | 138 | 8.1
9119 | 1 | 69 | 0 | 177516 | 2 | 12.47 | 0
5025 | 1 | 138 | 0 | 152031 | 2 | 34.5 | 87.3999
9120 | 1 | 138 | 27.483
9121 | 1 | 138 | 37.952
9122 | 1 | 138 | 0
9123 | 1 | 138 | 46.388
5030 | 1 | 138 | 0
9125 | 1 | 69 | 0
9127 | 1 | 138 | 0
9128 | 1 | 138 | 19.968
9129 | 1 | 69 | 40.542
5035 | 1 | 138 | 33.969
9130 | 1 | 13.2 | 0
9132 | 1 | 138 | 124.209
54190 | 1 | 34.5 | 0
7514 | 1 | 138 | 21.11
5040 | 1 | 138 | 88.544
7515 | 1 | 138 | 10.25
9139 | 1 | 138 | 24.186
5045 | 1 | 138 | 58.138
9143 | 1 | 138 | 10.71
5050 | 1 | 138 | 30.742
9147 | 1 | 138 | 69.722
9148 | 1 | 138 | 0
5053 | 1 | 138 | 69.497
5054 | 1 | 138 | 0
5055 | 1 | 138 | 51.289
5056 | 1 | 345 | 0
5057 | 1 | 13.8 | 0
9151 | 1 | 138 | 35.93
5059 | 1 | 13.8 | 0
5060 | 1 | 13.8 | 0
9155 | 1 | 138 | 33.089
9158 | 1 | 138 | 60.129
9160 | 1 | 138 | 35.733
9161 | 1 | 138 | 1.436
9162 | 1 | 138 | 1.495
9163 | 1 | 138 | 12.073
9164 | 1 | 138 | 21.15
9165 | 1 | 138 | 9.878
9166 | 1 | 69 | 35.221
9167 | 1 | 138 | 2.35
9169 | 1 | 138 | 69.356
5075 | 1 | 138 | 49.95
9171 | 1 | 138 | 54.89
9175 | 1 | 138 | 40.24
5080 | 1 | 138 | 48.634
9179 | 1 | 138 | 75.192
5085 | 1 | 138 | 65.046
9183 | 1 | 138 | 54.123
9184 | 1 | 138 | 32.631
5090 | 1 | 138 | 93.676
9187 | 1 | 138 | 0
9188 | 1 | 138 | 0
5093 | 1 | 138 | 45.555
9190 | 1 | 138 | 48.502
5095 | 1 | 138 | 54.447
5096 | 1 | 138 | 14.843
9191 | 1 | 138 | 13.68
9193 | 1 | 138 | 185.02
9195 | 1 | 138 | 18.207
9196 | 1 | 138 | 35.497
5102 | 1 | 138 | 15.9
9198 | 1 | 138 | 2.2
9199 | 1 | 138 | 40.47
9200 | 1 | 138 | 42.041
9202 | 1 | 138 | 26.04
9203 | 1 | 138 | 37.473
9204 | 1 | 69 | 0
5110 | 1 | 138 | 0
9207 | 1 | 138 | 43.118
9213 | 1 | 69 | 0
9214 | 1 | 69 | 0
9216 | 1 | 138 | 7.97
9217 | 1 | 138 | 42.99
7170 | 1 | 138 | 15.79
7171 | 1 | 138 | 34.26
9220 | 1 | 138 | 35.194
5125 | 1 | 138 | 149.297
7172 | 1 | 138 | 25.16
7173 | 1 | 138 | 14.93
5128 | 1 | 138 | 15.9
9224 | 1 | 138 | 0
7178 | 1 | 138 | 12.96
5130 | 1 | 138 | 46.266
7180 | 1 | 138 | 0
5133 | 1 | 345 | 0
9225 | 1 | 69 | 21.875
5135 | 1 | 138 | 19.383
9226 | 1 | 138 | 0
9227 | 1 | 69 | 40.901
9228 | 1 | 138 | 30.312
9235 | 1 | 138 | 17.43
5140 | 1 | 138 | 118.713
9236 | 1 | 138 | 24.07
5143 | 1 | 138 | 67.286
9237 | 1 | 138 | 20.824
9238 | 1 | 138 | 58.275
5147 | 1 | 138 | 0
9240 | 1 | 138 | 5.012
9243 | 1 | 69 | 21.872
5150 | 1 | 138 | 70.514
9244 | 1 | 69 | 13.983
9247 | 1 | 138 | 47.191
7194 | 1 | 69 | 18.26
7202 | 1 | 138 | 0
9251 | 1 | 138 | 0
7195 | 1 | 69 | 19.88
9253 | 1 | 138 | 26.83
9254 | 1 | 138 | 25.777
7206 | 1 | 69 | 7.62
5160 | 1 | 138 | 30.831
7208 | 1 | 138 | 18.86
7209 | 1 | 138 | 0
9257 | 1 | 69 | 53.905
9259 | 1 | 138 | 0
5165 | 1 | 138 | 127.862
9260 | 1 | 138 | 20.461
9261 | 1 | 138 | 49.683
9262 | 1 | 138 | 38.182
9263 | 1 | 138 | 64.638
5170 | 1 | 138 | 45.831
9267 | 1 | 138 | 78.624
7215 | 1 | 69 | 0
7221 | 1 | 138 | 0
7222 | 1 | 138 | 8.73
5175 | 1 | 138 | 49.177
9269 | 1 | 69 | 44.711
7225 | 1 | 138 | 10.32
7226 | 1 | 138 | 22.72
7227 | 1 | 138 | 13.59
7228 | 1 | 138 | 23.91
7229 | 1 | 138 | 53.91
9271 | 1 | 138 | 34.864
9272 | 1 | 138 | 0
9275 | 1 | 138 | 44.147
5185 | 1 | 138 | 92.117
9276 | 1 | 138 | 19.503
5187 | 1 | 138 | 86.353
9278 | 1 | 138 | 1.743
9279 | 1 | 138 | 24.026
5190 | 1 | 138 | 48.002
9280 | 1 | 138 | 40.908
9281 | 1 | 138 | 30.225
9282 | 1 | 138 | 26.156
9283 | 1 | 138 | 12.738
5195 | 1 | 138 | 106.969
9284 | 1 | 138 | 34.332
9285 | 1 | 138 | 22.916
9286 | 1 | 138 | 37.746
9287 | 1 | 138 | 0
5200 | 1 | 138 | 111.549
9288 | 1 | 138 | 3.468
9289 | 1 | 138 | 2.724
9291 | 1 | 138 | 57.301
9295 | 1 | 138 | 73.215
5205 | 1 | 138 | 46.552
7247 | 1 | 69 | 0
7248 | 1 | 138 | 14.66
5208 | 1 | 138 | 0
5209 | 1 | 138 | 0
5210 | 1 | 138 | 44.233
5211 | 1 | 345 | 0
5212 | 1 | 13.8 | 0
5213 | 1 | 13.8 | 0
5214 | 1 | 13.8 | 0
5215 | 1 | 13.8 | 0
5218 | 1 | 138 | 26.143
5220 | 1 | 138 | 99.962
13414 | 1 | 13.8 | 0
13415 | 1 | 138 | 0
7273 | 1 | 138 | 6.59
7274 | 1 | 138 | 7.4
5227 | 1 | 138 | 37.64
7275 | 1 | 138 | 13.01
7276 | 1 | 138 | 27.59
5230 | 1 | 138 | 0
5231 | 1 | 345 | 0
9328 | 1 | 138 | 0
9329 | 1 | 13.2 | 0
5234 | 1 | 138 | 117.884
9330 | 1 | 13.2 | 0
7278 | 1 | 138 | 0
13429 | 1 | 345 | 0
13430 | 1 | 138 | 0
13431 | 1 | 138 | 0
7288 | 1 | 138 | 0
7286 | 1 | 138 | 4.93
13426 | 1 | 138 | 0
13427 | 1 | 138 | 0
9342 | 1 | 138 | 20.894
13439 | 1 | 13.8 | 0
13440 | 1 | 13.8 | 0
13441 | 1 | 138 | 0
13442 | 1 | 138 | 0
5250 | 1 | 138 | 76.02
7297 | 1 | 138 | 0
7299 | 1 | 138 | 9.28
5255 | 1 | 138 | 33.239
7304 | 1 | 138 | 0
5257 | 1 | 138 | 93.508
7306 | 1 | 138 | 0
7307 | 1 | 138 | 0
5260 | 1 | 138 | 0
7309 | 1 | 138 | 0
7308 | 1 | 138 | 15.04
7310 | 1 | 138 | 1.22
7312 | 1 | 138 | 12.79
7314 | 1 | 138 | 20.07
7315 | 1 | 69 | 0
7318 | 1 | 138 | 7.45
7319 | 1 | 138 | 0
7322 | 1 | 138 | 27.1
7323 | 1 | 138 | 23.5
7324 | 1 | 138 | 16.59
7325 | 1 | 138 | 13.33
7326 | 1 | 138 | 20.42
7327 | 1 | 138 | 80
7328 | 1 | 138 | 80
7329 | 1 | 138 | 14.23
7330 | 1 | 138 | 24.17
7331 | 1 | 138 | 12.71
5285 | 1 | 138 | 64.602
7333 | 1 | 138 | 33.71
7334 | 1 | 138 | 0
7335 | 1 | 138 | 0
7336 | 1 | 138 | 0
5290 | 1 | 138 | 28.423
7337 | 1 | 138 | 0
5294 | 1 | 138 | 66.872
7340 | 1 | 345 | 0
5297 | 1 | 138 | 11.793
7341 | 1 | 345 | 0
7343 | 1 | 138 | 24.63
5300 | 1 | 138 | 84.429
7349 | 1 | 138 | 0
7345 | 1 | 69 | 0
7346 | 1 | 138 | 96.39
7347 | 1 | 138 | 59.03
5305 | 1 | 138 | 68.984
7354 | 1 | 69 | 0
7356 | 1 | 138 | 0
5310 | 1 | 138 | 66.823
5311 | 1 | 138 | 23.685
5315 | 1 | 138 | 88.722
5317 | 1 | 138 | 7.11
7366 | 1 | 138 | 32.83
7367 | 1 | 138 | 33.22
7368 | 1 | 138 | 18.68
5325 | 1 | 138 | 55.207
5330 | 1 | 138 | 29.173
5331 | 1 | 138 | 54.398
5332 | 1 | 138 | 16.027
5335 | 1 | 138 | 52.147
5345 | 1 | 138 | 41.301
5346 | 1 | 138 | 39.93
5350 | 1 | 138 | 26.38
5355 | 1 | 138 | 176.529
5358 | 1 | 138 | 23.37
5360 | 1 | 138 | 56.036
5362 | 1 | 345 | 0
5363 | 1 | 138 | 19.837
77044 | 1 | 13.2 | 0
5368 | 1 | 138 | 0
5369 | 1 | 138 | 66.507
5370 | 1 | 138 | 65.5
5371 | 1 | 345 | 0
5373 | 1 | 13.8 | 0
5374 | 1 | 13.8 | 0
5375 | 1 | 13.8 | 0
7174 | 1 | 138 | 20.44
5378 | 1 | 138 | 28.146
7175 | 1 | 138 | 39.46
5385 | 1 | 138 | 60.299
7176 | 1 | 138 | 69.71
5390 | 1 | 138 | 35.558
7177 | 1 | 138 | 33.99
5394 | 1 | 138 | 25.679
5395 | 1 | 138 | 0
77075 | 1 | 13.2 | 0
5400 | 1 | 345 | 0
7179 | 1 | 138 | 0
7454 | 1 | 138 | 40.83
7456 | 1 | 138 | 39
7457 | 1 | 138 | 24.82
5410 | 1 | 138 | 96.331
7458 | 1 | 138 | 18.82
7459 | 1 | 138 | 0
7461 | 1 | 138 | 31.13
7460 | 1 | 138 | 45.81
5415 | 1 | 138 | 91.347
7462 | 1 | 138 | 55.07
5417 | 1 | 138 | 5.221
7463 | 1 | 138 | 22.08
5419 | 1 | 138 | 53.085
5420 | 1 | 138 | 81.952
5421 | 1 | 138 | 19.837
5423 | 1 | 138 | 33.59
13608 | 1 | 138 | 15.169
13609 | 1 | 138 | 24.129
5427 | 1 | 138 | 35.459
5428 | 1 | 138 | 52.23
5429 | 1 | 138 | 20.518
5430 | 1 | 138 | 77.255
7476 | 1 | 138 | 0
13620 | 1 | 138 | 22.038
7184 | 1 | 138 | 15.86
7185 | 1 | 138 | 39.37
5435 | 1 | 138 | 0
13628 | 1 | 138 | 18.567
7186 | 1 | 138 | 17.07
7187 | 1 | 138 | 11.34
5445 | 1 | 138 | 57.644
120133 | 1 | 345 | 0
120134 | 1 | 345 | 0
3400 | 1 | 345 | 0
120135 | 1 | 345 | 0
5453 | 1 | 138 | 13.659
120136 | 1 | 138 | 0
5455 | 1 | 138 | 0
5456 | 1 | 138 | 7.718
13647 | 1 | 69 | 0
13646 | 1 | 69 | 0
5460 | 1 | 138 | 112.378
5461 | 1 | 138 | 0
5462 | 1 | 138 | 0
3412 | 1 | 345 | 0
13656 | 1 | 138 | 0
5465 | 1 | 138 | 40.048
5466 | 1 | 138 | 33.7
5467 | 1 | 138 | 71.116
13657 | 1 | 138 | 0
5470 | 1 | 138 | 45.496
3414 | 1 | 345 | 0
13664 | 1 | 138 | 0
13665 | 1 | 138 | 0
7521 | 1 | 138 | 22.21
5475 | 1 | 345 | 0
7523 | 1 | 138 | 54.47
3430 | 1 | 138 | 55.049
3431 | 1 | 138 | 261.284
7528 | 1 | 138 | 26.56
3426 | 1 | 138 | 28.93
7530 | 1 | 138 | 27.4
13674 | 1 | 138 | 0
7532 | 1 | 138 | 40.98
5485 | 1 | 138 | 145.981
7196 | 1 | 69 | 2.69
5488 | 1 | 138 | 68.19
7534 | 1 | 138 | 88.46
5490 | 1 | 138 | 79.267
7538 | 1 | 138 | 25.22
7540 | 1 | 138 | 53.77
3445 | 1 | 138 | 725
7542 | 1 | 138 | 18.02
3444 | 1 | 138 | 0
77180 | 1 | 13.2 | 0
150907 | 1 | 345 | 0
150908 | 1 | 345 | 0
7200 | 1 | 138 | 34.18
7555 | 1 | 138 | 33.77
7556 | 1 | 138 | 26.11
7558 | 1 | 69 | 7.77
7560 | 1 | 138 | 14.75
7564 | 1 | 138 | 21.61
7565 | 1 | 138 | 16.74
7570 | 1 | 138 | 14.32
7572 | 1 | 138 | 7.59
7574 | 1 | 138 | 20.1
7575 | 1 | 138 | 10.51
7576 | 1 | 138 | 2.31
3484 | 1 | 138 | 62.39
3485 | 1 | 138 | 300
3494 | 1 | 138 | 37.261
7595 | 1 | 138 | 0
7596 | 1 | 69 | 3.9
7597 | 1 | 69 | 0
7598 | 1 | 138 | 11.64
7601 | 1 | 138 | 6.77
7602 | 1 | 138 | 133.48
9245 | 1 | 138 | 37.346
7604 | 1 | 138 | 19.85
7210 | 1 | 138 | 9.97
7606 | 1 | 138 | 28.8
9246 | 1 | 138 | 0
7608 | 1 | 138 | 55.99
7609 | 1 | 138 | 32.56
7610 | 1 | 138 | 24.7
7611 | 1 | 138 | 20.36
7612 | 1 | 138 | 15.73
7613 | 1 | 138 | 0
7212 | 1 | 138 | 42.52
7619 | 1 | 69 | 0
3531 | 1 | 69 | 1.373
5180 | 1 | 138 | 45.644
7216 | 1 | 138 | 26.99
3539 | 1 | 138 | 0
3540 | 1 | 138 | 0
3541 | 1 | 138 | 0
7217 | 1 | 13.2 | 0
7218 | 1 | 69 | 5.83
3549 | 1 | 69 | 5.571
7220 | 1 | 69 | 5.6
77289 | 1 | 13.2 | 0
3569 | 1 | 138 | 9.822
7223 | 1 | 69 | 0
7672 | 1 | 138 | 41.75
77306 | 1 | 345 | 0
7224 | 1 | 138 | 33.401
77308 | 1 | 13.2 | 0
77309 | 1 | 13.2 | 0
3581 | 1 | 138 | 12.293
7680 | 1 | 138 | 0
7695 | 1 | 138 | 13.28
3601 | 1 | 138 | 37.053
3602 | 1 | 138 | 0
3607 | 1 | 138 | 28.536
3608 | 1 | 138 | 47.9
3609 | 1 | 138 | 22.92
3610 | 1 | 138 | 36.551
3611 | 1 | 138 | 63.059
77340 | 1 | 13.2 | 0
77341 | 1 | 13.2 | 0
3612 | 1 | 138 | 38.312
3616 | 1 | 138 | 0
3617 | 1 | 138 | 29.737
3618 | 1 | 138 | 46.484
3619 | 1 | 138 | 54.253
3620 | 1 | 138 | 0
3621 | 1 | 138 | 36.421
3622 | 1 | 138 | 0
3623 | 1 | 138 | 38.801
7720 | 1 | 138 | 10.78
3624 | 1 | 138 | 49.837
3626 | 1 | 138 | 51.596
3627 | 1 | 138 | 0
3628 | 1 | 138 | 38.367
3629 | 1 | 138 | 19.802
3633 | 1 | 138 | 46.447
3635 | 1 | 138 | 10.816
3636 | 1 | 69 | 29.918
3639 | 1 | 138 | 0
3640 | 1 | 138 | 19.988
3643 | 1 | 69 | 0
3644 | 1 | 69 | 0
120382 | 1 | 138 | 0
3647 | 1 | 69 | 0
3648 | 1 | 69 | 0
3649 | 1 | 69 | 0
3650 | 1 | 138 | 0
3645 | 1 | 69 | 16.872
3646 | 1 | 69 | 4.967
3653 | 1 | 138 | 32.091
3654 | 1 | 138 | 97.607
3656 | 1 | 138 | 72.81
3657 | 1 | 138 | 38.084
3658 | 1 | 138 | 40.589
3659 | 1 | 138 | 9.356
3660 | 1 | 13.8 | 0
3661 | 1 | 138 | 77.432
7758 | 1 | 138 | 19.8
3664 | 1 | 138 | 0
3665 | 1 | 138 | 81.4
3666 | 1 | 138 | 0
3667 | 1 | 138 | 20.297
3668 | 1 | 138 | 117.699
3669 | 1 | 138 | 33.408
3670 | 1 | 138 | 47.85
3672 | 1 | 138 | 124.938
3673 | 1 | 138 | 80.279
7770 | 1 | 345 | 0
3675 | 1 | 138 | 4.502
7771 | 1 | 13.2 | 0
3674 | 1 | 138 | 31.674
3678 | 1 | 138 | 21.148
3676 | 1 | 138 | 29.656
3677 | 1 | 138 | 66.035
3679 | 1 | 138 | 5.101
3680 | 1 | 138 | 5.1
3683 | 1 | 138 | 0
3684 | 1 | 69 | 0.897
3685 | 1 | 69 | 23.659
3687 | 1 | 345 | 0
3688 | 1 | 138 | 28.006
3689 | 1 | 69 | 0.148
3690 | 1 | 138 | 1.707
3692 | 1 | 138 | 175
3693 | 1 | 138 | 175
3696 | 1 | 345 | 0
3699 | 1 | 345 | 0
3701 | 1 | 138 | 0
7250 | 1 | 138 | 0.13
7252 | 1 | 138 | 25.07
7822 | 1 | 13.2 | 0
13662 | 1 | 138 | 0
7832 | 1 | 13.2 | 0
7834 | 1 | 13.2 | 0
7838 | 1 | 13.2 | 0
13364 | 1 | 13.8 | 0
13640 | 1 | 138 | 10.859
7891 | 1 | 138 | 26
77532 | 1 | 24.9 | 0
7279 | 1 | 138 | 0
7280 | 1 | 138 | 0
7289 | 1 | 138 | 0
7291 | 1 | 138 | 0
7292 | 1 | 138 | 42.3
7294 | 1 | 138 | 23.12
77680 | 1 | 13.2 | 0
77683 | 1 | 13.2 | 0
90001 | 1 | 13.2 | 0
90002 | 1 | 13.2 | 0
90003 | 1 | 13.2 | 0
90004 | 1 | 13.2 | 0
90005 | 1 | 13.2 | 0
90006 | 1 | 13.2 | 0
90007 | 1 | 13.2 | 0
13420 | 1 | 13.8 | 0
13423 | 1 | 13.8 | 0
13424 | 1 | 13.8 | 0
7168 | 1 | 138 | 37.83
7169 | 1 | 138 | 26.88
152138 | 1 | 345 | 0
6 | 1 | 138 | 5.618
5132 | 1 | 138 | 24.12
32780 | 1 | 138 | 0
3599 | 1 | 138 | 0
3600 | 1 | 138 | 4.197
3603 | 1 | 69 | 0
32790 | 1 | 138 | 11.072
32791 | 1 | 12.47 | 0
32792 | 1 | 12.47 | 0
32793 | 1 | 12.47 | 0
32794 | 1 | 12.47 | 40.325
32796 | 1 | 12.47 | 0
32797 | 1 | 12.47 | 0
7710 | 1 | 138 | 17.02
32798 | 1 | 138 | 0
32799 | 1 | 138 | 35.247
33 | 1 | 138 | 0
5155 | 1 | 138 | 41.785
3671 | 1 | 69 | 0
41 | 1 | 138 | 4.637
46 | 1 | 138 | 7.19
47 | 1 | 138 | 0
48 | 1 | 69 | 10.029
3637 | 1 | 69 | 1.306
3638 | 1 | 69 | 0
57 | 1 | 69 | 13.013
3641 | 1 | 69 | 6.342
3642 | 1 | 69 | 0
7230 | 1 | 69 | 0.22
7231 | 1 | 69 | 2.73
7232 | 1 | 69 | 10.7
7233 | 1 | 138 | 6.67
69 | 1 | 69 | 6.871
152134 | 1 | 34.5 | 0
152135 | 1 | 34.5 | 0
7243 | 1 | 138 | 15.7
152136 | 1 | 34.5 | 0
7245 | 1 | 138 | 18.79
152137 | 1 | 34.5 | 0
6735 | 1 | 138 | 0
6736 | 1 | 138 | 11.927
32849 | 1 | 69 | 29.084
6738 | 1 | 138 | 1.502
6739 | 1 | 138 | 4.994
32851 | 1 | 138 | 16.227
86 | 1 | 138 | 0
32852 | 1 | 138 | 8.17
32853 | 1 | 138 | 8.392
32854 | 1 | 138 | 8.649
32855 | 1 | 69 | 0
32856 | 1 | 138 | 0
32859 | 1 | 138 | 5.211
32860 | 1 | 138 | 16.156
32861 | 1 | 69 | 14.203
32862 | 1 | 138 | 0
32863 | 1 | 138 | 19.395
32864 | 1 | 69 | 53.59
44640 | 1 | 138 | 47.681
32869 | 1 | 69 | 26.067
32870 | 1 | 69 | 0
32871 | 1 | 69 | 12.336
7269 | 1 | 69 | 0
32873 | 1 | 69 | 21.798
32874 | 1 | 69 | 26.957
32875 | 1 | 69 | 0
32876 | 1 | 69 | 14.785
32877 | 1 | 69 | 18.286
32878 | 1 | 138 | 17.898
32879 | 1 | 138 | 16.384
32880 | 1 | 138 | 18.319
32881 | 1 | 138 | 7.69
32882 | 1 | 138 | 19.795
3694 | 1 | 138 | 0
3695 | 1 | 13.2 | 0
3702 | 1 | 138 | 0
7287 | 1 | 138 | 12.63
32889 | 1 | 69 | 3.906
32893 | 1 | 138 | 0
32895 | 1 | 138 | 0
32896 | 1 | 138 | 0
32897 | 1 | 138 | 0
46220 | 1 | 138 | 0
151702 | 1 | 34.5 | 0
151703 | 1 | 138 | 0
44700 | 1 | 138 | 18.259
7348 | 1 | 138 | 0
7350 | 1 | 138 | 0
7351 | 1 | 138 | 12.1
185 | 1 | 69 | 4.514
153193 | 1 | 34.5 | 0
44740 | 1 | 138 | 26.636
153194 | 1 | 34.5 | 0
153195 | 1 | 138 | 0
3279 | 1 | 138 | 0
3283 | 1 | 138 | 0
13524 | 1 | 69 | 11.53
7270 | 1 | 138 | 18.76
7271 | 1 | 138 | 4.95
78580 | 1 | 138 | 8.585
78582 | 1 | 138 | 0
7419 | 1 | 138 | 0
32000 | 1 | 138 | 18.73
32001 | 1 | 138 | 48.197
32002 | 1 | 138 | 31.565
32003 | 1 | 138 | 17.817
32004 | 1 | 138 | 23.214
32005 | 1 | 138 | 26.725
32006 | 1 | 138 | 15.076
32007 | 1 | 138 | 30.979
170251 | 1 | 345 | 0
3357 | 1 | 138 | 0
3358 | 1 | 138 | 11.486
5412 | 1 | 138 | 0
5418 | 1 | 138 | 17.557
7474 | 1 | 138 | 21.62
7478 | 1 | 138 | 0.64
7479 | 1 | 138 | 0
3384 | 1 | 345 | 0
3385 | 1 | 138 | 0
3390 | 1 | 345 | 0
3391 | 1 | 345 | 0
3392 | 1 | 13.8 | 0
3393 | 1 | 69 | 0
3394 | 1 | 138 | 13.9
3395 | 1 | 138 | 0
3396 | 1 | 345 | 69.25
3398 | 1 | 13.8 | 0
13639 | 1 | 69 | 0
7518 | 1 | 138 | 32.61
77150 | 1 | 13.2 | 0
77152 | 1 | 13.2 | 0
7046 | 1 | 345 | 0
7060 | 1 | 138 | 5.56
81 | 1 | 69 | 3.197
7065 | 1 | 138 | 3.02
7577 | 1 | 138 | 6.26
3491 | 1 | 69 | 8.946
7591 | 1 | 69 | 9.75
7592 | 1 | 69 | 11.98
7594 | 1 | 69 | 5.07
7084 | 1 | 138 | 7.89
7100 | 1 | 138 | 35.14
7102 | 1 | 138 | 11.28
7103 | 1 | 138 | 8.55
7104 | 1 | 138 | 20.2
7614 | 1 | 69 | 12.12
7615 | 1 | 138 | 23.27
7616 | 1 | 69 | 9.02
7617 | 1 | 69 | 0
7618 | 1 | 69 | 0
7620 | 1 | 69 | 4.36
7621 | 1 | 138 | 0
7622 | 1 | 69 | 7.25
7624 | 1 | 69 | 2.24
7625 | 1 | 69 | 0
5068 | 1 | 345 | 0
975 | 1 | 345 | 0
7626 | 1 | 69 | 0
91 | 1 | 138 | 0
978 | 1 | 12.5 | 0
92 | 1 | 69 | 4.293
3548 | 1 | 69 | 14.334
152032 | 1 | 34.5 | 0
152033 | 1 | 138 | 0
7147 | 1 | 138 | 10.05
7148 | 1 | 138 | 0
7150 | 1 | 138 | 0
7151 | 1 | 138 | 9.31
7152 | 1 | 138 | 0
7153 | 1 | 138 | 13.38
7665 | 1 | 138 | 33.08
7155 | 1 | 138 | 0
7156 | 1 | 138 | 13.64
3582 | 1 | 138 | 7.702