## Sensitive buses
Sensitive bus data in the output county map | [9 empty] | POI county
Counties inside the convex hull with sensitive buses
Transmission Buses |  |  |  | Generator Buses | [5 empty] | Counties that have buses N-levels away from POI
Bus Number | Type | Bus kV | Load MW | Bus Number | Type | Bus kV | Gen MW | Summary
1 | 1 | 138 | 8.4 | 744570 | 2 | 138 | 0 | Total Generation "Capacity" (MW) | 10837.4617
2 | 1 | 138 | 0 | 151701 | 2 | 34.5 | 90.3478 | Total Load (MW) | 2303.917
151553 | 1 | 345 | 0 | 703641 | 2 | 69 | 4.277 | Total Number of Transmission Buses | 185
39950 | 1 | 345 | 0 | 110771 | 2 | 18 | 156.7811 | Total Number of Generation Buses | 83
43035 | 1 | 345 | 0 | 110772 | 2 | 18 | 156.7811 | Study County Name | Leon
31 | 1 | 69 | 11.3 | 110773 | 2 | 18 | 268.1301 | POI | 999967
36 | 1 | 69 | 0 | 111801 | 2 | 13.8 | 45.9229
43 | 1 | 69 | 0 | 111802 | 2 | 13.8 | 45.9229 | List of Study Area Counties
47151 | 1 | 138 | 22.61 | 111803 | 2 | 13.8 | 45.9229 | navarro
48 | 1 | 69 | 10.029 | 111804 | 2 | 13.8 | 45.9229 | milam
44081 | 1 | 138 | 52.866 | 111805 | 2 | 13.8 | 45.9229 | waller
44082 | 1 | 138 | 20.525 | 111806 | 2 | 13.8 | 45.9229 | hill
47155 | 1 | 138 | 0 | 111807 | 2 | 13.8 | 47.0582 | falls
49205 | 1 | 345 | 0 | 111808 | 2 | 13.8 | 46.7593 | grimes
49206 | 1 | 345 | 0 | 744652 | 2 | 138 | 0 | ellis
53 | 1 | 69 | 3.785 | 150741 | 2 | 24.5 | 902.454 | brazos
49208 | 1 | 345 | 0 | 111862 | 2 | 34.5 | 180.5876 | harris
49209 | 1 | 345 | 0 | 152831 | 2 | 34.5 | 39.0906 | limestone
57 | 1 | 69 | 13.013 | 120071 | 2 | 18 | 153.1418 | leon
49210 | 1 | 13.2 | 0 | 120072 | 2 | 18 | 153.1418 | brazoria
61 | 1 | 69 | 6.625 | 120111 | 2 | 18 | 145.9854 | fort bend
49216 | 1 | 138 | 0 | 120112 | 2 | 18 | 145.9854 | mclennan
65 | 1 | 69 | 3.356 | 120113 | 2 | 18 | 166.7052 | robertson
67 | 1 | 69 | 0 | 120114 | 2 | 18 | 140.4152 | freestone
44100 | 1 | 138 | 70.765 | 120115 | 2 | 18 | 140.4152 | bosque
69 | 1 | 69 | 6.871 | 120116 | 2 | 18 | 162.5599 | bell
47175 | 1 | 138 | 0 | 744760 | 2 | 138 | 0
73 | 1 | 69 | 0 | 112961 | 2 | 13.8 | 43.1892
77 | 1 | 69 | 3.098 | 112962 | 2 | 13.8 | 43.1892
78 | 1 | 69 | 10 | 112963 | 2 | 13.8 | 43.1892
81 | 1 | 69 | 3.197 | 112964 | 2 | 13.8 | 43.1892
85 | 1 | 69 | 0 | 112965 | 2 | 13.8 | 43.1892
3159 | 1 | 345 | 0 | 112966 | 2 | 13.8 | 43.1892
44120 | 1 | 138 | 0 | 112967 | 2 | 13.8 | 43.1892
89 | 1 | 69 | 1.248 | 112968 | 2 | 13.8 | 43.1892
32859 | 1 | 138 | 5.211 | 150901 | 2 | 18 | 233.7653
91 | 1 | 138 | 0 | 150902 | 2 | 18 | 231.101
92 | 1 | 69 | 4.293 | 150903 | 2 | 19 | 327.6377
93 | 1 | 69 | 3.444 | 150904 | 2 | 18 | 205.7978
13410 | 1 | 13.8 | 0 | 150905 | 2 | 18 | 205.7978
99 | 1 | 69 | 5.165 | 110011 | 2 | 20 | 170.9084
103 | 1 | 69 | 5.556 | 110012 | 2 | 20 | 173.6088
107 | 1 | 69 | 4.753 | 110013 | 2 | 24 | 254.4484
32878 | 1 | 138 | 17.898 | 110014 | 2 | 22 | 542.9963
110 | 1 | 69 | 4.782 | 110016 | 2 | 20 | 746.4703
32896 | 1 | 138 | 0 | 110017 | 2 | 20 | 659.407
44160 | 1 | 345 | 0 | 110019 | 2 | 13.2 | 13.4619
44170 | 1 | 138 | 49.28 | 110041 | 2 | 13.2 | 17.0046
44171 | 1 | 138 | 31.452 | 152031 | 2 | 34.5 | 87.4264
44180 | 1 | 138 | 113.533 | 120331 | 2 | 34.5 | 55.7626
151702 | 1 | 34.5 | 0 | 111181 | 2 | 13.8 | 118.0786
151703 | 1 | 138 | 0 | 150101 | 2 | 25 | 795.6848
185 | 1 | 69 | 4.514 | 150102 | 2 | 25 | 807.3193
186 | 1 | 69 | 0 | 153191 | 2 | 34.5 | 76.455
190 | 1 | 69 | 1.523 | 153192 | 2 | 34.5 | 45.5334
193 | 1 | 69 | 4.004 | 152181 | 2 | 34.5 | 141.1734
194 | 1 | 69 | 5.731 | 152182 | 2 | 34.5 | 73.4994
198 | 1 | 69 | 8.676 | 995967 | 2 | 34.5 | 43.693
44230 | 1 | 138 | 165.529 | 744081 | 2 | 138 | 0
44231 | 1 | 138 | 89.196 | 994967 | 2 | 34.5 | 27.654
13524 | 1 | 69 | 11.53 | 111322 | 2 | 13.8 | 48.2855
47322 | 1 | 138 | 46.961 | 111323 | 2 | 13.8 | 48.2855
111863 | 1 | 34.5 | 0 | 744180 | 2 | 138 | 0
44280 | 1 | 138 | 0 | 151311 | 2 | 34.5 | 43.0522
111864 | 1 | 34.5 | 0 | 151312 | 2 | 34.5 | 42.2653
43261 | 1 | 138 | 44.564 | 112411 | 2 | 13.8 | 48.1234
44300 | 1 | 138 | 0 | 112412 | 2 | 13.8 | 48.1234
44310 | 1 | 138 | 58.265 | 112413 | 2 | 13.8 | 48.1234
3380 | 1 | 345 | 0 | 112414 | 2 | 13.8 | 48.1234
3381 | 1 | 345 | 0 | 112415 | 2 | 13.8 | 48.1234
44342 | 1 | 138 | 49.825 | 112416 | 2 | 13.8 | 48.1234
3384 | 1 | 345 | 0 | 112417 | 2 | 13.8 | 48.1234
3386 | 1 | 345 | 0 | 112418 | 2 | 13.8 | 48.1234
3385 | 1 | 138 | 0 | 744230 | 2 | 138 | 0
3389 | 1 | 345 | 0 | 744231 | 2 | 138 | 0
3390 | 1 | 345 | 0 | 743261 | 2 | 138 | 0
3391 | 1 | 345 | 0 | 111461 | 2 | 34.5 | 97.2337
3392 | 1 | 13.8 | 0 | 112491 | 2 | 34.5 | 153.3445
3394 | 1 | 138 | 13.9 | 112492 | 2 | 34.5 | 146.5469
3396 | 1 | 345 | 69.25 | 744310 | 2 | 138 | 0
120134 | 1 | 345 | 0 | 744342 | 2 | 138 | 0
120135 | 1 | 345 | 0 | 110551 | 2 | 13.8 | 71.6897
3400 | 1 | 345 | 0 | 110561 | 2 | 13.8 | 25.4188
3398 | 1 | 13.8 | 0
13639 | 1 | 69 | 0
44390 | 1 | 138 | 0
44410 | 1 | 138 | 0
42380 | 1 | 138 | 24.467
42390 | 1 | 138 | 11.036
2466 | 1 | 345 | 0
46500 | 1 | 345 | 0
47531 | 1 | 345 | 0
47532 | 1 | 345 | 0
3511 | 1 | 69 | 0.714
45500 | 1 | 345 | 0
5566 | 1 | 69 | 5.63
44481 | 1 | 138 | 8.358
44482 | 1 | 138 | 26.364
44483 | 1 | 138 | 25.167
68040 | 1 | 345 | 0
44490 | 1 | 138 | 8.046
3531 | 1 | 69 | 1.373
44500 | 1 | 345 | 0
45530 | 1 | 69 | 0
3548 | 1 | 69 | 14.334
152032 | 1 | 34.5 | 0
152033 | 1 | 138 | 0
68090 | 1 | 345 | 0
68091 | 1 | 345 | 0
3588 | 1 | 69 | 0
44551 | 1 | 138 | 36.268
44552 | 1 | 138 | 56.085
44570 | 1 | 138 | 108.95
110115 | 1 | 14.4 | 44.538
47660 | 1 | 138 | 91.488
47661 | 1 | 138 | 0
3637 | 1 | 69 | 1.306
3638 | 1 | 69 | 0
998967 | 1 | 345 | 0
3641 | 1 | 69 | 6.342
3642 | 1 | 69 | 0
110145 | 1 | 14.4 | 95.063
44615 | 1 | 138 | 47.898
997967 | 1 | 345 | 0
110159 | 1 | 14.4 | 0
3671 | 1 | 69 | 0
999001 | 1 | 345 | 0
47705 | 1 | 138 | 20.874
47706 | 1 | 138 | 0
47707 | 1 | 138 | 0
44645 | 1 | 345 | 0
996967 | 1 | 345 | 0
153193 | 1 | 34.5 | 0
44651 | 1 | 138 | 47.339
44652 | 1 | 138 | 116.061
153194 | 1 | 34.5 | 0
3694 | 1 | 138 | 0
3695 | 1 | 13.2 | 0
998001 | 1 | 345 | 0
152183 | 1 | 34.5 | 0
152184 | 1 | 34.5 | 0
44670 | 1 | 138 | 117.463
44671 | 1 | 138 | 78.46
44674 | 1 | 138 | 8.52
44680 | 1 | 138 | 52.054
40600 | 1 | 345 | 0
993967 | 1 | 13.8 | 0
992967 | 1 | 13.8 | 0
44760 | 1 | 138 | 53.383
44761 | 1 | 138 | 37.054
120545 | 1 | 345 | 0
151315 | 1 | 34.5 | 0
151316 | 1 | 34.5 | 0
152385 | 1 | 345 | 0
44900 | 1 | 345 | 0
111462 | 1 | 34.5 | 0
112493 | 1 | 34.5 | 0
44910 | 1 | 138 | 0
112494 | 1 | 34.5 | 0
112495 | 1 | 345 | 0
1906 | 1 | 345 | 0
1907 | 1 | 345 | 0
44920 | 1 | 345 | 0
151423 | 1 | 345 | 0
49060 | 1 | 34.5 | 0
120742 | 1 | 345 | 0
49068 | 1 | 34.5 | 0
49082 | 1 | 23 | 0
49085 | 1 | 23 | 0
49090 | 1 | 23 | 0
49091 | 1 | 23 | 0
46020 | 1 | 345 | 0
964 | 1 | 138 | 0
965 | 1 | 12.4 | 0
967 | 1 | 345 | 0
966 | 1 | 22 | 0
969 | 1 | 12.4 | 0
46025 | 1 | 138 | 0
975 | 1 | 345 | 0
978 | 1 | 12.5 | 0
44000 | 1 | 345 | 0
110562 | 1 | 34.5 | 0
44010 | 1 | 138 | 0
44015 | 1 | 138 | 0
44020 | 1 | 138 | 92.759

## All buses
All bus data in the output county map | [9 empty] | POI county
Counties inside the convex hull with sensitive buses
Transmission Buses |  |  |  | Generator Buses | [5 empty] | Counties that have buses N-levels away from POI
Bus Number | Type | Bus kV | Load MW | Bus Number | Type | Bus kV | Gen MW | Summary
1 | 1 | 138 | 8.4 | 745512 | 2 | 138 | 0 | Total Generation "Capacity" (MW) | 29335.1312
2 | 1 | 138 | 0 | 745610 | 2 | 138 | 0 | Total Load (MW) | 29023.3
40961 | 1 | 138 | 31.773 | 745630 | 2 | 138 | 0 | Total Number of Transmission Buses | 1466
4 | 1 | 138 | 22.075 | 745651 | 2 | 138 | 0 | Total Number of Generation Buses | 361
5 | 1 | 138 | 0 | 745711 | 2 | 138 | 0 | Study County Name | Leon
6 | 1 | 138 | 5.618 | 745712 | 2 | 138 | 0 | POI | 999967
40962 | 1 | 138 | 18.635 | 745760 | 2 | 138 | 0
8 | 1 | 138 | 13.1 | 745801 | 2 | 138 | 0 | List of Study Area Counties
9 | 1 | 138 | 3.597 | 745802 | 2 | 138 | 0 | navarro
13 | 1 | 138 | 5.115 | 745812 | 2 | 138 | 0 | milam
32780 | 1 | 138 | 0 | 737660 | 2 | 69 | 4.05 | waller
17 | 1 | 138 | 0 | 737680 | 2 | 69 | 8.1 | hill
21 | 1 | 138 | 2.4 | 745880 | 2 | 138 | 0 | falls
32790 | 1 | 138 | 11.072 | 745940 | 2 | 138 | 0 | grimes
32791 | 1 | 12.47 | 0 | 745952 | 2 | 138 | 0 | ellis
32792 | 1 | 12.47 | 0 | 745971 | 2 | 345 | 0 | brazos
32793 | 1 | 12.47 | 0 | 745972 | 2 | 345 | 0 | harris
32794 | 1 | 12.47 | 40.325 | 745995 | 2 | 138 | 0 | limestone
32796 | 1 | 12.47 | 0 | 746031 | 2 | 138 | 0 | leon
32797 | 1 | 12.47 | 0 | 746051 | 2 | 138 | 0 | brazoria
32798 | 1 | 138 | 0 | 746260 | 2 | 138 | 0 | fort bend
32799 | 1 | 138 | 35.247 | 746301 | 2 | 138 | 0 | mclennan
40990 | 1 | 138 | 71.574 | 746302 | 2 | 138 | 0 | robertson
33 | 1 | 138 | 0 | 746311 | 2 | 138 | 0 | freestone
26 | 1 | 138 | 0 | 746511 | 2 | 138 | 0 | bosque
27 | 1 | 138 | 4 | 746550 | 2 | 138 | 0 | bell
31 | 1 | 69 | 11.3 | 746560 | 2 | 138 | 0
32 | 1 | 138 | 0 | 746570 | 2 | 138 | 0
34 | 1 | 138 | 6.5 | 746610 | 2 | 138 | 0
35 | 1 | 138 | 0 | 747011 | 2 | 138 | 0
41000 | 1 | 138 | 125 | 747100 | 2 | 138 | 0
41 | 1 | 138 | 4.637 | 747320 | 2 | 138 | 0
36 | 1 | 69 | 0 | 747350 | 2 | 138 | 0
45 | 1 | 138 | 8.682 | 747382 | 2 | 138 | 0
46 | 1 | 138 | 7.19 | 747411 | 2 | 138 | 0
47 | 1 | 138 | 0 | 747441 | 2 | 138 | 0
49200 | 1 | 138 | 0 | 747520 | 2 | 138 | 0
41009 | 1 | 138 | 0 | 747763 | 2 | 138 | 0
41010 | 1 | 138 | 12.099 | 150011 | 2 | 13.8 | 0
49201 | 1 | 138 | 0 | 150012 | 2 | 13.8 | 0
49202 | 1 | 138 | 0 | 150101 | 2 | 25 | 795.6848
49203 | 1 | 138 | 0 | 150102 | 2 | 25 | 807.3193
49204 | 1 | 345 | 0 | 150141 | 2 | 18 | 141.5301
49205 | 1 | 345 | 0 | 150142 | 2 | 18 | 141.5301
48 | 1 | 69 | 10.029 | 150143 | 2 | 18 | 208.3992
49209 | 1 | 345 | 0 | 150144 | 2 | 18 | 148.6334
49210 | 1 | 13.2 | 0 | 150145 | 2 | 13.1 | 82.3946
49211 | 1 | 138 | 0 | 150151 | 2 | 21 | 243.4693
57 | 1 | 69 | 13.013 | 150152 | 2 | 21 | 241.7181
41021 | 1 | 138 | 26.889 | 150153 | 2 | 21 | 241.7181
41022 | 1 | 138 | 36.574 | 150154 | 2 | 21 | 241.7181
41023 | 1 | 138 | 44.125 | 150155 | 2 | 21 | 254.0349
49213 | 1 | 138 | 0 | 150156 | 2 | 21 | 255.8046
49215 | 1 | 138 | 0 | 150161 | 2 | 16 | 198.2293
49212 | 1 | 138 | 0 | 150162 | 2 | 13.8 | 113.2922
49214 | 1 | 138 | 0 | 740012 | 2 | 138 | 0
49216 | 1 | 138 | 0 | 740172 | 2 | 138 | 0
69 | 1 | 69 | 6.871 | 740330 | 2 | 138 | 0
49217 | 1 | 138 | 0 | 740442 | 2 | 138 | 0
81 | 1 | 69 | 3.197 | 740475 | 2 | 138 | 0
32849 | 1 | 69 | 29.084 | 110011 | 2 | 20 | 170.9084
32851 | 1 | 138 | 16.227 | 110012 | 2 | 20 | 173.6088
32852 | 1 | 138 | 8.17 | 110013 | 2 | 24 | 254.4484
32853 | 1 | 138 | 8.392 | 110014 | 2 | 22 | 542.9963
32854 | 1 | 138 | 8.649 | 740800 | 2 | 69 | 0
32855 | 1 | 69 | 0 | 110016 | 2 | 20 | 746.4703
32856 | 1 | 138 | 0 | 110017 | 2 | 20 | 659.407
41050 | 1 | 138 | 2.915 | 110018 | 2 | 20 | 695.646
91 | 1 | 138 | 0 | 110019 | 2 | 13.2 | 13.4619
92 | 1 | 69 | 4.293 | 110020 | 2 | 13.8 | 0
32859 | 1 | 138 | 5.211 | 740820 | 2 | 138 | 0
32860 | 1 | 138 | 16.156 | 110041 | 2 | 13.2 | 17.0046
32861 | 1 | 69 | 14.203 | 110042 | 2 | 13.8 | 52.6204
32862 | 1 | 138 | 0 | 110043 | 2 | 13.8 | 52.6204
32863 | 1 | 138 | 19.395 | 110044 | 2 | 13.8 | 52.6204
32864 | 1 | 69 | 53.59 | 110045 | 2 | 13.8 | 52.6204
32869 | 1 | 69 | 26.067 | 110046 | 2 | 13.8 | 107.8538
32870 | 1 | 69 | 0 | 110047 | 2 | 13.8 | 52.6204
32871 | 1 | 69 | 12.336 | 110053 | 2 | 13.8 | 63.4686
41061 | 1 | 69 | 6.332 | 110048 | 2 | 13.8 | 52.6204
32873 | 1 | 69 | 21.798 | 110049 | 2 | 13.8 | 52.6204
32874 | 1 | 69 | 26.957 | 110050 | 2 | 13.8 | 52.6204
32875 | 1 | 69 | 0 | 110051 | 2 | 13.8 | 108.7006
32876 | 1 | 69 | 14.785 | 110052 | 2 | 13.8 | 63.4686
32877 | 1 | 69 | 18.286 | 110054 | 2 | 13.8 | 63.4686
32878 | 1 | 138 | 17.898 | 110055 | 2 | 13.8 | 63.4686
32879 | 1 | 138 | 16.384 | 110056 | 2 | 13.8 | 63.4686
32880 | 1 | 138 | 18.319 | 110057 | 2 | 13.8 | 63.4686
32881 | 1 | 138 | 7.69 | 110092 | 2 | 13.8 | 60.5046
32882 | 1 | 138 | 19.795 | 110093 | 2 | 13.8 | 60.5046
41071 | 1 | 69 | 0.333 | 110094 | 2 | 13.8 | 60.5046
107 | 1 | 69 | 4.753 | 110095 | 2 | 13.8 | 55.3895
32889 | 1 | 69 | 3.906 | 110096 | 2 | 13.8 | 57.6606
32893 | 1 | 138 | 0 | 110097 | 2 | 13.8 | 58.6841
32895 | 1 | 138 | 0 | 740912 | 2 | 138 | 0
32896 | 1 | 138 | 0 | 740930 | 2 | 138 | 0
32897 | 1 | 138 | 0 | 110171 | 2 | 13.8 | 77.2172
41090 | 1 | 138 | 53.032 | 110172 | 2 | 13.8 | 77.2172
140 | 1 | 138 | 2.578 | 110173 | 2 | 13.8 | 105.4751
41100 | 1 | 138 | 0 | 110174 | 2 | 13.8 | 89.4206
179 | 1 | 138 | 0 | 110201 | 2 | 13.8 | 95.953
181 | 1 | 138 | 2.037 | 110202 | 2 | 13.8 | 84.9254
185 | 1 | 69 | 4.514 | 110203 | 2 | 13.8 | 94.8616
186 | 1 | 69 | 0 | 110204 | 2 | 13.8 | 94.8616
37 | 1 | 138 | 1.5 | 110205 | 2 | 13.8 | 3.9844
190 | 1 | 69 | 1.523 | 741010 | 2 | 138 | 0
41150 | 1 | 138 | 46.375 | 732853 | 2 | 138 | 0
192 | 1 | 138 | 4.113 | 151311 | 2 | 34.5 | 43.0522
193 | 1 | 69 | 4.004 | 151312 | 2 | 34.5 | 42.2653
194 | 1 | 69 | 5.731 | 741150 | 2 | 138 | 0
38 | 1 | 69 | 5.302 | 110371 | 2 | 13.8 | 38.3818
195 | 1 | 69 | 5.013 | 110372 | 2 | 13.8 | 35.6169
39 | 1 | 138 | 0 | 110373 | 2 | 13.8 | 39.997
198 | 1 | 69 | 8.676 | 110374 | 2 | 13.8 | 98.7247
200 | 1 | 138 | 20.063 | 110375 | 2 | 13.8 | 58.9112
201 | 1 | 138 | 8.076 | 110376 | 2 | 13.8 | 130.5252
202 | 1 | 69 | 0 | 110381 | 2 | 18 | 0
203 | 1 | 138 | 16.897 | 151421 | 2 | 34.5 | 117.2313
204 | 1 | 69 | 11.501 | 700288 | 2 | 138 | 8.092
205 | 1 | 69 | 0 | 110481 | 2 | 13.8 | 86.4116
41160 | 1 | 138 | 13.466 | 110482 | 2 | 13.8 | 82.4122
41165 | 1 | 138 | 2.118 | 110521 | 2 | 18 | 133.0575
208 | 1 | 138 | 6.911 | 110522 | 2 | 13.8 | 58.7491
209 | 1 | 138 | 8.082 | 110571 | 2 | 13.8 | 60.0227
210 | 1 | 69 | 1.164 | 110572 | 2 | 13.8 | 61.0223
211 | 1 | 138 | 23.86 | 110573 | 2 | 13.8 | 62.0219
41171 | 1 | 138 | 23.602 | 110574 | 2 | 13.8 | 62.5218
213 | 1 | 138 | 2.57 | 110575 | 2 | 13.8 | 68.9163
214 | 1 | 69 | 0 | 110576 | 2 | 13.8 | 68.7674
41172 | 1 | 138 | 17.071 | 110577 | 2 | 13.8 | 118.0391
216 | 1 | 138 | 0.23 | 741370 | 2 | 138 | 0
217 | 1 | 138 | 30.219 | 151551 | 2 | 34.5 | 111.5797
218 | 1 | 69 | 9.843 | 110621 | 2 | 18 | 167.9352
41179 | 1 | 138 | 0 | 110622 | 2 | 18 | 168.2581
220 | 1 | 138 | 33.204 | 110623 | 2 | 18 | 170.536
221 | 1 | 138 | 6.55 | 110661 | 2 | 18 | 133.0577
222 | 1 | 69 | 0 | 110662 | 2 | 18 | 173.6987
223 | 1 | 138 | 37.957 | 110663 | 2 | 18 | 186.4635
43 | 1 | 69 | 0 | 110668 | 2 | 18 | 210.0109
225 | 1 | 69 | 14.438 | 110701 | 2 | 18 | 173.4442
41191 | 1 | 138 | 45.978 | 151701 | 2 | 34.5 | 90.3478
240 | 1 | 345 | 0 | 110751 | 2 | 15 | 176.967
241 | 1 | 138 | 0 | 110752 | 2 | 15 | 186.0552
242 | 1 | 69 | 0 | 110753 | 2 | 15 | 176.967
243 | 1 | 69 | 0 | 110754 | 2 | 15 | 186.0552
41205 | 1 | 138 | 0.258 | 110755 | 2 | 18 | 286.3114
246 | 1 | 345 | 0 | 110761 | 2 | 18 | 169.1913
41210 | 1 | 138 | 46.524 | 110771 | 2 | 18 | 156.7811
252 | 1 | 138 | 0 | 110772 | 2 | 18 | 156.7811
41221 | 1 | 138 | 23.363 | 110773 | 2 | 18 | 268.1301
41222 | 1 | 138 | 26.348 | 110821 | 2 | 18 | 170.6356
53 | 1 | 69 | 3.785 | 110822 | 2 | 18 | 173.0432
41230 | 1 | 138 | 41.684 | 110823 | 2 | 18 | 172.4236
280 | 1 | 138 | 27.1 | 110824 | 2 | 13.8 | 144.7599
41240 | 1 | 138 | 0 | 741651 | 2 | 138 | 0
288 | 1 | 138 | 9.07 | 110921 | 2 | 13.8 | 30.0424
41250 | 1 | 138 | 61.297 | 110941 | 2 | 13.8 | 78.9927
41255 | 1 | 69 | 0 | 110942 | 2 | 13.8 | 78.9927
41260 | 1 | 138 | 10.513 | 110943 | 2 | 12.47 | 36.0727
319 | 1 | 69 | 5.528 | 110944 | 2 | 12.47 | 36.0727
323 | 1 | 69 | 6.761 | 110971 | 2 | 13.8 | 35.733
327 | 1 | 69 | 4.912 | 110972 | 2 | 13.8 | 35.733
41300 | 1 | 138 | 0 | 110973 | 2 | 13.8 | 35.733
41303 | 1 | 138 | 0 | 110974 | 2 | 13.8 | 35.733
41305 | 1 | 138 | 0 | 111011 | 2 | 13.8 | 22.9806
41310 | 1 | 138 | 66.05 | 111041 | 2 | 12.5 | 19.8215
41320 | 1 | 138 | 3.089 | 152031 | 2 | 34.5 | 87.4264
41330 | 1 | 138 | 31.077 | 111101 | 2 | 13.8 | 12.0439
41350 | 1 | 138 | 66.558 | 111161 | 2 | 13.8 | 0
41355 | 1 | 138 | 3.082 | 152131 | 2 | 34.5 | 195.498
41360 | 1 | 138 | 5.618 | 152132 | 2 | 34.5 | 129.2687
41370 | 1 | 138 | 21.464 | 152133 | 2 | 34.5 | 66.2528
41371 | 1 | 138 | 0 | 152139 | 2 | 34.5 | 0
41380 | 1 | 69 | 0 | 111181 | 2 | 13.8 | 118.0786
41381 | 1 | 69 | 0 | 111201 | 2 | 12.47 | 0
41382 | 1 | 69 | 0 | 111202 | 2 | 12.47 | 0
85 | 1 | 69 | 0 | 111203 | 2 | 0.48 | 0
41389 | 1 | 69 | 0 | 111261 | 2 | 13.8 | 45.1706
41391 | 1 | 138 | 14.716 | 111262 | 2 | 13.8 | 45.1706
41392 | 1 | 138 | 9.399 | 152281 | 2 | 34.5 | 68.9857
86 | 1 | 138 | 0 | 152381 | 2 | 34.5 | 156.887
33204 | 1 | 69 | 0 | 152382 | 2 | 34.5 | 49.655
41400 | 1 | 138 | 0 | 742240 | 2 | 138 | 0
442 | 1 | 138 | 3.842 | 152431 | 2 | 34.5 | 161.5055
89 | 1 | 69 | 1.248 | 742292 | 2 | 138 | 0
41420 | 1 | 138 | 3.923 | 152481 | 2 | 34.5 | 161.5055
93 | 1 | 69 | 3.444 | 152731 | 2 | 34.5 | 68.9787
41430 | 1 | 345 | 0 | 152732 | 2 | 34.5 | 115.8009
41440 | 1 | 138 | 45.203 | 742562 | 2 | 138 | 0
41460 | 1 | 138 | 55 | 111801 | 2 | 13.8 | 45.9229
99 | 1 | 69 | 5.165 | 111802 | 2 | 13.8 | 45.9229
103 | 1 | 69 | 5.556 | 111803 | 2 | 13.8 | 45.9229
41480 | 1 | 138 | 63.534 | 111804 | 2 | 13.8 | 45.9229
104 | 1 | 138 | 12.961 | 111805 | 2 | 13.8 | 45.9229
41490 | 1 | 138 | 9.931 | 111806 | 2 | 13.8 | 45.9229
41500 | 1 | 138 | 98.677 | 111807 | 2 | 13.8 | 47.0582
41510 | 1 | 138 | 46.653 | 111808 | 2 | 13.8 | 46.7593
41520 | 1 | 138 | 2.93 | 120013 | 2 | 13.2 | 19.5694
41530 | 1 | 138 | 9.44 | 742611 | 2 | 138 | 0
41540 | 1 | 138 | 5.639 | 120051 | 2 | 13.8 | 103.364
41560 | 1 | 69 | 0 | 120052 | 2 | 13.8 | 43.4521
41561 | 1 | 69 | 28 | 120053 | 2 | 13.8 | 45.3827
41575 | 1 | 138 | 18.065 | 111862 | 2 | 34.5 | 180.5876
41580 | 1 | 138 | 17.436 | 120071 | 2 | 18 | 153.1418
41590 | 1 | 138 | 32.526 | 120072 | 2 | 18 | 153.1418
41620 | 1 | 138 | 4.572 | 120081 | 2 | 12.47 | 34.5625
41631 | 1 | 138 | 27.313 | 120082 | 2 | 12.47 | 10.9845
41632 | 1 | 138 | 22.335 | 120091 | 2 | 18 | 156.6383
41651 | 1 | 138 | 28.909 | 120092 | 2 | 18 | 156.6997
41652 | 1 | 138 | 23.625 | 120093 | 2 | 18 | 157.4999
41660 | 1 | 138 | 21.918 | 120094 | 2 | 22 | 393.965
41670 | 1 | 138 | 68.686 | 120111 | 2 | 18 | 145.9854
41679 | 1 | 138 | 0 | 120112 | 2 | 18 | 145.9854
41711 | 1 | 138 | 22.99 | 120113 | 2 | 18 | 166.7052
41712 | 1 | 138 | 14.069 | 120114 | 2 | 18 | 140.4152
49990 | 1 | 12.5 | 0 | 120115 | 2 | 18 | 140.4152
49991 | 1 | 12.5 | 0 | 120116 | 2 | 18 | 162.5599
964 | 1 | 138 | 0 | 120131 | 2 | 24 | 826.5295
965 | 1 | 12.4 | 0 | 120132 | 2 | 24 | 826.398
966 | 1 | 22 | 0 | 742742 | 2 | 138 | 0
967 | 1 | 345 | 0 | 742761 | 2 | 138 | 0
969 | 1 | 12.4 | 0 | 742762 | 2 | 138 | 0
975 | 1 | 345 | 0 | 742841 | 2 | 138 | 0
978 | 1 | 12.5 | 0 | 153081 | 2 | 34.5 | 56.5204
196 | 1 | 138 | 5.567 | 120331 | 2 | 34.5 | 55.7626
197 | 1 | 138 | 0.341 | 120381 | 2 | 34.5 | 0
212 | 1 | 138 | 9.41 | 153191 | 2 | 34.5 | 76.455
42041 | 1 | 138 | 36.051 | 153192 | 2 | 34.5 | 45.5334
42042 | 1 | 138 | 59.208 | 743040 | 2 | 138 | 0
42120 | 1 | 138 | 18.306 | 153241 | 2 | 138 | 93.8544
42160 | 1 | 138 | 0 | 743081 | 2 | 138 | 0
42170 | 1 | 138 | 66.73 | 120491 | 2 | 34.5 | 111.1528
42180 | 1 | 138 | 84 | 120492 | 2 | 34.5 | 0
42220 | 1 | 138 | 17.18 | 743102 | 2 | 138 | 0
42229 | 1 | 138 | 0 | 112331 | 2 | 13.8 | 43.0303
42240 | 1 | 138 | 63.428 | 112332 | 2 | 13.8 | 43.0303
42250 | 1 | 138 | 35.56 | 120541 | 2 | 34.5 | 24.082
42260 | 1 | 138 | 49.558 | 120542 | 2 | 34.5 | 97.4871
42291 | 1 | 138 | 17.124 | 112411 | 2 | 13.8 | 48.1234
42292 | 1 | 138 | 50.918 | 112412 | 2 | 13.8 | 48.1234
42311 | 1 | 138 | 28.178 | 112413 | 2 | 13.8 | 48.1234
42312 | 1 | 138 | 22.125 | 112414 | 2 | 13.8 | 48.1234
40981 | 1 | 138 | 20.254 | 112415 | 2 | 13.8 | 48.1234
42351 | 1 | 138 | 6.435 | 112416 | 2 | 13.8 | 48.1234
42360 | 1 | 138 | 0 | 112417 | 2 | 13.8 | 48.1234
3546 | 1 | 138 | 0 | 112418 | 2 | 13.8 | 48.1234
42550 | 1 | 138 | 54.026 | 743250 | 2 | 138 | 0
42551 | 1 | 138 | 19.941 | 743261 | 2 | 138 | 0
42561 | 1 | 138 | 28.381 | 112491 | 2 | 34.5 | 153.3445
42562 | 1 | 138 | 23.216 | 112492 | 2 | 34.5 | 146.5469
42581 | 1 | 138 | 8.494 | 702320 | 2 | 138 | 0
42582 | 1 | 138 | 11.65 | 702324 | 2 | 138 | 0
42583 | 1 | 138 | 11.338 | 120741 | 2 | 34.5 | 0
1646 | 1 | 138 | 0.683 | 743371 | 2 | 138 | 0
1648 | 1 | 138 | 0 | 744030 | 2 | 138 | 0
42610 | 1 | 138 | 76.337 | 744051 | 2 | 138 | 0
42611 | 1 | 138 | 28.192 | 744081 | 2 | 138 | 0
42619 | 1 | 138 | 0 | 744173 | 2 | 138 | 0
42651 | 1 | 138 | 18.706 | 744180 | 2 | 138 | 0
42652 | 1 | 138 | 25.867 | 744215 | 2 | 138 | 0
42680 | 1 | 138 | 0 | 744230 | 2 | 138 | 0
42683 | 1 | 138 | 10.745 | 744231 | 2 | 138 | 0
42690 | 1 | 69 | 0 | 744260 | 2 | 138 | 0
42741 | 1 | 138 | 13.041 | 744310 | 2 | 138 | 0
42742 | 1 | 138 | 52.264 | 744341 | 2 | 138 | 0
42750 | 1 | 138 | 17.496 | 744342 | 2 | 138 | 0
42751 | 1 | 138 | 10.716 | 744420 | 2 | 138 | 0
42752 | 1 | 138 | 10.716 | 744422 | 2 | 138 | 0
42753 | 1 | 138 | 17.496 | 744450 | 2 | 138 | 0
41062 | 1 | 69 | 0 | 744511 | 2 | 138 | 0
41063 | 1 | 69 | 0 | 744541 | 2 | 138 | 8.1
42761 | 1 | 138 | 61.339 | 744570 | 2 | 138 | 0
42762 | 1 | 138 | 106.843 | 744592 | 2 | 138 | 0
49206 | 1 | 345 | 0 | 703641 | 2 | 69 | 4.277
49207 | 1 | 345 | 0 | 744630 | 2 | 138 | 0
49208 | 1 | 345 | 0 | 744652 | 2 | 138 | 0
42780 | 1 | 138 | 5.982 | 744760 | 2 | 138 | 0
42790 | 1 | 138 | 38.984 | 745670 | 2 | 138 | 0
42830 | 1 | 138 | 135 | 740830 | 2 | 138 | 0
1906 | 1 | 345 | 0 | 112661 | 2 | 34.5 | 74.3331
1907 | 1 | 345 | 0 | 739600 | 2 | 138 | 0
1908 | 1 | 138 | 45.109 | 112961 | 2 | 13.8 | 43.1892
1909 | 1 | 138 | 0 | 112962 | 2 | 13.8 | 43.1892
1910 | 1 | 138 | 0 | 112963 | 2 | 13.8 | 43.1892
42890 | 1 | 138 | 25.063 | 112964 | 2 | 13.8 | 43.1892
1936 | 1 | 345 | 0 | 112965 | 2 | 13.8 | 43.1892
1939 | 1 | 345 | 0 | 112966 | 2 | 13.8 | 43.1892
1940 | 1 | 345 | 0 | 112967 | 2 | 13.8 | 43.1892
42900 | 1 | 138 | 4.355 | 112968 | 2 | 13.8 | 43.1892
42930 | 1 | 138 | 29.832 | 113031 | 2 | 138 | 204.0381
42955 | 1 | 138 | 5.616 | 152181 | 2 | 34.5 | 141.1734
42970 | 1 | 138 | 12.36 | 152182 | 2 | 34.5 | 73.4994
43040 | 1 | 138 | 77.657 | 152231 | 2 | 138 | 127.2126
43081 | 1 | 138 | 25.793 | 111302 | 2 | 13.8 | 78.1089
43082 | 1 | 138 | 12.121 | 111322 | 2 | 13.8 | 48.2855
43101 | 1 | 138 | 18.693 | 111323 | 2 | 13.8 | 48.2855
43102 | 1 | 138 | 40.793 | 152331 | 2 | 34.5 | 137.8807
43130 | 1 | 138 | 11.128 | 111421 | 2 | 12.47 | 0
43170 | 1 | 138 | 0 | 742210 | 2 | 138 | 0
43171 | 1 | 138 | 2.48 | 111461 | 2 | 34.5 | 97.2337
43172 | 1 | 138 | 0 | 111531 | 2 | 34.5 | 194.3786
2229 | 1 | 138 | 261 | 703426 | 2 | 138 | 0
2241 | 1 | 138 | 0 | 703428 | 2 | 138 | 0
43225 | 1 | 138 | 3.99 | 703553 | 2 | 138 | 0
43230 | 1 | 138 | 17.841 | 703560 | 2 | 138 | 0
2289 | 1 | 138 | 0 | 703611 | 2 | 138 | 0
43250 | 1 | 138 | 6.255 | 703568 | 2 | 138 | 4.05
2295 | 1 | 69 | 0 | 703580 | 2 | 138 | 8.1
2296 | 1 | 69 | 3.5 | 703608 | 2 | 138 | 0
2299 | 1 | 138 | 0 | 703609 | 2 | 138 | 0
2300 | 1 | 138 | 0 | 703610 | 2 | 138 | 0
2301 | 1 | 138 | 41.639 | 703618 | 2 | 138 | 0
2302 | 1 | 138 | 41.639 | 150741 | 2 | 24.5 | 902.454
2303 | 1 | 138 | 0 | 152831 | 2 | 34.5 | 39.0906
2304 | 1 | 138 | 31.135 | 111912 | 2 | 34.5 | 81.9188
2305 | 1 | 138 | 0 | 111913 | 2 | 34.5 | 82.0162
2306 | 1 | 138 | 14.747 | 111981 | 2 | 34.5 | 0
2307 | 1 | 138 | 45.886 | 150901 | 2 | 18 | 233.7653
2308 | 1 | 138 | 34.125 | 150902 | 2 | 18 | 231.101
2309 | 1 | 138 | 9.673 | 150903 | 2 | 19 | 327.6377
2310 | 1 | 138 | 0 | 150904 | 2 | 18 | 205.7978
2311 | 1 | 138 | 0 | 150905 | 2 | 18 | 205.7978
43271 | 1 | 138 | 30.468 | 150906 | 2 | 19 | 335.7136
2313 | 1 | 138 | 21.161 | 163271 | 2 | 34.5 | 38.0189
2314 | 1 | 138 | 33.371 | 163272 | 2 | 34.5 | 39.1512
2315 | 1 | 138 | 5.621 | 163274 | 2 | 34.5 | 7.0601
2316 | 1 | 138 | 0 | 163275 | 2 | 34.5 | 3.5385
2317 | 1 | 138 | 63.448 | 120321 | 2 | 34.5 | 0
2318 | 1 | 69 | 0 | 110111 | 2 | 14.4 | 57.7471
2319 | 1 | 138 | 7.877 | 110114 | 2 | 14.4 | 73.533
2320 | 1 | 138 | 53.307 | 110116 | 2 | 14.4 | 73.519
2321 | 1 | 138 | 47.014 | 110117 | 2 | 14.4 | 53.6514
2323 | 1 | 138 | 5.25 | 110123 | 2 | 14.4 | 103.427
2324 | 1 | 138 | 39.237 | 110124 | 2 | 14.4 | 103.4033
2325 | 1 | 138 | 51.944 | 110125 | 2 | 14.4 | 98.4517
2326 | 1 | 138 | 24.698 | 110141 | 2 | 18 | 129.0364
2328 | 1 | 138 | 51.749 | 110135 | 2 | 14.4 | 83.4671
2330 | 1 | 138 | 8.526 | 110137 | 2 | 14.4 | 82.7774
2331 | 1 | 138 | 0 | 110139 | 2 | 14.4 | 83.2216
2335 | 1 | 69 | 0 | 110146 | 2 | 18 | 175.0736
2336 | 1 | 69 | 8.082 | 110147 | 2 | 14.4 | 56.2109
2337 | 1 | 69 | 4.069 | 112211 | 2 | 34.5 | 84.699
2338 | 1 | 69 | 0 | 112212 | 2 | 34.5 | 84.699
2339 | 1 | 69 | 0 | 110231 | 2 | 13.8 | 39.2376
2342 | 1 | 138 | 22.008 | 739030 | 2 | 138 | 0
2343 | 1 | 69 | 23.02 | 112401 | 2 | 34.5 | 0
2351 | 1 | 69 | 3.764 | 743222 | 2 | 138 | 0
43321 | 1 | 138 | 51.78 | 743260 | 2 | 138 | 0
43322 | 1 | 138 | 20.126 | 112541 | 2 | 34.5 | 0
43371 | 1 | 138 | 30.954 | 110501 | 2 | 13.8 | 121.4174
43372 | 1 | 138 | 65.843 | 110502 | 2 | 13.8 | 121.4174
2466 | 1 | 345 | 0 | 110503 | 2 | 13.8 | 121.7269
68030 | 1 | 345 | 0 | 110504 | 2 | 13.8 | 121.4174
68040 | 1 | 345 | 0 | 112591 | 2 | 13.8 | 44.6423
68070 | 1 | 345 | 0 | 112592 | 2 | 13.8 | 44.6423
43500 | 1 | 138 | 0 | 112593 | 2 | 13.8 | 44.6423
43501 | 1 | 138 | 31.597 | 112594 | 2 | 13.8 | 44.6423
43502 | 1 | 138 | 31.599 | 112595 | 2 | 13.8 | 44.6423
43503 | 1 | 138 | 27.09 | 112596 | 2 | 13.8 | 44.6423
68080 | 1 | 345 | 0 | 110551 | 2 | 13.8 | 71.6897
43507 | 1 | 138 | 0 | 110561 | 2 | 13.8 | 25.4188
68091 | 1 | 345 | 0
150013 | 1 | 13.8 | 0
43610 | 1 | 138 | 30.26
44000 | 1 | 345 | 0
44005 | 1 | 345 | 0
44010 | 1 | 138 | 0
44015 | 1 | 138 | 0
44020 | 1 | 138 | 92.759
44030 | 1 | 138 | 177.091
44051 | 1 | 138 | 123.494
44052 | 1 | 138 | 63.647
44070 | 1 | 345 | 0
44081 | 1 | 138 | 52.866
44082 | 1 | 138 | 20.525
3133 | 1 | 345 | 0
3134 | 1 | 345 | 0
44100 | 1 | 138 | 70.765
3159 | 1 | 345 | 0
44120 | 1 | 138 | 0
44121 | 1 | 138 | 23.963
44122 | 1 | 138 | 22.782
44123 | 1 | 138 | 11.659
44140 | 1 | 138 | 41.573
44141 | 1 | 138 | 23.211
44143 | 1 | 138 | 31.976
3186 | 1 | 345 | 0
3199 | 1 | 345 | 0
44160 | 1 | 345 | 0
44170 | 1 | 138 | 49.28
44171 | 1 | 138 | 31.452
44173 | 1 | 138 | 56.149
44180 | 1 | 138 | 113.533
44210 | 1 | 138 | 0
44211 | 1 | 138 | 26.657
44212 | 1 | 138 | 29.066
44213 | 1 | 138 | 32.754
44214 | 1 | 138 | 32.728
44215 | 1 | 138 | 0
3260 | 1 | 138 | 0
3261 | 1 | 138 | 0.833
44230 | 1 | 138 | 165.529
44231 | 1 | 138 | 89.196
3279 | 1 | 138 | 0
3280 | 1 | 138 | 9.494
3283 | 1 | 138 | 0
44256 | 1 | 138 | 3.307
44260 | 1 | 138 | 241.691
44280 | 1 | 138 | 0
44300 | 1 | 138 | 0
44310 | 1 | 138 | 58.265
44311 | 1 | 138 | 24.966
3357 | 1 | 138 | 0
3358 | 1 | 138 | 11.486
3380 | 1 | 345 | 0
44341 | 1 | 138 | 108.583
44342 | 1 | 138 | 49.825
3381 | 1 | 345 | 0
3384 | 1 | 345 | 0
3385 | 1 | 138 | 0
3386 | 1 | 345 | 0
3387 | 1 | 138 | 0
3390 | 1 | 345 | 0
3391 | 1 | 345 | 0
3392 | 1 | 13.8 | 0
3393 | 1 | 69 | 0
3394 | 1 | 138 | 13.9
3395 | 1 | 138 | 0
3396 | 1 | 345 | 69.25
3398 | 1 | 13.8 | 0
3400 | 1 | 345 | 0
44361 | 1 | 138 | 19.134
44362 | 1 | 138 | 21.576
3454 | 1 | 138 | 0
3455 | 1 | 138 | 38.641
3456 | 1 | 138 | 27.21
3457 | 1 | 138 | 0
3458 | 1 | 138 | 4.114
3459 | 1 | 138 | 8.322
44420 | 1 | 138 | 150.468
3460 | 1 | 138 | 0
3461 | 1 | 138 | 29.667
3462 | 1 | 138 | 0
3463 | 1 | 138 | 8.822
3464 | 1 | 69 | 3.515
44422 | 1 | 138 | 55.614
3466 | 1 | 138 | 3.539
3467 | 1 | 138 | 0.953
3468 | 1 | 69 | 0
3469 | 1 | 138 | 18.009
3470 | 1 | 69 | 2.564
3471 | 1 | 69 | 1.508
3472 | 1 | 138 | 5.401
3476 | 1 | 12 | 0
3477 | 1 | 138 | 0
3478 | 1 | 138 | 0
3479 | 1 | 69 | 0
3480 | 1 | 138 | 5.847
3483 | 1 | 138 | 0
3486 | 1 | 69 | 7.291
3487 | 1 | 69 | 0
3488 | 1 | 69 | 0
3490 | 1 | 138 | 0
44450 | 1 | 138 | 252.951
3491 | 1 | 69 | 8.946
3492 | 1 | 69 | 0
3495 | 1 | 138 | 17.019
3497 | 1 | 69 | 3.183
44461 | 1 | 138 | 20.375
44462 | 1 | 138 | 49.91
3501 | 1 | 138 | 0
3502 | 1 | 138 | 17.496
3503 | 1 | 138 | 20.503
3507 | 1 | 138 | 0
3509 | 1 | 138 | 0
3510 | 1 | 138 | 0
3511 | 1 | 69 | 0.714
44481 | 1 | 138 | 8.358
44482 | 1 | 138 | 26.364
44483 | 1 | 138 | 25.167
110021 | 1 | 138 | 0
44490 | 1 | 138 | 8.046
3533 | 1 | 69 | 0
3535 | 1 | 69 | 0
3536 | 1 | 69 | 4.34
3538 | 1 | 69 | 6.422
44500 | 1 | 345 | 0
3548 | 1 | 69 | 14.334
44510 | 1 | 138 | 0
44511 | 1 | 138 | 94.194
44512 | 1 | 138 | 69.968
44513 | 1 | 138 | 77.238
44521 | 1 | 138 | 14.045
44540 | 1 | 138 | 11.195
44541 | 1 | 138 | 4.334
3582 | 1 | 138 | 7.702
3588 | 1 | 69 | 0
44551 | 1 | 138 | 36.268
44552 | 1 | 138 | 56.085
3597 | 1 | 138 | 0
3603 | 1 | 69 | 0
3599 | 1 | 138 | 0
3600 | 1 | 138 | 4.197
3606 | 1 | 69 | 0
3604 | 1 | 69 | 11.085
3605 | 1 | 69 | 2.908
44570 | 1 | 138 | 108.95
3613 | 1 | 69 | 11.206
3614 | 1 | 69 | 0
3625 | 1 | 138 | 19.557
44590 | 1 | 138 | 52.425
44591 | 1 | 138 | 32.394
44592 | 1 | 138 | 22.397
3631 | 1 | 138 | 14.308
3632 | 1 | 138 | 17.138
3634 | 1 | 138 | 15.963
3637 | 1 | 69 | 1.306
3638 | 1 | 69 | 0
3641 | 1 | 69 | 6.342
3642 | 1 | 69 | 0
44615 | 1 | 138 | 47.898
44620 | 1 | 138 | 0
44621 | 1 | 138 | 28.456
44622 | 1 | 138 | 23.159
44623 | 1 | 138 | 27.403
44624 | 1 | 138 | 26.26
44625 | 1 | 138 | 0
44630 | 1 | 138 | 40.138
3671 | 1 | 69 | 0
44645 | 1 | 345 | 0
44650 | 1 | 345 | 0
44651 | 1 | 138 | 47.339
44652 | 1 | 138 | 116.061
3694 | 1 | 138 | 0
3695 | 1 | 13.2 | 0
44656 | 1 | 138 | 0
44657 | 1 | 138 | 0
3702 | 1 | 138 | 0
110206 | 1 | 13.8 | 0
110207 | 1 | 13.8 | 0
110208 | 1 | 13.8 | 0
110209 | 1 | 13.8 | 0
44670 | 1 | 138 | 117.463
44671 | 1 | 138 | 78.46
11908 | 1 | 13.8 | 0
11909 | 1 | 13.8 | 0
11910 | 1 | 13.8 | 0
44674 | 1 | 138 | 8.52
44721 | 1 | 138 | 1.148
44722 | 1 | 138 | 1.717
44750 | 1 | 138 | 56.459
44760 | 1 | 138 | 53.383
44761 | 1 | 138 | 37.054
44762 | 1 | 138 | 57.824
44780 | 1 | 138 | 157.363
44790 | 1 | 138 | 0
44791 | 1 | 138 | 26.907
44792 | 1 | 138 | 27.648
44793 | 1 | 138 | 22.275
44795 | 1 | 138 | 0
3840 | 1 | 138 | 0
44801 | 1 | 138 | 34.929
44802 | 1 | 138 | 59.479
151315 | 1 | 34.5 | 0
151316 | 1 | 34.5 | 0
151317 | 1 | 345 | 0
44840 | 1 | 138 | 127.544
110377 | 1 | 69 | 163
110378 | 1 | 69 | 0
110379 | 1 | 69 | 0
110382 | 1 | 138 | 0
110383 | 1 | 138 | 0
110384 | 1 | 138 | 5
44860 | 1 | 138 | 68.754
44900 | 1 | 345 | 0
44910 | 1 | 138 | 0
44920 | 1 | 345 | 0
151422 | 1 | 34.5 | 0
151423 | 1 | 345 | 0
110483 | 1 | 138 | 0
110484 | 1 | 138 | 0
110523 | 1 | 138 | 0
110524 | 1 | 138 | 0
110525 | 1 | 138 | 0
110560 | 1 | 138 | 0
110578 | 1 | 138 | 25
110579 | 1 | 138 | 25
151552 | 1 | 34.5 | 0
151553 | 1 | 345 | 0
45070 | 1 | 138 | 44.796
12303 | 1 | 138 | 60
12304 | 1 | 138 | 60
12313 | 1 | 138 | 7.5
12320 | 1 | 138 | 9.367
110625 | 1 | 138 | 0
110626 | 1 | 138 | 0
110627 | 1 | 138 | 0
110624 | 1 | 138 | 0
12329 | 1 | 138 | 0
45101 | 1 | 138 | 16.328
45102 | 1 | 138 | 65.44
12344 | 1 | 138 | 7.5
110664 | 1 | 138 | 0
110665 | 1 | 138 | 0
110666 | 1 | 345 | 0
110667 | 1 | 345 | 0
36996 | 1 | 13.8 | 0
36997 | 1 | 13.8 | 0
151702 | 1 | 34.5 | 0
151703 | 1 | 138 | 0
110756 | 1 | 345 | 0
110757 | 1 | 345 | 0
110758 | 1 | 345 | 0
110759 | 1 | 345 | 0
110760 | 1 | 345 | 0
110762 | 1 | 345 | 0
110774 | 1 | 345 | 0
110775 | 1 | 345 | 0
110776 | 1 | 345 | 0
110825 | 1 | 345 | 0
110826 | 1 | 345 | 0
110827 | 1 | 345 | 0
110945 | 1 | 34.5 | 20
110946 | 1 | 34.5 | 20
110947 | 1 | 34.5 | 20
110948 | 1 | 34.5 | 25
110949 | 1 | 12.47 | 0
110950 | 1 | 12.47 | 25
110951 | 1 | 12.47 | 25
110953 | 1 | 12.47 | 30
110954 | 1 | 12.47 | 0
110955 | 1 | 12.47 | 0
110956 | 1 | 12.47 | 0
110957 | 1 | 34.5 | 0
110958 | 1 | 12.47 | 0
110959 | 1 | 34.5 | 0
110960 | 1 | 12.47 | 0
110961 | 1 | 12.47 | 0
110962 | 1 | 12.47 | 0
110963 | 1 | 12.47 | 0
110964 | 1 | 12.47 | 0
110965 | 1 | 12.47 | 0
110966 | 1 | 12.47 | 0
110975 | 1 | 138 | 0
45500 | 1 | 345 | 0
45510 | 1 | 138 | 0
45511 | 1 | 138 | 90.914
45512 | 1 | 138 | 136.199
45515 | 1 | 138 | 0
45530 | 1 | 69 | 0
152032 | 1 | 34.5 | 0
152033 | 1 | 138 | 0
111102 | 1 | 13.8 | 0
45600 | 1 | 345 | 0
37410 | 1 | 138 | 0
45610 | 1 | 138 | 75.011
45611 | 1 | 138 | 54.33
37420 | 1 | 69 | 5.014
45620 | 1 | 138 | 0
45630 | 1 | 138 | 98.172
152134 | 1 | 34.5 | 0
152135 | 1 | 34.5 | 0
152136 | 1 | 34.5 | 0
152137 | 1 | 34.5 | 0
152138 | 1 | 345 | 0
45640 | 1 | 138 | 92.62
111182 | 1 | 138 | 0
111183 | 1 | 138 | 0
37450 | 1 | 69 | 0
45651 | 1 | 138 | 163.826
37460 | 1 | 138 | 0
45660 | 1 | 138 | 0
37470 | 1 | 69 | 0
111204 | 1 | 12.47 | 0
111205 | 1 | 12.47 | 0
45670 | 1 | 138 | 68.721
111206 | 1 | 12.47 | 0
111207 | 1 | 12.47 | 0
45675 | 1 | 138 | 5.915
43272 | 1 | 138 | 64.784
45681 | 1 | 138 | 29.169
45682 | 1 | 138 | 61.913
37490 | 1 | 69 | 0
37500 | 1 | 69 | 5.097
45700 | 1 | 138 | 7.969
37510 | 1 | 69 | 8.246
45711 | 1 | 138 | 184.739
45712 | 1 | 138 | 51.985
37520 | 1 | 69 | 4.572
111263 | 1 | 138 | 0
45730 | 1 | 138 | 95.612
45740 | 1 | 138 | 5.158
45750 | 1 | 138 | 92.19
45760 | 1 | 138 | 223.824
45770 | 1 | 138 | 9.446
45781 | 1 | 138 | 86.786
45782 | 1 | 138 | 32.075
152282 | 1 | 34.5 | 0
152283 | 1 | 138 | 0
152285 | 1 | 138 | 0
37600 | 1 | 69 | 7.158
45801 | 1 | 138 | 72.592
45802 | 1 | 138 | 128.844
45811 | 1 | 138 | 32.565
45812 | 1 | 138 | 76.006
37620 | 1 | 69 | 0
45821 | 1 | 138 | 6.964
45822 | 1 | 138 | 7.856
37630 | 1 | 69 | 6.054
45840 | 1 | 138 | 28.022
37650 | 1 | 69 | 0
45850 | 1 | 138 | 0
37660 | 1 | 69 | 8.549
45861 | 1 | 138 | 19.4
45862 | 1 | 138 | 13.581
37680 | 1 | 69 | 5.311
37681 | 1 | 138 | 0
45880 | 1 | 138 | 0
45884 | 1 | 138 | 0
152383 | 1 | 34.5 | 0
152384 | 1 | 34.5 | 0
152385 | 1 | 345 | 0
45885 | 1 | 138 | 37.761
45886 | 1 | 138 | 32.159
45900 | 1 | 138 | 3.441
45910 | 1 | 138 | 32.672
45921 | 1 | 138 | 28.721
45922 | 1 | 138 | 0
37740 | 1 | 69 | 0
152432 | 1 | 34.5 | 0
152433 | 1 | 345 | 0
45940 | 1 | 138 | 174.194
45952 | 1 | 138 | 203.67
45953 | 1 | 138 | 0
45971 | 1 | 345 | 58.164
45972 | 1 | 345 | 80.398
45995 | 1 | 138 | 57.846
46001 | 1 | 138 | 17.134
46002 | 1 | 138 | 17.842
46020 | 1 | 345 | 0
46025 | 1 | 138 | 0
46031 | 1 | 138 | 84.956
46032 | 1 | 138 | 52.094
46051 | 1 | 138 | 80.877
46052 | 1 | 138 | 56.116
46100 | 1 | 345 | 0
46110 | 1 | 138 | 96.211
46111 | 1 | 138 | 0
46112 | 1 | 138 | 0
152734 | 1 | 138 | 0
46260 | 1 | 138 | 120.591
111800 | 1 | 138 | 0
13501 | 1 | 138 | 0
46281 | 1 | 138 | 24.258
46282 | 1 | 138 | 22.381
46290 | 1 | 345 | 0
13524 | 1 | 69 | 11.53
46295 | 1 | 138 | 0
46296 | 1 | 138 | 0
46300 | 1 | 138 | 53.737
46301 | 1 | 138 | 37.794
46302 | 1 | 138 | 107.593
46311 | 1 | 138 | 60.174
46312 | 1 | 138 | 35.306
111863 | 1 | 34.5 | 0
111864 | 1 | 34.5 | 0
111865 | 1 | 345 | 0
46331 | 1 | 138 | 20.741
46332 | 1 | 138 | 28.671
46335 | 1 | 138 | 17.859
46336 | 1 | 138 | 4.283
46351 | 1 | 138 | 58.416
46352 | 1 | 138 | 20.507
120095 | 1 | 345 | 0
13613 | 1 | 69 | 0
120133 | 1 | 345 | 0
120134 | 1 | 345 | 0
13639 | 1 | 69 | 0
120135 | 1 | 345 | 0
120136 | 1 | 138 | 0
13681 | 1 | 138 | 7.75
46500 | 1 | 345 | 0
46510 | 1 | 138 | 0
46511 | 1 | 138 | 43.574
46512 | 1 | 138 | 88.458
46520 | 1 | 138 | 0
46550 | 1 | 138 | 102.293
46551 | 1 | 138 | 0
46552 | 1 | 138 | 0.14
46560 | 1 | 138 | 0.363
46564 | 1 | 138 | 35.48
46570 | 1 | 138 | 200.069
153082 | 1 | 69 | 0
46600 | 1 | 345 | 0
120332 | 1 | 138 | 0
46610 | 1 | 138 | 47.468
46611 | 1 | 138 | 18.386
46612 | 1 | 138 | 31.023
46615 | 1 | 138 | 0
46620 | 1 | 69 | 0
120382 | 1 | 138 | 0
46660 | 1 | 138 | 115.826
153193 | 1 | 34.5 | 0
153194 | 1 | 34.5 | 0
153195 | 1 | 138 | 0
112333 | 1 | 138 | 0
120543 | 1 | 34.5 | 0
120544 | 1 | 230 | 0
120545 | 1 | 345 | 0
112419 | 1 | 345 | 0
112493 | 1 | 34.5 | 0
112494 | 1 | 34.5 | 0
112495 | 1 | 345 | 0
47000 | 1 | 345 | 0
47010 | 1 | 138 | 0
47011 | 1 | 138 | 74.871
47012 | 1 | 138 | 23.859
120742 | 1 | 345 | 0
47013 | 1 | 138 | 22.121
47014 | 1 | 138 | 49.319
47015 | 1 | 138 | 0
47016 | 1 | 138 | 0
47050 | 1 | 138 | 88.685
47071 | 1 | 138 | 21.258
47072 | 1 | 138 | 54.705
47090 | 1 | 138 | 44.09
47100 | 1 | 138 | 115.252
47110 | 1 | 138 | 127.594
47150 | 1 | 138 | 0
47151 | 1 | 138 | 22.61
47152 | 1 | 138 | 48.059
47155 | 1 | 138 | 0
47160 | 1 | 69 | 0
47170 | 1 | 138 | 0
47175 | 1 | 138 | 0
47191 | 1 | 138 | 21.596
47192 | 1 | 138 | 41.948
47210 | 1 | 138 | 85.468
47300 | 1 | 345 | 0
47310 | 1 | 138 | 75.558
47320 | 1 | 138 | 26.631
47321 | 1 | 138 | 48.402
47322 | 1 | 138 | 46.961
47331 | 1 | 138 | 20.087
47332 | 1 | 138 | 25.585
47340 | 1 | 138 | 4.754
47350 | 1 | 138 | 90.282
47380 | 1 | 138 | 18.043
47381 | 1 | 138 | 93.77
47382 | 1 | 138 | 68.538
47411 | 1 | 138 | 54.71
47412 | 1 | 138 | 56.995
47420 | 1 | 138 | 2.268
47430 | 1 | 138 | 58.155
47441 | 1 | 138 | 80.231
47442 | 1 | 138 | 71.156
47461 | 1 | 138 | 45.008
47462 | 1 | 138 | 23.174
47500 | 1 | 138 | 0
47510 | 1 | 69 | 65.304
47520 | 1 | 138 | 55.518
47560 | 1 | 138 | 35.504
47570 | 1 | 138 | 0
47571 | 1 | 138 | 33.948
47572 | 1 | 138 | 48.787
47573 | 1 | 138 | 0
47580 | 1 | 69 | 54.557
47581 | 1 | 69 | 24.504
47600 | 1 | 138 | 54.723
47620 | 1 | 138 | 48.767
47630 | 1 | 138 | 0
47640 | 1 | 69 | 45.21
47641 | 1 | 69 | 0
47660 | 1 | 138 | 91.488
47661 | 1 | 138 | 0
6711 | 1 | 138 | 1.84
47680 | 1 | 69 | 79.519
47682 | 1 | 69 | 27.988
47690 | 1 | 69 | 51.695
6735 | 1 | 138 | 0
6736 | 1 | 138 | 11.927
6738 | 1 | 138 | 1.502
6739 | 1 | 138 | 4.994
47700 | 1 | 138 | 61.503
47701 | 1 | 138 | 6.071
47705 | 1 | 138 | 20.874
47706 | 1 | 138 | 0
47707 | 1 | 138 | 0
47708 | 1 | 138 | 0
47709 | 1 | 138 | 0
47711 | 1 | 138 | 18.191
47712 | 1 | 138 | 28.443
47730 | 1 | 138 | 105.477
47731 | 1 | 138 | 0
47760 | 1 | 138 | 0
47762 | 1 | 138 | 23.753
47763 | 1 | 138 | 17.036
47764 | 1 | 138 | 20.103
47780 | 1 | 138 | 45.317
48098 | 1 | 138 | 0
39950 | 1 | 345 | 0
48171 | 1 | 69 | 0
40011 | 1 | 138 | 41.349
40012 | 1 | 138 | 25.385
7272 | 1 | 138 | 34.78
40070 | 1 | 138 | 107.655
40090 | 1 | 138 | 31.593
40100 | 1 | 138 | 18.82
40125 | 1 | 138 | 67.005
40130 | 1 | 138 | 38.927
40160 | 1 | 138 | 73.147
40170 | 1 | 138 | 0
40171 | 1 | 138 | 22.947
40172 | 1 | 138 | 33.073
40180 | 1 | 138 | 26.102
40190 | 1 | 138 | 26.901
32000 | 1 | 138 | 18.73
32001 | 1 | 138 | 48.197
32002 | 1 | 138 | 31.565
32003 | 1 | 138 | 17.817
32004 | 1 | 138 | 23.214
32005 | 1 | 138 | 26.725
32006 | 1 | 138 | 15.076
32007 | 1 | 138 | 30.979
40200 | 1 | 138 | 16.73
40209 | 1 | 138 | 0
40210 | 1 | 138 | 1.006
40235 | 1 | 138 | 16.618
40240 | 1 | 345 | 0
40260 | 1 | 138 | 0
40270 | 1 | 138 | 0
40275 | 1 | 138 | 67.764
40280 | 1 | 138 | 0
40281 | 1 | 138 | 79.658
40282 | 1 | 138 | 0
40290 | 1 | 138 | 9.373
40300 | 1 | 138 | 142.671
40310 | 1 | 138 | 33.098
40320 | 1 | 138 | 25.795
40330 | 1 | 138 | 12.457
40350 | 1 | 138 | 34.439
40352 | 1 | 69 | 0
40370 | 1 | 138 | 12.858
40380 | 1 | 138 | 23.41
40390 | 1 | 138 | 5.637
40391 | 1 | 138 | 3.37
40392 | 1 | 138 | 0
40393 | 1 | 34.5 | 0
40394 | 1 | 138 | 7.372
40400 | 1 | 138 | 24.218
40410 | 1 | 138 | 42.488
40420 | 1 | 138 | 10.12
40430 | 1 | 138 | 64.652
7671 | 1 | 138 | 26.66
40439 | 1 | 138 | 0
40441 | 1 | 138 | 28.15
40442 | 1 | 138 | 29.302
40450 | 1 | 345 | 0
40460 | 1 | 138 | 0
40470 | 1 | 69 | 0
40475 | 1 | 138 | 3.531
40480 | 1 | 138 | 225.002
40490 | 1 | 138 | 5.798
40520 | 1 | 138 | 12.502
40530 | 1 | 138 | 4.468
40540 | 1 | 138 | 1.958
40550 | 1 | 69 | 9.909
40555 | 1 | 138 | 3.283
40559 | 1 | 138 | 0
40560 | 1 | 138 | 7.345
40570 | 1 | 138 | 164.124
40590 | 1 | 138 | 7.679
40600 | 1 | 345 | 0
40612 | 1 | 138 | 12.539
40613 | 1 | 138 | 24.379
40620 | 1 | 138 | 35.856
40630 | 1 | 138 | 6.629
40640 | 1 | 138 | 22.19
40650 | 1 | 138 | 12.706
40690 | 1 | 138 | 0
40700 | 1 | 345 | 0
40710 | 1 | 138 | 0
40715 | 1 | 138 | 0
40716 | 1 | 138 | 0
40717 | 1 | 138 | 0
40720 | 1 | 69 | 0
40731 | 1 | 138 | 13.704
40780 | 1 | 138 | 3.267
40790 | 1 | 138 | 35.389
40800 | 1 | 69 | 31.506
49001 | 1 | 23 | 0
49002 | 1 | 23 | 0
40811 | 1 | 138 | 26.1
40812 | 1 | 138 | 31.903
49003 | 1 | 23 | 0
49004 | 1 | 13 | 0
49011 | 1 | 13 | 0
40820 | 1 | 138 | 102
49016 | 1 | 13 | 0
49017 | 1 | 13 | 0
49018 | 1 | 23 | 0
49019 | 1 | 23 | 0
49020 | 1 | 12.47 | 0
49021 | 1 | 13 | 0
40830 | 1 | 138 | 199.735
40831 | 1 | 138 | 0
49024 | 1 | 23 | 0
49027 | 1 | 13 | 0
49031 | 1 | 23 | 0
40841 | 1 | 138 | 18.486
49039 | 1 | 23 | 0
49041 | 1 | 23 | 0
49042 | 1 | 13.3 | 0
49043 | 1 | 23 | 0
49045 | 1 | 23 | 0
49050 | 1 | 23 | 0
40860 | 1 | 138 | 42.131
49054 | 1 | 23 | 0
49056 | 1 | 13 | 0
49058 | 1 | 12.47 | 0
49059 | 1 | 23 | 0
49060 | 1 | 34.5 | 0
49061 | 1 | 23 | 0
49063 | 1 | 23 | 0
49064 | 1 | 23 | 0
49066 | 1 | 12.47 | 0
49067 | 1 | 23 | 0
49068 | 1 | 34.5 | 0
49070 | 1 | 23 | 0
49071 | 1 | 23 | 0
40881 | 1 | 138 | 0.027
49075 | 1 | 23 | 0
49076 | 1 | 23 | 0
40890 | 1 | 138 | 0
49082 | 1 | 23 | 0
49083 | 1 | 23 | 0
49084 | 1 | 23 | 0
49085 | 1 | 23 | 0
49090 | 1 | 23 | 0
49091 | 1 | 23 | 0
40900 | 1 | 345 | 0
40911 | 1 | 138 | 43.723
40912 | 1 | 138 | 55.673
40930 | 1 | 138 | 130.186
40941 | 1 | 138 | 29.357
40942 | 1 | 138 | 13.799
43030 | 1 | 345 | 0
43031 | 1 | 138 | 0
43032 | 1 | 138 | 0
112662 | 1 | 138 | 0
43035 | 1 | 345 | 0
43051 | 1 | 138 | 26.327
43052 | 1 | 138 | 34.935
61 | 1 | 69 | 6.625
43070 | 1 | 138 | 9.992
64 | 1 | 138 | 3.538
65 | 1 | 69 | 3.356
67 | 1 | 69 | 0
73 | 1 | 69 | 0
75 | 1 | 69 | 0.368
77 | 1 | 69 | 3.098
78 | 1 | 69 | 10
95 | 1 | 138 | 5.308
39010 | 1 | 138 | 27.816
43110 | 1 | 138 | 0
39015 | 1 | 138 | 6.09
170093 | 1 | 138 | 0
110 | 1 | 69 | 4.782
170094 | 1 | 138 | 0
170095 | 1 | 138 | 0
114 | 1 | 69 | 0
115 | 1 | 138 | 11.131
116 | 1 | 138 | 3.789
117 | 1 | 138 | 9.916
39030 | 1 | 138 | 16.402
118 | 1 | 69 | 5.747
120 | 1 | 138 | 7
125 | 1 | 138 | 0.02
126 | 1 | 69 | 0
127 | 1 | 138 | 0.33
128 | 1 | 138 | 0
130 | 1 | 138 | 0
131 | 1 | 69 | 0
132 | 1 | 138 | 0
133 | 1 | 69 | 0
136 | 1 | 138 | 14.508
137 | 1 | 138 | 5.362
139 | 1 | 138 | 0
141 | 1 | 138 | 9.068
43150 | 1 | 138 | 2.377
146 | 1 | 138 | 9.172
43155 | 1 | 138 | 36.778
147 | 1 | 138 | 6.728
161 | 1 | 138 | 4.775
165 | 1 | 138 | 0
169 | 1 | 138 | 15.777
170 | 1 | 138 | 9.326
173 | 1 | 138 | 8.445
175 | 1 | 138 | 8.014
177 | 1 | 138 | 8.608
43211 | 1 | 138 | 21.806
43222 | 1 | 138 | 3.746
224 | 1 | 69 | 7.58
228 | 1 | 69 | 7.382
43240 | 1 | 138 | 44.832
232 | 1 | 138 | 0
234 | 1 | 138 | 7.132
236 | 1 | 138 | 12.981
237 | 1 | 138 | 7.736
249 | 1 | 138 | 20.618
43260 | 1 | 138 | 158.321
43261 | 1 | 138 | 44.564
43280 | 1 | 138 | 47.692
43300 | 1 | 138 | 21.332
43315 | 1 | 138 | 1.877
43330 | 1 | 138 | 7.032
43335 | 1 | 138 | 0
43336 | 1 | 138 | 0
43337 | 1 | 138 | 0
112969 | 1 | 138 | 0
43345 | 1 | 138 | 37.598
43360 | 1 | 138 | 34.594
43361 | 1 | 138 | 0
43362 | 1 | 138 | 0
43363 | 1 | 138 | 0
43365 | 1 | 138 | 75.878
43380 | 1 | 138 | 0
43381 | 1 | 138 | 0
43384 | 1 | 138 | 1.472
47531 | 1 | 345 | 0
47532 | 1 | 345 | 0
43440 | 1 | 138 | 687.505
445 | 1 | 138 | 3.7
43470 | 1 | 138 | 0
33236 | 1 | 138 | 0
68090 | 1 | 345 | 0
68092 | 1 | 345 | 0
37440 | 1 | 69 | 10.761
39500 | 1 | 138 | 0
39530 | 1 | 138 | 12.667
39531 | 1 | 12.47 | 8.884
152183 | 1 | 34.5 | 0
152184 | 1 | 34.5 | 0
152185 | 1 | 345 | 0
139910 | 1 | 69 | 15.295
39560 | 1 | 138 | 55.485
39600 | 1 | 138 | 7.902
111301 | 1 | 138 | 139.001
39630 | 1 | 69 | 0
111321 | 1 | 138 | 0
111324 | 1 | 138 | 0
111325 | 1 | 138 | 0
111326 | 1 | 138 | 0
111327 | 1 | 138 | 0
39650 | 1 | 69 | 2
111349 | 1 | 138 | 0
39670 | 1 | 69 | 0
39680 | 1 | 69 | 6.9
39685 | 1 | 69 | 8.985
152332 | 1 | 34.5 | 0
152333 | 1 | 345 | 0
39700 | 1 | 138 | 9.309
39703 | 1 | 138 | 0
39704 | 1 | 69 | 0
39705 | 1 | 138 | 0
39706 | 1 | 138 | 15
39720 | 1 | 69 | 7.8
39725 | 1 | 69 | 26.4
39730 | 1 | 69 | 4.4
39750 | 1 | 69 | 6.928
111462 | 1 | 34.5 | 0
111463 | 1 | 138 | 0
39810 | 1 | 69 | 1
111532 | 1 | 34.5 | 0
111533 | 1 | 138 | 0
37810 | 1 | 138 | 0
37811 | 1 | 138 | 7.034
39870 | 1 | 69 | 79.5
39890 | 1 | 69 | 0
110121 | 1 | 14.4 | 0
110122 | 1 | 14.4 | 0
42072 | 1 | 138 | 8.24
42073 | 1 | 138 | 8.24
13402 | 1 | 13.8 | 0
110127 | 1 | 138 | 0
13405 | 1 | 345 | 0
13406 | 1 | 13.8 | 0
13410 | 1 | 13.8 | 0
13414 | 1 | 13.8 | 0
13415 | 1 | 138 | 0
42090 | 1 | 138 | 50.545
13420 | 1 | 13.8 | 0
13423 | 1 | 13.8 | 0
13424 | 1 | 13.8 | 0
13426 | 1 | 138 | 0
13427 | 1 | 138 | 0
42100 | 1 | 138 | 0
13429 | 1 | 345 | 0
13430 | 1 | 138 | 0
13431 | 1 | 138 | 0
110132 | 1 | 138 | 0
110133 | 1 | 138 | 830.4969
42110 | 1 | 138 | 6.247
13439 | 1 | 13.8 | 0
13440 | 1 | 13.8 | 0
13441 | 1 | 138 | 0
13442 | 1 | 138 | 0
42111 | 1 | 138 | 1.862
42150 | 1 | 138 | 97.514
44205 | 1 | 138 | 7.071
110149 | 1 | 138 | 0
42190 | 1 | 138 | 51.326
110150 | 1 | 14.4 | 0
42195 | 1 | 138 | 2.876
13525 | 1 | 69 | 0
110151 | 1 | 14.4 | 0
42199 | 1 | 138 | 0
42210 | 1 | 138 | 62.89
42215 | 1 | 138 | 40.573
13568 | 1 | 138 | 0
152832 | 1 | 138 | 0
111911 | 1 | 138 | 0
111914 | 1 | 34.5 | 0
111915 | 1 | 34.5 | 0
13608 | 1 | 138 | 15.169
13609 | 1 | 138 | 24.129
13610 | 1 | 138 | 46.302
13620 | 1 | 138 | 22.038
3388 | 1 | 345 | 0
3389 | 1 | 345 | 0
13628 | 1 | 138 | 18.567
3397 | 1 | 345 | 0
3399 | 1 | 345 | 0
13640 | 1 | 138 | 10.859
3402 | 1 | 345 | 0
3403 | 1 | 345 | 0
3405 | 1 | 345 | 0
3406 | 1 | 345 | 0
3407 | 1 | 138 | 0
3408 | 1 | 69 | 0
3409 | 1 | 345 | 0
3410 | 1 | 138 | 0
13646 | 1 | 69 | 0
3412 | 1 | 345 | 0
3413 | 1 | 345 | 0
3414 | 1 | 345 | 0
3415 | 1 | 138 | 0
112213 | 1 | 34.5 | 0
3420 | 1 | 138 | 0
3421 | 1 | 138 | 12.664
3422 | 1 | 345 | 0
3423 | 1 | 138 | 0
13662 | 1 | 138 | 0
3426 | 1 | 138 | 28.93
3427 | 1 | 138 | 22.223
3428 | 1 | 138 | 24.461
3429 | 1 | 138 | 35.433
3430 | 1 | 138 | 55.049
3431 | 1 | 138 | 261.284
44390 | 1 | 138 | 0
3433 | 1 | 138 | 70.277
3434 | 1 | 138 | 0
3435 | 1 | 138 | 21.912
3436 | 1 | 138 | 0
111982 | 1 | 138 | 0
3438 | 1 | 138 | 0
3440 | 1 | 138 | 0
3441 | 1 | 138 | 4.524
3442 | 1 | 138 | 19.613
3445 | 1 | 138 | 725
3443 | 1 | 138 | 0
3446 | 1 | 138 | 0
3444 | 1 | 138 | 0
44410 | 1 | 138 | 0
3452 | 1 | 138 | 2.776
150907 | 1 | 345 | 0
42370 | 1 | 138 | 10.71
150908 | 1 | 345 | 0
42380 | 1 | 138 | 24.467
44430 | 1 | 138 | 49.809
3473 | 1 | 138 | 0
42390 | 1 | 138 | 11.036
3481 | 1 | 138 | 23.941
3482 | 1 | 138 | 31.613
3484 | 1 | 138 | 62.39
3485 | 1 | 138 | 300
42410 | 1 | 138 | 0
3515 | 1 | 138 | 8.351
5566 | 1 | 69 | 5.63
42430 | 1 | 138 | 0
5568 | 1 | 138 | 0
3518 | 1 | 138 | 1.669
3519 | 1 | 13.2 | 0
3521 | 1 | 69 | 0
3522 | 1 | 138 | 30.744
3525 | 1 | 69 | 9.993
3526 | 1 | 69 | 0
3527 | 1 | 69 | 0
3528 | 1 | 69 | 0
3529 | 1 | 69 | 0
3523 | 1 | 69 | 0
3531 | 1 | 69 | 1.373
3524 | 1 | 69 | 1.232
3532 | 1 | 69 | 4.268
3534 | 1 | 69 | 5.568
163273 | 1 | 345 | 0
3543 | 1 | 69 | 5.989
3544 | 1 | 138 | 8.864
3550 | 1 | 138 | 28.805
3551 | 1 | 138 | 0
3552 | 1 | 138 | 42.094
3553 | 1 | 138 | 0
3555 | 1 | 138 | 0
3556 | 1 | 138 | 4.478
3557 | 1 | 138 | 10.148
3559 | 1 | 138 | 46.426
3560 | 1 | 138 | 31.886
3563 | 1 | 138 | 0
3564 | 1 | 138 | 14.169
3566 | 1 | 138 | 0
3567 | 1 | 138 | 31.301
3568 | 1 | 138 | 35.86
44531 | 1 | 138 | 10.115
3571 | 1 | 138 | 14.604
3573 | 1 | 138 | 0
3574 | 1 | 138 | 26.614
3575 | 1 | 138 | 0
3577 | 1 | 138 | 19.904
3578 | 1 | 138 | 6.398
3580 | 1 | 138 | 11.535
3581 | 1 | 138 | 12.293
3584 | 1 | 138 | 0
120322 | 1 | 138 | 0
3585 | 1 | 138 | 3.729
42500 | 1 | 345 | 0
3586 | 1 | 138 | 0
3590 | 1 | 138 | 43.643
3591 | 1 | 138 | 36.768
3592 | 1 | 138 | 41.976
3593 | 1 | 138 | 0
3594 | 1 | 138 | 0
3595 | 1 | 138 | 26.043
3596 | 1 | 138 | 7.987
42510 | 1 | 138 | 0
42511 | 1 | 138 | 0
3601 | 1 | 138 | 37.053
3602 | 1 | 138 | 0
3607 | 1 | 138 | 28.536
3608 | 1 | 138 | 47.9
3609 | 1 | 138 | 22.92
3610 | 1 | 138 | 36.551
3611 | 1 | 138 | 63.059
3612 | 1 | 138 | 38.312
110112 | 1 | 14.4 | 8.708
110113 | 1 | 138 | 182.312
42530 | 1 | 345 | 0
110115 | 1 | 14.4 | 44.538
42535 | 1 | 138 | 0
42536 | 1 | 138 | 0
110118 | 1 | 14.4 | 0
110119 | 1 | 14.4 | 0
110120 | 1 | 138 | 0
42540 | 1 | 138 | 0
42541 | 1 | 138 | 0
42542 | 1 | 138 | 0
42543 | 1 | 138 | 0
42546 | 1 | 138 | 5.364
42547 | 1 | 138 | 9.978
110126 | 1 | 14.4 | 0
110128 | 1 | 138 | 36.037
110129 | 1 | 138 | 0
44600 | 1 | 138 | 25.488
110130 | 1 | 14.5 | 36.037
110131 | 1 | 138 | 14.152
110134 | 1 | 138 | 0
110140 | 1 | 138 | 0
110142 | 1 | 138 | 0
110143 | 1 | 138 | 0
110136 | 1 | 138 | 0
110138 | 1 | 138 | 0
110144 | 1 | 138 | 0
110145 | 1 | 14.4 | 95.063
110152 | 1 | 14.4 | 0
42570 | 1 | 138 | 0
3659 | 1 | 138 | 9.356
110154 | 1 | 138 | 0
3661 | 1 | 138 | 77.432
110155 | 1 | 138 | 0
110156 | 1 | 14.4 | 0
110158 | 1 | 14.4 | 0
110161 | 1 | 14.4 | 0
110153 | 1 | 138 | 0
110157 | 1 | 14.4 | 0
110164 | 1 | 138 | 0
110159 | 1 | 14.4 | 0
112214 | 1 | 34.5 | 0
112215 | 1 | 138 | 0
110160 | 1 | 14.4 | 0
110162 | 1 | 138 | 0
110165 | 1 | 138 | 0
3675 | 1 | 138 | 4.502
3678 | 1 | 138 | 21.148
3683 | 1 | 138 | 0
3684 | 1 | 69 | 0.897
3685 | 1 | 69 | 23.659
3687 | 1 | 345 | 0
3689 | 1 | 69 | 0.148
3697 | 1 | 138 | 38.176
3698 | 1 | 138 | 36.314
3699 | 1 | 345 | 0
3701 | 1 | 138 | 0
110199 | 1 | 14.4 | 0
44680 | 1 | 138 | 52.054
42645 | 1 | 138 | 13.985
110232 | 1 | 138 | 0
110233 | 1 | 138 | 0
112402 | 1 | 138 | 0
3616 | 1 | 138 | 0
3617 | 1 | 138 | 29.737
3618 | 1 | 138 | 46.484
3619 | 1 | 138 | 54.253
3620 | 1 | 138 | 0
3621 | 1 | 138 | 36.421
3622 | 1 | 138 | 0
3623 | 1 | 138 | 38.801
42810 | 1 | 138 | 4.389
3624 | 1 | 138 | 49.837
3626 | 1 | 138 | 51.596
3627 | 1 | 138 | 0
3628 | 1 | 138 | 38.367
3629 | 1 | 138 | 19.802
44890 | 1 | 138 | 0
3633 | 1 | 138 | 46.447
3635 | 1 | 138 | 10.816
42870 | 1 | 138 | 14.107
3636 | 1 | 69 | 29.918
42875 | 1 | 138 | 0
42880 | 1 | 138 | 64.676
3639 | 1 | 138 | 0
3640 | 1 | 138 | 19.988
49036 | 1 | 23 | 0
49037 | 1 | 23 | 0
49038 | 1 | 23 | 0
49046 | 1 | 23 | 0
3643 | 1 | 69 | 0
49051 | 1 | 23 | 0
112542 | 1 | 138 | 0
3644 | 1 | 69 | 0
3645 | 1 | 69 | 16.872
49062 | 1 | 23 | 0
110505 | 1 | 138 | 0
110506 | 1 | 138 | 27.646
110507 | 1 | 69 | 0
49069 | 1 | 23 | 0
110508 | 1 | 138 | 58.236
110509 | 1 | 138 | 27.266
110511 | 1 | 138 | 142.5
3646 | 1 | 69 | 4.967
42940 | 1 | 138 | 35.055
42960 | 1 | 138 | 19.349
112597 | 1 | 138 | 0
110562 | 1 | 34.5 | 0
110563 | 1 | 34.5 | 0
42980 | 1 | 138 | 4.902
110564 | 1 | 34.5 | 0
3663 | 1 | 138 | 0