## Sensitive buses
Sensitive bus data in the output county map | [9 empty] | POI county
Counties inside the convex hull with sensitive buses
Transmission Buses |  |  |  | Generator Buses | [5 empty] | Counties that have buses N-levels away from POI
Bus Number | Type | Bus kV | Load MW | Bus Number | Type | Bus kV | Gen MW | Summary
8192 | 1 | 138 | 0 | 170063 | 2 | 13.8 | 49.9621 | Total Generation "Capacity" (MW) | 12211.7715
8193 | 1 | 138 | 11.19 | 170064 | 2 | 13.8 | 49.9621 | Total Load (MW) | 4542.272
8195 | 1 | 138 | 0.41 | 170065 | 2 | 13.8 | 48.8206 | Total Number of Transmission Buses | 419
8196 | 1 | 138 | 0 | 170066 | 2 | 13.8 | 49.9621 | Total Number of Generation Buses | 90
8197 | 1 | 69 | 0 | 170125 | 2 | 24 | 604.8997 | Study County Name | McMullen
8198 | 1 | 69 | 36.545 | 170126 | 2 | 24 | 816.6088 | POI | 5705
8199 | 1 | 69 | 0 | 170134 | 2 | 18 | 170.7403
8200 | 1 | 69 | 0 | 170135 | 2 | 18 | 178.2359 | List of Study Area Counties
8203 | 1 | 138 | 32.162 | 170136 | 2 | 18 | 202.4835 | wharton
8205 | 1 | 12.5 | 0 | 110771 | 2 | 18 | 153.6241 | goliad
8206 | 1 | 69 | 8.015 | 110772 | 2 | 18 | 153.6241 | mcmullen
8207 | 1 | 69 | 0 | 110773 | 2 | 18 | 263.5125 | jim wells
8208 | 1 | 69 | 9.913 | 170201 | 2 | 18 | 172.696 | bexar
8210 | 1 | 69 | 0 | 170202 | 2 | 18 | 170.3807 | karnes
8212 | 1 | 138 | 0 | 170203 | 2 | 18 | 171.0242 | dewitt
8215 | 1 | 138 | 13.86 | 170204 | 2 | 22 | 327.1165 | victoria
8216 | 1 | 69 | 11.983 | 110881 | 2 | 20 | 125.5416 | gonzales
8218 | 1 | 69 | 0 | 110882 | 2 | 18 | 160.1633 | webb
8221 | 1 | 138 | 0 | 160074 | 2 | 13.8 | 50.884 | bee
8223 | 1 | 69 | 18.961 | 160075 | 2 | 13.8 | 50.884 | brazoria
8242 | 1 | 69 | 17.993 | 160076 | 2 | 13.8 | 50.884 | calhoun
8243 | 1 | 69 | 0 | 160077 | 2 | 13.8 | 50.884 | zavala
8248 | 1 | 138 | 10.12 | 160131 | 2 | 24 | 403.9997 | medina
8284 | 1 | 69 | 0 | 170381 | 2 | 34.5 | 34.5687 | jackson
84061 | 1 | 138 | 9.4 | 162201 | 2 | 34.5 | 135.5898 | comal
8293 | 1 | 138 | 43.296 | 170401 | 2 | 13.8 | 30.8423 | colorado
8297 | 1 | 138 | 4.92 | 170402 | 2 | 13.8 | 30.8423 | dimmit
80012 | 1 | 14.4 | 0 | 160211 | 2 | 13.8 | 34.3319 | duval
80013 | 1 | 138 | 0 | 111141 | 2 | 25 | 330.387 | matagorda
170167 | 1 | 345 | 0 | 111142 | 2 | 25 | 336.1344 | zapata
8403 | 1 | 138 | 0 | 111143 | 2 | 23.5 | 480.5236 | wilson
8404 | 1 | 138 | 45.146 | 999980 | 2 | 138 | 0 | live oak
8405 | 1 | 69 | 2.46 | 170591 | 2 | 34.5 | 0 | atascosa
8407 | 1 | 69 | 11.436 | 170671 | 2 | 345 | 361.5239 | guadalupe
80124 | 1 | 138 | 15.751 | 555705 | 2 | 0.6 | 148.253 | san patricio
8452 | 1 | 138 | 0 | 162491 | 2 | 34.5 | 10.5569 | nueces
160009 | 1 | 138 | 0 | 162492 | 2 | 34.5 | 9.4022 | refugio
160010 | 1 | 138 | 0 | 162493 | 2 | 34.5 | 15.1641 | la salle
78104 | 1 | 138 | 0 | 162494 | 2 | 34.5 | 5.9301 | fort bend
80165 | 1 | 138 | 0 | 111302 | 2 | 13.8 | 76.0275 | frio
80170 | 1 | 17.48 | 0 | 162541 | 2 | 34.5 | 173.2234
80175 | 1 | 138 | 0 | 111381 | 2 | 34.5 | 104.5222
8505 | 1 | 69 | 11.285 | 705331 | 2 | 138 | 0
8526 | 1 | 138 | 16.53 | 111461 | 2 | 34.5 | 98.393
53581 | 1 | 34.5 | 0 | 705390 | 2 | 138 | 0
53582 | 1 | 34.5 | 0 | 705430 | 2 | 138 | 0
80210 | 1 | 345 | 0 | 744342 | 2 | 138 | 0
80219 | 1 | 345 | 0 | 885709 | 2 | 345 | 139.6547
80220 | 1 | 345 | 0 | 111581 | 2 | 34.5 | 122.9394
80221 | 1 | 138 | 0 | 162791 | 2 | 34.5 | 163.8998
80222 | 1 | 69 | 0 | 162841 | 2 | 34.5 | 106.2482
80223 | 1 | 345 | 0 | 162911 | 2 | 34.5 | 34.8195
80224 | 1 | 345 | 0 | 162912 | 2 | 34.5 | 40.9943
8543 | 1 | 69 | 0 | 111861 | 2 | 34.5 | 186.5966
80225 | 1 | 345 | 0 | 111862 | 2 | 34.5 | 184.1779
80227 | 1 | 345 | 0 | 163071 | 2 | 34.5 | 122.7655
8541 | 1 | 69 | 0.713 | 163072 | 2 | 34.5 | 0
8550 | 1 | 69 | 2.294 | 163073 | 2 | 34.5 | 0
80232 | 1 | 345 | 0 | 161102 | 2 | 34.5 | 5.7059
8552 | 1 | 69 | 0 | 161103 | 2 | 34.5 | 66.6787
8555 | 1 | 69 | 1.374 | 161106 | 2 | 34.5 | 27.9864
8556 | 1 | 69 | 0 | 161107 | 2 | 34.5 | 21.2016
8557 | 1 | 69 | 0.089 | 161108 | 2 | 34.5 | 8.6901
8558 | 1 | 138 | 0 | 163171 | 2 | 34.5 | 45.7598
8559 | 1 | 138 | 0 | 163221 | 2 | 34.5 | 162.1202
78188 | 1 | 138 | 13.23 | 110037 | 2 | 13.8 | 40.2753
78191 | 1 | 138 | 7.49 | 161251 | 2 | 34.5 | 51.2354
8563 | 1 | 138 | 0 | 161252 | 2 | 34.5 | 41.5069
8583 | 1 | 138 | 3.416 | 163322 | 2 | 34.5 | 92.3176
8585 | 1 | 69 | 4.891 | 112141 | 2 | 34.5 | 210.2256
8586 | 1 | 69 | 0.774 | 708113 | 2 | 138 | 0
8590 | 1 | 138 | 8.812 | 708133 | 2 | 69 | 0
170383 | 1 | 34.5 | 0 | 880219 | 2 | 345 | 0
8593 | 1 | 69 | 11.869 | 708198 | 2 | 69 | 0
8595 | 1 | 138 | 5.387 | 163471 | 2 | 34.5 | 51.5789
55705 | 1 | 138 | 0 | 163472 | 2 | 34.5 | 54.161
55706 | 1 | 138 | 0 | 110351 | 2 | 25 | 1304.2135
55707 | 1 | 34.5 | 0 | 110352 | 2 | 25 | 1291.1261
55708 | 1 | 13.8 | 0 | 112411 | 2 | 13.8 | 65.3573
55709 | 1 | 34.5 | 0 | 112412 | 2 | 13.8 | 47.3947
8606 | 1 | 345 | 0 | 112413 | 2 | 13.8 | 47.3947
162202 | 1 | 34.5 | 0 | 112414 | 2 | 13.8 | 47.3947
8607 | 1 | 69 | 20.719 | 112415 | 2 | 13.8 | 47.3947
8610 | 1 | 138 | 14.324 | 112416 | 2 | 13.8 | 47.3947
8611 | 1 | 138 | 32.92 | 112417 | 2 | 13.8 | 47.3947
8612 | 1 | 138 | 39.78 | 112418 | 2 | 13.8 | 47.3947
8608 | 1 | 138 | 2.579 | 112431 | 2 | 34.5 | 121.9503
8613 | 1 | 138 | 5.583 | 161651 | 2 | 34.5 | 148.6581
8614 | 1 | 138 | 2.088 | 112591 | 2 | 13.8 | 45.7256
8619 | 1 | 138 | 0 | 110561 | 2 | 13.8 | 28.3281
8622 | 1 | 69 | 2.939
8629 | 1 | 69 | 0
8672 | 1 | 69 | 7.346
8673 | 1 | 345 | 0
8675 | 1 | 138 | 0
8676 | 1 | 345 | 0
8678 | 1 | 345 | 0
8679 | 1 | 138 | 0
8689 | 1 | 345 | 0
88627 | 1 | 138 | 0
80439 | 1 | 138 | 0
88689 | 1 | 345 | 0
88690 | 1 | 345 | 0
162496 | 1 | 34.5 | 0
162497 | 1 | 34.5 | 0
162498 | 1 | 34.5 | 0
162499 | 1 | 345 | 0
8904 | 1 | 69 | 0
78538 | 1 | 69 | 3.447
78539 | 1 | 69 | 0
8913 | 1 | 138 | 11.906
78573 | 1 | 138 | 0
78574 | 1 | 138 | 1.443
78575 | 1 | 138 | 7.715
78576 | 1 | 138 | 4.9
162542 | 1 | 34.5 | 0
162543 | 1 | 138 | 0
78580 | 1 | 138 | 9.349
78581 | 1 | 138 | 0
78582 | 1 | 138 | 0
78583 | 1 | 138 | 23.08
78584 | 1 | 138 | 26.5
8962 | 1 | 138 | 0
111382 | 1 | 34.5 | 0
8984 | 1 | 69 | 0
160592 | 1 | 138 | 0
111462 | 1 | 34.5 | 0
7042 | 1 | 345 | 0
7044 | 1 | 345 | 0
5000 | 1 | 138 | 0
5001 | 1 | 138 | 18.2
7050 | 1 | 345 | 0
5020 | 1 | 138 | 74.931
5022 | 1 | 138 | 36.452
58280 | 1 | 69 | 0
5051 | 1 | 138 | 50.747
5055 | 1 | 138 | 56.79
5056 | 1 | 345 | 0
5057 | 1 | 13.8 | 0
5059 | 1 | 13.8 | 0
5060 | 1 | 13.8 | 0
5068 | 1 | 345 | 0
5075 | 1 | 138 | 30.22
5080 | 1 | 138 | 49.881
5083 | 1 | 138 | 36.442
111582 | 1 | 34.5 | 0
44000 | 1 | 345 | 0
5093 | 1 | 138 | 49.357
162792 | 1 | 34.5 | 0
5125 | 1 | 138 | 160.321
7178 | 1 | 138 | 13.89
5130 | 1 | 138 | 45.96
5133 | 1 | 345 | 0
5140 | 1 | 138 | 124.155
5145 | 1 | 138 | 8.804
162842 | 1 | 34.5 | 0
5155 | 1 | 138 | 38.298
160831 | 1 | 138 | 0
5185 | 1 | 138 | 116.731
7233 | 1 | 138 | 6.42
5187 | 1 | 138 | 94.908
7240 | 1 | 69 | 5.09
7241 | 1 | 138 | 7.94
5195 | 1 | 138 | 102.236
85071 | 1 | 138 | 0
5200 | 1 | 138 | 107.87
5208 | 1 | 138 | 0
5209 | 1 | 138 | 0
5210 | 1 | 138 | 39.478
5211 | 1 | 345 | 0
5212 | 1 | 13.8 | 0
5213 | 1 | 13.8 | 0
5214 | 1 | 13.8 | 0
5215 | 1 | 13.8 | 0
162913 | 1 | 34.5 | 0
162914 | 1 | 34.5 | 0
5220 | 1 | 138 | 109.726
5225 | 1 | 138 | 18.835
5257 | 1 | 138 | 90.368
44200 | 1 | 345 | 0
5290 | 1 | 138 | 29.104
5300 | 1 | 138 | 86.361
5323 | 1 | 345 | 0
5331 | 1 | 138 | 59.893
5355 | 1 | 138 | 176.53
5358 | 1 | 138 | 16.389
5363 | 1 | 138 | 19.13
77044 | 1 | 13.2 | 0
111863 | 1 | 34.5 | 0
5368 | 1 | 138 | 0
5369 | 1 | 138 | 72.056
5370 | 1 | 138 | 66.251
5371 | 1 | 345 | 0
111864 | 1 | 34.5 | 0
5373 | 1 | 13.8 | 0
5374 | 1 | 13.8 | 0
5375 | 1 | 13.8 | 0
163074 | 1 | 34.5 | 0
5390 | 1 | 138 | 36.499
89360 | 1 | 12.5 | 2.87
5400 | 1 | 345 | 0
5412 | 1 | 138 | 0
5415 | 1 | 138 | 93.566
5418 | 1 | 138 | 17.246
5421 | 1 | 138 | 19.13
5422 | 1 | 138 | 75.388
5429 | 1 | 138 | 24.25
44342 | 1 | 138 | 63.686
5430 | 1 | 138 | 81.793
5453 | 1 | 138 | 12.401
5455 | 1 | 138 | 0
5456 | 1 | 138 | 6.072
161105 | 1 | 345 | 0
161109 | 1 | 345 | 0
5460 | 1 | 138 | 112.163
5461 | 1 | 138 | 0
161110 | 1 | 34.5 | 0
5462 | 1 | 138 | 0
5467 | 1 | 138 | 89.835
5475 | 1 | 345 | 0
163172 | 1 | 138 | 0
163173 | 1 | 69 | 0
5488 | 1 | 138 | 93.77
5510 | 1 | 69 | 0
5514 | 1 | 69 | 9.16
5516 | 1 | 69 | 0
5518 | 1 | 69 | 0
5520 | 1 | 69 | 3.44
5522 | 1 | 69 | 32.45
5524 | 1 | 69 | 15.1
163222 | 1 | 34.5 | 0
163223 | 1 | 345 | 0
5525 | 1 | 69 | 0
5526 | 1 | 69 | 4.8
5528 | 1 | 69 | 1.94
5530 | 1 | 69 | 0
5532 | 1 | 69 | 4.86
5534 | 1 | 69 | 2.27
5535 | 1 | 69 | 0
42400 | 1 | 345 | 0
5536 | 1 | 69 | 4.04
5538 | 1 | 69 | 9.83
5540 | 1 | 69 | 5.28
5543 | 1 | 69 | 8.78
5544 | 1 | 69 | 0
5546 | 1 | 138 | 0
7595 | 1 | 138 | 0
5548 | 1 | 69 | 9.11
5550 | 1 | 69 | 2.08
5551 | 1 | 69 | 8.93
5552 | 1 | 69 | 5.08
5553 | 1 | 69 | 9.07
5555 | 1 | 69 | 8.474
5557 | 1 | 69 | 0
5558 | 1 | 69 | 17.46
5559 | 1 | 69 | 0
5560 | 1 | 69 | 6.15
5562 | 1 | 138 | 46.317
5564 | 1 | 69 | 9.72
5566 | 1 | 69 | 5.72
7614 | 1 | 69 | 13.35
7616 | 1 | 69 | 9.63
7617 | 1 | 69 | 0
7618 | 1 | 69 | 0
7619 | 1 | 69 | 0
7620 | 1 | 69 | 4.09
7621 | 1 | 138 | 0
7615 | 1 | 138 | 27.53
5569 | 1 | 69 | 6.94
5570 | 1 | 69 | 3.79
44483 | 1 | 138 | 18.098
5571 | 1 | 69 | 0
5573 | 1 | 69 | 9.83
5574 | 1 | 69 | 0
5576 | 1 | 69 | 9.95
5579 | 1 | 69 | 0.02
5580 | 1 | 69 | 0
5582 | 1 | 69 | 0
5584 | 1 | 138 | 0
5585 | 1 | 138 | 18.56
5586 | 1 | 69 | 3.95
44500 | 1 | 345 | 0
5588 | 1 | 138 | 11.93
5590 | 1 | 69 | 3.28
5591 | 1 | 69 | 0.53
5600 | 1 | 69 | 8.65
5602 | 1 | 69 | 0
5603 | 1 | 69 | 2.87
5604 | 1 | 69 | 14.06
161257 | 1 | 345 | 0
112142 | 1 | 34.5 | 0
112143 | 1 | 34.5 | 0
5658 | 1 | 69 | 0
5660 | 1 | 138 | 0
42530 | 1 | 345 | 0
5666 | 1 | 69 | 5.01
5668 | 1 | 69 | 3.29
5672 | 1 | 69 | 4.22
5673 | 1 | 69 | 3.57
5674 | 1 | 69 | 8.8
5683 | 1 | 69 | 9.905
5684 | 1 | 69 | 12.13
5686 | 1 | 69 | 0
5688 | 1 | 138 | 0
5689 | 1 | 138 | 8.168
5690 | 1 | 69 | 2.06
5691 | 1 | 69 | 2.15
5692 | 1 | 69 | 0
5693 | 1 | 69 | 0
5695 | 1 | 69 | 8.26
5696 | 1 | 69 | 0
5697 | 1 | 69 | 4.39
5698 | 1 | 69 | 9.62
5699 | 1 | 69 | 2.16
5700 | 1 | 138 | 2.91
5701 | 1 | 138 | 22.76
5702 | 1 | 69 | 0
5704 | 1 | 138 | 0
5705 | 1 | 138 | 13.1
5706 | 1 | 24.9 | 0
5707 | 1 | 138 | 25.26
5708 | 1 | 69 | 10.8
5709 | 1 | 345 | 0
5710 | 1 | 69 | 10.07
5712 | 1 | 69 | 0
5713 | 1 | 138 | 16.46
5714 | 1 | 69 | 19.83
5715 | 1 | 69 | 0
5716 | 1 | 69 | 10.1
5717 | 1 | 138 | 0
5718 | 1 | 138 | 12.21
5720 | 1 | 69 | 16.16
5721 | 1 | 69 | 3.83
56920 | 1 | 69 | 0
5723 | 1 | 138 | 5.72
5725 | 1 | 345 | 0
5727 | 1 | 138 | 29.823
5728 | 1 | 138 | 4.18
5735 | 1 | 69 | 2.09
44672 | 1 | 138 | 52.009
7822 | 1 | 13.2 | 0
163473 | 1 | 34.5 | 0
163474 | 1 | 34.5 | 0
5807 | 1 | 69 | 0
5808 | 1 | 69 | 10.82
5810 | 1 | 69 | 6.63
5811 | 1 | 69 | 0
5813 | 1 | 138 | 0
5814 | 1 | 69 | 9.99
5816 | 1 | 69 | 9.31
5819 | 1 | 138 | 0
7867 | 1 | 69 | 7.28
5821 | 1 | 69 | 0
5827 | 1 | 138 | 0
85709 | 1 | 345 | 0
5842 | 1 | 69 | 17.84
5852 | 1 | 69 | 8.18
5855 | 1 | 69 | 0
5856 | 1 | 69 | 3.58
5857 | 1 | 69 | 0
5858 | 1 | 69 | 9.34
5860 | 1 | 69 | 15.86
5861 | 1 | 138 | 0
5863 | 1 | 69 | 8.62
5864 | 1 | 69 | 2.43
5868 | 1 | 69 | 6.23
5870 | 1 | 69 | 6.96
5876 | 1 | 69 | 0
5878 | 1 | 69 | 6.42
5880 | 1 | 69 | 4.13
5901 | 1 | 345 | 0
5902 | 1 | 138 | 0
5908 | 1 | 24.9 | 0
5909 | 1 | 24.9 | 0
5915 | 1 | 345 | 0
85851 | 1 | 69 | 0
8038 | 1 | 138 | 12.494
8044 | 1 | 138 | 3.159
161652 | 1 | 34.5 | 0
8099 | 1 | 138 | 10.263
8100 | 1 | 69 | 10.763
8102 | 1 | 138 | 10.218
8104 | 1 | 138 | 1.232
8107 | 1 | 69 | 4.973
8108 | 1 | 138 | 7.45
8111 | 1 | 138 | 0
8112 | 1 | 138 | 13.253
8113 | 1 | 138 | 27.549
8114 | 1 | 138 | 41.128
8115 | 1 | 138 | 8.157
8116 | 1 | 138 | 30.182
8117 | 1 | 138 | 6.019
8118 | 1 | 138 | 16.671
8119 | 1 | 69 | 1.633
8121 | 1 | 138 | 0
8123 | 1 | 345 | 0
8125 | 1 | 138 | 1.758
8127 | 1 | 138 | 0
8131 | 1 | 69 | 12.284
8132 | 1 | 69 | 3.459
8133 | 1 | 69 | 17.329
8138 | 1 | 138 | 0
8139 | 1 | 138 | 0
8148 | 1 | 69 | 0
8153 | 1 | 138 | 0
8156 | 1 | 138 | 0
8160 | 1 | 13.8 | 0
8162 | 1 | 138 | 0
110562 | 1 | 34.5 | 0
8164 | 1 | 345 | 0
8166 | 1 | 69 | 12.026
8167 | 1 | 138 | 7.559
85991 | 1 | 138 | 0
86001 | 1 | 138 | 0
8181 | 1 | 13.8 | 0
8184 | 1 | 69 | 1.711
8186 | 1 | 138 | 2.521
8188 | 1 | 69 | 5.31
8191 | 1 | 138 | 44.621

## All buses
All bus data in the output county map | [9 empty] | POI county
Counties inside the convex hull with sensitive buses
Transmission Buses |  |  |  | Generator Buses | [5 empty] | Counties that have buses N-levels away from POI
Bus Number | Type | Bus kV | Load MW | Bus Number | Type | Bus kV | Gen MW | Summary
8192 | 1 | 138 | 0 | 705035 | 2 | 138 | 0 | Total Generation "Capacity" (MW) | 30644.0789
8193 | 1 | 138 | 11.19 | 754190 | 2 | 34.5 | 0 | Total Load (MW) | 20640.906
8195 | 1 | 138 | 0.41 | 705045 | 2 | 138 | 0 | Total Number of Transmission Buses | 1285
8196 | 1 | 138 | 0 | 705135 | 2 | 138 | 0 | Total Number of Generation Buses | 299
8197 | 1 | 69 | 0 | 705227 | 2 | 138 | 0 | Study County Name | McMullen
8198 | 1 | 69 | 36.545 | 705234 | 2 | 138 | 0 | POI | 5705
8199 | 1 | 69 | 0 | 705305 | 2 | 138 | 0
8200 | 1 | 69 | 0 | 705331 | 2 | 138 | 0 | List of Study Area Counties
8203 | 1 | 138 | 32.162 | 705370 | 2 | 138 | 0 | wharton
8205 | 1 | 12.5 | 0 | 705385 | 2 | 138 | 0 | goliad
8206 | 1 | 69 | 8.015 | 705390 | 2 | 138 | 0 | mcmullen
8207 | 1 | 69 | 0 | 705410 | 2 | 138 | 0 | jim wells
8208 | 1 | 69 | 9.913 | 705430 | 2 | 138 | 0 | bexar
8210 | 1 | 69 | 0 | 705465 | 2 | 138 | 0 | karnes
8212 | 1 | 138 | 0 | 705485 | 2 | 138 | 0 | dewitt
8215 | 1 | 138 | 13.86 | 739030 | 2 | 138 | 0 | victoria
8216 | 1 | 69 | 11.983 | 780304 | 2 | 138 | 0 | gonzales
8217 | 1 | 69 | 13.386 | 707609 | 2 | 138 | 0 | webb
8218 | 1 | 69 | 0 | 134391 | 2 | 34.5 | 0 | bee
8221 | 1 | 138 | 0 | 110011 | 2 | 20 | 182.6227 | brazoria
8222 | 1 | 69 | 13.386 | 110012 | 2 | 20 | 181.5228 | calhoun
8240 | 1 | 69 | 6.377 | 110013 | 2 | 24 | 249.7251 | zavala
8249 | 1 | 345 | 0 | 110014 | 2 | 22 | 537.4774 | medina
8290 | 1 | 69 | 0 | 110016 | 2 | 20 | 745.926 | jackson
8293 | 1 | 138 | 43.296 | 110017 | 2 | 20 | 658.9398 | comal
8295 | 1 | 138 | 0 | 110018 | 2 | 20 | 695.1515 | colorado
8297 | 1 | 138 | 4.92 | 110019 | 2 | 13.2 | 0 | dimmit
8298 | 1 | 13.09 | 0 | 110020 | 2 | 13.8 | 0 | duval
8299 | 1 | 138 | 0 | 708113 | 2 | 138 | 0 | matagorda
8303 | 1 | 13.09 | 0 | 110111 | 2 | 14.4 | 57.7471 | zapata
8403 | 1 | 138 | 0 | 110114 | 2 | 14.4 | 73.533 | wilson
8404 | 1 | 138 | 45.146 | 110116 | 2 | 14.4 | 73.519 | live oak
8405 | 1 | 69 | 2.46 | 110117 | 2 | 14.4 | 53.6514 | atascosa
8407 | 1 | 69 | 11.436 | 110123 | 2 | 14.4 | 103.427 | guadalupe
8408 | 1 | 69 | 3.732 | 110124 | 2 | 14.4 | 103.4033 | san patricio
8409 | 1 | 69 | 5.257 | 110125 | 2 | 14.4 | 98.4517 | nueces
8410 | 1 | 69 | 10.15 | 110135 | 2 | 14.4 | 83.4671 | refugio
8412 | 1 | 138 | 0 | 110137 | 2 | 14.4 | 82.7774 | la salle
8413 | 1 | 69 | 7.868 | 110139 | 2 | 14.4 | 83.2216 | fort bend
8414 | 1 | 138 | 30.893 | 110141 | 2 | 18 | 129.0364 | frio
8416 | 1 | 69 | 0 | 110146 | 2 | 18 | 175.0736
8418 | 1 | 138 | 0 | 110147 | 2 | 14.4 | 56.2109
8421 | 1 | 69 | 29.015 | 708198 | 2 | 69 | 0
8422 | 1 | 138 | 0 | 110231 | 2 | 13.8 | 35.287
8424 | 1 | 69 | 0 | 708297 | 2 | 138 | 0
8425 | 1 | 138 | 26.431 | 110351 | 2 | 25 | 1304.2135
8426 | 1 | 138 | 0 | 110352 | 2 | 25 | 1291.1261
8427 | 1 | 69 | 20.649 | 708414 | 2 | 138 | 0
8430 | 1 | 138 | 0 | 708421 | 2 | 69 | 0
8435 | 1 | 69 | 10.191 | 708468 | 2 | 69 | 0
8436 | 1 | 69 | 19.188 | 708486 | 2 | 138 | 0
8437 | 1 | 138 | 0 | 708496 | 2 | 138 | 0
8439 | 1 | 69 | 0 | 110501 | 2 | 13.8 | 123.5324
8441 | 1 | 138 | 0 | 110502 | 2 | 13.8 | 123.5324
8442 | 1 | 69 | 11.91 | 110503 | 2 | 13.8 | 123.5324
8448 | 1 | 69 | 0 | 110504 | 2 | 13.8 | 123.5324
8452 | 1 | 138 | 0 | 110551 | 2 | 13.8 | 84.3282
8455 | 1 | 345 | 0 | 110561 | 2 | 13.8 | 28.3281
8456 | 1 | 69 | 15.64 | 708609 | 2 | 138 | 0
8458 | 1 | 138 | 0 | 708617 | 2 | 138 | 0
8459 | 1 | 138 | 0 | 708645 | 2 | 138 | 0
8465 | 1 | 69 | 5.232 | 708653 | 2 | 138 | 0
8466 | 1 | 138 | 35.698 | 110771 | 2 | 18 | 153.6241
8467 | 1 | 138 | 0 | 110772 | 2 | 18 | 153.6241
8468 | 1 | 69 | 28.721 | 110773 | 2 | 18 | 263.5125
8469 | 1 | 69 | 19.246 | 110791 | 2 | 13.8 | 80.166
8470 | 1 | 138 | 0 | 110792 | 2 | 13.8 | 72.2631
8474 | 1 | 138 | 44.081 | 110793 | 2 | 13.8 | 102.0735
8475 | 1 | 138 | 48.607 | 110794 | 2 | 13.8 | 78.9375
8476 | 1 | 138 | 29.34 | 110795 | 2 | 13.8 | 73.0349
8477 | 1 | 69 | 90.478 | 110796 | 2 | 13.8 | 106.988
8478 | 1 | 138 | 30.568 | 160002 | 2 | 13.8 | 102.8502
8479 | 1 | 138 | 28.78 | 160003 | 2 | 13.8 | 100.4064
8481 | 1 | 138 | 27.151 | 708889 | 2 | 69 | 0
8482 | 1 | 138 | 14.372 | 708918 | 2 | 138 | 0
8483 | 1 | 138 | 19.648 | 160074 | 2 | 13.8 | 50.884
8484 | 1 | 138 | 22.408 | 160075 | 2 | 13.8 | 50.884
8485 | 1 | 138 | 0 | 160076 | 2 | 13.8 | 50.884
8486 | 1 | 138 | 30.279 | 160077 | 2 | 13.8 | 50.884
8490 | 1 | 138 | 64.879 | 160091 | 2 | 22 | 319.6652
8492 | 1 | 138 | 9.246 | 160092 | 2 | 18 | 157.0323
8493 | 1 | 138 | 27.79 | 160093 | 2 | 18 | 157.0323
8495 | 1 | 69 | 0 | 160101 | 2 | 24 | 292.4059
8496 | 1 | 138 | 32.137 | 160102 | 2 | 22 | 319.2834
8499 | 1 | 13.8 | 0 | 160103 | 2 | 18 | 157.1838
8500 | 1 | 69 | 18.313 | 160104 | 2 | 18 | 157.1838
8502 | 1 | 13.8 | 0 | 160121 | 2 | 24 | 683.6966
8503 | 1 | 138 | 0 | 160131 | 2 | 24 | 403.9997
8505 | 1 | 69 | 11.285 | 708997 | 2 | 138 | 0
8514 | 1 | 138 | 0 | 160141 | 2 | 13.8 | 27.6942
8516 | 1 | 138 | 17.5 | 160142 | 2 | 13.8 | 27.6942
8517 | 1 | 138 | 34.52 | 160151 | 2 | 18 | 180.9042
8526 | 1 | 138 | 16.53 | 160152 | 2 | 18 | 180.9042
8528 | 1 | 138 | 0 | 160153 | 2 | 18 | 173.2794
8538 | 1 | 138 | 27.606 | 160161 | 2 | 12.4 | 42.4002
8539 | 1 | 138 | 0 | 160201 | 2 | 18 | 154.4373
8543 | 1 | 69 | 0 | 160202 | 2 | 18 | 154.4373
8548 | 1 | 138 | 18.924 | 160203 | 2 | 13.8 | 82.1825
8550 | 1 | 69 | 2.294 | 160211 | 2 | 13.8 | 34.3319
8552 | 1 | 69 | 0 | 160221 | 2 | 13.8 | 31.9387
8555 | 1 | 69 | 1.374 | 160261 | 2 | 18 | 134.1696
8556 | 1 | 69 | 0 | 160262 | 2 | 18 | 134.1696
8557 | 1 | 69 | 0.089 | 160263 | 2 | 18 | 139.5393
8558 | 1 | 138 | 0 | 111141 | 2 | 25 | 330.387
8559 | 1 | 138 | 0 | 111142 | 2 | 25 | 336.1344
8563 | 1 | 138 | 0 | 111143 | 2 | 23.5 | 480.5236
8565 | 1 | 138 | 0 | 160391 | 2 | 34.5 | 118.8092
8566 | 1 | 138 | 26.773 | 160392 | 2 | 34.5 | 130.1022
8568 | 1 | 138 | 83.293 | 111302 | 2 | 13.8 | 76.0275
8569 | 1 | 138 | 26.773 | 111322 | 2 | 13.8 | 43.0524
8575 | 1 | 138 | 83.293 | 111323 | 2 | 13.8 | 43.0524
8579 | 1 | 345 | 0 | 111381 | 2 | 34.5 | 104.5222
8580 | 1 | 138 | 471.202 | 111421 | 2 | 12.47 | 0
8583 | 1 | 138 | 3.416 | 742210 | 2 | 138 | 0
8585 | 1 | 69 | 4.891 | 160591 | 2 | 34.5 | 13.9144
8586 | 1 | 69 | 0.774 | 160593 | 2 | 34.5 | 13.9144
8587 | 1 | 69 | 9.644 | 111461 | 2 | 34.5 | 98.393
8590 | 1 | 138 | 8.812 | 111531 | 2 | 34.5 | 196.1152
8591 | 1 | 69 | 1.145 | 111581 | 2 | 34.5 | 122.9394
8593 | 1 | 69 | 11.869 | 111631 | 2 | 345 | 164.3777
8595 | 1 | 138 | 5.387 | 160832 | 2 | 34.5 | 18.0487
8597 | 1 | 69 | 12.45 | 111861 | 2 | 34.5 | 186.5966
8606 | 1 | 345 | 0 | 111862 | 2 | 34.5 | 184.1779
8607 | 1 | 69 | 20.719 | 111911 | 2 | 34.5 | 170.2142
8608 | 1 | 138 | 2.579 | 111912 | 2 | 34.5 | 85.2005
8609 | 1 | 138 | 18.408 | 161102 | 2 | 34.5 | 5.7059
8610 | 1 | 138 | 14.324 | 161103 | 2 | 34.5 | 66.6787
8611 | 1 | 138 | 32.92 | 161106 | 2 | 34.5 | 27.9864
8612 | 1 | 138 | 39.78 | 161107 | 2 | 34.5 | 21.2016
8614 | 1 | 138 | 2.088 | 161108 | 2 | 34.5 | 8.6901
8617 | 1 | 138 | 17.225 | 111981 | 2 | 34.5 | 0
8618 | 1 | 138 | 17.401 | 112041 | 2 | 345 | 312.7864
8619 | 1 | 138 | 0 | 112091 | 2 | 34.5 | 137.3459
8620 | 1 | 69 | 1.986 | 161251 | 2 | 34.5 | 51.2354
8623 | 1 | 138 | 45.718 | 161252 | 2 | 34.5 | 41.5069
8624 | 1 | 345 | 0 | 161254 | 2 | 34.5 | 7.225
8629 | 1 | 69 | 0 | 120321 | 2 | 34.5 | 0
8635 | 1 | 138 | 33.196 | 112141 | 2 | 34.5 | 210.2256
8637 | 1 | 138 | 35.597 | 112146 | 2 | 34.5 | 209.9798
8641 | 1 | 138 | 34.134 | 112211 | 2 | 34.5 | 83.9821
8642 | 1 | 69 | 44.988 | 112212 | 2 | 34.5 | 83.9821
8643 | 1 | 138 | 29.576 | 112261 | 2 | 345 | 498.6447
8645 | 1 | 138 | 59.239 | 161451 | 2 | 34.5 | 94.0835
8646 | 1 | 138 | 15.875 | 161452 | 2 | 34.5 | 61.4714
8647 | 1 | 138 | 52.175 | 161501 | 2 | 34.5 | 112.8401
8648 | 1 | 138 | 28.724 | 112351 | 2 | 345 | 181.3669
8649 | 1 | 138 | 0 | 112401 | 2 | 34.5 | 1.708
8650 | 1 | 138 | 0 | 743190 | 2 | 138 | 0
8651 | 1 | 138 | 16.327 | 112411 | 2 | 13.8 | 65.3573
8652 | 1 | 69 | 9.281 | 112412 | 2 | 13.8 | 47.3947
8653 | 1 | 138 | 55.487 | 112413 | 2 | 13.8 | 47.3947
8655 | 1 | 138 | 0 | 112414 | 2 | 13.8 | 47.3947
8659 | 1 | 345 | 0 | 112415 | 2 | 13.8 | 47.3947
8660 | 1 | 138 | 0 | 112416 | 2 | 13.8 | 47.3947
8665 | 1 | 138 | 7.335 | 112417 | 2 | 13.8 | 47.3947
8673 | 1 | 345 | 0 | 112418 | 2 | 13.8 | 47.3947
8675 | 1 | 138 | 0 | 112431 | 2 | 34.5 | 121.9503
8676 | 1 | 345 | 0 | 112432 | 2 | 34.5 | 89.2941
8678 | 1 | 345 | 0 | 743222 | 2 | 138 | 0
8679 | 1 | 138 | 0 | 743260 | 2 | 138 | 0
8689 | 1 | 345 | 0 | 112491 | 2 | 34.5 | 154.6102
8695 | 1 | 138 | 13.384 | 112492 | 2 | 34.5 | 147.759
8711 | 1 | 138 | 0 | 161651 | 2 | 34.5 | 148.6581
8713 | 1 | 138 | 8.642 | 112541 | 2 | 34.5 | 0
8714 | 1 | 138 | 8.642 | 112591 | 2 | 13.8 | 45.7256
8802 | 1 | 69 | 0 | 112592 | 2 | 13.8 | 45.1731
8803 | 1 | 69 | 0.964 | 112593 | 2 | 13.8 | 45.1731
8804 | 1 | 69 | 2.095 | 112594 | 2 | 13.8 | 45.1731
8805 | 1 | 69 | 3.579 | 112595 | 2 | 13.8 | 45.1731
8808 | 1 | 138 | 22.1 | 112596 | 2 | 13.8 | 45.1731
8810 | 1 | 69 | 14.694 | 112611 | 2 | 34.5 | 0
8812 | 1 | 69 | 9.49 | 112612 | 2 | 345 | 0
8814 | 1 | 69 | 0 | 112661 | 2 | 34.5 | 74.7885
8815 | 1 | 69 | 0 | 170063 | 2 | 13.8 | 49.9621
8817 | 1 | 138 | 25.849 | 170064 | 2 | 13.8 | 49.9621
8818 | 1 | 138 | 142 | 170065 | 2 | 13.8 | 48.8206
8819 | 1 | 138 | 25.849 | 170066 | 2 | 13.8 | 49.9621
8820 | 1 | 138 | 100 | 170121 | 2 | 24 | 0
139910 | 1 | 69 | 17.55 | 170122 | 2 | 24 | 0
8847 | 1 | 69 | 6.559 | 170123 | 2 | 22 | 432.2345
8856 | 1 | 69 | 27.795 | 170124 | 2 | 24 | 419.6718
8858 | 1 | 138 | 17.433 | 170125 | 2 | 24 | 604.8997
8859 | 1 | 69 | 16.46 | 170126 | 2 | 24 | 816.6088
8860 | 1 | 69 | 24.373 | 743570 | 2 | 138 | 0
8862 | 1 | 69 | 3.463 | 170131 | 2 | 20 | 221.3855
8864 | 1 | 69 | 3.463 | 170132 | 2 | 22 | 238.028
8865 | 1 | 69 | 0 | 170133 | 2 | 22 | 431.2033
8866 | 1 | 69 | 3.462 | 170134 | 2 | 18 | 170.7403
8867 | 1 | 69 | 0 | 170135 | 2 | 18 | 178.2359
8878 | 1 | 69 | 1.042 | 170136 | 2 | 18 | 202.4835
8882 | 1 | 138 | 24.471 | 170137 | 2 | 13.8 | 50.09
8883 | 1 | 138 | 46.983 | 170138 | 2 | 13.8 | 50.09
8884 | 1 | 69 | 0 | 170139 | 2 | 13.8 | 50.09
8886 | 1 | 69 | 2.207 | 170140 | 2 | 13.8 | 49.1325
8888 | 1 | 69 | 3.84 | 170161 | 2 | 18.1 | 157.0796
8889 | 1 | 69 | 30.785 | 170162 | 2 | 18.1 | 154.6932
8890 | 1 | 69 | 13.721 | 170163 | 2 | 18.1 | 211.7286
8891 | 1 | 69 | 10.662 | 170164 | 2 | 18.1 | 153.2351
8894 | 1 | 69 | 8.481 | 170165 | 2 | 18.1 | 155.2611
8904 | 1 | 69 | 0 | 170166 | 2 | 18.1 | 211.7286
8909 | 1 | 138 | 0 | 162001 | 2 | 34.5 | 63.0139
8912 | 1 | 138 | 1.319 | 162002 | 2 | 34.5 | 63.0139
8913 | 1 | 138 | 11.906 | 170201 | 2 | 18 | 172.696
8918 | 1 | 138 | 41.598 | 170202 | 2 | 18 | 170.3807
8920 | 1 | 138 | 28.379 | 170203 | 2 | 18 | 171.0242
8921 | 1 | 138 | 0 | 170204 | 2 | 22 | 327.1165
8924 | 1 | 138 | 38.374 | 162051 | 2 | 34.5 | 61.245
8956 | 1 | 345 | 0 | 80169 | 2 | 138 | 0
8959 | 1 | 69 | 1.33 | 170381 | 2 | 34.5 | 34.5687
8960 | 1 | 69 | 0 | 162201 | 2 | 34.5 | 135.5898
8961 | 1 | 138 | 0 | 170591 | 2 | 34.5 | 0
8965 | 1 | 69 | 3.843 | 744030 | 2 | 138 | 0
8968 | 1 | 138 | 0 | 162451 | 2 | 34.5 | 21.0522
8979 | 1 | 138 | 36.684 | 162452 | 2 | 34.5 | 18.5525
8984 | 1 | 69 | 0 | 170671 | 2 | 345 | 361.5239
8985 | 1 | 138 | 3.071 | 162491 | 2 | 34.5 | 10.5569
8997 | 1 | 138 | 37.903 | 162492 | 2 | 34.5 | 9.4022
42072 | 1 | 138 | 8.265 | 162493 | 2 | 34.5 | 15.1641
42073 | 1 | 138 | 8.265 | 162494 | 2 | 34.5 | 5.9301
42090 | 1 | 138 | 51.727 | 744173 | 2 | 138 | 0
42100 | 1 | 138 | 0 | 744180 | 2 | 138 | 0
42110 | 1 | 138 | 4.239 | 744230 | 2 | 138 | 0
42111 | 1 | 138 | 4.777 | 744231 | 2 | 138 | 0
42150 | 1 | 138 | 98.727 | 744341 | 2 | 138 | 0
42190 | 1 | 138 | 55.682 | 744342 | 2 | 138 | 0
42195 | 1 | 138 | 3.212 | 162791 | 2 | 34.5 | 163.8998
42199 | 1 | 138 | 0 | 162841 | 2 | 34.5 | 106.2482
42210 | 1 | 138 | 57.066 | 162861 | 2 | 34.5 | 80.3471
42215 | 1 | 138 | 39.195 | 162862 | 2 | 34.5 | 83.5338
42370 | 1 | 138 | 10.552 | 744511 | 2 | 138 | 0
42380 | 1 | 138 | 23.404 | 744541 | 2 | 138 | 0
42390 | 1 | 138 | 11.232 | 162911 | 2 | 34.5 | 34.8195
42400 | 1 | 345 | 0 | 162912 | 2 | 34.5 | 40.9943
42410 | 1 | 138 | 0 | 744570 | 2 | 138 | 0
42420 | 1 | 138 | 0 | 744652 | 2 | 138 | 0
42430 | 1 | 138 | 0 | 163071 | 2 | 34.5 | 122.7655
42500 | 1 | 345 | 0 | 163072 | 2 | 34.5 | 0
42510 | 1 | 138 | 0 | 163073 | 2 | 34.5 | 0
42511 | 1 | 138 | 0 | 163171 | 2 | 34.5 | 45.7598
42530 | 1 | 345 | 0 | 163221 | 2 | 34.5 | 162.1202
42535 | 1 | 138 | 0 | 163321 | 2 | 34.5 | 139.8054
42536 | 1 | 138 | 0 | 163322 | 2 | 34.5 | 92.3176
42540 | 1 | 138 | 0 | 163371 | 2 | 12.47 | 0
42541 | 1 | 138 | 0 | 163401 | 2 | 12.47 | 0
42542 | 1 | 138 | 0 | 163461 | 2 | 24.9 | 0
42543 | 1 | 138 | 0 | 163471 | 2 | 34.5 | 51.5789
42546 | 1 | 138 | 0 | 163472 | 2 | 34.5 | 54.161
42547 | 1 | 138 | 0 | 163521 | 2 | 345 | 245.0607
42570 | 1 | 138 | 0 | 163571 | 2 | 138 | 126.9384
58959 | 1 | 138 | 0 | 110681 | 2 | 13.8 | 72.559
42645 | 1 | 138 | 18.729 | 170111 | 2 | 4 | 0
42810 | 1 | 138 | 4.611 | 110861 | 2 | 13.8 | 16.8253
42870 | 1 | 138 | 15.975 | 110862 | 2 | 13.8 | 12.4039
42875 | 1 | 138 | 0 | 110881 | 2 | 20 | 125.5416
42880 | 1 | 138 | 76.054 | 110882 | 2 | 18 | 160.1633
42940 | 1 | 138 | 32.441 | 170401 | 2 | 13.8 | 30.8423
42960 | 1 | 138 | 21.942 | 170402 | 2 | 13.8 | 30.8423
42980 | 1 | 138 | 5.471 | 111221 | 2 | 13.8 | 50.5707
42985 | 1 | 138 | 0 | 111241 | 2 | 13.8 | 50.5707
43010 | 1 | 138 | 12.633 | 162541 | 2 | 34.5 | 173.2234
43030 | 1 | 345 | 0 | 111341 | 2 | 13.8 | 44.663
43031 | 1 | 138 | 0 | 111342 | 2 | 13.8 | 44.663
43032 | 1 | 138 | 0 | 111361 | 2 | 13.8 | 44.1285
43035 | 1 | 345 | 0 | 111362 | 2 | 13.8 | 44.1285
43051 | 1 | 138 | 25.853 | 111411 | 2 | 12.47 | 0
43052 | 1 | 138 | 35.755 | 111441 | 2 | 13.8 | 29.3473
43070 | 1 | 138 | 9.688 | 111442 | 2 | 13.8 | 72.4411
84061 | 1 | 138 | 9.4 | 111443 | 2 | 13.8 | 72.4411
43110 | 1 | 138 | 0 | 707462 | 2 | 138 | 0
43120 | 1 | 138 | 1.658 | 120261 | 2 | 138 | 157.9978
43150 | 1 | 138 | 2.298 | 110034 | 2 | 13.8 | 50.2042
43155 | 1 | 138 | 34.906 | 110035 | 2 | 13.8 | 50.2042
43190 | 1 | 138 | 6.314 | 110036 | 2 | 13.8 | 50.2042
43211 | 1 | 138 | 21.98 | 110037 | 2 | 13.8 | 40.2753
43222 | 1 | 138 | 2.819 | 708133 | 2 | 69 | 0
43240 | 1 | 138 | 46.264 | 708177 | 2 | 69 | 0
43260 | 1 | 138 | 126.84 | 708178 | 2 | 69 | 0
43261 | 1 | 138 | 42.221 | 112311 | 2 | 13.8 | 66.2787
43280 | 1 | 138 | 57.803 | 112312 | 2 | 13.8 | 65.595
43300 | 1 | 138 | 23.158 | 110301 | 2 | 13.8 | 0
43315 | 1 | 138 | 0.8 | 110311 | 2 | 13.8 | 5.4667
43330 | 1 | 138 | 6.991 | 110331 | 2 | 13.8 | 39.0718
43335 | 1 | 138 | 0 | 110332 | 2 | 13.8 | 39.0718
43336 | 1 | 138 | 0 | 110333 | 2 | 4.2 | 2.8882
43337 | 1 | 138 | 0 | 110334 | 2 | 13.8 | 28.8314
43340 | 1 | 138 | 0.314 | 110335 | 2 | 13.8 | 7.7872
43345 | 1 | 138 | 34.962 | 112481 | 2 | 12.47 | 0
43360 | 1 | 138 | 35.704 | 110451 | 2 | 13.8 | 66.1506
43361 | 1 | 138 | 0 | 110452 | 2 | 13.8 | 66.1506
43362 | 1 | 138 | 0 | 110453 | 2 | 13.8 | 66.1506
43363 | 1 | 138 | 0 | 110454 | 2 | 13.8 | 68.8832
43365 | 1 | 138 | 75.638 | 110455 | 2 | 13.8 | 68.8832
43380 | 1 | 138 | 0 | 110456 | 2 | 13.8 | 27.8974
43381 | 1 | 138 | 0 | 110457 | 2 | 13.8 | 45.0604
43384 | 1 | 138 | 1.53 | 110458 | 2 | 12.5 | 25.5836
43440 | 1 | 138 | 640 | 110459 | 2 | 13.8 | 37.521
43470 | 1 | 138 | 0 | 110460 | 2 | 13.8 | 68.986
84521 | 1 | 138 | 0 | 110467 | 2 | 13.8 | 117.6361
84522 | 1 | 138 | 0 | 110469 | 2 | 13.8 | 117.6361
43570 | 1 | 138 | 36.905
44000 | 1 | 345 | 0
44005 | 1 | 345 | 0
44010 | 1 | 138 | 0
44015 | 1 | 138 | 0
44030 | 1 | 138 | 187.187
44040 | 1 | 345 | 0
85001 | 1 | 138 | 0
85000 | 1 | 345 | 0
85007 | 1 | 138 | 0
85008 | 1 | 345 | 0
44060 | 1 | 345 | 0
44070 | 1 | 345 | 0
44090 | 1 | 345 | 0
44100 | 1 | 138 | 61.574
85071 | 1 | 138 | 0
44130 | 1 | 138 | 0
44131 | 1 | 138 | 10.262
44150 | 1 | 138 | 0
44160 | 1 | 345 | 0
44170 | 1 | 138 | 49.625
44171 | 1 | 138 | 33.999
44173 | 1 | 138 | 58.171
44180 | 1 | 138 | 148.424
44190 | 1 | 138 | 15.127
44200 | 1 | 345 | 0
44205 | 1 | 138 | 9.644
44230 | 1 | 138 | 166.529
44231 | 1 | 138 | 89.729
44615 | 1 | 138 | 45.142
44256 | 1 | 138 | 3.397
77044 | 1 | 13.2 | 0
44280 | 1 | 138 | 0
44300 | 1 | 138 | 0
44341 | 1 | 138 | 123.453
44342 | 1 | 138 | 63.686
44390 | 1 | 138 | 0
44410 | 1 | 138 | 0
77180 | 1 | 13.2 | 0
44430 | 1 | 138 | 18.439
44481 | 1 | 138 | 17.549
44482 | 1 | 138 | 17.562
44483 | 1 | 138 | 18.098
110021 | 1 | 138 | 0
44490 | 1 | 138 | 8.262
44500 | 1 | 345 | 0
44510 | 1 | 138 | 0
44511 | 1 | 138 | 86.54
44512 | 1 | 138 | 70.116
44513 | 1 | 138 | 77.159
44531 | 1 | 138 | 13.082
44540 | 1 | 138 | 17.142
44541 | 1 | 138 | 6.955
44551 | 1 | 138 | 38.626
44552 | 1 | 138 | 59.496
44570 | 1 | 138 | 103.179
110112 | 1 | 14.4 | 8.708
110113 | 1 | 138 | 182.312
110115 | 1 | 14.4 | 44.538
110118 | 1 | 14.4 | 0
110119 | 1 | 14.4 | 0
110120 | 1 | 138 | 0
110121 | 1 | 14.4 | 0
110122 | 1 | 14.4 | 0
110126 | 1 | 14.4 | 0
110127 | 1 | 138 | 0
110128 | 1 | 138 | 36.037
110129 | 1 | 138 | 0
110130 | 1 | 14.5 | 36.037
110131 | 1 | 138 | 14.152
110132 | 1 | 138 | 0
110133 | 1 | 138 | 809.717
110134 | 1 | 138 | 0
44600 | 1 | 138 | 24.986
110136 | 1 | 138 | 0
110138 | 1 | 138 | 0
110140 | 1 | 138 | 0
110142 | 1 | 138 | 0
110144 | 1 | 138 | 0
110145 | 1 | 14.4 | 95.063
110143 | 1 | 138 | 0
110149 | 1 | 138 | 0
110150 | 1 | 14.4 | 0
110151 | 1 | 14.4 | 0
110152 | 1 | 14.4 | 0
110153 | 1 | 138 | 0
110154 | 1 | 138 | 0
110155 | 1 | 138 | 0
110156 | 1 | 14.4 | 0
110157 | 1 | 14.4 | 0
110158 | 1 | 14.4 | 0
110159 | 1 | 14.4 | 0
110160 | 1 | 14.4 | 0
110161 | 1 | 14.4 | 0
110162 | 1 | 138 | 0
110164 | 1 | 138 | 0
110165 | 1 | 138 | 0
44650 | 1 | 345 | 0
44651 | 1 | 138 | 47.23
44652 | 1 | 138 | 121.655
110199 | 1 | 14.4 | 0
44671 | 1 | 138 | 63.61
44672 | 1 | 138 | 52.009
110232 | 1 | 138 | 0
110233 | 1 | 138 | 0
44721 | 1 | 138 | 1.049
44722 | 1 | 138 | 1.717
110261 | 1 | 13.8 | 0
110262 | 1 | 138 | 0
44750 | 1 | 138 | 56.548
44860 | 1 | 138 | 68.884
44880 | 1 | 345 | 0
44890 | 1 | 138 | 0
85851 | 1 | 69 | 0
77680 | 1 | 13.2 | 0
77683 | 1 | 13.2 | 0
110505 | 1 | 138 | 0
110506 | 1 | 138 | 31.2
110507 | 1 | 69 | 0
110508 | 1 | 138 | 52.3
110509 | 1 | 138 | 49.15
110511 | 1 | 138 | 142.5
110562 | 1 | 34.5 | 0
110563 | 1 | 34.5 | 0
110564 | 1 | 34.5 | 0
85991 | 1 | 138 | 0
86001 | 1 | 138 | 0
110774 | 1 | 345 | 0
110775 | 1 | 345 | 0
110776 | 1 | 345 | 0
110797 | 1 | 138 | 0
160009 | 1 | 138 | 0
160010 | 1 | 138 | 0
78104 | 1 | 138 | 0
53581 | 1 | 34.5 | 0
53582 | 1 | 34.5 | 0
160094 | 1 | 138 | 0
160095 | 1 | 138 | 0
160096 | 1 | 138 | 0
160105 | 1 | 138 | 0
160106 | 1 | 138 | 0
160107 | 1 | 138 | 0
160108 | 1 | 138 | 0
78195 | 1 | 69 | 15.619
160122 | 1 | 138 | 0
160205 | 1 | 138 | 0
160212 | 1 | 138 | 0
160222 | 1 | 138 | 0
160264 | 1 | 138 | 151
111144 | 1 | 345 | 0
160393 | 1 | 34.5 | 0
160394 | 1 | 138 | 0
160395 | 1 | 138 | 0
160396 | 1 | 34.5 | 0
160397 | 1 | 34.5 | 0
160398 | 1 | 34.5 | 0
160399 | 1 | 34.5 | 0
160400 | 1 | 34.5 | 0
160401 | 1 | 34.5 | 0
160402 | 1 | 34.5 | 0
160403 | 1 | 34.5 | 0
160404 | 1 | 34.5 | 0
160405 | 1 | 34.5 | 0
111301 | 1 | 138 | 138.817
111321 | 1 | 138 | 0
111324 | 1 | 138 | 0
111325 | 1 | 138 | 0
111326 | 1 | 138 | 0
111327 | 1 | 138 | 0
78560 | 1 | 138 | 27.844
78573 | 1 | 138 | 0
78579 | 1 | 69 | 3.936
78581 | 1 | 138 | 0
111349 | 1 | 138 | 0
78583 | 1 | 138 | 23.08
78584 | 1 | 138 | 26.5
111382 | 1 | 34.5 | 0
111383 | 1 | 345 | 0
160592 | 1 | 138 | 0
160594 | 1 | 34.5 | 0
111462 | 1 | 34.5 | 0
111463 | 1 | 138 | 0
5000 | 1 | 138 | 0
5001 | 1 | 138 | 18.2
5002 | 1 | 138 | 0
5003 | 1 | 138 | 130.008
5005 | 1 | 138 | 40.24
5007 | 1 | 138 | 0
5011 | 1 | 138 | 63.272
5020 | 1 | 138 | 74.931
5022 | 1 | 138 | 36.452
5025 | 1 | 138 | 0
5030 | 1 | 138 | 0
5035 | 1 | 138 | 33.054
111532 | 1 | 34.5 | 0
54190 | 1 | 34.5 | 0
111533 | 1 | 138 | 0
5040 | 1 | 138 | 90.368
5045 | 1 | 138 | 61.987
5050 | 1 | 138 | 33.035
5053 | 1 | 138 | 87.779
5054 | 1 | 138 | 0
5055 | 1 | 138 | 56.79
5056 | 1 | 345 | 0
5057 | 1 | 13.8 | 0
5059 | 1 | 13.8 | 0
5060 | 1 | 13.8 | 0
5068 | 1 | 345 | 0
5075 | 1 | 138 | 30.22
5080 | 1 | 138 | 49.881
5085 | 1 | 138 | 63.795
111582 | 1 | 34.5 | 0
111583 | 1 | 138 | 0
5090 | 1 | 138 | 96.573
5093 | 1 | 138 | 49.357
5095 | 1 | 138 | 42.457
5096 | 1 | 138 | 15.742
5102 | 1 | 138 | 11.935
5110 | 1 | 138 | 0
5125 | 1 | 138 | 160.321
5128 | 1 | 138 | 11.935
5130 | 1 | 138 | 45.96
5132 | 1 | 138 | 28.533
5133 | 1 | 345 | 0
5135 | 1 | 138 | 28.505
5140 | 1 | 138 | 124.155
5143 | 1 | 138 | 73.227
5145 | 1 | 138 | 8.804
5147 | 1 | 138 | 0
5150 | 1 | 138 | 77.167
5155 | 1 | 138 | 38.298
5160 | 1 | 138 | 33.216
5165 | 1 | 138 | 136.156
5170 | 1 | 138 | 44.351
5175 | 1 | 138 | 48.939
160831 | 1 | 138 | 0
5185 | 1 | 138 | 116.731
160833 | 1 | 34.5 | 0
5187 | 1 | 138 | 94.908
5190 | 1 | 138 | 47.397
5195 | 1 | 138 | 102.236
5200 | 1 | 138 | 107.87
5205 | 1 | 138 | 49.376
5208 | 1 | 138 | 0
5209 | 1 | 138 | 0
5210 | 1 | 138 | 39.478
5211 | 1 | 345 | 0
5212 | 1 | 13.8 | 0
5213 | 1 | 13.8 | 0
5214 | 1 | 13.8 | 0
5215 | 1 | 13.8 | 0
5218 | 1 | 138 | 24.479
5220 | 1 | 138 | 109.726
5227 | 1 | 138 | 39.259
5230 | 1 | 138 | 0
5234 | 1 | 138 | 123.041
5250 | 1 | 138 | 78.081
5255 | 1 | 138 | 29.913
5257 | 1 | 138 | 90.368
5260 | 1 | 138 | 0
5285 | 1 | 138 | 64.633
5290 | 1 | 138 | 29.104
5294 | 1 | 138 | 79.347
5297 | 1 | 138 | 22.271
5300 | 1 | 138 | 86.361
5305 | 1 | 138 | 78.623
5310 | 1 | 138 | 64.68
5311 | 1 | 138 | 23.07
5315 | 1 | 138 | 87.655
5317 | 1 | 138 | 10.15
5323 | 1 | 345 | 0
5325 | 1 | 138 | 44.684
5330 | 1 | 138 | 26.306
5331 | 1 | 138 | 59.893
5332 | 1 | 138 | 12.725
5335 | 1 | 138 | 56.505
5345 | 1 | 138 | 42.752
5346 | 1 | 138 | 47.168
5350 | 1 | 138 | 26.991
5355 | 1 | 138 | 176.53
5358 | 1 | 138 | 16.389
5360 | 1 | 138 | 51.994
5362 | 1 | 345 | 0
5363 | 1 | 138 | 19.13
111863 | 1 | 34.5 | 0
5368 | 1 | 138 | 0
5369 | 1 | 138 | 72.056
5370 | 1 | 138 | 66.251
5371 | 1 | 345 | 0
111864 | 1 | 34.5 | 0
5373 | 1 | 13.8 | 0
5374 | 1 | 13.8 | 0
5375 | 1 | 13.8 | 0
111865 | 1 | 345 | 0
5378 | 1 | 138 | 16.608
5385 | 1 | 138 | 59.36
5390 | 1 | 138 | 36.499
5394 | 1 | 138 | 31.684
5395 | 1 | 138 | 0
5400 | 1 | 345 | 0
5410 | 1 | 138 | 100.295
5412 | 1 | 138 | 0
5415 | 1 | 138 | 93.566
5417 | 1 | 138 | 7.918
5419 | 1 | 138 | 78.852
5420 | 1 | 138 | 95.898
5421 | 1 | 138 | 19.13
111913 | 1 | 34.5 | 0
5423 | 1 | 138 | 21.14
111914 | 1 | 34.5 | 0
111915 | 1 | 138 | 0
5418 | 1 | 138 | 17.246
5427 | 1 | 138 | 37.556
5428 | 1 | 138 | 49.93
5429 | 1 | 138 | 24.25
5430 | 1 | 138 | 81.793
5435 | 1 | 138 | 0
5445 | 1 | 138 | 59.065
5453 | 1 | 138 | 12.401
5455 | 1 | 138 | 0
5456 | 1 | 138 | 6.072
161105 | 1 | 345 | 0
5460 | 1 | 138 | 112.163
5461 | 1 | 138 | 0
5462 | 1 | 138 | 0
5465 | 1 | 138 | 34.006
5467 | 1 | 138 | 89.835
161109 | 1 | 345 | 0
161110 | 1 | 34.5 | 0
5470 | 1 | 138 | 64.062
5475 | 1 | 345 | 0
5485 | 1 | 138 | 137.85
5488 | 1 | 138 | 93.77
111982 | 1 | 138 | 0
5490 | 1 | 138 | 80.993
5521 | 1 | 138 | 0
5522 | 1 | 69 | 32.45
5523 | 1 | 138 | 54.76
5524 | 1 | 69 | 15.1
5525 | 1 | 69 | 0
5526 | 1 | 69 | 4.8
5528 | 1 | 69 | 1.94
5530 | 1 | 69 | 0
5532 | 1 | 69 | 4.86
5534 | 1 | 69 | 2.27
5535 | 1 | 69 | 0
5538 | 1 | 69 | 9.83
5540 | 1 | 69 | 5.28
5543 | 1 | 69 | 8.78
5544 | 1 | 69 | 0
5546 | 1 | 138 | 0
5548 | 1 | 69 | 9.11
5550 | 1 | 69 | 2.08
5551 | 1 | 69 | 8.93
5552 | 1 | 69 | 5.08
5553 | 1 | 69 | 9.07
5555 | 1 | 69 | 8.474
5557 | 1 | 69 | 0
5558 | 1 | 69 | 17.46
5559 | 1 | 69 | 0
5560 | 1 | 69 | 6.15
5562 | 1 | 138 | 46.317
5564 | 1 | 69 | 9.72
5566 | 1 | 69 | 5.72
5568 | 1 | 138 | 0
5569 | 1 | 69 | 6.94
5570 | 1 | 69 | 3.79
5571 | 1 | 69 | 0
5573 | 1 | 69 | 9.83
5574 | 1 | 69 | 0
5579 | 1 | 69 | 0.02
5580 | 1 | 69 | 0
5582 | 1 | 69 | 0
5584 | 1 | 138 | 0
5585 | 1 | 138 | 18.56
5586 | 1 | 69 | 3.95
5588 | 1 | 138 | 11.93
112092 | 1 | 34.5 | 0
112093 | 1 | 138 | 0
161255 | 1 | 34.5 | 0
161256 | 1 | 34.5 | 0
161257 | 1 | 345 | 0
5610 | 1 | 69 | 2.33
5614 | 1 | 69 | 2.25
5616 | 1 | 69 | 1.61
5618 | 1 | 69 | 7.08
5620 | 1 | 69 | 0
5622 | 1 | 69 | 8.05
5626 | 1 | 69 | 22.64
5630 | 1 | 69 | 23.38
5632 | 1 | 69 | 10.51
120322 | 1 | 138 | 0
5634 | 1 | 69 | 6.12
5636 | 1 | 69 | 0
5638 | 1 | 69 | 17.3
5640 | 1 | 69 | 5.14
5642 | 1 | 138 | 39
5643 | 1 | 138 | 39
112142 | 1 | 34.5 | 0
112143 | 1 | 34.5 | 0
112144 | 1 | 34.5 | 0
112145 | 1 | 34.5 | 0
112147 | 1 | 345 | 0
5652 | 1 | 69 | 10.86
5653 | 1 | 69 | 4.46
5654 | 1 | 69 | 7.42
5658 | 1 | 69 | 0
5660 | 1 | 138 | 0
5662 | 1 | 69 | 16.53
5666 | 1 | 69 | 5.01
5668 | 1 | 69 | 3.29
5672 | 1 | 69 | 4.22
5673 | 1 | 69 | 3.57
5674 | 1 | 69 | 8.8
5675 | 1 | 69 | 0.798
5678 | 1 | 69 | 4.48
5683 | 1 | 69 | 9.905
5684 | 1 | 69 | 12.13
5686 | 1 | 69 | 0
5688 | 1 | 138 | 0
5689 | 1 | 138 | 8.168
5690 | 1 | 69 | 2.06
5691 | 1 | 69 | 2.15
5692 | 1 | 69 | 0
5693 | 1 | 69 | 0
5695 | 1 | 69 | 8.26
5696 | 1 | 69 | 0
5697 | 1 | 69 | 4.39
5698 | 1 | 69 | 9.62
5699 | 1 | 69 | 2.16
5700 | 1 | 138 | 2.91
5701 | 1 | 138 | 22.76
5702 | 1 | 69 | 0
5704 | 1 | 138 | 0
5705 | 1 | 138 | 13.1
5706 | 1 | 24.9 | 0
5707 | 1 | 138 | 25.26
5708 | 1 | 69 | 10.8
5709 | 1 | 345 | 0
5710 | 1 | 69 | 10.07
5712 | 1 | 69 | 0
5713 | 1 | 138 | 16.46
5714 | 1 | 69 | 19.83
5715 | 1 | 69 | 0
5716 | 1 | 69 | 10.1
5717 | 1 | 138 | 0
5718 | 1 | 138 | 12.21
112213 | 1 | 34.5 | 0
112214 | 1 | 34.5 | 0
112215 | 1 | 138 | 0
5720 | 1 | 69 | 16.16
5722 | 1 | 69 | 10.05
5725 | 1 | 345 | 0
5727 | 1 | 138 | 29.823
5728 | 1 | 138 | 4.18
5729 | 1 | 69 | 0
5721 | 1 | 69 | 3.83
5723 | 1 | 138 | 5.72
5732 | 1 | 69 | 1.89
5735 | 1 | 69 | 2.09
5736 | 1 | 69 | 6.06
5800 | 1 | 138 | 7.77
161453 | 1 | 34.5 | 0
161454 | 1 | 34.5 | 0
161455 | 1 | 138 | 0
5827 | 1 | 138 | 0
5830 | 1 | 69 | 4.37
5832 | 1 | 69 | 5.42
5842 | 1 | 69 | 17.84
5845 | 1 | 69 | 8.425
5852 | 1 | 69 | 8.18
161502 | 1 | 34.5 | 0
161503 | 1 | 138 | 0
5860 | 1 | 69 | 15.86
5861 | 1 | 138 | 0
5863 | 1 | 69 | 8.62
5866 | 1 | 138 | 0
5876 | 1 | 69 | 0
5878 | 1 | 69 | 6.42
5880 | 1 | 69 | 4.13
5881 | 1 | 24.9 | 6.1
5882 | 1 | 24.9 | 0
5887 | 1 | 138 | 0
5888 | 1 | 69 | 2.23
5890 | 1 | 138 | 0
5893 | 1 | 69 | 0
5895 | 1 | 138 | 10.47
5896 | 1 | 138 | 0
5897 | 1 | 138 | 0
5901 | 1 | 345 | 0
5902 | 1 | 138 | 0
112402 | 1 | 138 | 0
5908 | 1 | 24.9 | 0
5909 | 1 | 24.9 | 0
5915 | 1 | 345 | 0
112419 | 1 | 345 | 0
112433 | 1 | 138 | 0
112493 | 1 | 34.5 | 0
112494 | 1 | 34.5 | 0
112495 | 1 | 345 | 0
161652 | 1 | 34.5 | 0
161653 | 1 | 345 | 0
112542 | 1 | 138 | 0
112597 | 1 | 138 | 0
112613 | 1 | 34.5 | 0
112615 | 1 | 345 | 0
112662 | 1 | 138 | 0
39010 | 1 | 138 | 27.816
39015 | 1 | 138 | 6.181
88173 | 1 | 138 | 0
39030 | 1 | 138 | 53.327
80012 | 1 | 14.4 | 0
80013 | 1 | 138 | 0
80014 | 1 | 17 | 0
80020 | 1 | 138 | 26.943
80021 | 1 | 138 | 0
80040 | 1 | 138 | 32.052
170167 | 1 | 345 | 0
88249 | 1 | 345 | 356.971
162003 | 1 | 34.5 | 0
162004 | 1 | 34.5 | 0
162005 | 1 | 345 | 0
80124 | 1 | 138 | 15.751
80128 | 1 | 138 | 0
80129 | 1 | 138 | 0
162052 | 1 | 34.5 | 0
162053 | 1 | 345 | 0
80136 | 1 | 138 | 24.542
80141 | 1 | 138 | 24.542
80165 | 1 | 138 | 0
80168 | 1 | 230 | 0
80170 | 1 | 17.48 | 0
80175 | 1 | 138 | 0
80210 | 1 | 345 | 0
80219 | 1 | 345 | 0
80220 | 1 | 345 | 0
80221 | 1 | 138 | 0
80222 | 1 | 69 | 0
80223 | 1 | 345 | 0
80224 | 1 | 345 | 0
80225 | 1 | 345 | 0
80227 | 1 | 345 | 0
80230 | 1 | 138 | 0
80258 | 1 | 138 | 22.621
80259 | 1 | 138 | 0
80260 | 1 | 138 | 0
88459 | 1 | 138 | 8.924
170382 | 1 | 138 | 0
170383 | 1 | 34.5 | 0
88462 | 1 | 138 | 8.924
162202 | 1 | 34.5 | 0
162204 | 1 | 345 | 0
88479 | 1 | 138 | 0
47531 | 1 | 345 | 0
47532 | 1 | 345 | 0
80304 | 1 | 138 | 6.317
80305 | 1 | 138 | 9.344
162256 | 1 | 34.5 | 0
88579 | 1 | 345 | 0
88606 | 1 | 345 | 0
88607 | 1 | 345 | 0
88614 | 1 | 138 | 2.722
88615 | 1 | 138 | 2.722
88624 | 1 | 345 | 0
80439 | 1 | 138 | 0
39500 | 1 | 138 | 0
80470 | 1 | 138 | 0
80475 | 1 | 138 | 3.57
80476 | 1 | 138 | 3.57
88670 | 1 | 345 | 0
88673 | 1 | 345 | 0
39530 | 1 | 138 | 12.857
39531 | 1 | 12.47 | 9.018
88689 | 1 | 345 | 0
88690 | 1 | 345 | 0
80503 | 1 | 138 | 0
39560 | 1 | 138 | 57.299
162453 | 1 | 34.5 | 0
162454 | 1 | 34.5 | 0
162455 | 1 | 115 | 0
162456 | 1 | 138 | 0
39600 | 1 | 138 | 8.06
162496 | 1 | 34.5 | 0
162497 | 1 | 34.5 | 0
162498 | 1 | 34.5 | 0
162499 | 1 | 345 | 0
39630 | 1 | 69 | 0
39650 | 1 | 69 | 2
39670 | 1 | 69 | 0
39680 | 1 | 69 | 6.9
39685 | 1 | 69 | 8.985
39700 | 1 | 138 | 9.606
39703 | 1 | 138 | 0
39704 | 1 | 69 | 0
39705 | 1 | 138 | 0
39706 | 1 | 138 | 15
39720 | 1 | 69 | 7.8
39725 | 1 | 69 | 26.4
39730 | 1 | 69 | 4.4
39750 | 1 | 69 | 7.066
88909 | 1 | 138 | 0
88921 | 1 | 138 | 7.139
39810 | 1 | 69 | 1
7042 | 1 | 345 | 0
7044 | 1 | 345 | 0
7050 | 1 | 345 | 0
39870 | 1 | 69 | 79.5
39890 | 1 | 69 | 0
162792 | 1 | 34.5 | 0
162793 | 1 | 138 | 0
7178 | 1 | 138 | 13.89
7180 | 1 | 138 | 0
162842 | 1 | 34.5 | 0
162843 | 1 | 138 | 0
162863 | 1 | 34.5 | 0
162864 | 1 | 34.5 | 0
162865 | 1 | 138 | 0
7221 | 1 | 138 | 0
7222 | 1 | 138 | 9.03
7225 | 1 | 138 | 11.35
7226 | 1 | 138 | 26.85
7227 | 1 | 138 | 11.42
7228 | 1 | 138 | 29.94
7229 | 1 | 138 | 53.44
7239 | 1 | 69 | 4.61
7241 | 1 | 138 | 7.94
162913 | 1 | 34.5 | 0
162914 | 1 | 34.5 | 0
162915 | 1 | 345 | 0
163074 | 1 | 34.5 | 0
163075 | 1 | 345 | 0
89353 | 1 | 12.47 | 15.174
89360 | 1 | 12.5 | 2.87
7461 | 1 | 138 | 34.86
89443 | 1 | 12.47 | 13.733
163172 | 1 | 138 | 0
163173 | 1 | 69 | 0
163222 | 1 | 34.5 | 0
163223 | 1 | 345 | 0
7595 | 1 | 138 | 0
7596 | 1 | 69 | 3.98
7597 | 1 | 69 | 0
7598 | 1 | 138 | 12.4
7601 | 1 | 138 | 5.66
7602 | 1 | 138 | 133.48
7604 | 1 | 138 | 21.28
7606 | 1 | 138 | 32.62
7608 | 1 | 138 | 66.43
7609 | 1 | 138 | 33.11
7610 | 1 | 138 | 27.39
7611 | 1 | 138 | 27.06
7612 | 1 | 138 | 16.64
7613 | 1 | 138 | 0
7614 | 1 | 69 | 13.35
7615 | 1 | 138 | 27.53
7619 | 1 | 69 | 0
163323 | 1 | 345 | 0
7680 | 1 | 138 | 0
7695 | 1 | 138 | 13.58
7720 | 1 | 138 | 10.7
7758 | 1 | 138 | 21.96
56920 | 1 | 69 | 0
7822 | 1 | 13.2 | 0
163473 | 1 | 34.5 | 0
163474 | 1 | 34.5 | 0
163475 | 1 | 345 | 0
7832 | 1 | 13.2 | 0
7834 | 1 | 13.2 | 0
7891 | 1 | 138 | 35
8027 | 1 | 138 | 7.64
8028 | 1 | 138 | 29.45
8031 | 1 | 69 | 3.23
8038 | 1 | 138 | 12.494
8039 | 1 | 138 | 8.032
8044 | 1 | 138 | 3.159
8060 | 1 | 138 | 0
8064 | 1 | 69 | 0
49031 | 1 | 23 | 0
49036 | 1 | 23 | 0
49037 | 1 | 23 | 0
49038 | 1 | 23 | 0
49046 | 1 | 23 | 0
49051 | 1 | 23 | 0
8099 | 1 | 138 | 10.263
8100 | 1 | 69 | 10.763
8102 | 1 | 138 | 10.218
49062 | 1 | 23 | 0
8104 | 1 | 138 | 1.232
49063 | 1 | 23 | 0
49064 | 1 | 23 | 0
8107 | 1 | 69 | 4.973
8108 | 1 | 138 | 7.45
49069 | 1 | 23 | 0
8111 | 1 | 138 | 0
8112 | 1 | 138 | 13.253
8113 | 1 | 138 | 27.549
8114 | 1 | 138 | 41.128
8115 | 1 | 138 | 8.157
8116 | 1 | 138 | 30.182
8117 | 1 | 138 | 6.019
8118 | 1 | 138 | 16.671
8119 | 1 | 69 | 1.633
8121 | 1 | 138 | 0
8123 | 1 | 345 | 0
8125 | 1 | 138 | 1.758
8127 | 1 | 138 | 0
8130 | 1 | 138 | 0
8131 | 1 | 69 | 12.284
8138 | 1 | 138 | 0
8139 | 1 | 138 | 0
8148 | 1 | 69 | 0
8153 | 1 | 138 | 0
8156 | 1 | 138 | 0
8160 | 1 | 13.8 | 0
8162 | 1 | 138 | 0
8164 | 1 | 345 | 0
8166 | 1 | 69 | 12.026
8167 | 1 | 138 | 7.559
8168 | 1 | 138 | 0
8173 | 1 | 138 | 0
8181 | 1 | 13.8 | 0
8184 | 1 | 69 | 1.711
8186 | 1 | 138 | 2.521
8188 | 1 | 69 | 5.31
8191 | 1 | 138 | 44.621
8194 | 1 | 138 | 0
8223 | 1 | 69 | 18.961
8236 | 1 | 138 | 0
8242 | 1 | 69 | 17.993
8243 | 1 | 69 | 0
8244 | 1 | 69 | 14.802
8248 | 1 | 138 | 10.12
88142 | 1 | 138 | 0
8280 | 1 | 69 | 3.621
110682 | 1 | 138 | 11.5
8283 | 1 | 138 | 0
8284 | 1 | 69 | 0
8285 | 1 | 138 | 10.263
110683 | 1 | 138 | 0
110684 | 1 | 138 | 0
110685 | 1 | 138 | 87.739
110686 | 1 | 138 | 0
110687 | 1 | 138 | 0
110688 | 1 | 138 | 0
110689 | 1 | 138 | 0
110690 | 1 | 138 | 0
110691 | 1 | 138 | 0
110692 | 1 | 138 | 0
88179 | 1 | 69 | 8.147
80064 | 1 | 138 | 13.637
80135 | 1 | 69 | 16.8
78103 | 1 | 138 | 0
78105 | 1 | 69 | 11.759
78106 | 1 | 69 | 0
78115 | 1 | 138 | 0
110883 | 1 | 138 | 0
110884 | 1 | 138 | 0
78118 | 1 | 138 | 0
8523 | 1 | 69 | 0.866
8527 | 1 | 69 | 1.51
8529 | 1 | 69 | 2.157
8531 | 1 | 69 | 1.925
8533 | 1 | 69 | 0.972
8536 | 1 | 69 | 0
8537 | 1 | 69 | 1.033
8541 | 1 | 69 | 0.713
78188 | 1 | 138 | 13.23
78190 | 1 | 69 | 0
78191 | 1 | 138 | 7.49
8572 | 1 | 69 | 6.253
8578 | 1 | 69 | 0.173
170403 | 1 | 138 | 0
8613 | 1 | 138 | 5.583
8622 | 1 | 69 | 2.939
78259 | 1 | 138 | 6.444
78280 | 1 | 138 | 0
78281 | 1 | 138 | 9.5
8661 | 1 | 138 | 0
8672 | 1 | 69 | 7.346
80481 | 1 | 138 | 0
111222 | 1 | 138 | 0
78520 | 1 | 138 | 1.319
78524 | 1 | 69 | 0
78526 | 1 | 69 | 0
78528 | 1 | 69 | 0
78530 | 1 | 69 | 0
78532 | 1 | 69 | 0
78534 | 1 | 69 | 0
78538 | 1 | 69 | 3.447
78539 | 1 | 69 | 0
78542 | 1 | 69 | 0.375
78543 | 1 | 69 | 1.925
8911 | 1 | 138 | 2.79
162542 | 1 | 34.5 | 0
162543 | 1 | 138 | 0
111343 | 1 | 138 | 0
78574 | 1 | 138 | 1.443
78580 | 1 | 138 | 9.349
78575 | 1 | 138 | 7.715
78582 | 1 | 138 | 0
78576 | 1 | 138 | 4.9
78577 | 1 | 69 | 0
8962 | 1 | 138 | 0
111363 | 1 | 138 | 0
8970 | 1 | 138 | 5.56
111444 | 1 | 69 | 0
111445 | 1 | 69 | 0
111446 | 1 | 69 | 0
111447 | 1 | 69 | 0
111448 | 1 | 69 | 0
111449 | 1 | 69 | 0
111450 | 1 | 138 | 0
111451 | 1 | 69 | 0
111452 | 1 | 138 | 0
111453 | 1 | 69 | 42.406
111454 | 1 | 138 | 0
111455 | 1 | 138 | 0
58280 | 1 | 69 | 0
5051 | 1 | 138 | 50.747
5083 | 1 | 138 | 36.442
7170 | 1 | 138 | 18.7
7171 | 1 | 138 | 36.58
7172 | 1 | 138 | 19.91
7173 | 1 | 138 | 16.46
7174 | 1 | 138 | 17.99
7175 | 1 | 138 | 45.72
7176 | 1 | 138 | 78.26
7177 | 1 | 138 | 36.11
5180 | 1 | 138 | 45.674
7230 | 1 | 69 | 0.2
7231 | 1 | 69 | 2.73
7232 | 1 | 69 | 10.41
7233 | 1 | 138 | 6.42
7240 | 1 | 69 | 5.09
7242 | 1 | 138 | 35.35
7243 | 1 | 138 | 17.68
78924 | 1 | 69 | 1.251
7245 | 1 | 138 | 17.87
7244 | 1 | 138 | 31.24
7251 | 1 | 138 | 5.37
7253 | 1 | 138 | 0
7254 | 1 | 138 | 14.99
7257 | 1 | 69 | 8.13
7258 | 1 | 138 | 0
7263 | 1 | 138 | 7.38
5225 | 1 | 138 | 18.835
7296 | 1 | 138 | 3.93
58570 | 1 | 69 | 0
7454 | 1 | 138 | 40.26
7456 | 1 | 138 | 39.53
7457 | 1 | 138 | 20.86
7458 | 1 | 138 | 19.02
7459 | 1 | 138 | 0
7460 | 1 | 138 | 44.27
7462 | 1 | 138 | 62.99
7463 | 1 | 138 | 21.28
5422 | 1 | 138 | 75.388
89450 | 1 | 138 | 0
5500 | 1 | 69 | 0
5502 | 1 | 138 | 0
5504 | 1 | 69 | 9.54
5510 | 1 | 69 | 0
5513 | 1 | 138 | 0
5514 | 1 | 69 | 9.16
5516 | 1 | 69 | 0
5518 | 1 | 69 | 0
5520 | 1 | 69 | 3.44
5536 | 1 | 69 | 4.04
5537 | 1 | 69 | 1.59
7591 | 1 | 69 | 10.57
7592 | 1 | 69 | 13.58
7594 | 1 | 69 | 5.53
7616 | 1 | 69 | 9.63
7617 | 1 | 69 | 0
7618 | 1 | 69 | 0
7620 | 1 | 69 | 4.09
7621 | 1 | 138 | 0
7622 | 1 | 69 | 8.17
7624 | 1 | 69 | 2.34
7625 | 1 | 69 | 0
7626 | 1 | 69 | 0
5576 | 1 | 69 | 9.95
7636 | 1 | 138 | 22.81
5590 | 1 | 69 | 3.28
5592 | 1 | 69 | 0
5593 | 1 | 12.47 | 11.97
5591 | 1 | 69 | 0.53
5596 | 1 | 69 | 10.92
5598 | 1 | 69 | 2.09
5600 | 1 | 69 | 8.65
5602 | 1 | 69 | 0
5603 | 1 | 69 | 2.87
5604 | 1 | 69 | 14.06
5605 | 1 | 69 | 0
7654 | 1 | 69 | 8.37
5606 | 1 | 69 | 7.02
5607 | 1 | 138 | 0
5608 | 1 | 69 | 6.22
89631 | 1 | 138 | 1.25
5680 | 1 | 138 | 0
5681 | 1 | 12.47 | 12.86
7770 | 1 | 345 | 0
7771 | 1 | 13.2 | 0
5730 | 1 | 138 | 5.48
5806 | 1 | 138 | 9.46
5807 | 1 | 69 | 0
5808 | 1 | 69 | 10.82
5810 | 1 | 69 | 6.63
5811 | 1 | 69 | 0
5813 | 1 | 138 | 0
5814 | 1 | 69 | 9.99
5816 | 1 | 69 | 9.31
112313 | 1 | 138 | 0
7867 | 1 | 69 | 7.28
5819 | 1 | 138 | 0
5821 | 1 | 69 | 0
5822 | 1 | 69 | 4.78
5828 | 1 | 69 | 12.53
5836 | 1 | 69 | 5.9
7895 | 1 | 69 | 0
5848 | 1 | 69 | 5.32
5849 | 1 | 69 | 0
7896 | 1 | 69 | 13.89
5851 | 1 | 138 | 0
110302 | 1 | 138 | 15.452
110303 | 1 | 138 | 3.452
5855 | 1 | 69 | 0
5856 | 1 | 69 | 3.58
5857 | 1 | 69 | 0
5858 | 1 | 69 | 9.34
5864 | 1 | 69 | 2.43
5868 | 1 | 69 | 6.23
5870 | 1 | 69 | 6.96
5871 | 1 | 69 | 0
5872 | 1 | 69 | 3.97
110336 | 1 | 69 | 48.928
110441 | 1 | 69 | 0
110442 | 1 | 69 | 0
110443 | 1 | 69 | 0
110444 | 1 | 69 | 0
110445 | 1 | 69 | 0
110446 | 1 | 69 | 0
110447 | 1 | 69 | 0
110448 | 1 | 69 | 0
110449 | 1 | 69 | 0
110461 | 1 | 12.5 | 0
110462 | 1 | 12.5 | 21.203
110463 | 1 | 69 | 231.8
110464 | 1 | 69 | 0
110465 | 1 | 69 | 253.003
110466 | 1 | 69 | 0
110468 | 1 | 13.8 | 38.403
110470 | 1 | 13.8 | 38.403
110471 | 1 | 138 | 0
110472 | 1 | 69 | 0
110473 | 1 | 138 | 73.603
110474 | 1 | 138 | 0
110475 | 1 | 138 | 0
110476 | 1 | 138 | 0
110477 | 1 | 12.5 | 21.203
8126 | 1 | 138 | 70.831
8132 | 1 | 69 | 3.459
8133 | 1 | 69 | 17.329
8135 | 1 | 69 | 0
8136 | 1 | 69 | 4.022
8140 | 1 | 138 | 9.318
8141 | 1 | 138 | 3.708
8143 | 1 | 138 | 0
8144 | 1 | 138 | 4.482
8145 | 1 | 138 | 44.168
8146 | 1 | 138 | 37.287
8149 | 1 | 69 | 5.907
8152 | 1 | 138 | 0
8154 | 1 | 138 | 0
8155 | 1 | 138 | 16.511
8157 | 1 | 138 | 0
8159 | 1 | 69 | 7.188
8169 | 1 | 69 | 19.779
8172 | 1 | 138 | 0
8174 | 1 | 138 | 0
8177 | 1 | 69 | 37.492
8178 | 1 | 69 | 50.346
8180 | 1 | 69 | 3.396
8182 | 1 | 69 | 34.34
8183 | 1 | 138 | 0.407
8190 | 1 | 138 | 0