## Sensitive buses
Sensitive bus data in the output county map | [9 empty] | POI county
Counties inside the convex hull with sensitive buses
Transmission Buses |  |  |  | Generator Buses | [5 empty] | Counties that have buses N-levels away from POI
Bus Number | Type | Bus kV | Load MW | Bus Number | Type | Bus kV | Gen MW | Summary
1025 | 1 | 345 | 0 | 183351 | 2 | 34.5 | 129.6112 | Total Generation "Capacity" (MW) | 6080.3901
1030 | 1 | 345 | 0 | 182351 | 2 | 34.5 | 151.2842 | Total Load (MW) | 531.93
1032 | 1 | 138 | 0 | 182352 | 2 | 34.5 | 151.2842 | Total Number of Transmission Buses | 180
132114 | 1 | 345 | 0 | 181351 | 2 | 34.5 | 149.6108 | Total Number of Generation Buses | 52
1058 | 1 | 345 | 0 | 976014 | 2 | 0.69 | 183.2021 | Study County Name | Tom Green
60455 | 1 | 69 | 0 | 151751 | 2 | 34.5 | 145.5016 | POI | 976009
11318 | 1 | 345 | 0 | 151752 | 2 | 34.5 | 148.3754
183352 | 1 | 34.5 | 0 | 180450 | 2 | 34.5 | 38.441 | List of Study Area Counties
182779 | 1 | 34.5 | 0 | 182501 | 2 | 34.5 | 221.8901 | dawson
182353 | 1 | 34.5 | 0 | 180452 | 2 | 34.5 | 38.9369 | reagan
182354 | 1 | 34.5 | 0 | 180453 | 2 | 34.5 | 57.031 | concho
996444 | 1 | 345 | 0 | 151851 | 2 | 34.5 | 63.4622 | irion
181352 | 1 | 345 | 0 | 151852 | 2 | 34.5 | 42.9641 | martin
181353 | 1 | 34.5 | 0 | 133441 | 2 | 34.5 | 51.2191 | coke
181354 | 1 | 34.5 | 0 | 986444 | 2 | 345 | 150 | taylor
181355 | 1 | 34.5 | 0 | 133491 | 2 | 34.5 | 53.5005 | crockett
181356 | 1 | 34.5 | 0 | 135601 | 2 | 34.5 | 231.2576 | tom green
181357 | 1 | 34.5 | 0 | 150962 | 2 | 34.5 | 70.0524 | runnels
11387 | 1 | 345 | 0 | 182721 | 2 | 34.5 | 200.1176 | howard
976010 | 1 | 345 | 0 | 182723 | 2 | 34.5 | 161.8062 | scurry
976011 | 1 | 13.8 | 0 | 182725 | 2 | 34.5 | 221.3887 | nolan
976012 | 1 | 34.5 | 0 | 153031 | 2 | 34.5 | 66.7495 | pecos
976013 | 1 | 34.5 | 0 | 170441 | 2 | 34.5 | 49.6328 | midland
11406 | 1 | 345 | 0 | 182771 | 2 | 34.5 | 201.714 | coleman
6295 | 1 | 13.2 | 0 | 182772 | 2 | 34.5 | 11.3565 | sterling
11441 | 1 | 345 | 0 | 182773 | 2 | 34.5 | 34.2774 | brown
11444 | 1 | 24 | 0 | 182774 | 2 | 34.5 | 22.7694 | callahan
11445 | 1 | 24 | 0 | 182780 | 2 | 34.5 | 71.7225 | sutton
11446 | 1 | 345 | 0 | 182781 | 2 | 34.5 | 34.0149 | ector
6329 | 1 | 69 | 2.961 | 134652 | 2 | 34.5 | 152.3836 | schleicher
6333 | 1 | 69 | 6.906 | 134654 | 2 | 34.5 | 197.2728 | borden
6334 | 1 | 69 | 1.761 | 134655 | 2 | 34.5 | 151.1682 | upton
6338 | 1 | 69 | 10.805 | 180751 | 2 | 34.5 | 232.9376 | eastland
6340 | 1 | 138 | 0 | 180753 | 2 | 34.5 | 150.5773 | glasscock
6343 | 1 | 69 | 0.908 | 180756 | 2 | 34.5 | 201.8911 | mitchell
60616 | 1 | 345 | 0 | 180758 | 2 | 34.5 | 160.9303 | mills
60618 | 1 | 345 | 0 | 132631 | 2 | 34.5 | 152.5437 | mcculloch
151756 | 1 | 345 | 0 | 132681 | 2 | 34.5 | 147.5452 | comanche
60619 | 1 | 345 | 0 | 182871 | 2 | 345 | 210.4836 | kimble
151753 | 1 | 34.5 | 0 | 151142 | 2 | 34.5 | 82.2953 | menard
6350 | 1 | 69 | 2 | 180451 | 2 | 34.5 | 40.5559
60621 | 1 | 345 | 0 | 183071 | 2 | 34.5 | 108.0332
151754 | 1 | 34.5 | 0 | 183072 | 2 | 34.5 | 16.1854
6347 | 1 | 138 | 0 | 181051 | 2 | 34.5 | 59.6883
6348 | 1 | 138 | 11.015 | 183121 | 2 | 34.5 | 22.0255
6349 | 1 | 69 | 2.566 | 183122 | 2 | 34.5 | 20.3883
6352 | 1 | 69 | 0 | 183123 | 2 | 34.5 | 77.2171
6353 | 1 | 69 | 3.787 | 183172 | 2 | 34.5 | 257.0894
6355 | 1 | 138 | 0 | 183221 | 2 | 34.5 | 110.2088
6357 | 1 | 69 | 5.845 | 182201 | 2 | 34.5 | 209.9992
6358 | 1 | 69 | 6.89 | 182251 | 2 | 34.5 | 82.8577
6359 | 1 | 138 | 0 | 182252 | 2 | 34.5 | 82.9386
6360 | 1 | 138 | 0
6361 | 1 | 138 | 0.163
6362 | 1 | 138 | 0.128
6365 | 1 | 138 | 0
76000 | 1 | 345 | 0
6369 | 1 | 69 | 0.888
76002 | 1 | 345 | 0
76003 | 1 | 345 | 0
76005 | 1 | 345 | 0
76006 | 1 | 345 | 0
182503 | 1 | 345 | 0
76009 | 1 | 345 | 0
182502 | 1 | 34.5 | 0
76011 | 1 | 138 | 0
180454 | 1 | 138 | 0
180455 | 1 | 138 | 0
6376 | 1 | 69 | 0
6377 | 1 | 69 | 2.304
180464 | 1 | 34.5 | 0
180465 | 1 | 34.5 | 0
180466 | 1 | 34.5 | 0
180467 | 1 | 34.5 | 0
6390 | 1 | 138 | 0
76030 | 1 | 345 | 0
9480 | 1 | 69 | 4.002
9481 | 1 | 69 | 0
9482 | 1 | 69 | 0.677
6408 | 1 | 69 | 0
6410 | 1 | 69 | 4.845
6411 | 1 | 69 | 3.659
6412 | 1 | 69 | 4.429
3348 | 1 | 345 | 0
60708 | 1 | 345 | 0
60709 | 1 | 345 | 0
60710 | 1 | 345 | 0
60711 | 1 | 345 | 0
6441 | 1 | 138 | 3.397
6442 | 1 | 138 | 0
23849 | 1 | 345 | 0
6444 | 1 | 345 | 0
6447 | 1 | 138 | 15.971
151853 | 1 | 34.5 | 0
6449 | 1 | 138 | 14.838
181553 | 1 | 345 | 0
151854 | 1 | 34.5 | 0
151855 | 1 | 230 | 0
6370 | 1 | 69 | 0
6371 | 1 | 69 | 0.595
76090 | 1 | 345 | 0
6458 | 1 | 138 | 2.01
133442 | 1 | 345 | 0
6480 | 1 | 138 | 0
3424 | 1 | 345 | 0
60769 | 1 | 13.2 | 0
23924 | 1 | 345 | 0
1414 | 1 | 345 | 0
71050 | 1 | 345 | 0
6559 | 1 | 138 | 0
1444 | 1 | 345 | 0
150963 | 1 | 34.5 | 0
182722 | 1 | 34.5 | 0
182724 | 1 | 34.5 | 0
182727 | 1 | 345 | 0
182728 | 1 | 345 | 0
153032 | 1 | 34.5 | 0
170442 | 1 | 34.5 | 0
170443 | 1 | 13.8 | 0
170446 | 1 | 13.8 | 0
77280 | 1 | 13.2 | 0
77281 | 1 | 13.2 | 0
182775 | 1 | 34.5 | 0
6648 | 1 | 138 | 0
182777 | 1 | 345 | 0
182778 | 1 | 345 | 0
134651 | 1 | 345 | 0
59900 | 1 | 345 | 400
182776 | 1 | 34.5 | 0
59902 | 1 | 345 | 0
59903 | 1 | 345 | 0
59905 | 1 | 345 | 0
59907 | 1 | 345 | 0
182782 | 1 | 34.5 | 0
59910 | 1 | 345 | 0
180752 | 1 | 138 | 0
180754 | 1 | 138 | 0
180755 | 1 | 138 | 0
180757 | 1 | 138 | 0
180759 | 1 | 345 | 0
132632 | 1 | 345 | 0
180760 | 1 | 345 | 0
76320 | 1 | 138 | 4.369
19000 | 1 | 345 | 0
59990 | 1 | 345 | 0
134653 | 1 | 34.5 | 0
151143 | 1 | 34.5 | 0
60008 | 1 | 138 | 0
151144 | 1 | 34.5 | 0
151145 | 1 | 34.5 | 0
151146 | 1 | 34.5 | 0
151147 | 1 | 34.5 | 0
60019 | 1 | 69 | 0
60024 | 1 | 69 | 0.272
60029 | 1 | 69 | 0
60040 | 1 | 345 | 0
11032 | 1 | 13.2 | 0
11033 | 1 | 13.2 | 0
11034 | 1 | 13.8 | 0
182051 | 1 | 345 | 0
11048 | 1 | 345 | 0
60210 | 1 | 69 | 3.307
181053 | 1 | 34.5 | 0
844 | 1 | 345 | 0
183124 | 1 | 34.5 | 0
183125 | 1 | 34.5 | 0
183171 | 1 | 345 | 0
183173 | 1 | 34.5 | 0
7053 | 1 | 345 | 0
7077 | 1 | 345 | 0
183222 | 1 | 34.5 | 0
182202 | 1 | 34.5 | 0
182203 | 1 | 345 | 0
60352 | 1 | 138 | 7.59
60356 | 1 | 138 | 0.374
60374 | 1 | 138 | 0
60379 | 1 | 138 | 2.668
182253 | 1 | 34.5 | 0
182254 | 1 | 34.5 | 0
60399 | 1 | 138 | 0

## All buses
All bus data in the output county map | [9 empty] | POI county
Counties inside the convex hull with sensitive buses
Transmission Buses |  |  |  | Generator Buses | [5 empty] | Counties that have buses N-levels away from POI
Bus Number | Type | Bus kV | Load MW | Bus Number | Type | Bus kV | Gen MW | Summary
182301 | 1 | 138 | 0 | 180251 | 2 | 34.5 | 32.6777 | Total Generation "Capacity" (MW) | 17322.8495
180253 | 1 | 138 | 0 | 180252 | 2 | 34.5 | 20.1348 | Total Load (MW) | 9530.968
180254 | 1 | 138 | 0 | 131131 | 2 | 12.47 | 19.0237 | Total Number of Transmission Buses | 1304
180255 | 1 | 138 | 0 | 131141 | 2 | 34.5 | 42.8565 | Total Number of Generation Buses | 245
180256 | 1 | 34.5 | 0 | 131142 | 2 | 34.5 | 35.8333 | Study County Name | Tom Green
180257 | 1 | 34.5 | 0 | 182351 | 2 | 34.5 | 151.2842 | POI | 976009
180258 | 1 | 34.5 | 0 | 182352 | 2 | 34.5 | 151.2842
180259 | 1 | 34.5 | 0 | 180351 | 2 | 34.5 | 0 | List of Study Area Counties
180260 | 1 | 34.5 | 0 | 131241 | 2 | 13.8 | 83.1865 | dawson
180261 | 1 | 34.5 | 0 | 131242 | 2 | 13.8 | 81.8596 | reagan
6201 | 1 | 138 | 0 | 131243 | 2 | 13.8 | 107.0187 | concho
131143 | 1 | 138 | 0 | 131244 | 2 | 13.8 | 81.4125 | irion
6216 | 1 | 138 | 0 | 131245 | 2 | 13.8 | 80.0562 | martin
131144 | 1 | 34.5 | 0 | 131246 | 2 | 13.8 | 107.0187 | coke
131145 | 1 | 34.5 | 0 | 131251 | 2 | 34.5 | 57.7176 | taylor
131146 | 1 | 34.5 | 0 | 151751 | 2 | 34.5 | 145.5016 | crockett
6221 | 1 | 69 | 0 | 151752 | 2 | 34.5 | 148.3754 | tom green
182353 | 1 | 34.5 | 0 | 180441 | 2 | 13.8 | 50.8864 | runnels
182354 | 1 | 34.5 | 0 | 180442 | 2 | 13.8 | 51.959 | howard
182355 | 1 | 345 | 0 | 180443 | 2 | 13.8 | 48.718 | scurry
6223 | 1 | 138 | 12.498 | 180450 | 2 | 34.5 | 38.441 | nolan
6224 | 1 | 69 | 0 | 180451 | 2 | 34.5 | 40.5559 | pecos
6225 | 1 | 69 | 0 | 180452 | 2 | 34.5 | 38.9369 | midland
6228 | 1 | 138 | 0 | 180453 | 2 | 34.5 | 57.031 | coleman
6229 | 1 | 138 | 0 | 180456 | 2 | 34.5 | 0 | sterling
6239 | 1 | 69 | 0 | 180458 | 2 | 34.5 | 0 | brown
6240 | 1 | 69 | 12.544 | 180460 | 2 | 34.5 | 0 | callahan
18528 | 1 | 13.8 | 0 | 170231 | 2 | 34.5 | 42.7894 | sutton
6242 | 1 | 69 | 7.898 | 170232 | 2 | 34.5 | 79.8942 | ector
18531 | 1 | 13.8 | 0 | 170233 | 2 | 34.5 | 63.0261 | schleicher
6244 | 1 | 69 | 0 | 170234 | 2 | 34.5 | 83.8288 | borden
18533 | 1 | 13.8 | 0 | 170235 | 2 | 34.5 | 43.7877 | upton
6246 | 1 | 69 | 0 | 133441 | 2 | 34.5 | 51.2191 | eastland
6247 | 1 | 69 | 1.177 | 180551 | 2 | 34.5 | 31.0815 | glasscock
18534 | 1 | 13.8 | 0 | 130324 | 2 | 18.1 | 175.0747 | mitchell
18535 | 1 | 13.8 | 0 | 130325 | 2 | 18.1 | 168.6698 | mills
18536 | 1 | 13.8 | 0 | 130326 | 2 | 18.1 | 218.2201 | mcculloch
6251 | 1 | 69 | 9.052 | 133491 | 2 | 34.5 | 53.5005 | comanche
6252 | 1 | 69 | 0 | 182651 | 2 | 34.5 | 43.5704 | kimble
6253 | 1 | 69 | 0 | 135551 | 2 | 12.47 | 0 | menard
18540 | 1 | 345 | 0 | 135571 | 2 | 34.5 | 54.7516
6255 | 1 | 138 | 18.81 | 180651 | 2 | 34.5 | 44.1231
6256 | 1 | 138 | 13.23 | 180652 | 2 | 34.5 | 40.7482
6257 | 1 | 138 | 14.094 | 132382 | 2 | 34.5 | 66.964
6258 | 1 | 69 | 0 | 182721 | 2 | 34.5 | 200.1176
18541 | 1 | 138 | 0 | 182723 | 2 | 34.5 | 161.8062
6260 | 1 | 138 | 0 | 182725 | 2 | 34.5 | 221.3887
6261 | 1 | 138 | 18.407 | 170441 | 2 | 34.5 | 49.6328
18542 | 1 | 13.8 | 0 | 131551 | 2 | 34.5 | 19.404
18543 | 1 | 13.8 | 0 | 182771 | 2 | 34.5 | 201.714
18544 | 1 | 345 | 0 | 182772 | 2 | 34.5 | 11.3565
6265 | 1 | 69 | 10.038 | 182773 | 2 | 34.5 | 34.2774
6266 | 1 | 69 | 0 | 182774 | 2 | 34.5 | 22.7694
6267 | 1 | 69 | 16.555 | 182781 | 2 | 34.5 | 34.0149
6268 | 1 | 69 | 0 | 182780 | 2 | 34.5 | 71.7225
6269 | 1 | 69 | 11.59 | 180751 | 2 | 34.5 | 232.9376
6270 | 1 | 69 | 22.39 | 180753 | 2 | 34.5 | 150.5773
6271 | 1 | 69 | 25.602 | 180756 | 2 | 34.5 | 201.8911
6272 | 1 | 69 | 13.652 | 180758 | 2 | 34.5 | 160.9303
6273 | 1 | 69 | 0 | 143901 | 2 | 34.5 | 0
6274 | 1 | 69 | 0 | 180031 | 2 | 13.8 | 66.4206
6275 | 1 | 138 | 16.312 | 180032 | 2 | 13.8 | 65.427
6276 | 1 | 69 | 0 | 180033 | 2 | 13.8 | 65.427
6277 | 1 | 69 | 0 | 131651 | 2 | 34.5 | 40.7207
6278 | 1 | 69 | 0 | 182871 | 2 | 345 | 210.4836
180352 | 1 | 138 | 0 | 711256 | 2 | 138 | 0
6281 | 1 | 69 | 16.692 | 151851 | 2 | 34.5 | 63.4622
6282 | 1 | 69 | 18.481 | 711302 | 2 | 12.47 | 0
6283 | 1 | 69 | 0 | 151852 | 2 | 34.5 | 42.9641
180353 | 1 | 34.5 | 0 | 133791 | 2 | 34.5 | 35.9318
6285 | 1 | 69 | 0.744 | 133792 | 2 | 34.5 | 33.2959
6286 | 1 | 69 | 9.261 | 131751 | 2 | 34.5 | 38.642
6290 | 1 | 138 | 20.171 | 131752 | 2 | 34.5 | 70.8506
6291 | 1 | 138 | 21.114 | 180462 | 2 | 34.5 | 0
6292 | 1 | 138 | 13.864 | 131759 | 2 | 34.5 | 71.933
6293 | 1 | 138 | 11.318 | 182971 | 2 | 34.5 | 74.1763
6295 | 1 | 13.2 | 0 | 182501 | 2 | 34.5 | 221.8901
6301 | 1 | 69 | 7.606 | 701122 | 2 | 138 | 0
6315 | 1 | 138 | 0 | 701129 | 2 | 138 | 0
6319 | 1 | 138 | 0 | 180951 | 2 | 34.5 | 63.4685
131247 | 1 | 345 | 0 | 180954 | 2 | 34.5 | 35.1606
131252 | 1 | 138 | 0 | 180957 | 2 | 34.5 | 36.3054
6324 | 1 | 138 | 2.726 | 180960 | 2 | 34.5 | 62.3956
131254 | 1 | 34.5 | 0 | 183021 | 2 | 138 | 121.1982
6325 | 1 | 138 | 0 | 180981 | 2 | 34.5 | 42.1909
6326 | 1 | 69 | 5.065 | 701180 | 2 | 138 | 0
6327 | 1 | 69 | 8.079 | 181011 | 2 | 34.5 | 39.0061
6328 | 1 | 69 | 16.345 | 183071 | 2 | 34.5 | 108.0332
6330 | 1 | 69 | 1.935 | 183072 | 2 | 34.5 | 16.1854
1310 | 1 | 138 | 21.175 | 181031 | 2 | 34.5 | 63.686
6335 | 1 | 138 | 0 | 181051 | 2 | 34.5 | 59.6883
151753 | 1 | 34.5 | 0 | 183121 | 2 | 34.5 | 22.0255
151754 | 1 | 34.5 | 0 | 183122 | 2 | 34.5 | 20.3883
151755 | 1 | 345 | 0 | 183123 | 2 | 34.5 | 77.2171
151756 | 1 | 345 | 0 | 133992 | 2 | 34.5 | 150.129
6351 | 1 | 138 | 0 | 133995 | 2 | 34.5 | 150.129
1311 | 1 | 138 | 19.975 | 131951 | 2 | 34.5 | 27.855
180444 | 1 | 138 | 0 | 131952 | 2 | 34.5 | 28.488
180445 | 1 | 138 | 0 | 723824 | 2 | 69 | 6.075
6369 | 1 | 69 | 0.888 | 183172 | 2 | 34.5 | 257.0894
6370 | 1 | 69 | 0 | 181151 | 2 | 34.5 | 43.0774
6371 | 1 | 69 | 0.595 | 181152 | 2 | 34.5 | 43.9512
6372 | 1 | 69 | 3.143 | 136101 | 2 | 138 | 82.2956
6376 | 1 | 69 | 0 | 183221 | 2 | 34.5 | 110.2088
6377 | 1 | 69 | 2.304 | 760771 | 2 | 138 | 0
180454 | 1 | 138 | 0 | 701380 | 2 | 69 | 0.66
180455 | 1 | 138 | 0 | 134091 | 2 | 34.5 | 147.0329
180457 | 1 | 138 | 0 | 130001 | 2 | 13.8 | 85.8403
6385 | 1 | 69 | 0 | 130002 | 2 | 13.8 | 85.8403
180459 | 1 | 138 | 0 | 130003 | 2 | 13.8 | 81.2246
170229 | 1 | 34.5 | 0 | 181251 | 2 | 34.5 | 55.6783
170230 | 1 | 34.5 | 0 | 132111 | 2 | 34.5 | 101.7829
170236 | 1 | 34.5 | 0 | 183331 | 2 | 12.47 | 0
170237 | 1 | 34.5 | 0 | 181351 | 2 | 34.5 | 149.6108
170238 | 1 | 138 | 0 | 183341 | 2 | 12.47 | 0
170239 | 1 | 138 | 0 | 183351 | 2 | 34.5 | 129.6112
170240 | 1 | 138 | 0 | 132161 | 2 | 34.5 | 80.0328
170241 | 1 | 138 | 0 | 130121 | 2 | 24.9 | 15.3714
170242 | 1 | 138 | 0 | 134141 | 2 | 34.5 | 126.6392
170243 | 1 | 138 | 0 | 134142 | 2 | 34.5 | 112.2779
170244 | 1 | 138 | 0 | 183401 | 2 | 34.5 | 132.039
170245 | 1 | 345 | 0 | 183402 | 2 | 34.5 | 134.8811
170246 | 1 | 345 | 0 | 134291 | 2 | 12.47 | 13.9136
170247 | 1 | 138 | 0 | 134341 | 2 | 34.5 | 85.7649
170248 | 1 | 138 | 0 | 134343 | 2 | 34.5 | 106.993
170249 | 1 | 138 | 0 | 183511 | 2 | 34.5 | 0
170250 | 1 | 138 | 0 | 132311 | 2 | 18 | 147.0681
6412 | 1 | 69 | 4.429 | 132312 | 2 | 18 | 147.0681
6414 | 1 | 69 | 2.968 | 182201 | 2 | 34.5 | 209.9992
170254 | 1 | 34.5 | 0 | 183521 | 2 | 34.5 | 128.6882
170255 | 1 | 34.5 | 0 | 183522 | 2 | 34.5 | 131.6026
170256 | 1 | 34.5 | 0 | 130321 | 2 | 18.1 | 176.6667
6418 | 1 | 69 | 0.029 | 130322 | 2 | 18.1 | 166.6838
6419 | 1 | 69 | 1.09 | 130323 | 2 | 18.1 | 218.2201
6420 | 1 | 69 | 3.7 | 181551 | 2 | 34.5 | 55.1151
6421 | 1 | 69 | 0 | 181552 | 2 | 34.5 | 55.1151
6422 | 1 | 69 | 0.981 | 134491 | 2 | 34.5 | 51.116
6423 | 1 | 69 | 0 | 134492 | 2 | 34.5 | 108.073
170259 | 1 | 34.5 | 0 | 134493 | 2 | 34.5 | 130.1929
6425 | 1 | 138 | 0 | 134494 | 2 | 34.5 | 132.6876
6426 | 1 | 69 | 1.354 | 134495 | 2 | 34.5 | 107.9203
6427 | 1 | 69 | 0.474 | 131351 | 2 | 34.5 | 47.4481
6428 | 1 | 69 | 0 | 150962 | 2 | 34.5 | 70.0524
170260 | 1 | 34.5 | 0 | 182652 | 2 | 34.5 | 43.0604
6430 | 1 | 69 | 2.224 | 23902 | 2 | 17.5 | 9.358
6431 | 1 | 69 | 0 | 153031 | 2 | 34.5 | 66.7495
6432 | 1 | 69 | 0.602 | 151031 | 2 | 34.5 | 40.882
131352 | 1 | 345 | 0 | 151032 | 2 | 34.5 | 40.2335
131353 | 1 | 34.5 | 0 | 134652 | 2 | 34.5 | 152.3836
6429 | 1 | 69 | 0.875 | 134654 | 2 | 34.5 | 197.2728
6433 | 1 | 69 | 0 | 134655 | 2 | 34.5 | 151.1682
6437 | 1 | 69 | 0 | 23916 | 2 | 17.5 | 55.433
6438 | 1 | 69 | 5.349 | 132631 | 2 | 34.5 | 152.5437
6434 | 1 | 69 | 0 | 132681 | 2 | 34.5 | 147.5452
6441 | 1 | 138 | 3.397 | 181851 | 2 | 34.5 | 74.3214
6442 | 1 | 138 | 0 | 132211 | 2 | 34.5 | 36.3908
6435 | 1 | 69 | 3.911 | 151142 | 2 | 34.5 | 82.2953
6444 | 1 | 345 | 0 | 132212 | 2 | 34.5 | 35.9949
6447 | 1 | 138 | 15.971 | 181901 | 2 | 34.5 | 74.3214
6448 | 1 | 138 | 15.29 | 181951 | 2 | 34.5 | 34.1738
6449 | 1 | 138 | 14.838 | 134851 | 2 | 34.5 | 56.4612
6450 | 1 | 69 | 0 | 134852 | 2 | 34.5 | 56.4612
6446 | 1 | 69 | 1.31 | 706255 | 2 | 138 | 0
6452 | 1 | 138 | 16.429 | 706271 | 2 | 69 | 0
6453 | 1 | 138 | 0 | 182001 | 2 | 34.5 | 32.5327
6454 | 1 | 138 | 16.519 | 132881 | 2 | 34.5 | 82.3269
6455 | 1 | 69 | 14.988 | 132882 | 2 | 34.5 | 40.5627
6456 | 1 | 69 | 27.273 | 182052 | 2 | 34.5 | 65.8264
6457 | 1 | 69 | 18.819 | 182054 | 2 | 34.5 | 0
76090 | 1 | 345 | 0 | 132931 | 2 | 12.47 | 0
6458 | 1 | 138 | 2.01 | 180034 | 2 | 13.8 | 67.4144
6459 | 1 | 69 | 3.163 | 180035 | 2 | 13.8 | 67.4144
6462 | 1 | 69 | 12.348 | 180036 | 2 | 13.8 | 67.4144
6461 | 1 | 69 | 2.412 | 180051 | 2 | 34.5 | 12.8361
6464 | 1 | 138 | 0 | 182104 | 2 | 34.5 | 33.66
6465 | 1 | 69 | 17.159 | 182105 | 2 | 34.5 | 10.6158
6466 | 1 | 69 | 0 | 182106 | 2 | 34.5 | 46.7593
6467 | 1 | 69 | 17.291 | 180053 | 2 | 34.5 | 32.4834
6468 | 1 | 69 | 0 | 180055 | 2 | 34.5 | 12.8556
6470 | 1 | 138 | 23.847 | 180056 | 2 | 34.5 | 5.1361
6471 | 1 | 69 | 17.807 | 180058 | 2 | 34.5 | 5.8038
6473 | 1 | 138 | 11.244 | 180059 | 2 | 34.5 | 16.8207
180552 | 1 | 138 | 0 | 132991 | 2 | 34.5 | 71.2592
180553 | 1 | 34.5 | 0 | 133041 | 2 | 34.5 | 61.0755
6476 | 1 | 138 | 200 | 706482 | 2 | 138 | 0
6477 | 1 | 69 | 2.042 | 180151 | 2 | 34.5 | 14.0317
6478 | 1 | 69 | 0 | 180153 | 2 | 34.5 | 42.1102
6480 | 1 | 138 | 0 | 180156 | 2 | 34.5 | 50.391
6481 | 1 | 138 | 16.654 | 180159 | 2 | 34.5 | 41.2523
6482 | 1 | 138 | 13.309 | 180160 | 2 | 34.5 | 39.523
6484 | 1 | 69 | 0 | 180162 | 2 | 34.5 | 29.9931
6488 | 1 | 69 | 3.222 | 182251 | 2 | 34.5 | 82.8577
6490 | 1 | 138 | 0 | 182252 | 2 | 34.5 | 82.9386
130327 | 1 | 345 | 0 | 135161 | 2 | 12.5 | 0
6495 | 1 | 69 | 3.267 | 151601 | 2 | 34.5 | 54.7247
6496 | 1 | 69 | 0.34 | 135321 | 2 | 34.5 | 233.5075
130328 | 1 | 345 | 207 | 135322 | 2 | 34.5 | 30.0832
6497 | 1 | 69 | 0.793 | 135421 | 2 | 12.47 | 0
6498 | 1 | 69 | 0 | 182601 | 2 | 138 | 101.8753
6500 | 1 | 138 | 0 | 151911 | 2 | 34.5 | 0
6503 | 1 | 69 | 3.859 | 151912 | 2 | 34.5 | 0
6505 | 1 | 69 | 6.634 | 151921 | 2 | 34.5 | 71.4491
6506 | 1 | 69 | 0.06 | 131455 | 2 | 34.5 | 43.5603
6507 | 1 | 69 | 0.608 | 135581 | 2 | 34.5 | 0
6508 | 1 | 69 | 0.82 | 135591 | 2 | 34.5 | 0
6509 | 1 | 69 | 0 | 135601 | 2 | 34.5 | 231.2576
6516 | 1 | 69 | 5.838 | 135613 | 2 | 34.5 | 21.57
6517 | 1 | 138 | 8.2 | 135614 | 2 | 34.5 | 6.0858
6524 | 1 | 69 | 1.142 | 135663 | 2 | 34.5 | 22.2495
6525 | 1 | 138 | 0 | 135664 | 2 | 34.5 | 10.0281
6526 | 1 | 69 | 0 | 135731 | 2 | 34.5 | 56.8199
6527 | 1 | 69 | 0 | 701059 | 2 | 138 | 0
6528 | 1 | 69 | 2.325 | 133841 | 2 | 34.5 | 194.2885
6529 | 1 | 69 | 4.032 | 738340 | 2 | 138 | 0
6530 | 1 | 69 | 3.425 | 134241 | 2 | 34.5 | 102.8663
6533 | 1 | 69 | 1.285 | 134243 | 2 | 34.5 | 105.0773
6534 | 1 | 69 | 0 | 132332 | 2 | 34.5 | 63.9129
6535 | 1 | 138 | 0 | 132333 | 2 | 34.5 | 63.9129
6536 | 1 | 138 | 0 | 130331 | 2 | 34.5 | 31.0187
6537 | 1 | 69 | 6.92 | 132431 | 2 | 34.5 | 89.4023
6539 | 1 | 69 | 1.594 | 132436 | 2 | 34.5 | 39.9386
6541 | 1 | 69 | 0 | 130431 | 2 | 34.5 | 42.7991
6542 | 1 | 69 | 0 | 132481 | 2 | 34.5 | 121.5492
6543 | 1 | 69 | 0 | 181651 | 2 | 34.5 | 27.1074
6544 | 1 | 69 | 0 | 134591 | 2 | 34.5 | 90.7512
6545 | 1 | 69 | 3.766 | 134592 | 2 | 34.5 | 90.7512
6546 | 1 | 69 | 0 | 134593 | 2 | 34.5 | 86.985
6547 | 1 | 69 | 3.207 | 134594 | 2 | 34.5 | 94.5269
6549 | 1 | 69 | 4.948 | 130531 | 2 | 34.5 | 38.1199
6550 | 1 | 69 | 0 | 134701 | 2 | 34.5 | 85.7497
6551 | 1 | 69 | 0 | 134702 | 2 | 34.5 | 85.7497
6552 | 1 | 69 | 0.442 | 134751 | 2 | 34.5 | 129.3461
6553 | 1 | 69 | 0.282 | 132731 | 2 | 34.5 | 135.1488
6554 | 1 | 69 | 0.408 | 140951 | 2 | 34.5 | 50.8088
135572 | 1 | 345 | 0 | 140952 | 2 | 34.5 | 50.9124
1302 | 1 | 345 | 0 | 132781 | 2 | 34.5 | 146.1326
6559 | 1 | 138 | 0 | 132788 | 2 | 34.5 | 0
6560 | 1 | 69 | 11.215 | 151261 | 2 | 34.5 | 71.854
1304 | 1 | 138 | 34.957 | 151262 | 2 | 34.5 | 55.4049
6562 | 1 | 138 | 0 | 134901 | 2 | 34.5 | 107.3472
6564 | 1 | 138 | 0 | 134902 | 2 | 34.5 | 112.1807
6565 | 1 | 69 | 0 | 132941 | 2 | 34.5 | 127.955
1305 | 1 | 138 | 0 | 132944 | 2 | 34.5 | 0
6567 | 1 | 69 | 8.384 | 182151 | 2 | 34.5 | 98.8882
24996 | 1 | 13.8 | 0 | 151481 | 2 | 345 | 71.8651
1306 | 1 | 69 | 0
180653 | 1 | 138 | 0
180654 | 1 | 34.5 | 0
180655 | 1 | 34.5 | 0
6579 | 1 | 69 | 0
6580 | 1 | 69 | 4.824
1308 | 1 | 138 | 0
6582 | 1 | 69 | 3.392
6583 | 1 | 138 | 34.414
1309 | 1 | 138 | 0
18880 | 1 | 138 | 0
182722 | 1 | 34.5 | 0
182724 | 1 | 34.5 | 0
182726 | 1 | 34.5 | 0
182727 | 1 | 345 | 0
182728 | 1 | 345 | 0
170442 | 1 | 34.5 | 0
170443 | 1 | 13.8 | 0
170444 | 1 | 138 | 0
132383 | 1 | 34.5 | 0
170446 | 1 | 13.8 | 0
1312 | 1 | 138 | 33.376
1313 | 1 | 138 | 0
3348 | 1 | 345 | 0
1314 | 1 | 138 | 42.196
1315 | 1 | 138 | 0
1316 | 1 | 138 | 51.681
131552 | 1 | 138 | 0
131553 | 1 | 34.5 | 0
18920 | 1 | 69 | 0
1318 | 1 | 138 | 25.734
6636 | 1 | 69 | 0
1319 | 1 | 69 | 0
6641 | 1 | 69 | 0
182775 | 1 | 34.5 | 0
6648 | 1 | 138 | 0
182776 | 1 | 34.5 | 0
182777 | 1 | 345 | 0
182778 | 1 | 345 | 0
182779 | 1 | 34.5 | 0
182782 | 1 | 34.5 | 0
59901 | 1 | 345 | 0
59900 | 1 | 345 | 400
6658 | 1 | 69 | 5.429
6659 | 1 | 69 | 0
6660 | 1 | 69 | 2.409
59905 | 1 | 345 | 0
59910 | 1 | 345 | 0
59911 | 1 | 345 | 0
59906 | 1 | 138 | 0
59907 | 1 | 345 | 0
23824 | 1 | 69 | 1.161
180752 | 1 | 138 | 0
180754 | 1 | 138 | 0
180755 | 1 | 138 | 0
180757 | 1 | 138 | 0
180759 | 1 | 345 | 0
180760 | 1 | 345 | 0
76317 | 1 | 138 | 13.736
76318 | 1 | 138 | 3.247
76319 | 1 | 138 | 11.453
76320 | 1 | 138 | 4.369
170261 | 1 | 138 | 0
170262 | 1 | 138 | 0
19000 | 1 | 345 | 0
1335 | 1 | 138 | 0
1336 | 1 | 138 | 23.338
131652 | 1 | 345 | 0
131653 | 1 | 34.5 | 0
265 | 1 | 69 | 0
60769 | 1 | 13.2 | 0
59990 | 1 | 345 | 0
268 | 1 | 69 | 11.501
60771 | 1 | 138 | 13.185
60008 | 1 | 138 | 0
60774 | 1 | 69 | 0
60011 | 1 | 345 | 0
1348 | 1 | 69 | 8.233
60035 | 1 | 34.5 | 0
60040 | 1 | 345 | 0
60041 | 1 | 34.5 | 0
60043 | 1 | 34.5 | 0
133793 | 1 | 34.5 | 0
133794 | 1 | 34.5 | 0
133795 | 1 | 34.5 | 0
133796 | 1 | 138 | 0
133797 | 1 | 34.5 | 0
133798 | 1 | 34.5 | 0
180461 | 1 | 138 | 0
131753 | 1 | 345 | 0
131754 | 1 | 345 | 0
131755 | 1 | 345 | 0
131756 | 1 | 34.5 | 0
131757 | 1 | 34.5 | 0
180463 | 1 | 138 | 0
131758 | 1 | 34.5 | 0
180464 | 1 | 34.5 | 0
60090 | 1 | 69 | 0
182972 | 1 | 345 | 0
180465 | 1 | 34.5 | 0
180466 | 1 | 34.5 | 0
151854 | 1 | 34.5 | 0
182502 | 1 | 34.5 | 0
180467 | 1 | 34.5 | 0
6378 | 1 | 69 | 6.38
182503 | 1 | 345 | 0
180468 | 1 | 34.5 | 0
180469 | 1 | 34.5 | 0
180470 | 1 | 34.5 | 0
180952 | 1 | 345 | 0
729 | 1 | 138 | 0
180953 | 1 | 345 | 0
180471 | 1 | 34.5 | 0
180955 | 1 | 345 | 0
180956 | 1 | 345 | 0
180959 | 1 | 345 | 0
180472 | 1 | 34.5 | 0
180962 | 1 | 345 | 0
180963 | 1 | 34.5 | 0
180473 | 1 | 34.5 | 0
180964 | 1 | 34.5 | 0
151853 | 1 | 34.5 | 0
180982 | 1 | 34.5 | 0
1372 | 1 | 69 | 0
151856 | 1 | 345 | 0
6380 | 1 | 69 | 2.041
1373 | 1 | 69 | 6.866
23826 | 1 | 69 | 1.502
1375 | 1 | 69 | 0.513
11016 | 1 | 345 | 0
1376 | 1 | 69 | 0
1377 | 1 | 69 | 0
181012 | 1 | 34.5 | 0
181013 | 1 | 34.5 | 0
11028 | 1 | 345 | 0
1378 | 1 | 69 | 15.861
11032 | 1 | 13.2 | 0
11033 | 1 | 13.2 | 0
11034 | 1 | 13.8 | 0
11035 | 1 | 13.8 | 0
6381 | 1 | 69 | 0
1380 | 1 | 69 | 9.328
1381 | 1 | 69 | 8.478
11048 | 1 | 345 | 0
1032 | 1 | 138 | 0
1384 | 1 | 69 | 5.553
1385 | 1 | 69 | 0
181052 | 1 | 138 | 0
181053 | 1 | 34.5 | 0
277 | 1 | 69 | 4.969
6383 | 1 | 69 | 9.035
3424 | 1 | 345 | 0
183124 | 1 | 34.5 | 0
183125 | 1 | 34.5 | 0
133991 | 1 | 345 | 0
133993 | 1 | 34.5 | 0
133994 | 1 | 34.5 | 0
11111 | 1 | 138 | 65.71
131953 | 1 | 138 | 0
11122 | 1 | 138 | 0
131954 | 1 | 138 | 0
131955 | 1 | 138 | 0
131956 | 1 | 34.5 | 0
131957 | 1 | 34.5 | 0
11127 | 1 | 138 | 0
11130 | 1 | 138 | 0
183171 | 1 | 345 | 0
183173 | 1 | 34.5 | 0
11140 | 1 | 138 | 0
11145 | 1 | 138 | 4.904
7053 | 1 | 345 | 0
11149 | 1 | 138 | 26.973
7070 | 1 | 138 | 10.953
11167 | 1 | 138 | 21.458
11169 | 1 | 138 | 0
181153 | 1 | 345 | 0
7077 | 1 | 345 | 0
11176 | 1 | 138 | 17.747
11177 | 1 | 138 | 0
11179 | 1 | 138 | 14.48
60332 | 1 | 69 | 0.452
60337 | 1 | 138 | 5.16
183222 | 1 | 34.5 | 0
60352 | 1 | 138 | 7.59
60353 | 1 | 138 | 5.515
60354 | 1 | 138 | 9.015
60355 | 1 | 138 | 0
60356 | 1 | 138 | 0.374
11206 | 1 | 138 | 35.795
60359 | 1 | 69 | 0
60360 | 1 | 138 | 0
60361 | 1 | 138 | 20.191
134092 | 1 | 34.5 | 0
134093 | 1 | 138 | 0
11218 | 1 | 138 | 81.988
60370 | 1 | 69 | 0
60374 | 1 | 138 | 0
60375 | 1 | 138 | 48.27
60378 | 1 | 69 | 1.885
60379 | 1 | 138 | 2.668
60380 | 1 | 69 | 0
11229 | 1 | 138 | 47.11
60386 | 1 | 69 | 0
60388 | 1 | 138 | 1.934
60389 | 1 | 138 | 0
11237 | 1 | 138 | 5.293
11241 | 1 | 12.47 | 0
60394 | 1 | 69 | 0
60395 | 1 | 69 | 0
60396 | 1 | 69 | 0
11242 | 1 | 138 | 0
60399 | 1 | 138 | 0
60405 | 1 | 69 | 0
11253 | 1 | 138 | 6.765
11254 | 1 | 138 | 26.044
1016 | 1 | 345 | 0
11256 | 1 | 138 | 20.662
1018 | 1 | 345 | 0
60411 | 1 | 69 | 0
1019 | 1 | 138 | 45.052
60413 | 1 | 69 | 0
60414 | 1 | 138 | 0
1020 | 1 | 345 | 0
1024 | 1 | 138 | 0
60417 | 1 | 138 | 0
1025 | 1 | 345 | 0
1026 | 1 | 345 | 0
1027 | 1 | 138 | 0
1028 | 1 | 345 | 0
1029 | 1 | 345 | 0
60423 | 1 | 138 | 0
60424 | 1 | 138 | 6.835
11271 | 1 | 138 | 0
181252 | 1 | 138 | 0
181253 | 1 | 34.5 | 0
181254 | 1 | 34.5 | 0
1030 | 1 | 345 | 0
132112 | 1 | 34.5 | 0
11281 | 1 | 138 | 0
132114 | 1 | 345 | 0
1048 | 1 | 345 | 0
1052 | 1 | 138 | 0
1053 | 1 | 138 | 4.2
1054 | 1 | 138 | 2.034
1058 | 1 | 345 | 0
11302 | 1 | 12.47 | 0
60456 | 1 | 69 | 0
1064 | 1 | 138 | 50.527
1065 | 1 | 138 | 131.615
1067 | 1 | 138 | 0
11305 | 1 | 345 | 0
11306 | 1 | 138 | 0
181352 | 1 | 345 | 0
18529 | 1 | 13.8 | 0
181353 | 1 | 34.5 | 0
18530 | 1 | 13.8 | 0
23821 | 1 | 69 | 3.077
23822 | 1 | 69 | 3.706
11318 | 1 | 345 | 0
183352 | 1 | 34.5 | 0
183353 | 1 | 138 | 0
11319 | 1 | 138 | 0
11323 | 1 | 138 | 33.999
11324 | 1 | 138 | 5.849
11325 | 1 | 138 | 0
181354 | 1 | 34.5 | 0
181355 | 1 | 34.5 | 0
181356 | 1 | 34.5 | 0
132162 | 1 | 34.5 | 0
11331 | 1 | 138 | 111.834
11332 | 1 | 138 | 22.267
132163 | 1 | 345 | 0
11330 | 1 | 138 | 10.98
19520 | 1 | 138 | 0
11336 | 1 | 138 | 0
11338 | 1 | 138 | 19.365
1099 | 1 | 138 | 0
1100 | 1 | 138 | 3.992
11341 | 1 | 138 | 0
1102 | 1 | 138 | 23.682
1103 | 1 | 138 | 0
11337 | 1 | 138 | 0
11345 | 1 | 138 | 15.65
18537 | 1 | 13.8 | 0
11347 | 1 | 69 | 1.789
11348 | 1 | 138 | 21.478
11349 | 1 | 138 | 25.057
11351 | 1 | 138 | 19.335
11352 | 1 | 69 | 0
1111 | 1 | 138 | 0
1113 | 1 | 138 | 64.117
1114 | 1 | 12.5 | 0
1115 | 1 | 138 | 0
11360 | 1 | 69 | 0
1121 | 1 | 138 | 80.403
11362 | 1 | 138 | 16.153
1122 | 1 | 138 | 85.021
1123 | 1 | 69 | 0
11367 | 1 | 13.8 | 0
11368 | 1 | 138 | 0
11369 | 1 | 345 | 0
11370 | 1 | 13.8 | 0
11371 | 1 | 138 | 20.2
11373 | 1 | 138 | 33.958
11374 | 1 | 138 | 59
11375 | 1 | 69 | 0
183403 | 1 | 34.5 | 0
183404 | 1 | 34.5 | 0
183405 | 1 | 345 | 0
11381 | 1 | 12.47 | 0
181357 | 1 | 34.5 | 0
11383 | 1 | 138 | 0
11384 | 1 | 69 | 2.942
11385 | 1 | 69 | 0
1139 | 1 | 138 | 3.6
1140 | 1 | 138 | 10.073
1141 | 1 | 138 | 0
1143 | 1 | 138 | 0
11390 | 1 | 138 | 6.712
1144 | 1 | 138 | 21.942
1145 | 1 | 138 | 12.155
1146 | 1 | 138 | 3.198
18545 | 1 | 138 | 0
18546 | 1 | 13.8 | 0
18547 | 1 | 13.8 | 0
11393 | 1 | 138 | 300
11395 | 1 | 138 | 13.5
1162 | 1 | 13.8 | 0
1163 | 1 | 138 | 1.63
1164 | 1 | 69 | 28.157
11402 | 1 | 138 | 16.252
11403 | 1 | 138 | 0
11406 | 1 | 345 | 0
1168 | 1 | 138 | 0
1169 | 1 | 138 | 52.001
1170 | 1 | 138 | 0
11407 | 1 | 138 | 0
134292 | 1 | 138 | 0
1174 | 1 | 138 | 6.922
1175 | 1 | 138 | 29.436
1176 | 1 | 138 | 66.64
1177 | 1 | 138 | 5.759
11420 | 1 | 345 | 0
1181 | 1 | 138 | 0
1180 | 1 | 138 | 30.32
1187 | 1 | 138 | 17.915
23845 | 1 | 138 | 9.145
1189 | 1 | 138 | 0
1190 | 1 | 138 | 0
23846 | 1 | 138 | 10.573
1194 | 1 | 138 | 6.763
1195 | 1 | 138 | 0
1200 | 1 | 138 | 0
11440 | 1 | 13.8 | 0
23848 | 1 | 24.94 | 0
11441 | 1 | 345 | 0
11444 | 1 | 24 | 0
11445 | 1 | 24 | 0
11446 | 1 | 345 | 0
23849 | 1 | 345 | 0
11447 | 1 | 24 | 0
1217 | 1 | 138 | 12.726
9413 | 1 | 69 | 5.883
134342 | 1 | 138 | 0
1225 | 1 | 138 | 10.159
9418 | 1 | 138 | 0
9419 | 1 | 138 | 23.289
9420 | 1 | 138 | 0
60616 | 1 | 345 | 0
9422 | 1 | 138 | 0
1230 | 1 | 69 | 0
1231 | 1 | 69 | 0
60618 | 1 | 345 | 0
1234 | 1 | 69 | 0
60619 | 1 | 345 | 0
60621 | 1 | 345 | 0
9429 | 1 | 69 | 6.466
183512 | 1 | 138 | 0
132313 | 1 | 138 | 0
182202 | 1 | 34.5 | 0
183523 | 1 | 34.5 | 0
183524 | 1 | 34.5 | 0
183525 | 1 | 345 | 0
1250 | 1 | 138 | 0
1251 | 1 | 138 | 3.337
1253 | 1 | 138 | 1.923
1255 | 1 | 69 | 0.463
1256 | 1 | 69 | 0
9451 | 1 | 69 | 2.921
1257 | 1 | 69 | 0
1261 | 1 | 69 | 0
182203 | 1 | 345 | 0
9457 | 1 | 138 | 1.354
9459 | 1 | 69 | 11.61
9460 | 1 | 138 | 8.258
1268 | 1 | 138 | 3.802
1276 | 1 | 69 | 13.198
9480 | 1 | 69 | 4.002
9481 | 1 | 69 | 0
9484 | 1 | 138 | 26.783
23820 | 1 | 138 | 3.447
9486 | 1 | 138 | 3.657
1292 | 1 | 138 | 18.296
9488 | 1 | 69 | 0
1300 | 1 | 138 | 10.493
23829 | 1 | 138 | 0
23830 | 1 | 138 | 1.221
23831 | 1 | 138 | 98.071
23832 | 1 | 138 | 76.116
23833 | 1 | 138 | 29.947
23834 | 1 | 138 | 26.785
1307 | 1 | 138 | 4.935
23835 | 1 | 138 | 35.125
23836 | 1 | 138 | 69.809
23837 | 1 | 138 | 50.45
23838 | 1 | 138 | 29.11
23839 | 1 | 138 | 46.71
23840 | 1 | 138 | 117.349
23841 | 1 | 138 | 44.609
23842 | 1 | 138 | 71.071
23843 | 1 | 138 | 3.613
23844 | 1 | 138 | 0
132381 | 1 | 138 | 0
23847 | 1 | 24.94 | 0
1320 | 1 | 12.47 | 6.562
1321 | 1 | 69 | 0
1322 | 1 | 138 | 16.582
1323 | 1 | 69 | 10.245
1324 | 1 | 138 | 28.648
1325 | 1 | 138 | 28.133
1326 | 1 | 138 | 0
181553 | 1 | 345 | 0
181554 | 1 | 34.5 | 0
1331 | 1 | 138 | 0
60724 | 1 | 138 | 0
1332 | 1 | 138 | 35.962
1328 | 1 | 138 | 0
1333 | 1 | 138 | 10.136
23864 | 1 | 138 | 11.116
1334 | 1 | 138 | 0
23866 | 1 | 138 | 57.518
23867 | 1 | 138 | 44.062
23868 | 1 | 138 | 41.446
23869 | 1 | 138 | 57.444
1339 | 1 | 138 | 0
1340 | 1 | 69 | 0
1341 | 1 | 138 | 0
1345 | 1 | 69 | 0
1346 | 1 | 69 | 0
1347 | 1 | 69 | 7.998
1342 | 1 | 138 | 30.145
23877 | 1 | 12.47 | 0
11257 | 1 | 69 | 0
1351 | 1 | 69 | 0.533
1352 | 1 | 69 | 11.745
1353 | 1 | 69 | 0
23880 | 1 | 138 | 74.477
1355 | 1 | 138 | 0
11259 | 1 | 138 | 10.229
1357 | 1 | 138 | 0.716
1358 | 1 | 138 | 38.949
23825 | 1 | 69 | 2.341
1360 | 1 | 138 | 0
269 | 1 | 69 | 2.25
1362 | 1 | 69 | 2.758
1363 | 1 | 69 | 0
1364 | 1 | 69 | 0.081
1367 | 1 | 69 | 1.767
1368 | 1 | 69 | 2.253
1369 | 1 | 69 | 5.327
1370 | 1 | 69 | 3.307
134496 | 1 | 34.5 | 0
134497 | 1 | 34.5 | 0
134498 | 1 | 34.5 | 0
134499 | 1 | 34.5 | 0
134500 | 1 | 34.5 | 0
134501 | 1 | 34.5 | 0
134502 | 1 | 34.5 | 0
134503 | 1 | 34.5 | 0
134504 | 1 | 34.5 | 0
134505 | 1 | 34.5 | 0
134506 | 1 | 34.5 | 0
134507 | 1 | 34.5 | 0
134508 | 1 | 34.5 | 0
1389 | 1 | 69 | 0
1390 | 1 | 69 | 9.261
1391 | 1 | 69 | 0.547
1392 | 1 | 69 | 1.367
1393 | 1 | 138 | 7.359
134509 | 1 | 34.5 | 0
134510 | 1 | 34.5 | 0
134511 | 1 | 34.5 | 0
134512 | 1 | 345 | 0
134513 | 1 | 34.5 | 0
1394 | 1 | 138 | 0
1396 | 1 | 138 | 6.326
1397 | 1 | 138 | 27.695
23922 | 1 | 345 | 0
23924 | 1 | 345 | 0
60796 | 1 | 69 | 0
60797 | 1 | 69 | 0
1406 | 1 | 69 | 1.055
1407 | 1 | 69 | 0
1408 | 1 | 69 | 0.221
1409 | 1 | 69 | 0
1413 | 1 | 69 | 10.792
1414 | 1 | 345 | 0
23827 | 1 | 69 | 4.238
1033 | 1 | 69 | 0
281 | 1 | 138 | 4.215
71050 | 1 | 345 | 0
283 | 1 | 138 | 4.155
285 | 1 | 138 | 3.314
1440 | 1 | 345 | 0
1441 | 1 | 138 | 0
1444 | 1 | 345 | 0
287 | 1 | 69 | 2.989
150961 | 1 | 138 | 0
150963 | 1 | 34.5 | 0
290 | 1 | 138 | 19.473
23900 | 1 | 345 | 0
76003 | 1 | 345 | 0
291 | 1 | 69 | 0
182653 | 1 | 345 | 0
292 | 1 | 138 | 0
6398 | 1 | 69 | 0
76005 | 1 | 345 | 0
6399 | 1 | 69 | 8.69
76006 | 1 | 345 | 0
153032 | 1 | 34.5 | 0
153033 | 1 | 345 | 0
294 | 1 | 138 | 13.433
6400 | 1 | 69 | 5.967
23904 | 1 | 15 | 0
6401 | 1 | 69 | 0
60708 | 1 | 345 | 0
76009 | 1 | 345 | 0
23906 | 1 | 345 | 0
6403 | 1 | 69 | 0.034
76011 | 1 | 138 | 0
77280 | 1 | 13.2 | 0
77281 | 1 | 13.2 | 0
23908 | 1 | 345 | 0
6406 | 1 | 69 | 0
23910 | 1 | 345 | 0
60709 | 1 | 345 | 0
76015 | 1 | 345 | 0
23912 | 1 | 345 | 0
151033 | 1 | 34.5 | 0
151034 | 1 | 34.5 | 0
134651 | 1 | 345 | 0
134653 | 1 | 34.5 | 0
23914 | 1 | 345 | 0
151035 | 1 | 138 | 0
60710 | 1 | 345 | 0
23918 | 1 | 15 | 0
132632 | 1 | 345 | 0
23920 | 1 | 345 | 0
60711 | 1 | 345 | 0
6417 | 1 | 69 | 2.771
1126 | 1 | 138 | 56.528
1128 | 1 | 138 | 6.583
1129 | 1 | 138 | 52.118
273 | 1 | 69 | 2.889
1130 | 1 | 138 | 9.208
23926 | 1 | 345 | 0
76030 | 1 | 345 | 0
71230 | 1 | 138 | 0
23928 | 1 | 345 | 0
134143 | 1 | 34.5 | 0
23930 | 1 | 345 | 0
61010 | 1 | 138 | 0
61011 | 1 | 69 | 0
61016 | 1 | 69 | 0
61017 | 1 | 69 | 0
181852 | 1 | 34.5 | 0
181853 | 1 | 345 | 0
151855 | 1 | 230 | 0
1631 | 1 | 69 | 0
1632 | 1 | 69 | 3.222
1633 | 1 | 69 | 6.291
1634 | 1 | 69 | 0
1635 | 1 | 69 | 0.722
151141 | 1 | 345 | 0
151143 | 1 | 34.5 | 0
134144 | 1 | 34.5 | 0
151144 | 1 | 34.5 | 0
151145 | 1 | 34.5 | 0
151146 | 1 | 34.5 | 0
132213 | 1 | 345 | 0
151147 | 1 | 34.5 | 0
1649 | 1 | 138 | 0
1650 | 1 | 138 | 0
1651 | 1 | 138 | 10.501
1653 | 1 | 138 | 0
1654 | 1 | 138 | 0.779
1655 | 1 | 138 | 0
1656 | 1 | 138 | 55.609
1657 | 1 | 138 | 0
1661 | 1 | 138 | 38.984
1662 | 1 | 69 | 0
1663 | 1 | 69 | 0
1666 | 1 | 69 | 0
1667 | 1 | 138 | 1.398
134145 | 1 | 138 | 0
1670 | 1 | 138 | 13.595
1671 | 1 | 138 | 5.609
181902 | 1 | 34.5 | 0
1684 | 1 | 138 | 1.478
133442 | 1 | 345 | 0
59902 | 1 | 345 | 0
59903 | 1 | 345 | 0
181952 | 1 | 34.5 | 0
181953 | 1 | 138 | 0
23823 | 1 | 69 | 6.418
11342 | 1 | 138 | 0
182002 | 1 | 34.5 | 0
132883 | 1 | 138 | 0
132884 | 1 | 34.5 | 0
132885 | 1 | 34.5 | 0
10001 | 1 | 69 | 0
10003 | 1 | 138 | 0
10008 | 1 | 138 | 0
10004 | 1 | 138 | 0
10005 | 1 | 138 | 0
10012 | 1 | 345 | 0
182051 | 1 | 345 | 0
182053 | 1 | 34.5 | 0
182055 | 1 | 34.5 | 0
180052 | 1 | 138 | 0
182101 | 1 | 345 | 0
182102 | 1 | 34.5 | 0
182103 | 1 | 34.5 | 0
182107 | 1 | 34.5 | 0
180054 | 1 | 138 | 0
180057 | 1 | 34.5 | 0
180060 | 1 | 34.5 | 0
6001 | 1 | 69 | 0
6006 | 1 | 69 | 0
6015 | 1 | 138 | 0
132992 | 1 | 34.5 | 0
132993 | 1 | 345 | 0
6036 | 1 | 138 | 5.309
19521 | 1 | 138 | 0
133042 | 1 | 34.5 | 0
133043 | 1 | 345 | 0
180152 | 1 | 345 | 0
180154 | 1 | 138 | 0
180155 | 1 | 138 | 0
180157 | 1 | 138 | 0
180158 | 1 | 138 | 0
180161 | 1 | 345 | 0
180163 | 1 | 345 | 0
180164 | 1 | 345 | 0
180165 | 1 | 345 | 0
180166 | 1 | 34.5 | 0
180167 | 1 | 34.5 | 0
180168 | 1 | 34.5 | 0
180169 | 1 | 34.5 | 0
180170 | 1 | 34.5 | 0
180171 | 1 | 34.5 | 0
1301 | 1 | 138 | 0
182253 | 1 | 34.5 | 0
182254 | 1 | 34.5 | 0
182255 | 1 | 345 | 0
151602 | 1 | 345 | 0
151603 | 1 | 34.5 | 0
8259 | 1 | 138 | 1.307
135323 | 1 | 34.5 | 0
135324 | 1 | 34.5 | 0
135325 | 1 | 34.5 | 0
135326 | 1 | 34.5 | 0
135327 | 1 | 345 | 0
6300 | 1 | 69 | 3.354
6302 | 1 | 69 | 0
6303 | 1 | 69 | 0
6304 | 1 | 69 | 0
6305 | 1 | 69 | 15.486
6306 | 1 | 69 | 7.328
6307 | 1 | 69 | 0
6309 | 1 | 138 | 0
6310 | 1 | 138 | 0
6312 | 1 | 69 | 3.026
6317 | 1 | 138 | 18.287
6329 | 1 | 69 | 2.961
6333 | 1 | 69 | 6.906
6334 | 1 | 69 | 1.761
6338 | 1 | 69 | 10.805
6340 | 1 | 138 | 0
6343 | 1 | 69 | 0.908
6347 | 1 | 138 | 0
6348 | 1 | 138 | 11.015
6349 | 1 | 69 | 2.566
6350 | 1 | 69 | 2
6352 | 1 | 69 | 0
6353 | 1 | 69 | 3.787
6355 | 1 | 138 | 0
6357 | 1 | 69 | 5.845
6358 | 1 | 69 | 6.89
6359 | 1 | 138 | 0
6360 | 1 | 138 | 0
6361 | 1 | 138 | 0.163
6362 | 1 | 138 | 0.128
6363 | 1 | 69 | 4.654
6364 | 1 | 138 | 0
6365 | 1 | 138 | 0
76000 | 1 | 345 | 0
76001 | 1 | 138 | 0
76002 | 1 | 345 | 0
76013 | 1 | 138 | 0
76014 | 1 | 138 | 0
76019 | 1 | 138 | 0
76021 | 1 | 138 | 0
76022 | 1 | 138 | 0
6390 | 1 | 138 | 0
76032 | 1 | 138 | 0
76040 | 1 | 138 | 0
6408 | 1 | 69 | 0
6410 | 1 | 69 | 4.845
6411 | 1 | 69 | 3.659
274 | 1 | 69 | 0
279 | 1 | 69 | 5.465
289 | 1 | 138 | 26.83
6510 | 1 | 69 | 5.957
6511 | 1 | 69 | 0.994
6513 | 1 | 69 | 1.464
151922 | 1 | 34.5 | 0
131453 | 1 | 138 | 0
131454 | 1 | 138 | 0
131460 | 1 | 34.5 | 0
131461 | 1 | 34.5 | 0
131462 | 1 | 34.5 | 0
131463 | 1 | 34.5 | 0
131464 | 1 | 34.5 | 0
131465 | 1 | 34.5 | 0
6556 | 1 | 69 | 0
135582 | 1 | 345 | 0
135592 | 1 | 138 | 0
68008 | 1 | 345 | 0
6570 | 1 | 69 | 9.14
68010 | 1 | 345 | 0
68011 | 1 | 345 | 0
6572 | 1 | 69 | 0.872
6575 | 1 | 69 | 12.522
6577 | 1 | 69 | 1.837
6578 | 1 | 69 | 0
68020 | 1 | 345 | 0
135602 | 1 | 345 | 0
6584 | 1 | 138 | 1.786
6585 | 1 | 69 | 2.792
6586 | 1 | 138 | 4.36
135611 | 1 | 138 | 0
135612 | 1 | 34.5 | 30.32
135615 | 1 | 138 | 0
6587 | 1 | 69 | 13.103
6588 | 1 | 69 | 0.495
6589 | 1 | 69 | 9.406
6590 | 1 | 69 | 0
6591 | 1 | 69 | 10.645
6592 | 1 | 69 | 0
6594 | 1 | 69 | 0
6597 | 1 | 69 | 5.71
6598 | 1 | 69 | 0.954
6599 | 1 | 69 | 0
6601 | 1 | 138 | 0
68050 | 1 | 345 | 0
68051 | 1 | 345 | 0
68060 | 1 | 345 | 0
6628 | 1 | 69 | 0
6630 | 1 | 138 | 0
135661 | 1 | 138 | 0
135662 | 1 | 34.5 | 0
6639 | 1 | 138 | 5.62
6640 | 1 | 138 | 8
135665 | 1 | 138 | 0
6653 | 1 | 69 | 0.009
6655 | 1 | 138 | 0
6663 | 1 | 69 | 0
6670 | 1 | 138 | 0
6671 | 1 | 138 | 0
135732 | 1 | 138 | 0
60014 | 1 | 138 | 6.142
60019 | 1 | 69 | 0
60024 | 1 | 69 | 0.272
60029 | 1 | 69 | 0
60039 | 1 | 69 | 0
6794 | 1 | 12.47 | 0
60063 | 1 | 138 | 0
133842 | 1 | 34.5 | 0
133843 | 1 | 345 | 0
76578 | 1 | 69 | 1.85
76579 | 1 | 138 | 0
76580 | 1 | 138 | 0
76582 | 1 | 138 | 0
76583 | 1 | 138 | 0
60210 | 1 | 69 | 3.307
76595 | 1 | 138 | 0
76597 | 1 | 138 | 0
76600 | 1 | 138 | 0
11081 | 1 | 138 | 114.798
842 | 1 | 345 | 0
843 | 1 | 345 | 0
844 | 1 | 345 | 0
845 | 1 | 345 | 0
76635 | 1 | 138 | 0
11123 | 1 | 138 | 7.688
76663 | 1 | 69 | 0.39
11137 | 1 | 138 | 0
11138 | 1 | 138 | 17.303
11139 | 1 | 138 | 30.94
11143 | 1 | 138 | 18.74
11144 | 1 | 138 | 19.153
11154 | 1 | 138 | 14.482
11155 | 1 | 138 | 15.213
11157 | 1 | 345 | 0
11159 | 1 | 138 | 0
11183 | 1 | 138 | 12.5
11184 | 1 | 138 | 2.802
11185 | 1 | 138 | 0
11186 | 1 | 138 | 0
11187 | 1 | 138 | 0
60336 | 1 | 138 | 4.266
11209 | 1 | 138 | 78.692
11210 | 1 | 138 | 29.281
11211 | 1 | 138 | 0
11212 | 1 | 138 | 0
11213 | 1 | 138 | 0
11214 | 1 | 138 | 44.515
60365 | 1 | 138 | 0
60367 | 1 | 138 | 2.301
11217 | 1 | 138 | 146.753
60371 | 1 | 69 | 0
60372 | 1 | 69 | 0
11222 | 1 | 138 | 11.38
11226 | 1 | 138 | 70.208
11227 | 1 | 138 | 14.53
11228 | 1 | 138 | 0
11230 | 1 | 138 | 24.569
60383 | 1 | 138 | 0
60384 | 1 | 138 | 0
60385 | 1 | 138 | 0
11235 | 1 | 138 | 16.701
11239 | 1 | 138 | 21.454
60400 | 1 | 138 | 0
60404 | 1 | 345 | 0
1014 | 1 | 13.8 | 0
60412 | 1 | 138 | 0
1021 | 1 | 345 | 0
1022 | 1 | 345 | 0
1023 | 1 | 138 | 45.16
11278 | 1 | 138 | 0
11279 | 1 | 138 | 0
11280 | 1 | 138 | 0
60433 | 1 | 69 | 0
76819 | 1 | 138 | 0
60440 | 1 | 138 | 18.816
60444 | 1 | 138 | 0
11294 | 1 | 138 | 0
11295 | 1 | 138 | 0
11296 | 1 | 138 | 0
11298 | 1 | 13.8 | 0
60451 | 1 | 138 | 0
1059 | 1 | 138 | 53.865
11299 | 1 | 138 | 0
11300 | 1 | 138 | 0
11301 | 1 | 138 | 0
60455 | 1 | 69 | 0
60457 | 1 | 69 | 0
11335 | 1 | 138 | 82.891
78925 | 1 | 138 | 1.81
78926 | 1 | 138 | 7.92
78927 | 1 | 69 | 1.02
11344 | 1 | 138 | 28.208
11353 | 1 | 138 | 6.256
1116 | 1 | 138 | 52.45
1117 | 1 | 138 | 118.59
1118 | 1 | 138 | 0
1119 | 1 | 138 | 1.079
1120 | 1 | 138 | 34.143
134242 | 1 | 34.5 | 0
134244 | 1 | 34.5 | 0
134245 | 1 | 138 | 0
1124 | 1 | 138 | 0
1125 | 1 | 345 | 0
11361 | 1 | 138 | 0
1132 | 1 | 138 | 38.117
1133 | 1 | 138 | 51.103
11372 | 1 | 138 | 17.2
1136 | 1 | 138 | 49.242
1138 | 1 | 138 | 20.754
11386 | 1 | 13.8 | 0
11387 | 1 | 345 | 0
11388 | 1 | 138 | 0
11389 | 1 | 13.8 | 0
1171 | 1 | 138 | 0
1172 | 1 | 138 | 0
1178 | 1 | 138 | 26.264
1179 | 1 | 138 | 0
1182 | 1 | 138 | 35.373
1183 | 1 | 138 | 0
1184 | 1 | 138 | 54.767
1185 | 1 | 345 | 0
1186 | 1 | 13.8 | 0
130221 | 1 | 34.5 | 0
130222 | 1 | 138 | 0
130223 | 1 | 34.5 | 0
1209 | 1 | 138 | 123.126
1210 | 1 | 138 | 0
1212 | 1 | 138 | 27.071
1214 | 1 | 138 | 29.058
1221 | 1 | 138 | 33.209
76998 | 1 | 13.2 | 0
76999 | 1 | 13.2 | 0
1222 | 1 | 69 | 0
1223 | 1 | 69 | 8.909
1226 | 1 | 138 | 59.195
1227 | 1 | 69 | 3.859
1228 | 1 | 69 | 4.262
1235 | 1 | 138 | 27.021
1236 | 1 | 138 | 0
1237 | 1 | 138 | 21.597
1239 | 1 | 138 | 0
1240 | 1 | 69 | 0
1241 | 1 | 69 | 0.024
1242 | 1 | 69 | 0.198
1243 | 1 | 138 | 0.433
1247 | 1 | 138 | 5.935
132331 | 1 | 138 | 0
132334 | 1 | 34.5 | 0
132335 | 1 | 34.5 | 0
9482 | 1 | 69 | 0.677
9483 | 1 | 138 | 2.724
130332 | 1 | 138 | 0
130334 | 1 | 34.5 | 0
130335 | 1 | 34.5 | 0
130336 | 1 | 34.5 | 0
23850 | 1 | 138 | 119.799
23851 | 1 | 138 | 59.519
23852 | 1 | 138 | 0
23853 | 1 | 138 | 24.527
60718 | 1 | 138 | 0.829
23854 | 1 | 138 | 11.533
60720 | 1 | 138 | 0.892
1329 | 1 | 138 | 0
1330 | 1 | 69 | 0
60723 | 1 | 138 | 25.887
23855 | 1 | 138 | 37.199
23856 | 1 | 138 | 59.411
23857 | 1 | 138 | 68.515
23858 | 1 | 138 | 22.395
60728 | 1 | 138 | 0
1337 | 1 | 138 | 0
1338 | 1 | 138 | 1.801
23859 | 1 | 138 | 49.635
23860 | 1 | 138 | 31.903
23861 | 1 | 138 | 68.121
23862 | 1 | 138 | 33.351
23863 | 1 | 138 | 126.686
23870 | 1 | 138 | 63.187
23871 | 1 | 138 | 0
23872 | 1 | 24.94 | 0
23873 | 1 | 345 | 0
23874 | 1 | 24.94 | 0
23875 | 1 | 345 | 0
132432 | 1 | 34.5 | 0
132434 | 1 | 138 | 0
132435 | 1 | 34.5 | 0
60773 | 1 | 138 | 14.366
60792 | 1 | 138 | 0
60798 | 1 | 138 | 0
60799 | 1 | 138 | 0
130432 | 1 | 138 | 0
132482 | 1 | 138 | 0
132483 | 1 | 34.5 | 0
181652 | 1 | 138 | 0
181653 | 1 | 34.5 | 0
38294 | 1 | 138 | 0
38295 | 1 | 138 | 65.23
38296 | 1 | 138 | 260
38298 | 1 | 138 | 0
38299 | 1 | 138 | 47.082
38300 | 1 | 138 | 0
38305 | 1 | 138 | 34.1
38310 | 1 | 138 | 0
38320 | 1 | 69 | 0
38331 | 1 | 138 | 14.996
38340 | 1 | 138 | 13.47
134597 | 1 | 345 | 0
38341 | 1 | 138 | 0
38355 | 1 | 138 | 0
38356 | 1 | 138 | 0
38360 | 1 | 69 | 9.235
3545 | 1 | 138 | 18.93
38365 | 1 | 69 | 0.03
130532 | 1 | 138 | 0
130533 | 1 | 138 | 0
38380 | 1 | 138 | 47.5
38381 | 1 | 69 | 0
38390 | 1 | 69 | 0.32
38392 | 1 | 69 | 0.023
38395 | 1 | 69 | 0.06
38420 | 1 | 69 | 1.547
38430 | 1 | 138 | 0
38431 | 1 | 138 | 10.854
38432 | 1 | 138 | 12.636
38440 | 1 | 69 | 0
71210 | 1 | 138 | 0
71212 | 1 | 138 | 0
71213 | 1 | 138 | 0
71214 | 1 | 138 | 0
38445 | 1 | 138 | 0
134705 | 1 | 138 | 0
38450 | 1 | 138 | 0
134703 | 1 | 34.5 | 0
134704 | 1 | 34.5 | 0
38455 | 1 | 138 | 0
38460 | 1 | 69 | 0.83
38471 | 1 | 138 | 2.025
38480 | 1 | 138 | 0
38481 | 1 | 138 | 52.8
38482 | 1 | 138 | 35.2
1619 | 1 | 138 | 0.546
1621 | 1 | 69 | 16.763
1622 | 1 | 69 | 0
1623 | 1 | 69 | 2.439
1624 | 1 | 138 | 0
1625 | 1 | 69 | 0
1626 | 1 | 69 | 3.298
1627 | 1 | 69 | 4.155
1628 | 1 | 69 | 7.011
1629 | 1 | 69 | 0
1630 | 1 | 69 | 3.904
134752 | 1 | 34.5 | 0
134753 | 1 | 138 | 0
38490 | 1 | 69 | 0
38491 | 1 | 12.47 | 2.13
1658 | 1 | 138 | 18.56
132732 | 1 | 345 | 0
132733 | 1 | 34.5 | 0
140953 | 1 | 345 | 0
140955 | 1 | 34.5 | 0
140956 | 1 | 34.5 | 0
132782 | 1 | 34.5 | 0
132783 | 1 | 138 | 0
7869 | 1 | 138 | 0
151263 | 1 | 34.5 | 0
151264 | 1 | 34.5 | 0
151265 | 1 | 345 | 0
134903 | 1 | 34.5 | 0
134904 | 1 | 34.5 | 0
134905 | 1 | 345 | 0
61015 | 1 | 138 | 0
132942 | 1 | 34.5 | 0
132943 | 1 | 138 | 0
182152 | 1 | 34.5 | 0
182153 | 1 | 34.5 | 0
182154 | 1 | 138 | 0
4000 | 1 | 13.8 | 0
131033 | 1 | 138 | 0